## Waters
Note: (1) ADC may apply company's QMS procedure for calibration / verification / validation accepted by Waters in this form. (2) ADC shall conduct necessary revalidation / verification if the equipments require repairs or are relocated. (3) Any amendment to the form shall be updated in the footnote and notify Waters for signatory. | [10 empty] | * SN# 100 onwards are equipment which requires calibration and/or maintenance * SN# 200 onwards are electronics equipment * SN# 300 onwards are MHE, storage and office equipment |  |  |  |  | UPDATED ON : 13 Jan 20
S/N* | ASSET# | CEA# | PO# | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | MODEL | MANUFACTURER / DISTRIBUTOR | OWNER | EQUIPMENT LOCATION | *Validation/ Verification Required? Y/ N.A | PM/CAL Warranty/Contract Details | PM/CAL Interval | (PM) Periodic MaintenanceRequired Y/ N.A | (PM) Last MaintenanceDate | (PM) Next MaintenanceDate | (CAL) Calibration Required Y/ N.A | (CAL) Last Calibration Date | (CAL) Next Calibration Date | REMARKS
1 - MAINTENANCE / CALIBRATION - TEMPERATURE - STORING AND MONITORING EQUIPMENT
101 | N.A | N.A | N.A | 421-378-0053 ** Not in use | Dual Temperature Data Logger with LOGiT LLSU Logger Reader with USB interface (Used for Evermed) | LOGiT LTT | Supco / Zil Sci Pte Ltd | Waters | Warehouse | N.A | Calibration not required - Equipment not in use | Annually | N.A |  |  | Y - when required | 2016-07-07 | N.A | Temperature Range -46°C – 150°C
102 | N.A | N.A | 2014-194 | H284976 ** Not in use | Temperature Logger (Used for GE Profile) | SD200 | Extech / CE-Test & Measurement Pte Ltd | Waters | Warehouse | N.A | Calibration not required - Equipment not use for product storing equipment | Annually |  |  |  | Y - when required | 2016-12-07 | N.A
103 | 1000013 | CEAUSYD05006 | N.A | 0027595Z **Disposed | Referigerator / Freezer | TBG25PADARWW | GE Profile / APS Lifestyle Marketing Pte Ltd | Waters | Warehouse | N.A | Calibration not required - Equipment currently used for storing gel pack for cold chain shipment packaging | Weekly Cleaning |  |  |  | N.A |  |  | Referigerator / Freezer GE Profile Net Capacity Cooler - 482L Freezer - 196L
104 | 1000201 | WPPL09026 | N.A | 782520710 | Referigerator / Freezer | BLCRF 425W | Evermed / Zil Sci Pte Ltd | Waters | Warehouse | N.A | Calibration not required - Equipment currently used for storing gel pack for cold chain shipment packaging | Weekly Cleaning |  |  |  | N.A | 2013-05-21 | N.A | Referigerator / Freezer Evermed Net Capacity Cooler - 318L Freezer - 107L
2131 | N.A | N.A | N.A | 12/YD-022F/387-2019 | Referigerator / Freezer | YD-022F | Yuda | Waters | Warehouse | N.A | Calibration not required - Equipment currently used for storing gel pack for cold chain shipment packaging | Weekly Cleaning |  |  |  | N.A | N.A | N.A
105 | 1000640 | WPPL14019 | 2015-004/228 | COOLER 2 / 47.14 1042931 ** Not in use | Laboratory Refrigerator | LR1400 | Arctiko / Bio Laboratories Pte Ltd | Waters | Warehouse | Y - Validated by Installation and Operational Qualification (IQ/OQ) | PM & Calibration not required - Equipment not in use | Annually | Y - when required | 2018-01-17 | N.A | Y - For sensor only when required | 2018-03-09 | N.A | Cooler currently not in use as Schenker facility include cold room
106 | 1000640 | WPPL14019 | 2015-004/228 | COOLER 1 / 47.14 1042932 ** Not in use |  |  |  | Waters | Warehouse |  |  |  |  | 2018-01-17 | N.A |  | 2018-03-09 | N.A
113 | 1000752 | WPPL16016 | 2016-304 | COOLER 3 / 31.16.1061158 ** Not in use |  |  |  | Waters | Warehouse |  |  |  |  | Under Warranty | N.A |  | 2018-03-09 | N.A
114 | 1000752 | WPPL16016 | 2016-304 | COOLER 4 / 31.16 1061156 ** Not in use |  |  |  | Waters | Warehouse |  |  |  |  | Under Warranty | N.A |  | 2018-03-09 | N.A
107 | 1000676 | WPPL15021 | 2016-001 | FREEZER 1 / 06.16 1056788 | Laboratory Freezer | LF1400 | Arctiko / Bio Laboratories Pte Ltd | Waters | Warehouse | Y - Validated by Installation Qualification (IQ) VAL001288 | PM for Fridge: Under contract: 29 Jun 2017 to 28 Jun 2019 (Refer to PO# 2016-001) Calibration for Sensor: N.A (Renew in 2020) | Annually | Yes - under contract (For fridge) * Verification for the temperature sensor is required during PM | 2018-07-19 | 2019-07-19 | Y - For sensor only | 2019-05-31 | 2020-05-30
134 | 1000913 | WPPL18028 | 2018-530 | FREEZER 2 / 48.18 1086882 |  |  |  | Waters | Warehouse | Y - Validated by Installation Qualification (IQ) VAL001397 | PM for Fridge: Under warranty: 07 Mar 2019 to 06 Mar 2021 Under contract: 07 Mar 2021 to 06 Mar 2023 (Refer to PO# 2018-530) Calibration for Sensor: N.A (Renew in 2020) |  |  | N.A | 2020-03-06 |  | N.A | 2020-03-06 | This is a newly installed equipment. Next PM & CAL date based on equipment installation date on 07 Mar 2019.
2130 | N.A | N.A | N.A | Freezer 3 / 06171066150 |  |  |  | Waters | Warehouse
108 | 1000640 | WPPL14019 | 2015-004/228 | LOGGER# 2 / 0615-01292 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 2) | Monitoring System RL4000 RL4002-434.075 | Hanwell / Kenda Pte Ltd | Waters | Warehouse | Y - Validated by Installation Qualification (IQ) VAL001288 for Freezer 2 | PM: Under contract: N.A (Renew in 2019) Calibration: Under contract: (Refer to PO# 2019-102) | Annually | Y | 2017-07-10 | 2019-09-07 | Y | 2019-03-01 | 2020-02-28 | Temperature Range: -40°C to +60°C Probe Part# JO95-05 Channel A - SN# 0715-00741 Channel B - SN# 0715-00751
109 | 1000640 | WPPL14019 | 2015-004/228 | LOGGER# 1 / 0615-01291 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 2) |  |  | Waters | Warehouse |  |  |  |  | 2017-07-10 | 2019-09-07 |  | 2019-03-01 | 2020-02-28 | Temperature Range: -40°C to +60°C Probe Part# JO95-05 Channel A - SN# 0715-00744 Channel B - SN# 0715-00748
110 | 1000676 | WPPL15021 | 2016-001 | LOGGER# 3 / 0116-00597 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 1) |  |  | Waters | Warehouse | Y - Validated by Installation Qualification (IQ) VAL001397 for Freezer 1 |  |  |  | 2018-09-08 | 2019-09-07 |  | 2018-07-11 | 2019-07-10 | Temperature Range: -40°C to +60°C Probe Part# JO95-05 Channel A - SN# 0116-01434 Channel B - SN# 0116-01437
111 | N.A | N.A | 2016-220 | LOGGER# 4 / 0816-00501 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 1) |  |  | Waters | Warehouse |  |  |  |  | 2018-09-08 | 2019-09-07 |  | 2018-07-11 | 2019-07-10 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 0816-00076 Channel B - SN# 0216-00523
115 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 6 / 1216-00091 ** To be used for Freezer 2 IQ, thereafter transfer to DGP | Dual Channel Temperature Transmitter with LCD Display | Monitoring System RL4000 RL4002-434.075 | Hanwell / Kenda Pte Ltd | Waters | Warehouse | Y - Validated by Performance Qualification (PQ) | PM: Under contract: PM not required - equipment not in use Calibration: Under contract: (Refer to PO# 2019-102) |  |  | 2017-07-10 | N.A | Y | 2019-03-01 | 2020-02-28 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00903 Channel B - SN# 1116-00904
116 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 7 / 1216-00090 ** To be used for Freezer 2 IQ, thereafter transfer to DGP | Dual Channel Temperature Transmitter with LCD Display |  |  | Waters | Warehouse |  |  |  |  | 2017-07-10 | N.A |  | 2019-03-01 | 2020-02-28 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00899 Channel B - SN# 1116-00901
117 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 8 / 1216-00094 ** To be used for Freezer 2 IQ, thereafter transfer to DGP | Dual Channel Temperature Transmitter with LCD Display |  |  | Waters | Warehouse | Y - Performance verification completed for Cooler 3 & 4 |  |  |  | 2017-07-10 | N.A |  | 2019-03-01 | 2020-02-28 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00908 Channel B - SN# 1116-00910
127 | 1000640 | WPPL14019 | 2015-004/228 | 10.249.25.11 / 0815-00408 | Synergy Device Smart Receiver | SR2-E-P4 | Hanwell Monitoring System / Kenda Pte Ltd | Waters | Warehouse | N.A | PM: Under contract: N.A (Renew in 2019) |  |  | 2018-09-08 | 2019-09-07 | N.A
128 | N.A | N.A | 2017-242 | 20-00-01-37 | SMS Module | IN-TA001 |  | Waters | Warehouse | N.A |  |  |  | 2018-09-08 | 2019-09-07
133 | 1000809 | WPPL18003 | N.A | ST 1340-5 | TH Guard | VM608E SGP | Spurtronic Pte Ltd | Waters | Office | Y - Verify by Calibration | Calibration: Manage by Schenker ADC | Annually | N.A |  |  | Y | 2019-04-24 | 2020-04-24
1 - CALIBRATION - WEIGHT MEASUREMENT EQUIPMENT
118 | N.A | N.A | N.A | F03823-6HK | Pallet Truck Scale | PTS2-555x1150 | Mettler Toledo | Waters | Warehouse | Y - Verified working condition and conduct zeroing every use | Under contract: (Refer to SA# RQ19030459 / PO#2019-137 ) | Annually | N.A |  |  | Y | 2019-05-02 | 2020-05-31
119 | N.A | N.A | N.A | B421629100 |  | BTA231-555A |  | Waters | Warehouse | [7 empty] | 2019-05-02 | 2020-05-31
120 | 1000760 | WPPL16029 | 2016-461 | B649404637 |  |  |  | Waters | Warehouse | [7 empty] | 2019-05-02 | 2020-05-31
121 | 1000760 | WPPL16029 | 2016-461 | B652506738 |  |  |  | Waters | Warehouse | [7 empty] | 2019-05-02 | 2020-05-31
122 | 1000063 | 2008-030 | N.A | 00185506KK | Weighing Scale | WT150L-IND221 | Mettler Toledo | Waters | Warehouse | [7 empty] | 2019-05-02 | 2020-05-31
123 | 1000063 | 2008-030 | N.A | 00185496KK |  |  |  |  | Warehouse | [7 empty] | 2019-05-02 | 2020-05-31
1 - MAINTENANCE - MATERIAL HANDLING EQUIPMENT
124 | 1000110 | WPPL09007B | N.A | 90204380 ** Not in use | Stacker | EJC212 | Jungheinrich | Waters | Warehouse | N.A | PM not required - Equipment is not in use | Biannual | Y -when required | 2017-09-27 | N.A | N.A |  |  | No specific date for PM as long as PM is performed within the due month
125 | 1000758 | WPPL16029 | 2016-462 | 90519079 ** Not in use |  |  |  | Waters | Warehouse |  |  |  |  | 2017-10-04 | N.A
129 | N.A | N.A | N.A | S40X 93638496 ** Not in use | Stacker Charger | SCT100JH |  | Waters | Warehouse |  |  | N.A | N.A
130 | 1000455 | WPPL13008 | 2013-192 | B/139743 | Auto Strapping Tool w/ Spare Battery Each | STB 70 | Strapex / Xcel Industrial | Waters | Warehouse | N.A | Under contract: PO#2019-213 | Biannual (w.e.f. 2019) | Y | 2019-11-27 | 2020-05-26 12:00 | N.A
131 | 1000759 | WPPL16029 | 2016-464 | B/165961 |  | OR-T250 | Orgapack / Xcel Industrial | Waters | Warehouse |  |  |  |  | 2019-07-12 | 2020-01-09 12:00
132 | 1000759 | WPPL16029 | 2016-464 | B/169263 |  |  |  | Waters | Warehouse |  |  |  |  | 2020-01-08 | 2020-07-07 12:00
2 - ELECTRONICS - IT INFRASTRUCTURE
204 | N.A | N.A | 2013-248 | 211KCVUA4015 | 55" LED TV Monitor | 55LM4610 | LG / Lion City | Waters | Office | N.A | No warranty
205 | 1000748 | WPPL16028 | 2016-449 | ADC1 / 94F71H2 | CPU | Optiplex 7040 | Dell / Genesis Networks Pte Ltd | Waters | Office |  | Warranty Period: POW: 05 Jan 2017 to 06 Jan 2020 Hard Drive: 05 Jan 2017 to 06 Jan 2021
206 | 1000748 | WPPL16028 | 2016-449 | ADC2 / 94J61H2 ** Spare |  |  |  | Waters | Office
209 | 1000748 | WPPL16028 | 2016-449 | ADC5 / 948B1H2 |  |  |  | Waters | Office
213 | N.A | N.A | N.A | CN-0W4916-71618-56I-B651 ** Faulty | Monitor | 1704FPTf | Dell | Waters | Office |  | N.A
214 | N.A | N.A | N.A | CN-0G488H-72872-893-0A7U ** Faulty ** Returned to WPPL |  | 1908WFPf |  | Waters | Office
216 | N.A | N.A | N.A | CN-0G425H-72872-86U-0K2S-A01 |  | E198WFPf |  | Waters | Office
217 | N.A | N.A | N.A | CN-0G425H-72872-86U-0HGS-A01 |  |  |  | Waters | Office
218 | N.A | N.A | N.A | CN-04GT16-74261-374-0MAB |  | E2213Hb |  | Waters | Office
269 | N.A | N.A | N.A | CN-OHHGGM-64180-525-4D1U |  | E2014Hc |  | Waters | Office
2122 | N.A | N.A | N.A | MJ17HMEX901669E ** Faulty |  | 710N | Samsung | Waters | Office
2123 | N.A | N.A | N.A | AU3A0616013949 ** Faulty |  | 190S7FB/69 | Philips | Waters | Office
2124 | N.A | N.A | N.A | CN-0NC02M-FCC00-81M-CW5I-A06 |  | E1916H | DELL | Waters | Office
2125 | N.A | N.A | N.A | CN-0G425H-72872-86U-0HAS-A01 |  | E198WFPf | DELL | Waters | Office
2126 | N.A | N.A | N.A | CN-0G530N-72872-044-08RS |  | E190SF | DELL | Waters | Office
2127 | N.A | N.A | N.A | CN-0G530N-72872-07A-CU3I |  | E190SF | DELL | Waters | Office
2128 | N.A | N.A | N.A | CN-0G530N-72872-07N-13UI |  | E190SF | DELL | Waters | Office
2129 | N.A | N.A | N.A | CN-0G474H-74443-8A6-G819 |  | 1908FPT | DELL | Waters | Office
270 | 1000809 | WPPL18003 | N.A | PC0Q7GMP | NoteBook | ThinkPad X270 | Lenovo / Jardine OneSolution (2001) Pte Ltd | Waters | Office |  | Warranty Period: 20 Oct 2018 to 19 Oct 2020
271 | 1000809 | WPPL18003 | N.A | PC0SS7C1 | Desktop | ThinkCentre M710s |  | Waters | Office |  | Warranty Period: 08 Feb 2018 to 07 Feb 2021
272 | 1000809 | WPPL18003 | N.A | PC0SS7C3 |  |  |  | Waters | Office
273 | 1000809 | WPPL18003 | N.A | PC0SS7C4 |  |  |  | Waters | Office
274 | 1000809 | WPPL18003 | N.A | PC0SS7C5 |  |  |  | Waters | Office
275 | 1000809 | WPPL18003 | N.A | PC0SS7C6 |  |  |  | Waters | Office
2 - ELECTRONICS - TEMPERATURE MONITORING SYSTEM
219 | 1000640 | WPPL14019 | 2015-004/228 | 10.249.25.10 / S1H0359A | All-In-One Desktop with keyboard & mouse | ThinkCentre E73z | Lenovo / Bio Laboratories Pte Ltd | Waters | Warehouse | N.A | No warranty
221 | 1000640 | WPPL14019 | 2015-004/228 | 0715-00097 | External Transmitter | RX434.075 | Hanwell Monitoring System / Kenda Pte Ltd | Waters | Warehouse
2 - ELECTRONICS - IT INFRASTRUCTURE (SERVER RACK)
223 | 1000014 | USYD05012 | N.A | 10.249.25.203 / SDNIHR958C | Power Switch | Baystack 460-24T-PWR Switch | Nortel Networks | Waters | Office | N.A | N.A
224 | N.A | N.A | N.A | 10.249.25.204 / SDN1HR9F21 |  |  |  | Waters | Office
228 | N.A | N.A | N.A | 16150523075381 ** Not in used | Wireless Access Port with Antennas | AP6521 | Symbol / Hetech Solutions Pte Ltd | Waters | Office
230 | N.A | N.A | N.A | 10.249.25.254 / 18B169057918 | Network Security Firewall | SonicWALL TZ400 | Dell | Waters | Office
276 | 1000806 | WPPL18007 | 2018-159 | 10.249.25.203 Singapore ADC / 17JP4620109K | Ethernet Routing Switch | 4850GTS-PWR+ | Avaya | Waters | Office
277 | N.A | N.A | N.A | AWAP-AS-SIN-ADC-AP01 / CND5J0TD46 | Access Point | APIN0315 | Aruba | Waters | Office
278 | N.A | N.A | N.A | ADC 10.249.25.254 / 012801061569 | Firewall | PA-220 | Palo Alto | Waters | Office
279 | N.A | N.A | N.A | FGL160525BP | Router | 881 | Cisco | Starhub | Office
280 | N.A | N.A | N.A | 4857544321AD429C | Optical Network Terminal | EchoLife HG8040H | Huawei | Starhub | Office
234 | N.A | N.A | 2012-300 | AUE2220B1-06AHBCMW | 22U Network Cabinet (W600 x D600 x H1166) | AS6622-BL | Syntax Enclosure System | Waters | Office
2 - ELECTRONICS - PRINTER
235 | N.A | N.A | 2015-305 | Adc8150one / CNDXHCK9WO | Printer with BarDIMM (For printing GR Slips) | HP Laserjet Enterprise 600 M604DN | Hewlett Packard / Soft-Pro Computer | Waters | Office | N.A | Warranty Period: 11 Dec 2015 to 10 Dec 2017
236 | N.A | N.A | 2015-305 | Adc8150two / CNDXHCK9YO | Printer with BarDIMM (For printing Delivery) |  |  | Waters | Office
237 | N.A | N.A | 2015-305 | Adc81504four / CNDXHCK9WL | Printer (For printing Invoice) |  |  | Waters | Office
240 | N.A | N.A | 2013-118 | 08J132401001 | Thermal Barcode Label Printer | ZM400 | Zebra / Advantech Peripherals Singapore Pte Ltd | Waters | Warehouse |  | No warranty
267 | N.A | N.A | 2017-223 | 18J153701459 | Thermal Label Printer | ZT410 | Zebra / Autopack Pte Ltd | Waters | Warehouse |  | Warranty Period: 06 Jul 2017 to 05 Jul 2020
268 | N.A | N.A | 2017-223 | 18J171801953 |  |  |  | Waters | Warehouse
2 - ELECTRONICS - HANDHELD SCANNING DEVICE
244 | 1000567 | WPPL14018 | 2014-329 | 14362000504041 | 1-Dock Charger | CRD9000-1000 | Symbol / Autopack Pte Ltd | Waters | Office | N.A | No warranty
245 | 1000567 | WPPL14018 | 2014-329 | 14362000504050 |  |  |  | Waters | Office
246 | 1000567 | WPPL14018 | 2014-329 | 14362000504054 |  |  |  | Waters | Office
248 | 1000750 | WPPL16025 | 2016-394 | 16346000500555 | Single Slot Serial/USB Charging Cradle with USB Cable and Power cord |  |  | Waters | Office |  | Warranty Period: 29 Dec 2016 to 29 Mar 2018
249 | 1000750 | WPPL16025 | 2016-394 | 16346000500558 |  |  |  | Waters | Office
250 | 1000750 | WPPL16025 | 2016-394 | 16346000500563 |  |  |  | Waters | Office
251 | 1000030 | WPPL07001 | N.A | S99A681760 | 4-Dock Charger (1 Dock Not Working) | CHS9000-4001C | Symbol / Advantech Peripherals Singapore Pte Ltd | Waters | Office |  | No warranty
252 | 1000567 | WPPL14018 | 2014-329 | 1409300504745 | Handheld Scanner (Catamaran v11) | MC92N0 | Motorola / Autopack Pte Ltd | Waters | Warehouse | Y - Verify by Installation Qualification (IQ) Test Protocol | Warranty Period: 13 Jan 2015 to 12 Apr 2016 Under Contract: 29 Mar 2018 to 28 Mar 2020
255 | 1000750 | WPPL16025 | 2016-394 | 1632100502821 |  |  |  | Waters | Warehouse |  | Warranty Period: 29 Dec 2016 to 29 Mar 2018 Under Contract: 29 Mar 2018 to 28 Mar 2020
256 | 1000750 | WPPL16025 | 2016-394 | 1633900501313 |  |  |  | Waters | Warehouse
257 | 1000750 | WPPL16025 | 2016-394 | 1634100501876 |  |  |  | Waters | Warehouse
258 | 1000750 | WPPL16025 | 2016-394 | 1634700500048 |  |  |  | Waters | Warehouse
263 | N.A | N.A | N.A | 8607455165 | Handheld Barcode Scanner | Voyager MS9520 | Metrologic | Waters | Warehouse | N.A | N.A
264 | N.A | N.A | N.A | 8607455347 |  |  |  | Waters | Warehouse
265 | N.A | N.A | N.A | 8607455618 |  |  |  | Waters | Warehouse
266 | 1000063 | 2008-030 | N.A | A8240599 | HHP IT 4206 Barcode Scanner | Adaptus 4206GHD051CE | Honeywell / Advanced Microcomputers Pte Ltd | Waters | Warehouse
284 | 1000809 | WPPL18003 | N.A | 17356522200550 | Dual Radio 802.11ac 2x2:2 MIMO Access Point External Antenna (APME Region) w/ 2 Fixed Dipole Antenna, 3 Year Comprehensive Coverage for the AP7522 | AP-7522 | Zebra Technologies / Mediatech Marketing Pte Ltd | Waters | Warehouse | N.A | N.A
285 | N.A | N.A | N.A | 17356522200563 |  |  |  | Waters | Warehouse
286 | N.A | N.A | N.A | 17356522200666 |  |  |  | Waters | Warehouse
287 | N.A | N.A | N.A | 17356522200695 |  |  |  | Waters | Warehouse
288 | N.A | N.A | N.A | 18072522201451 |  |  |  | Waters | Warehouse
289 | N.A | N.A | N.A | 18074522200967 |  |  |  | Waters | Warehouse
290 | N.A | N.A | N.A | 18074522200972 |  |  |  | Waters | Warehouse
291 | N.A | N.A | N.A | 18074522200974 |  |  |  | Waters | Warehouse
292 | N.A | N.A | N.A | 18074522200983 |  |  |  | Waters | Warehouse
293 | N.A | N.A | N.A | 18074522200993 |  |  |  | Waters | Warehouse
294 | N.A | N.A | N.A | 18074522201149 |  |  |  | Waters | Warehouse
295 | N.A | N.A | N.A | S18016522200020 |  |  |  | Waters | Warehouse
296 | 1000809 | WPPL18003 | N.A | 18027522502693 | Zebra TC51 Terminal w/ TC51/56 Trigger Handle and Rugged Boot Kit, 3 Year Zebra OneCare Essential (3 x Spare TC51 4300 mAh Powerprecision+ Li-on Battery) | TC51 | Zebra Technologies / Mediatech Marketing Pte Ltd | Waters | Warehouse | Y - One time verification check - equipment in working condition | Warranty Period: 17 Apr 2018 to 17 Apr 2019 Under Contract: 30 May 2018 to 29 May 2021
297 | 1000809 | WPPL18003 | N.A | 18027522518015 |  |  |  | Waters | Warehouse
298 | 1000809 | WPPL18003 | N.A | 18027522518020 |  |  |  | Waters | Warehouse
299 | 1000809 | WPPL18003 | N.A | 17011522501601 | 4-Slot Battery Charger, includes Power Supply and DC Cable | SAC-TC51 |  | Waters | Warehouse |  | N.A
2100 | N.A | N.A | N.A | 18027522502370 | Zebra TC51 Terminal w/ TC51/56 Trigger Handle and Rugged Boot Kit, 3 Year Zebra OneCare Essential (8 x Spare TC51 4300 mAh Powerprecision+ Li-on Battery) | TC51 | Zebra Technologies / Mediatech Marketing Pte Ltd | Waters | Warehouse |  | Warranty Period: 20 Mar 2018 to 20 Mar 2019 Under Contract: 26 Mar 2018 to 25 Mar 2021
2101 | N.A | N.A | N.A | 18027522502550 |  |  |  | Waters | Warehouse
2102 | N.A | N.A | N.A | 17312522511544 |  |  |  | Waters | Warehouse
2103 | N.A | N.A | N.A | 18027522502323 |  |  |  | Waters | Warehouse |  | Warranty Period: 20 Mar 2018 to 20 Mar 2019 Under Contract: 30 May 2018 to 29 May 2021
2104 | N.A | N.A | N.A | 18027522502458 |  |  |  | Waters | Warehouse
2105 | N.A | N.A | N.A | 18027522517948 |  |  |  | Waters | Warehouse
2106 | N.A | N.A | N.A | 18027522517997 |  |  |  | Waters | Warehouse
2107 | N.A | N.A | N.A | 17256522504064 | 4-Slot Battery Charger, includes Power Supply and DC Cable | SAC-TC51 |  | Waters | Warehouse |  | N.A
2108 | N.A | N.A | N.A | 17256522504166 |  |  |  | Waters | Warehouse
2109 | 1000891 | WPPL18030 | 2018-565 | S18137522506361 | Zebra TC51 Terminal w/ TC51/56 Trigger Handle and Rugged Boot Kit, 3 Year Zebra OneCare Essential (4 x Spare TC51 4300 mAh Powerprecision+ Li-on Battery) | TC51 | Zebra Technologies / Mediatech Marketing Pte Ltd | Waters | Warehouse | Y - One time verification check - equipment in working condition | Warranty Period: 19 Jun 2018 to 19 Jun 2019 Under Contract: 18 Dec 2018 to 17 Dec 2021
2110 | 1000891 | WPPL18030 | 2018-565 | S18141522500891 |  |  |  | Waters | Warehouse |  | Warranty Period: 3 years Under Contract: 18 Dec 2018 to 17 Dec 2021
2111 | 1000891 | WPPL18030 | 2018-565 | S18141522500992 |  |  |  | Waters | Warehouse
2112 | 1000891 | WPPL18030 | 2018-565 | S18141522501020 |  |  |  | Waters | Warehouse
2113 | 1000891 | WPPL18030 | 2018-565 | S18141522501025 |  |  |  | Waters | Warehouse
2114 | 1000891 | WPPL18030 | 2018-565 | S18141522501037 |  |  |  | Waters | Warehouse
2115 | 1000891 | WPPL18030 | 2018-565 | S18141522501040 |  |  |  | Waters | Warehouse
2116 | 1000891 | WPPL18030 | 2018-565 | S18141522501075 |  |  |  | Waters | Warehouse
2117 | 1000891 | WPPL18030 | 2018-565 | S18141522501080 |  |  |  | Waters | Warehouse
2118 | 1000891 | WPPL18030 | 2018-565 | S18141522501109 |  |  |  | Waters | Warehouse
2119 | 1000891 | WPPL18030 | 2018-565 | S18145522503503 |  |  |  | Waters | Warehouse
2120 | 1000891 | WPPL18030 | 2018-565 | S18145522503504 |  |  |  | Waters | Warehouse
2121 | 1000891 | WPPL18030 | 2018-565 | 18113522501188 | 4-Slot Battery Charger, includes Power Supply and DC Cable | SAC-TC51 |  | Waters | Warehouse |  | N.A
2 - ELECTRONICS - WAREHOUSE SECURITY SYSTEM
281 | 1000809 | WPPL18003 | N.A | N.A | CCTV System Includes:- a) 16 x Panasonic K-EW214L03 FHD Dome Network Camera b) 1 x Panasonic K-NL316 16-Channel Network Video Recorder c) 2 x WD 6TB Surveillance Hard Disk d) 1 x 24 Port POE Gigabit Network Switch g) 2 x APC 650VA UPS Backup Battery for Network Switch h) 1 x 6U 600x600 Wall Mount Rack |  | Infra Engineering Pte Ltd | Waters | Warehouse
282 | 1000809 | WPPL18003 | N.A | 2000-1540 | Cardkey System Includes:- a) ISC IS100 Single Door Cardkey Controller b) ISCRD Proxpoint Proximity Card Reader c) ISC KEPS Power Supply unit c/w Console and 7AH Backup Battery d) 600LBS EM-Lock c/w Mounting Plate e) Fire Emergency Break Glass Call Point, Exit Call Button, Alarm Siren, Magnetic Door Contact and Other Accessories Battery and Metal Cabinet with Keylock for Centralized Access Control |  |  | Waters | Warehouse
283 | 1000809 | WPPL18003 | N.A | N.A | Intrusion Alarm System includes:- a) DSC Alarm Panel 8 Zone b) DSC 8 Zone Extension Panel c/w Power Supply c) Heavy Duty Door Contact d) Roller Shutter Sensor Contact |  |  | Waters | Warehouse
3 - MHE - MATERIAL HANDLING
301 | N.A | N.A | N.A | 3571904 | Hand Pallet Jack | LHM230 | BT | Waters | Warehouse
302 | N.A | N.A | N.A | LT-1 / 1584 | 5-Steps Ladder Trolley | LAT-5 | Komada | Waters | Warehouse
303 | N.A | N.A | N.A | LT-2 / 1585 |  |  |  | Waters | Warehouse
304 | N.A | N.A | N.A | LT-3 / 2919 | 3-Steps Ladder Trolley | LT-3 |  | Waters | Warehouse
305 | N.A | N.A | N.A | LT-4 |  |  |  | Waters | Warehouse
306 | N.A | N.A | N.A | LT-5 |  |  |  | Waters | Warehouse
307 | 1000013 | CEAUSYD05006 | 2011-336 | LT-6 |  | LAT-05-10 | Springwell Mktg Services Pte Ltd | Waters | Warehouse
308 | 1000013 | CEAUSYD05006 | 2011-336 | LT-7 |  |  |  | Waters | Warehouse
309 | N.A | N.A | 2013-208 | LT-8 |  | LT3 | Howell-United | Waters | Warehouse
310 | N.A | N.A | 2013-208 | LT-9 |  |  |  | Waters | Warehouse
311 | N.A | N.A | 2014-214 | LT-10 |  | LT-Step03 | Y K Toh Marketing | Waters | Warehouse
312 | N.A | N.A | 2016-421 | LT-11 | 3 Step Ladder Trolley c/w 2 Platform |  |  | Waters | Warehouse
313 | N.A | N.A | 2016-421 | LT-12 |  |  |  | Waters | Warehouse
314 | N.A | N.A | N.A | 1pc | 3 Tiers Chrome Wire Shelving c/w 4 x 5" wheels (1200mm x 600mm x 1800mm) | Unmarked | Unmarked | Waters | Warehouse
315 | N.A | N.A | N.A | 1pc |  |  |  | Waters | Warehouse
316 | N.A | N.A | 2013-262 | 1pc |  | JY-15 | Jin Yu Trading Pte Ltd | Waters | Warehouse
317 | N.A | N.A | 2013-262 | 1pc |  |  |  | Waters | Warehouse
334 | 1000809 | WPPL18003 | N.A | 2pcs | 2 Tier Trolley/Push card trolley with 2 handle (740mm x 480mm) - 150kgs | N.A | Prestar / Trenwa Trading Pte Ltd | Waters | Warehouse
335 | 1000809 | WPPL18003 | N.A | 6pcs | Customized Pallets for MHE Industrial Collapsible Palletainers (L1200 x W1000 x H975mm) | SNP-LK1210B1 | NPC Sanseng Pte Ltd | Waters | Warehouse
336 | 1000809 | WPPL18003 | N.A | 30pcs | Yellow Picking Totes Industrial Plastic Collapsiable Container (L520 x W365 x H315(82)mm) | NCC702P |  | Waters | Warehouse
3 - MHE - PACKING
323 | 1000759 | WPPL16029 | 2016-464 | 2016-464A | PP/PET Strapping Dispenser | CFL-APP-20 | Xcel Industrial | Waters | Warehouse
324 | 1000759 | WPPL16029 | 2016-464 | 2016-464B |  |  |  | Waters | Warehouse
325 | 1000759 | WPPL16029 | 2016-464 | 2016-464C |  |  |  | Waters | Warehouse
326 | 1000759 | WPPL16029 | 2016-464 | 2016-464D | Strapping Tool: Tensioner & Sealer | Unmarked |  | Waters | Warehouse
327 | N.A | N.A | 2010-200 | 2010-200A | Strapping Dispenser | SM803 | Megapac Industrial | Waters | Warehouse
329 | N.A | N.A | N.A | 1060412 | Manual Water-Activated Tape Dispenser | BP333PLUS | Better Packages | Waters | Warehouse
330 | N.A | N.A | 2010-222 | 110010477 | Heat Gun | HL1810S | Steinel / RS Components Pte Ltd | Waters | Warehouse
3 - SIGNAGE AND STAMP
331 | N.A | N.A | 2018-312 | 1pc | Quality Policy Frame, 420mm x 297mm- artwork size, 470mm x 347mm- acrylic size | Unmarked | Grenadier | Waters | Warehouse
332 | N.A | N.A | 2018-312 | 1pc | ADC Sign, 500mm x 2400mm, | Unmarked |  | Waters | Warehouse
333 | N.A | N.A | N.A | 1pc | Self-Inking Stamp, 50mm X 17mm (Zack Lin's Signatory) | 2255 | SUN Printers Group Pte Ltd | Waters | Office
3 - WAREHOUSE / WORKSTATION
337 | 1000809 | WPPL18003 | N.A | 10pcs | 3-Aluminium retractable rail/y/b without castor in 3 Pillars (H95cm x W400cm) | 101BE-y/b | Trenwa Trading Pte Ltd | Waters | Warehouse
338 | 1000809 | WPPL18003 | N.A | 4pcs | Full Height Swing Door Metal Cabinet (H1829 x W914 x D457) | N.A |  | Waters | Warehouse
339 | 1000809 | WPPL18003 | N.A | 6pcs | 4 Compartment Locker | N.A |  | Waters | Warehouse
340 | 1000809 | WPPL18003 | N.A | 10pcs | Cones with reflective strap heavy duty | N.A |  | Waters | Warehouse
341 | 1000809 | WPPL18003 | N.A | 2pcs | Main table in 2-tone grey colour Size: 1200L x 730D x 745mmH | FMT 1200 FH | Peng Tat Furniture | Waters | Warehouse
342 | 1000809 | WPPL18003 | N.A | 4pcs | Low back chair with recliner and armrest | PT 670 |  | Waters | Warehouse
343 | 1000809 | WPPL18003 | N.A | 2pcs | Work Bench | FMT 410 FH | Unmarked | Waters | Warehouse
3 - STORAGE
344 | 1000013 | CEAUSYD05006 | EDMS-05-08-010 | 1 set | Shelving System consisting of: a. 36pc of upright columns (bone) b. 366pc of metal plate shelves | Regal 3000 | Schaefer Systems International Pte Ltd | Waters | Warehouse
345 | 1000511 | WPPL13012 | 2013-249 | 150 of 488pcs | Shelf Container (Small Blue Bins) 116mmW x 599mmD x 90mmH | RK619-02 |  | Waters | Warehouse
346 | 1000511 | WPPL13012 | 2013-249 | 1106 of 1952pcs | Divider (Small Blue Bins) | RKT 61 |  | Waters | Warehouse
347 | 1000511 | WPPL13012 | 2013-249 | 1 of 494pcs | Shelf Container (Medium Blue Bins) 162mmW x 508mmD x 115mmH | RK521 |  | Waters | Warehouse
348 | 1000511 | WPPL13012 | 2013-249 | 621 of 1680pcs | Divider (Medium Blue Bins) | RKT 5/421 |  | Waters | Warehouse
349 | 1000511 | WPPL13012 | 2013-249 | 1 of 164pcs | Shelf Container (Large Blue Bins) 243mmW x 4908mmD x 115mmH | RK521-B |  | Waters | Warehouse
350 | 1000511 | WPPL13012 | 2013-249 | 522 of 656pcs | Divider (Large Blue Bins) | RKT 5/421 B |  | Waters | Warehouse
351 | 1000511 | WPPL13012 | 2013-249 | 255pcs | Semi Open Front Container, Yellow L500/450mm x W300mm x H200mm | LF532 |  | Waters | Warehouse
352 | 1000809 | WPPL18003 | N.A | 1set | Racking Beams & Mesh Decking for Cold Room 32 no of Beam W2700mm & 32 Sets of Mesh Decking W1350 x D900mm |  | Tech-Link Engineering Pte Ltd | Waters | Cold Room
353 | 1000809 | WPPL18003 | N.A | 1set | Complete set of Pallet Racking System consisting of: a. 268 no of Frame H7800 x D900mm b. 29 no of Frame H6800 x D900mm c. 2,148 no of Beam W2700mm (2,000kg) d. 128 no of Beam W1350mm (1,000kg) e. 09 no of Protector Barrier W2200 x H1000mm f. 03 no of Protector Barrier W900 x H1000mm g. 48 bays of High Bay Shelving (Frame H6834 x W1200 x D600mm), total 702 tiers h. 64 metres of Guiderail i. 30 no of Mesh Decking W1350 x D900mm |  |  | waters | Warehouse
Any changes made are to be updated below:-
103 | Freezer dispose
132 | Update PM Last and Next Maintenance Date
2122 | Faulty monitor
2123 | Faulty monitor
2124 | Add new monitor
2125 | Add new monitor
2126 | Add new monitor
2127 | Add new monitor
2128 | Add new monitor
2129 | Add new monitor
2130 | Add new Gel Pack Freezer
2131 | Add new Freezer
Formulas:
N.A = [N.A]+365

## Removed Asset
Note: (1) ADC may apply company's QMS procedure for calibration / verification / validation accepted by Waters in this form. (2) ADC shall conduct necessary revalidation / verification if the equipments require repairs or are relocated. (3) Any amendment to the form shall be updated in the footnote and notify Waters for signatory. | [6 empty] | * SN# 100 onwards are equipment which requires calibration and/or maintenance * SN# 200 onwards are electronics equipment * SN# 300 onwards are MHE, storage and office equipment |  |  | UPDATED ON : 17 Dec 2019
S/N* | ASSET# | CEA# | PO# | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | MODEL | MANUFACTURER / DISTRIBUTOR | OWNER | EQUIPMENT LOCATION | REMARKS
1 - MAINTENANCE / CALIBRATION - TEMPERATURE - STORING AND MONITORING EQUIPMENT
126 | 1000454 | WPPL13006 | 2013-147 | W-017713-2 (PW: 9712) | Power Pre-Stretch Automatic Pallet Stretch Wrapping | MH-FG-2000K | Surepack / MP Pack | Waters | Warehouse | Sold to MP Pack under Invoice Ref. DN20191201 Collected on 06 Dec 2019
1 - CALIBRATION - WEIGHT MEASUREMENT EQUIPMENT
1 - MAINTENANCE - MATERIAL HANDLING EQUIPMENT
2 - ELECTRONICS - IT INFRASTRUCTURE
2 - ELECTRONICS - TEMPERATURE MONITORING SYSTEM
2 - ELECTRONICS - IT INFRASTRUCTURE (SERVER RACK)
2 - ELECTRONICS - PRINTER
2 - ELECTRONICS - HANDHELD SCANNING DEVICE
2 - ELECTRONICS - WAREHOUSE SECURITY SYSTEM
3 - MHE - MATERIAL HANDLING
3 - MHE - PACKING
319 | N.A | N.A | N.A | FA-NTS-70624 ** Not in use | Table Side Packaging System | Fill-Air NTS | Sealed Air | Sealed Air | Warehouse | Returned to Sealed Air on 12 Nov 2019
3 - SIGNAGE AND STAMP
3 - WAREHOUSE / WORKSTATION
3 - STORAGE

## Inventory - Removed or Missing (hidden)
Note: (1) ADC may apply company's QMS procedure for calibration/ verification/ validation accepted by Waters in this form (2) ADC shall conduct necessary revalidation/ verification if the equipments require repairs or are relocated. (3) Any amendment to the form shall be updated and notified Waters | [9 empty] | UPDATED ON : 31 Jul 2017
S/N | ASSET# | CEA# | PO# | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | LOCATION | CONDITION | REMARKS
| N.A | N.A | N.A | AS0540111315 | UPS System | APC | Smart-UPS SUA750RMI1U | N.A | Battery Flat | Scrapped on 14 Jun 2013
| 1000009 | USYD05008 | 2011-353 | Adc8150one / CNB8CBK404 ** Not in use | Printer | Hewlett Packard / ACJ Computers Pte Ltd | HP LaserJet Enterprise 600 M601DN | N.A | Not in working condition | Instructions given to EI dispose on 08 Jan 2016
| 1000009 | USYD05008 | 2012-052 | Adc8150two / CNB8CDM407 |  |  |  | DGP | Replaced | Transferred to DGP on 29 Dec 2015
| N.A | N.A | 2011-165 | 10313110 *Back ** Not in use | Dickson Data Logger | Binder | TK150 | N.A | Replaced | Last calibrated on 18 Mar 2014 Returned to WPPL on 11 Jan 2016
| N.A | N.A | 2011-165 | 10319085 *Front ** Not in use |  |  |  | N.A | Replaced
| N.A | N.A | N.A | TT10192734 *Spare | Optical Network Terminal | Ericsson | T063G | N.A | Replaced | Returned to WPPL on 09 Mar 2016
| N.A | N.A | N.A | 0017C5099230 *Spare | Network Security Firewall | SonicWALL | TZ190 - APL18-045 | Missing Inventory | N.A | Reported missing from inventory. EI have conducted a few rounds of searches but to no avail. Approved by Ee Ling to write off from the asset list on 05 Feb 2016
| 1000030 | WPPL07001 | N.A | 6316000502825 ** Not in use | 1-Dock Charger | Symbol | CRD9000-1001S | Missing Inventory | N.A
| 1000030 | WPPL07001 | N.A | ADCUSER / 6246000501238 | Handheld Scanner (Catamaran) | Symbol | MC9060 | N.A | Not in working condition. Battery will be used as spare in ADC. | Returned to WPPL on 08 Mar 2016. Fully depreciated. Approved by Zack Lin to dispose on 11 Mar 2016
| N.A | N.A | 2014-192 | 131003589 *Back | Humidity & Temperature Recorder Temperature Measurement: -40 ~ +85°C Comes with LogTag LT1/USB Logger Reader | LogTag / StreamPeak | HAXO-8 | S&D | Not calibrated | Decomission of logger Returned to WPPL on 2nd August 2016
| N.A | N.A | 2014-192 | 131003594 *Front
| N.A | N.A | N.A | 65421978 / 5HAKB625232 | Telephone | Panasonic | KX-T2373MXW | Missing Inventory | N.A | Reported missing from inventory. Expeditors have conducted a few rounds of searches but to no avail. Please advise for disposition
| N.A | N.A | N.A | FHK35078X6 *Spare | Router | Cisco | 870 | Missing Inventory | N.A
263 | 1000030 | WPPL07001 | N.A | ADCUSER 2 / 6295000501677 | Handheld Scanner (Catamaran v1.10) | Symbol / Advantech Peripherals Singapore Pte Ltd | MC9060 | S&D | Not in working condition | Returned to WPPL
| N.A | N.A | 2012-299 | 4211G2S (SG3PLNALI) | CPU | Dell | Optiplex 7010 | WPPL | N.A | Returned to WPPL on 12 Jul 2017 (Collected by Chin Ping)
| N.A | N.A | 2012-299 | 3211G2S (SG3PLAONG)
| N.A | N.A | 2012-299 | 2211G2S (SG3PLWTOH)
| N.A | N.A | 2013-146 | 86L7GY1 (SG3PLAJU)
212 |  |  | N.A | Waters-ADC1 / JPX8Y1S (CMS) | CPU | Dell | Optiplex 755
241 | 1000063 | 2008-030 | N.A | 03C08360517 | Thermal Label Printer (CMS / FedEx) | Zebra / Advanced Microcomputers Pte Ltd | S4M
| N.A | N.A | N.A | 3731TM1 (SG3PLGZHU) | Laptop | Dell | Latitude E4310
| N.A | N.A | N.A | 65462179 / 5HAKB625010 | Telephone | Panasonic | KX-T2373MXW | Office | Replaced by S/N# 202 | Pending disposition from WPPL
| N.A | N.A | N.A | 65468179 / 5HAKB625011 |  |  |  | Office | Replaced by S/N# 203 | Pending disposition from WPPL
| 1000013 | USYD05006 | N.A | 3-565853 - Damaged | Hand Pallet Jack | Crown | PTH50-20-48 | Warehouse (Level 2) | Not in working condition | Pending disposition from WPPL
| N.A | N.A | N.A | 1 pc - Damaged | Foldable Trolley | Unmarked | Unmarked | Warehouse (Level 1) | Not in working condition | Pending disposition from WPPL
| N.A | N.A | N.A | 8097000503115 - Not Working | 1-Dock Charger | Symbol | CRD9000-1000 |  | Not in working condition | Pending disposition from WPPL
| 1000063 | 2008-030 | N.A | Waters-ADC2 / 10X8Y1S ** Not in use | CPU | Dell | Optiplex 755 | EI | N.A | Pending disposition from WPPL
| 1000063 | 2008-030 | N.A | ADC3 / 6ND2X1S (Winnie) |  |  |  | EI | Replaced by S/N# 205 | Pending disposition from WPPL
| N.A | N.A | N.A | CN-0W4916-71618-56M-CB1C (CMS) | Monitor | Dell | 1704FPTf | EI | Not in working condition | Pending disposition from WPPL
222 | 1000640 | WPPL14019 | 2015-004/228 | AW04 / 0915-00186 | SMS Watch | Hanwell Monitoring System / Kenda Pte Ltd | AW04-UK | WPPL | Not in working condition Replaced by S/N# 127 | Pending disposition from WPPL
215 | N.A | N.A | N.A | CN-0G488H-72872-893-09EU (SG3PLAONG) | Monitor | Dell | 1908WFPf | EI | Not in working condition | Pending disposition from WPPL
201 | N.A | N.A | N.A | T31BK S16006287 | Combo Corded and Cordless Phone with Caller ID | Vtech / Courts | AT4501 | Waters | WPPL | Warranty Period: 18 Dec 2016 to 17 Dec 2017
202 | N.A | N.A | N.A | R34T S150005522 | Desktop Phone w/ Caller ID |  | AS7403 | Waters | WPPL | Warranty Period: 07 Dec 2016 to 06 Dec 2017
203 | N.A | N.A | N.A | R34T S150005523 |  |  |  | Waters | WPPL
207 | 1000748 | WPPL16028 | 2016-449 | ADC3 / 94H41H2 (SG3PLNALI) | CPU | Dell / Genesis Networks Pte Ltd | Optiplex 7040 | Waters | WPPL | Warranty Period: POW: 05 Jan 2017 to 06 Jan 2020 Hard Drive: 05 Jan 2017 to 06 Jan 2021
208 | 1000748 | WPPL16028 | 2016-449 | ADC4 / 94M31H2 (SG3PLWTOH) |  |  |  | Waters | WPPL
210 | 1000748 | WPPL16028 | 2016-449 | ADC6 / 94K81H2 (SG3PLGZHU) |  |  |  | Waters | WPPL
211 | 1000748 | WPPL16028 | 2016-449 | ADC7 / 94L61H2 (SG3PLJTAN) |  |  |  | Waters | WPPL
226 | N.A | N.A | N.A | 001570182F02 | Wireless Access Port | Symbol | AP300 | Waters | WPPL
227 | N.A | N.A | N.A | 001570182F6E |  |  |  | Waters | WPPL
238 | 1000011 | USYD05010 | N.A | 5357634 ** Not in use | Thermal Barcode Label Printer (SAP) | Zebra / Simplified Technology | S600TM | Waters | WPPL
239 | 1000030 | WPPL07001 | N.A | 5403193 ** Not in use |  | Zebra / Advantech Peripherals Singapore Pte Ltd |  | Waters | WPPL
242 | 1000063 | 2008-030 | N.A | 03C08181400 ** Not in use | Thermal Label Printer (CMS / FedEx) | Zebra / Advanced Microcomputers Pte Ltd | S4M | Waters | WPPL
247 | 1000750 | WPPL16025 | 2016-394 | 16346000500552 | Single Slot Serial/USB Charging Cradle with USB Cable and Power cord | Symbol / Autopack Pte Ltd | CRD9000-1000 | Waters | WPPL
262 | 1000030 | WPPL07001 | N.A | ADCUSER 3 / 6295000501674 | Handheld Scanner (Catamaran v1.10) | Symbol / Advantech Peripherals Singapore Pte Ltd | MC9060 | Waters | Warehouse
318 | N.A | N.A | N.A | 1pc ** Not in use | Air Compressor | Speedy | LD2001 | EI | Not in working condition
328 | N.A | N.A | 2010-200 | 2010-200B | Strapping Tool: Tensioner & Sealer | Megapac Industrial | Unmarked | EI | Not in working condition
231 | N.A | N.A | N.A | FGL164822T5 | Router | Cisco | 881 | Singtel | Office | Chin Ping collected to office
112 | N.A | N.A | 2016-220 | LOGGER# 5 / 0716-00964 ** Not in use | Dual Channel Temperature Transmitter with LCD Display | Hanwell / Kenda Pte Ltd | Monitoring System RL4000 RL4002-434.075 | Waters | Y - Performance verification completed for Cooler 1, 2 & Freezer 1 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 0216-00505 Channel B - SN# 0816-00061
243 | N.A | N.A | N.A | 8290000501608 | 1-Dock Charger | Symbol | CRD9000-1000 | TO DGP | No warranty
253 | 1000567 | WPPL14018 | 2014-329 | 1409300504798 | Handheld Scanner (Catamaran v11) | Motorola / Autopack Pte Ltd | MC92N0 | WPPL | No warranty
254 | 1000567 | WPPL14018 | 2014-329 | 1409300504822 |  |  |  | DGP
259 | N.A | N.A | N.A | ADCUSER / 8107000500272 | Handheld Scanner (Catamaran v11) | Motorola | MC9090 | Waters | Warehouse | No warranty
260 | N.A | N.A | N.A | ADCUSER 1 / 9186000502122 |  |  |  | Waters | Warehouse
261 | N.A | N.A | N.A | ADCUSER 4 / 9186000502136 |  |  |  | Waters | DGP
225 | 1000030 | WPPL07001 | N.A | 0015702B8EF0 | Wireless Switch | Symbol / Advantech Peripherals Singapore Pte Ltd | WS2000-SME-WWR | Waters | Office
229 | N.A | N.A | N.A | 10.249.25.254 / 0017C5443450 ** Spare | Network Security Firewall | SonicWALL | TZ210 - APL20-063 | Waters | Office
232 | N.A | N.A | N.A | M011327ALU00001321 | Optical Network Terminal | Alcatel-Lucent | I-240G-D | Singtel | Office
233 | N.A | N.A | N.A | 1648125005462 | Wireless-G Modem | Aztech | DSL1015EW(S) | Singtel | Office
|  |  |  | QBID2F2000310 | 8-Port Gigabit Easy Desktop Switch | D-Link | DGS-1008A | Starhub | Office