## 2 Jan 2020 (Waters)
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-01-16 | Current date: | 2020-01-02 10:24
Test Department |  |  |  |  | Update 2 Jan 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | WAT3 Micromass ID#3456 | Agilent 61/2 Digit Multimeter | Agilent Technologies | 34411A | MY48000677 | 2019-01-21 | 2020-01-21 | CEI / 2263 | Tech systems Services & integration | Yearly | Waters consigned |  | WAT 3
2 | WAT3 Micromass ID#3454 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44026448 | 2019-01-21 | 2020-01-21 | CEI / 2262 | Tech systems Services & integration | Yearly | Waters consigned |  | WAT 3
3 | Racal system | Keithley Source Measurement Unit control number : 90221 | Keithley | 236 | 0782275 | 2019-01-15 | 2020-01-31 | 1809763 | ESSCO Calibration Laboratory | Yearly | Waters consigned |  | Racal
4 | WAT8 5053 (TE82988-5) Quad Test (WA-4748/4809/4763/4764/4765 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY48002511 | 2019-03-22 | 2020-03-22 | CEI / 2066 | Tech systems Services & integration | Yearly | Waters consigned | replacement unit from Raymond no cal report given | WAT 8
5 | Racal system control No. 92239 | 6½ Digit VXI Multimeter ID#92239 12MO V019 | Racal Inc | 4152A | US38010180 | 2019-03-26 | 2020-03-26 | 2019000642 | Tra-Cal, LLC | Yearly | Waters consigned | 1st Trigger Waters Paul to calibrate spare unit 31 Jan 2020 | Racal
6 | Racal system control No.98205 | 3151 VX1 Waveform Generator ID#98205 V019 CEI | Racal Inc | 3151A+ | 0305800 | 2019-03-26 | 2020-03-26 | 2019000643 | Tra-Cal, LLC | Yearly | Waters consigned | 1st Trigger Waters Paul to calibrate spare unit 31 Jan 2020
7 | Racal system 2461-CD control No. 2241 | VX1 Counter Card [ID#92241 12MO V019] | Racal Inc | 2461-CD | 1100 | 2019-03-26 | 2020-03-26 | 2019000641 | Tra-Cal, LLC | Yearly | Waters consigned | 1st Trigger Waters Paul to calibrate spare unit 31 Jan 2020
8 | WAT8 Micromass 3192 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054B | B040453 | 2019-04-16 | 2020-04-16 | CEI / 2313 | Tech systems Services & integration | yearly | Waters consigned |  | WAT 8
9 | GTS1 95168 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 2019-04-25 | 2020-04-25 | 551220082948272 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
10 | GTS1 95169 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 2019-04-25 | 2020-04-25 | 551220082948264 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
11 | GTS1 95153 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 2019-04-25 | 2020-04-25 | 551220082948125 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
12 | GTS1 95158 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 2019-04-25 | 2020-04-25 | 551220082948145 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
13 | GTS1 91745 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 2019-04-25 | 2020-04-25 | 551220082948245 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
14 | GTS1 91744 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 2019-04-25 | 2020-04-25 | 551220082948253 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
15 | GTS1 95176 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 2019-04-25 | 2020-04-25 | 551220082948258 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
16 | GTS1 95177 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 2019-04-25 | 2020-04-25 | 551220082948247 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
17 | GTS1 95173 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 2019-04-25 | 2020-04-25 | 551220082948233 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
18 | GTS1 95172 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 2019-04-25 | 2020-04-25 | 551220082948241 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
19 | GTS1 91773 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 2019-04-25 | 2020-04-25 | 551220082948107 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
20 | GTS1 95175 | DC ELECTRONIC LOAD MAINFRAME | CHROMA | 6314 | 63140009193 | 2019-04-25 | 2020-04-25 | Cal. With DC load | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
21 | GTS1 95195 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 2019-04-25 | 2020-04-25 | 551220082948140 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
22 | GTS1 95193 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 2019-04-25 | 2020-04-25 | 551220082948160 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
23 | GTS1 95194 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 2019-04-25 | 2020-04-25 | 551220082948153 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
24 | GTS1 95192 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 2019-04-25 | 2020-04-25 | 551220082948168 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
25 | GTS1 91746 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 2019-04-25 | 2020-04-25 | 551220082948239 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
26 | GTS2 82988-9 ID# 93188 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 2019-04-26 | 2020-04-26 | 551220082948260 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
27 | GTS2 ID# 93244 12M WP72 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 2019-04-26 | 2020-04-26 | 551220082948182 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
28 | GTS2 82988-9 ID# 93190 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 2019-04-26 | 2020-04-26 | 551220082948284 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
29 | GTS2 82988-9 ID# | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A | 6314A0002902 | 2019-04-26 | 2020-04-26 |  | Micro Precision Calibration PTE LTD |  | Waters consigned |  | GTS2
30 | GTS2 82988-9 ID# 93168 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 2019-04-26 | 2020-04-26 | 551220082948194 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
31 | GTS2_ 82988-9 ID# 93178 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 2019-04-26 | 2020-04-26 | 551220082948199 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
32 | GTS2 82988-9 ID# 93179 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 2019-04-26 | 2020-04-26 | 551220082948210 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
33 | GTS2 82988-9 ID# 93180 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 2019-04-26 | 2020-04-26 | 551220082948214 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
34 | GTS2 ID# 93245 12M WP72 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 2019-04-26 | 2020-04-26 | 551220082948177 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
35 | GTS2 82988-9 ID# 93185 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 2019-04-26 | 2020-04-26 | 551220082948318 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
36 | GTS2 82988-9 ID# 93189 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 2019-04-26 | 2020-04-26 | 551220082948268 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
37 | GTS2 82988-9 ID# 93186 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 2019-04-26 | 2020-04-26 | 551220082948329 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
38 | GTS2 82988-9 ID# 93187 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 2019-04-26 | 2020-04-26 | 551220082948336 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
39 | GTS2 82988-9 ID# 93182 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 2019-04-26 | 2020-04-26 | 551220082948288 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
40 | GTS2 82988-9 ID# 93183 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 2019-04-26 | 2020-04-26 | 551220082948301 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
41 | GTS2 82988-9 ID# 93184 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 2019-04-26 | 2020-04-26 | 551220082948310 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
42 | GTS2 82988-9 ID# 93246 12M WP72 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 2019-04-26 | 2020-04-26 | 551220082948191 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
43 | PERSONALITY | Digital Multimeter 6.5digit | Agilent tech | 34411A | MY48002562 | 2019-05-28 | 2020-05-28 | CEI / 2337 | Tech systems Services & integration | yearly | New for Waters |  | spare unit
44 | TE82934-2 (RF DC BOX Functional Tester) | Keysight Multimeter | Keysight Technologies | 34411A | MY53001857 | 2019-06-21 | 2020-06-21 | CEI / 2349 | Tech systems Services & integration | Yearly | Waters consigned [controlled #4925] |  | TE82934-2 (RF DC BOX Functional Tester)
45 | GTS2 82988-9 ID# 93181 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241 | 2018-06-13 | 2020-06-30 | 1698752 | ESSCO cal. Lab | 2 Yearly | Waters consigned | Notify Waters paul on 30 Mar 2020 for calibration | GTS2
46 | GTS1 91743 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | 2018-07-31 | 2020-07-31 | 1722755 | ESSCO cal. Lab | 2Yearly | Waters consigned |  | GTS1
47 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | 2019-08-15 | 2020-08-15 | CEI / 2362 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
48 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | 2019-08-15 | 2020-08-15 | CEI / 2363 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
49 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | 2019-08-15 | 2020-08-15 | CEI / 2364 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
50 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | 2019-08-15 | 2020-08-15 | CEI / 2365 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
51 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | 2019-08-16 | 2020-08-16 | CEI / 2367 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
52 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | 2019-08-16 | 2020-08-16 | CEI / 2368 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
53 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | 2019-08-16 | 2020-08-16 | CEI / 2366 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
54 | Racal system ID# 92222 12MO WP72 | Electronic Load | HP | 60502B | US37244128 | 2019-08-15 | 2020-08-15 | CEI / 2374 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
55 | Racal system ID# 92224 12MO WP72 | Electronic Load | HP | 60502B | US37244138 | 2019-08-15 | 2020-08-15 | CEI / 2372 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
56 | Racal system ID#92225 12MO WP72 | Electronic Load | HP | 60502B | US37244141 | 2019-08-15 | 2020-08-15 | CEI / 2371 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
57 | Racal system | Tektronics 4-Channel Digitizing Oscilloscope | Tektronics | TDS460A | B071897 | 2019-08-15 | 2020-08-15 | CEI / 2375 | Tech systems Services & integration | yearly | Waters consigned |  | Racal
58 | Racal system ID# 90246WP72 | Electronic Load | HP | 60502B | US37243391 | 2019-08-15 | 2020-08-15 | CEI/2373 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
59 | Racal system ID#90245WP72 | Electronic Load | HP | 60502B | US37244144 | 2019-08-15 | 2020-08-15 | CEI/2369 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
60 | Racal system ID#90242WP72 | Electronic Load | HP | 60502A | 3011A-01246 | 2019-08-15 | 2020-08-15 | CEI/2370 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
61 | Racal system | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | 2019-08-22 | 2020-08-22 | '0786386:20190822171221 | Tektronix Southeast Asia Pte. Ltd | yearly | Waters consigned |  | Racal
62 | WAT3 Micromass ID#3460 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054B | B040740 | 2019-09-26 | 2020-09-26 | CEI / 2387 | Tech systems Services & integration | Yearly | Waters consigned |  | WAT 3
63 | TE82900 Waters RF Gen | DMM | Fluke | 87V | 90780496 | 2019-09-27 | 2020-09-27 | CEI / 2385 | Tech systems Services & integration | Yearly | Waters Consigned |  | TE82934-2 (RF DC BOX Functional Tester)
64 | WAT8 Quad Test (WA-4748/4809/4763/4764/4765 | 20 MHz Function / Arbitrary waveform generator | Agilent Tech | 33220A | MY44034380 | 2019-09-30 | 2020-09-30 | CEI / 2386 | Tech systems Services & integration | Yearly | Waters consigned |  | WAT 8
65 | TE82934-2 (RF DC BOX Functional Tester) | Data Acquisition switch Unit | Agilent Technologies | 34970A | MY44027658 | 2019-10-31 | 2020-10-31 | CEI / 2399 | Tech systems Services & integration | Yearly | Waters consigned |  | TE82934-2 (RF DC BOX Functional Tester)
66 | TE82934-2 (RF DC BOX Functional Tester) | Agilent Multimeter | Agilent Technologies | 34410A | MY47002770 | 2019-11-01 | 2020-11-01 | CEI / 2398 | Tech systems Services & integration | Yearly | Waters consigned |  | TE82934-2 (RF DC BOX Functional Tester)
67 | TE82934-2 RF box | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44015741 | 2019-12-24 | 2020-12-24 | CEI / 2423 | Tech systems Services & integration | Yearly | Waters consigned |  | TE82934-2 (RF DC BOX Functional Tester)
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Tektronix Southeast Asia Pte ltd | LA-1997-0124-C | 2016-01-01 | 2019-12-31 | ISO / IEC 17025: 2005
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Setsco Service Pte Ltd | LA_1993-0051-C | 2016-04-16 | 2020-04-15 | ISO / IEC 17025: 2005
|  | Bestlabs Singapore Pte Ltd | LA-2006-0358-C | 18 Dec'17 | 2020-09-14 | ISO / IEC 17025: 2005
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on B12: PTST: WA-4763 [4258203DC1 QUAD ASSY] WA-4764 [4258203DC2 QUAD ASSY] WA-5146 [700009078 SINGLE QUAD ASSY] WA-5147 700004493 SINGLE QUAD ASSY WA-4748 [4258208DC1 DUAL QUAD ASSY] WA-4809 [4258208DC2 ISSUE D2 SINGLE QUAD ASSY] WA-5195 [700004171 QUAD ASSY (4258203DC1 ISSUE D6)] Fixture 2 WA-4857-G [279002568 COM EXPRESS 2 MODULE (RoHS) ASSY ] WA-5143-G [279002658 COM E LEGACY (RoHS) ASSY] Fixture 3 WA-4765 [4217001DC1 ISSUE 5 48V TWIG ANALYSER UNIT] WA-5194 [700003510 48V TWIG ANALYSER UNIT (4217001DC1)]
Note on F15: PTST: 3194 previously MY48002510
Note on F39: Terng Buk Ngoh, Meryl: Replacement for 12M4070Z
Note on L47: PTST:New In used date 26 Mar 2013 replacement unit for MY48002510
Note on F68: PTST: Micromass 3978
Note on F69: PTST: ERP 4604
Note on F70: PTST: ERP 4603
Note on F71: PTST: 3195