## Sheet1
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | COST (USD) | MPC Cost(USD) | MPC Cost (SGD) | Cost Diff. (USD) | Cost Diff. with 10% (USD)
1 | Pipette | Eppendorf /VWR | P1000 | G42127G | WPPL Lab | 1 Year
2 | Pipette | Eppendorf / VWR | P1000 | G42285G | WPPL Lab | 1 Year
3 | Weighing Scale | Sartorius | MSA 125P-100-DI | 35701494 | WPPL Lab | 1 Year
4 | Multimeter | FLUKE / Region Suppliers (PTE) LTD | FL77-4 | 35700255 | WPPL Lab | 1 Year
5 | Wide Range Gauge | Edwards | D14703000 | 170077634 | WPPL Lab | 1 Year
6 | Wide Range Gauge | Edwards | D14703000 | 170077633 | WPPL Lab | 1 Year
7 | Wide Range Gauge | Edwards | D14703000 | 150253989 | WPPL Lab | 1 Year
8 | Wide Range Gauge | Edwards | D14703000 | 150253990 | WPPL Lab | 1 Year
9 | Traceable Stopwatch/ Timer Big Digit 4 Channel | VWR | 62344-641 | 170445616 | WPPL Lab | 2 Years
10 | Weight-1g | Sartorius | YCW313-00 | 34729085 | WPPL Lab | 1 Year
11 | Weight-10g | Sartorius | YCW413-00 | 35229142 | WPPL Lab | 1 Year
12 | Analogue Surface Resistance Meter Kit | Pro-Pack Materials Pte Ltd | SCS 701 | 7011745026 | WPPL Lab | 1 Year
13 | ESD Personnel Test Station | Vermason | 222563 | 1719001 | WPPL Lab | 1 Year
14 | Megger MIT410/2 Insulation Tester | Megger | MIT410/2 | 1006337101688680 | WPPL Lab | 1 Year
15 | Glassware washer | Lab Science Solution Pte Ltd | PG8593 | 74400208 | WPPL Lab | 1 Year
16 | Pipette | Eppendorf /VWR | 200uL | I22994G | WPPL Lab | 1 Year
17 | Pipette | Eppendorf /VWR | 200uL | I22911G | WPPL Lab | 1 Year
18 | Grundfos Pump | Adept Pure Water Limited | CME3-5 | 98358937 | Richport | 1 Year
19 | Tempreature Recorder | LogTag | TRIX-8 | 1000848285 | WPPL | 1 Year
20 | Tempreature Recorder | LogTag | TRIX-8 | 1000848290 | WPPL | 1 Year
21 | Tempreature Recorder | LogTag | TRIX-8 | 1000848288 | WPPL | 1 Year
22 | Tempreature Recorder | LogTag | TRIX-8 | 1000848283 | WPPL | 1 Year
23 | Tempreature Recorder | LogTag | TRIX-8 | 1000848289 | WPPL | 1 Year
24 | Tempreature Recorder | LogTag | TRIX-8 | 1000848284 | WPPL | 1 Year
25 | Tempreature Recorder | LogTag | TRIX-8 | 1000848286 | WPPL | 1 Year
26 | Tempreature Recorder | LogTag | TRIX-8 | 1000848287 | WPPL | 1 Year
27 | DIGIMATIC MICROMETER | Mitutoyo | MDC-1"PX | 632855699 | WPPL | 1 Year
28 | DIGIMATIC CALIPER | Mitutoyo | CD-8"ASX | B16215984 | WPPL | 1 Year
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75 | 169.7377 | 230 | -94.7377
31 | Keithley Source Measurement Unit #1 | Keithley | 236 | 782275 | CEI PCBA | 12 | 1017.11 |  | 230
32 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 | 145.89 |  | #N/A
33 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 | 145.89 |  | #N/A
34 | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 | 132.63 |  | #N/A
35 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C | C011085 | CEI PCBA | 12 | 298.42 |  | #N/A
36 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 | 397.89 |  | #N/A
37 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 | 397.89 |  | #N/A
38 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 | 119.37 |  | #N/A
39 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 | 119.37 |  | #N/A
40 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 | 119.37 |  | #N/A
41 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 | 119.37 |  | #N/A
42 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 | 232.1 |  | #N/A
43 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017022 | CEI PCBA | 12 | 198.94 |  | #N/A
44 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017023 | CEI PCBA | 12 | 198.94 |  | #N/A
45 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017030 | CEI PCBA | 12 | 198.94 |  | #N/A
46 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017042 | CEI PCBA | 12 | 198.94 |  | #N/A
47 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 | 397.89 |  | #N/A
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165.79 |  | #N/A
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165.79 |  | #N/A
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165.79 |  | #N/A
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165.79 |  | #N/A
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165.79 |  | #N/A
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165.79 |  | #N/A
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165.79 |  | #N/A
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 165.79 |  | #N/A
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 165.79 |  | #N/A
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 165.79 |  | #N/A
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 271.89 |  | #N/A
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 165.79 |  | #N/A
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 165.79 |  | #N/A
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 165.79 |  | #N/A
62 | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | CEI PCBA | 12 | 1135.64 |  | #N/A
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34 | 88.5588 | 120 | -29.2188
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7 | 59.0392 | 80 | -5.3392
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7 | 59.0392 | 80 | -5.3392
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 223.76 | 221.397 | 300 | 2.363 | 2.5993
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 231.5 | 132.8382 | 180 | 98.6618 | 108.528
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 159.71 | 73.799 | 100 | 85.911 | 94.5021
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12 | 88.5588 | 120 | -9.4388
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74 | 221.397 | 300 | -3.657
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | 201.39 |  | No Capability
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | 201.39 |  | No Capability
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78 | 221.397 | 300 | -1.617
84 | Liquilaz | Particle Measuring Systems | E20P | 51053 | Flex | 12 | 1353.85 |  | No Capability
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26 | 59.0392 | 80 | -6.7792
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87 | 33.2096 | 45 | -9.3395
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44 | 33.2096 | 45 | -9.7695
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9 | 33.2096 | 45 | -15.3096
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44 | 33.2096 | 45 | -9.7695
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | 285.71 |  | No Capability
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74 | 221.397 | 300 | -3.657
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | 805.86 |  | No Capability
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 1303.48 | 332.0955 | 450 | 971.3845 | 1068.523
119 | Universal Front End Tester | Keithley | 236 | 704826 | Flex Senai | 12 | 306.83 |  | #N/A
120 | Universal Front End Tester | Keithley | 236 | 796741 | Flex Senai | 12 | 3470 |  | #N/A
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 485.07 |  | #N/A
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 | 609.67 |  | #N/A
123 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 | 471.77 |  | #N/A
124 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 | 471.77 |  | #N/A
125 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | Flex Senai | 12 | 119.92 |  | #N/A
126 | Function / Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 | 143.9 |  | #N/A
127 | Digital Multimeter | Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 | 107.93 |  | #N/A
128 | Mainframe / Electronic Load Module | Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | Flex Senai | 12 | 167.89 |  | #N/A
129 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | Flex Senai | 12 | 41.97 |  | #N/A
130 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | Flex Senai | 12 | 41.97 |  | #N/A
131 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | Flex Senai | 12 | 41.97 |  | #N/A
132 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | Flex Senai | 12 | 41.97 |  | #N/A
133 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | Flex Senai | 12 | 41.97 |  | #N/A
134 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | Flex Senai | 12 | 41.97 |  | #N/A
135 | Source Measure Units | Keithley | 236 | 0810603 | Flex Senai | 12 | 3470 |  | #N/A
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | 720 |  | No Capability
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 141.5 |  | #N/A
143 | DC Power Supply | TDK Lambda | GENH30-25 | 95166 | Venture PCBA (LC) | 12 | 160 |  | #N/A
144 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95170 | Venture PCBA (LC) | 12 | 160 |  | #N/A
145 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95165 | Venture PCBA (LC) | 12 | 160 |  | #N/A
146 | DC Power Supply | TDK Lambda | GENH30-25 | 95167 | Venture PCBA (LC) | 12 | 160 |  | #N/A
147 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95164 | Venture PCBA (LC) | 12 | 160 |  | #N/A
148 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95171 | Venture PCBA (LC) | 12 | 160 |  | #N/A
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170 |  | #N/A
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170 |  | #N/A
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170 |  | #N/A
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170 |  | #N/A
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170 |  | #N/A
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170 |  | #N/A
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 170 |  | #N/A
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 | 200 |  | #N/A
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240 |  | #N/A
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 | 250 |  | #N/A
159 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 247.2 |  | #N/A
160 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 360 |  | #N/A
161 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 360 |  | #N/A
162 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 247.2 |  | #N/A
163 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 360 |  | #N/A
164 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 247.2 |  | #N/A
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 | 270 |  | #N/A
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 | 270 |  | #N/A
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 | 144 |  | #N/A
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350 |  | #N/A
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250 |  | #N/A
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 | 270 |  | #N/A
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 |  | 295.196 | 400 | -295.196
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 300 | 295.196 | 400 | 4.804 | 5.2844
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 144 |  | #N/A
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250 |  | #N/A
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | 258.2965 | 350 | -58.2965
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 176 | 132.8382 | 180 | 43.1618 | 47.478
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 350.4 | 132.8382 | 180 | 217.5618 | 239.318
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 144 | 132.8382 | 180 | 11.1618 | 12.278
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 432 | 413.2744 | 560 | 18.7256 | 20.5982
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 180 | 110.6985 | 150 | 69.3015 | 76.2317
206 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97019 | Venture PCBA (MS) | 12 | 160 |  | #N/A
207 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97020 | Venture PCBA (MS) | 12 | 160 |  | #N/A
208 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97015 | Venture PCBA (MS) | 12 | 160 |  | #N/A
209 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97016 | Venture PCBA (MS) | 12 | 160 |  | #N/A
210 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97017 | Venture PCBA (MS) | 12 | 160 |  | #N/A
211 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97018 | Venture PCBA (MS) | 12 | 160 |  | #N/A
212 | DC ELECTRONIC LOAD | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 | 240 |  | #N/A
213 | DC ELECTRONIC LOAD | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 | 240 |  | #N/A
214 | DC ELECTRONIC LOAD | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 | 240 |  | #N/A
215 | DC ELECTRONIC LOAD | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 | 240 |  | #N/A
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 | 144 |  | #N/A
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 | 250 |  | #N/A
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 | 200 |  | #N/A
219 | Prog Resistor | Marvin Test Solution | GX1164 | 97014 | Venture PCBA (MS) | 12 |  |  | #N/A
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 | 270 |  | #N/A
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 | 270 |  | #N/A
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 | 270 |  | #N/A
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | 0 |  | #N/A
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | 0 |  | #N/A
225 | Prog. Resistance Card | Geotest | GX1164-01 | 11640209 (95750) | Venture PCBA (LC) | 24 | 0 |  | #N/A
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | 2634.77 |  | No Capability

## CM
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | MPC-2020 Price (SGD) | Remark
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 300
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 230
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 120
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 80
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 80
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 300
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 180 | up to 10k psi
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 100 | up to 1KV
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 120
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 300
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | No Capability | can do normal calibration with data only
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | No Capability | can do normal calibration with data only
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 300
84 | Liquilaz | Particle Measuring Systems | E20P |  | Flex | 12 | No Capability | can do normal calibration with data only
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | No Capability
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 300
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | No Capability | No Capability
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 230
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 230
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 230
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 230
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 450 | Follow previous cal cert
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | No Capability | No Capability
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 400
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 400
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 | 400
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 400
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 300
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 300
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 350
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 180
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 180
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 180
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 300
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 300
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 300
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 300
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 230
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 230
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 230
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 230
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 230
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 560
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 150
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | No Capability