## Summary Page
Flex Golden Unit Status
Item | Description | Quantity | Status
1 | Online | 9
2 | For Salvage Part | 2
3 | Keypoint Transfer | 1
4 | Reliabilty Unit | 6
5 | Reserved for Alliance FT | 4
6 | Scrap | 5
| Total | 27

## Listing
|  | Updated : | 2020-11-23
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Known Good unit | 2489/TUV | 186015022 | K05UPT479M | 1.10.1174 | 2007 | Online | 700002554 - Flex build 186015031 / similar build with 186015022
2 | Known Good unit | 2489/TUV | 186015031 | C10TUV025N | 1.60.2274 | 2012 | Online | 700005245 - Flex build 186015031
3 | Known Good unit | 2489/TUV | 186002487 | L0787E095M | 1.40.1966 | 2009 | Online | 279001150 - Flex build 186002487
4 | Known Good unit | 2489/TUV | WAT081110 | H05487269M | 1.01 (Spare bench testing only) | 2007 | Online | WAS081147 - Flex build 186002487
5 | Known Good unit | 2489/TUV | WAT081110 | H05487273M | 1.01 (Spare bench testing only) | 2007 | Online | WAS081147 - Flex build 186002487
6 | Known Good unit | 2998/PDA/eLambda | 186002998 | D08998406N | 1.41.6164 | 2010 | Online | 700011867 ;700003765 Flex build 186002998
7 | Known Good unit | 2998/PDA/eLambda | 186299800 | B13998443A | 1.41.6164 | 2015 | Online | 700003765 ;700003765 - Flex build 186299800
8 | Known Good unit | 2998/PDA/eLambda | 186015032 | BETUPD008N | 1.65.6229 | 2012 | Online | 700002787 ; 700011652 - Flex build 186015032
9 | Known Good unit | 2998/PDA/eLambda | 186015034 | G13C2P293N | TBD | 2015 | Online | 700009532 - Flex build PN 186015034
10 | Known Good unit | 515 Hplc | WAT207000 | NA | NA | NA | Keypoint Transfer | 1. Not in use 26-Aug-2020 515 Golden Unit - retest and pass testing - work with Guan Yee and to send to Keypoint
11 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E725A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software 4. Reserved for Test Station detector for Alliance
12 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E727A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software 4. Reserved for Test Station detector for Alliance
13 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E728A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software 4. Reserved for Test Station detector for Alliance
14 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E729A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software 4. Reserved for Test Station detector for Alliance
15 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E732A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software 4. Reserved for Test Station detector for Alliance
16 | Reliability unit | 2489 UV/Visible Detector | 186248900 | K1787E745A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
17 | Reserved for Alliance FT | 2489 UV/Visible Detector | 186248900 | K1787E723A | 1.69.2682 | 2017 | Reserved for Alliance FT | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
18 | Reserved for Alliance FT | 2489 UV/Visible Detector | 186248900 | K1787E724A | 1.69.2682 | 2017 | Reserved for Alliance FT | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
19 | Reserved for Alliance FT | 2489 UV/Visible Detector | 186248900 | K1787E730A | 1.69.2682 | 2017 | Reserved for Alliance FT | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
20 | Reserved for Alliance FT | 2489 UV/Visible Detector | 186248900 | K1787E731A | 1.69.2682 | 2017 | Reserved for Alliance FT | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
21 | Not In Use | TUV | 186015028 | A08UPT943M | 1.60.2273 | NA | Scrap | 1. Defective unit 2. Wavelength Verifcation Failure 3. Not for Spare Bench Testing 4. Not able to repair due to obsolete personality board
22 | Bad unit | 2489 | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005 | For Salavage Part | 1. Test Spare OB PN WAS081147 2. Defective unit 2. No Display 4. Able to repair but no personality PCBA and Lamp Power Supply available in Flex part Numbers 5. Salvage part as spare to H05487273M
23 | Bad unit | 2489 | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | For Salavage Part | 1. Test Spare OB PN WAS081147 2. Defective unit 2. No Display 4. Able to repair but no personality PCBA and Lamp Power Supply available in Flex part Numbers 5. Salvage part as spare to H05487273M
24 | Not In Use | PDA | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | Scrap | 1. NPI Unit 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
25 | Not In Use | eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | Scrap | 1. NPI Unit 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
26 | Not In Use | 1515 HplC | 186001515 | NA | NA | NA | Scrap | 1. Used as display set during initial stage of project - Not a functioning system - Non salvagable part 02-Sep-2020 1515 unit not able to detect by tester - Eng'g Team agree to scrap
27 | Not In Use | 1525 Hplc | 186001525 | NA | NA | NA | Scrap | 1. Used as display set during initial stage of project - Not a functioning system - Non salvagable part 26-Aug-2020 1525 - No CPU board to retest / different PN - Team agree to declare not Golden. - Eng'g Team agree to scrap

## To use
|  | Updated : | 2020-10-16
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Known Good unit | 2489/TUV | 186015022 | K05UPT479M | 1.10.1174 | 2007 | Online | In use for spare bench p/n:700002554
2 | Known Good unit | 2489/TUV | 186015031 | C10TUV025N | 1.60.2274 | 2012 | Online | In use for spare bench p/n: 700005245
3 | Known Good unit | 2489/TUV | 186002487 | L0787E095M | 1.40.1966 | 2009 | Online | In use for spare bench p/n: 279001150
4 | Known Good unit | 2489/TUV | WAT081110 | H05487269M | 1.01 (Spare bench testing only) | 2007 | Online | Working condition p/n:WAS081147
5 | Known Good unit | 2489/TUV | WAT081110 | H05487273M | 1.01 (Spare bench testing only) | 2007 | Online | Working condition p/n:WAS081147
6 | Known Good unit | 2998/PDA/eLambda | 186002998 | D08998406N | 1.41.6164 | 2010 | Online | In use for spare bench p/n:700011867 and 700003765
7 | Known Good unit | 2998/PDA/eLambda | 186299800 | B13998443A | 1.41.6164 | 2015 | Online | In use for spare bench p/n: 700003765 and 700003765
8 | Known Good unit | 2998/PDA/eLambda | 186015032 | BETUPD008N | 1.65.6229 | 2012 | Online | In use for spare bench p/n: 700002787 and 700011652
9 | Known Good unit | 2998/PDA/eLambda | 186015034 | G13C2P293N | Not Tested in Flex and no test report | 2015 | Yes | In use for spare bench p/n:700009532

## To Scrap
|  | Updated : | 2020-10-16
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Known Good unit | 2489/TUV | 186015028 | A08UPT943M | 1.60.2273 | NA | To Scrap | 1. Not In Use 2. Wavelength Verifcation Failure
2 | Known Good unit | 2489/TUV | WAT081110 | L03487649M | 1.01 (Spare bench testing only) | 2005 | To Scrap | 1. Defective unit 2. No Display
3 | Known Good unit | 2489/TUV | WAT081110 | H05487251M | 1.01 (Spare bench testing only) | 2007 | To Scrap | 1. Defective unit 2. Auto Restart
4 | Known Good unit | 2998/PDA/eLambda | 186015026 | B08UPD563M | Not Tested in Flex and no test report | 2010 | To Scrap | 1. Not in use. 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
5 | Known Good unit | 2998/PDA/eLambda | 186015030 | A09UPL372M | Not Tested in Flex and no test report | 2011 | To Scrap | 1. Not in use. 2. Unable to test spare bench as Known good unit version. 3. Not compatible with current software of TE82882 4. Will encounter loss comm when running test
6 | Known Good unit | 1515 HplC | 186001515 | NA | NA | NA | To Scrap | 1. Not in use 02-Sep-2020 1515 Golden UUT not able to detect by tester - - Eng'g Team agree to scrap
7 | Known Good unit | 1525 Hplc | 186001525 | NA | NA | NA | To Scrap | 1. Not in use 26-Aug-2020 1525 - No CPU board to retest / different PN - Team agree to declare not Golden. - Eng'g Team agree to scrap

## Keypoint
|  | Updated : | 2020-10-16
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Known Good unit | 515 Hplc | WAT207000 | NA | NA | NA | Request to return to WPPL | 1. Not in use 26-Aug-2020 515 Golden Unit - retest and pass testing - work with Guan Yee and to send to Keypoint

## Reliability Units
|  | Updated : | 2020-10-16
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Reliability unit | 2491 UV/Visible Detector | 186248900 | K1787E725A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
2 | Reliability unit | 2492 UV/Visible Detector | 186248900 | K1787E727A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
3 | Reliability unit | 2493 UV/Visible Detector | 186248900 | K1787E728A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
4 | Reliability unit | 2494 UV/Visible Detector | 186248900 | K1787E729A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
5 | Reliability unit | 2497 UV/Visible Detector | 186248900 | K1787E732A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)
6 | Reliability unit | 2498 UV/Visible Detector | 186248900 | K1787E745A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software)

## Reserved for Alliance FT
|  | Updated : | 2020-09-23
No. | Category | Product Family | Part Number | Serial No. | FW Version | Date Received | Status | Remarks
1 | Reserved for Alliance FT | 2489 UV/Visible Detector | 186248900 | K1787E723A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
2 | Reserved for Alliance FT | 2490 UV/Visible Detector | 186248900 | K1787E724A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
3 | Reserved for Alliance FT | 2495 UV/Visible Detector | 186248900 | K1787E730A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed
4 | Reserved for Alliance FT | 2496 UV/Visible Detector | 186248900 | K1787E731A | 1.69.2682 | 2017 | Reliability unit | Reliability unit need to 1. Replaced Ellipsoidal DT Mirror P/n: 402000170 2. 402000451 Deutium Lamp 3. Upgrade version software) 14-Sep-2020 Refurbishment completed