## Slide 1
WPPL-GES Weekly Meeting

## Slide 2
Agenda:
1. Scope of weekly review and failure alert level.
2. First Pass Yield (Hard Failures Review & FPY Trending) based on per family:
  FTN
  iBSM/QSM
  Column Mgr and Htr
  Alliance
  Detector
3. Others
  AOB

## Slide 3
Instruments based on Family Name:

## Slide 4
iBSM/QSM

## Slide 5
iBSM/QSM
Remarks:
186017000 (Fail Functional) Test Input D Prime with MeOH Fail PN 205001671 for WK33.
186017000 (Fail Functional) Test Alarms at Bootup PN 210000345 for WK33.
186015000 (Fail Functional) Test Alarms at Bootup PN 210000422 for WK33.
186015082 (Fail Functional) Test Alarms at Bootup PN 210000422 for WK33.

## Slide 6: Summary of Hard Failures Verification

## Slide 7
FTN

## Slide 8
FTN
Remarks:
186015017 (Fail Functional) Dynamic Leak Test PN 430002640 for WK33.
186015017 (Fail Functional) Restart Initialization Error PN 210000367 for WK33.
186015017 (Fail Functional) R Axis Calibration Fail PN 210000367 for WK33.
186015046 (Fail Functional) Restart Initialization Error PN 210000367 X2 for WK33.

## Slide 9: Summary of Hard Failures Verification

## Slide 10: Summary of Hard Failures Verification

## Slide 11
Column Mgr & Htr

## Slide 12
Column Mgr & Htr
Remarks:
186015042 (Fail Functional) Pre Heater Interface Test [Right] Fail PN 210000719 for WK33.

## Slide 13: Summary of Hard Failures Verification

## Slide 14
Detector

## Slide 15
Detector
Remarks:
279001335 (Fail Functional) Fail Function PN 402000129 X2 for WK33.

## Slide 16: Summary of Hard Failures Verification

## Slide 17
Alliance

## Slide 18
Remarks:
No parts were on the failure alert level for WK33.
Alliance