## Slide 1: Venture Engineering meeting minutes
QDA – Calibration Pins.
Venture to share analysis report with WPPL and set this item to medium priority.
2. R-R energy test yield dipped.
Should monitoring the flow cell batch difference in the next occurrence as the 6 units failed during Jul were fixed by replacing flow cell mostly.
3. Seal force test improvement
Venture will use the remaining high nominal value springs for evaluation. Suggest HC to monitoring the evaluation progress as it’s involved assembly and production scheduling.
4. Asset Manual review
HC to resend all product line asset manual to HZ. WPPL team review asset manual together.
5. I Button LED check software update
HZ to check with Matt the progress
6. Detector tester IQ
YW is working on this IQ
7. Golden flow cell build
MiMi/HZ to check the email from Matt F
8. Tooling/testers repair
Engineers should verify the tooling/tester performance after repair to make sure it’s working properly.