## Slide 1: Fixture Dashboard
TE82760-4 – 2475 detector Final tester PM 03May2018 - Completed
TE82760-5 – 2475 detector Final tester PM 10May2018
Notes: Venture – Reference energy failure at optics bench
Flex – wavelength verification issue, PDA issue
Check if affecting ASO

## Slide 2
CM | Tester | Total Tester | IQ Status |  | 
 |  |  | Completed | In Progress | Pending
GES | FTN | 8 | 8 | 0 | 0
 | I-BMS | 6 | 6 | 0 | 0
Flex | H-BSM | 8 | 8 | 0 | 0

## Slide 3: Bifrost –Tester IQ Status
CM | Week of (estimate) |  | 09.Apr.18 | 16.Apr.18 | 23.Apr.18 | 30.Apr.18 | 07.May.18
Venture | FTN | TE83064-10 | Completed |  |  |  | 
 |  | TE83064-11 | Completed |  |  |  | 
 |  | TE83064-12 |  | Completed |  |  | 
 |  | TE83064-13 |  | Completed |  |  | 
 |  | TE83064-14 |  |  | Completed |  | 
 |  | TE83064-15 |  |  | Completed |  | 
 |  | TE83064-16 |  |  |  | Completed | 
 |  | TE83064-17 |  |  |  | Completed | 
 | I BSM | TE82943-1 |  | Completed |  |  | 
 |  | TE82943-19 |  | Completed |  |  | 
 |  | TE82943-20 |  |  | Completed |  | 
 |  | TE82943-21 |  |  | Completed |  | 
 |  | TE82943-22 |  |  |  | Completed | 
 |  | TE82943-24 |  |  |  | Completed | 
Flex | H QSM | TE82943-11 |  | Completed |  |  | 
 |  | TE82943-12 |  | Completed |  |  | 
 |  | TE82943-13 |  |  | Completed |  | 
 |  | TE82943-14 |  |  | Completed |  | 
 |  | TE82943-15 |  |  |  | Completed | 
 |  | TE82943-16 |  |  |  | Completed | 
 |  | TE82943-17 |  |  |  |  | Completed
 |  | TE82943-18 |  |  |  |  | Completed

## Slide 4: Alliance FPY
Chart: FPY Alliance FPY % ( Related to Carryover)
| 43197 | 43199 | 43200 | 43201 | 43202 | 43204 | 43203 | 43206 | 43207 | 43208 | 43209 | 43210 | 43211 | 43213 | 43214 | 43215 | 43216 | 43217 | 43218 | 43220 | 43222 | 43223 | 43224 | 43225 | 43227 | 43228 | 43229 | 43230
Pass on first test | 8 | 9 | 9 | 10 | 6 | 7 | 10 | 14 | 24 | 4 | 9 | 6 | 10 | 2 | 10 | 6 | 11 | 8 | 5 | 11 | 10 | 11 | 15 | 10 | 5 | 16 | 8 | 7
Resolve unit | 7 | 2 | 4 | 5 | 2 | 3 | 7 | 3 | 7 | 8 | 6 | 2 | 1 | 7 | 5 | 13 | 8 | 2 | 11 | 7 | 11 | 6 | 5 | 11 | 7 | 5 | 6
FPY | 0.53333 | 0.81818 | 0.69231 | 1 | 0.54545 | 0.77778 | 0.76923 | 1 | 0.77419 | 0.57143 | 0.5625 | 0.42857 | 0.625 | 0.5 | 0.90909 | 0.46154 | 0.6875 | 0.38095 | 0.38462 | 0.84615 | 0.47619 | 0.61111 | 0.57692 | 0.625 | 0.5 | 0.59259 | 0.53333 | 0.58333
Target | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8

## Slide 5
Chart: Carryover % Run Chart