## Flex
Log Number | Engineering Group | ASP TSP No | TE Tool No | STATUS | Problem Summary | Justification
171714 | Test Engineering | WAT242102 | N/A | OPEN | Proposed to update TSP Doc No: WAT242102 Rev 4 1) To include Waters PN 279003385, 279002592, 279003250 on the cover sheet | Part Number not mention in the TSP by default is considered untested part and subject to non compliance during audit
193814 | Test Engineering | 735001613 | TE82882 | OPEN | The final test record for Detector(TE82882-All and TE82969-1) and SDS ( TE82943-All) has incomplete of 'start time' and 'end time' print out. The second of time is disappeared from test record. Please kindly update the final test record template to print out the complete time, including the seconds on test record. Please refer to attachment on page 2 for the details. | Trunacated part of any test station report in any printed report is non compliance to good documentation practices for Flex
193244 | Test Engineering | WAT271129 | 186000139 | OPEN | Flex Singapore feedback this Alliance Final Test workstation 3 has frequently hanging issue. They request to replace this workstation with a windows 7 workstation. Can you please help to access if this PC hang issue can be fixed? or have to replace the workstation? If replacing workstation, can you please advise the spec of workstation for Alliance Final Tester? Thanks. Below is message from Flex, 1. Problem Statement : Alliance Final Test Station 3 having frequent hang during Final Test execution . Refer to attached file. 2. Acceptance Criteria Not Met: The test station must be able to execute Final Tester of 4 units simultaneously without system hang during test . Not able to complete test an need to restart the CPU leaving down station 3. Info on whether this issue impacts revenue : No impact yet to revenue but sure one day will hit when the numbers are up. This is to prepare for upsize of Alliance. | 1. No issue with capacity if there's hang on tester. 2. Tester shutdown is still within acceptable numbers but post frustration to test techncian performing the task. This is very evident if you are testing 4 untis at the same time and system hang. Though data was collected between Aliance Final Test1, 3 and 5, number of hang happens more in Final Test 5.

## Alliance FT Hang
| ALLIANCE FINAL TESTER HANG |  |  | ACTION TAKEN | REMARKS
DATE | FINAL TEST # 1 | FINAL TEST # 3 | FINAL TEST # 5
2019-09-03 | 11:00 | 15:00 | 15:00 | Perform Diskcheck Error
2019-09-24 |  |  | 13:30 | Restart
2019-09-26 |  |  | 16:00 | Restart
|  |  | 17:20 | Restart
2019-09-27 |  |  | 11:00 | Restart
2019-09-30 |  | 15:00 |  | Perform Diskcheck Error
2019-10-02 |  |  | 14:00 | Restart
2019-10-03 |  |  | 14:00 | Restart
2019-10-11 |  |  | 9:00 | Restart
2019-10-14 |  | 14:40 | 12:00 15:20 | Restart
|  | 16:00 | 14:00 | Restart
|  |  | 15:00 | Restart
|  |  | 15:20 | Restart
2019-10-21 |  | 10:00 |  | Restart
2019-10-22 |  | 12:00 |  | Restart
2019-10-29 | 11:00 | 12:00 | 15:40 | Perform Diskcheck Error
2019-10-30 |  | 15:00 | 15:30 | Perform Diskcheck Error
2019-10-05 |  |  | 13:00 | Restart
2019-10-20 |  |  | 14:30 | Restart
2019-10-21 |  |  | 9:00 | Restart
2019-10-22 |  |  | 10:00 | Restart
2019-10-25 |  |  | 11:00 | Restart
2019-11-20 |  | 12:00 |  | Restart
2019-11-20 |  | 15:00 |  | Restart
2019-12-12 |  | 10:00 |  | Restart
2020-01-02 |  |  | 14:00 | Restart
2020-01-03 |  |  | 12:00 | Restart
2020-01-07 |  |  | 11:00 | Restart
2020-01-08 |  |  | 12:00 | Restart
2020-01-09 |  |  | 11:00 | Restart
2020-01-10 |  |  | 11:00 | Restart
2020-01-11 |  |  | 11:00 | Restart
2020-01-13 |  |  | 9:00 | Restart
2020-01-22 |  | 11:00 |  | Restart
2020-01-30 |  | 15:00 |  | Perform Diskcheck Error
2020-01-31 |  |  | 15:00 | Increase VM
2020-02-04 | 8:10 |  |  | Restart
2020-02-04 | 9:40 |  |  | Perform Diskcheck Error
2020-03-05 | 16:00 |  | 13:30 | Perform Diskcheck Error
2020-02-10 |  | 11:00 |  | Restart
2020-02-11 |  | 11:30 |  | Restart
2020-02-12 |  | 14:00 |  | Restart
2020-02-13 |  | 15:20 |  | Restart
TOTAL | 5 | 17 | 29