Venture production is seeing high failure of 0.3ml/min flow rate accuracy failure at TE#82943-1 as attached slide. We want to lower this failure rate by looking into this particular tester TE#82943-1, see if possible to improve test yield by replacing the parts such as R1 & R2 (TSP200350) Balance internal tubes.  Before doing that, we would like to seek your advice about this replacement.

Can we replace