## Summary
Total items in CMs
| Flex Singapore | Flex Senai | Venture Singapore | Venture PCBA | CEI Singapore | CEI Batam | Richport | Keypoint
Computers | 54 | 5 | 38 | 2 | 8 | 2 | 0 | 0
Server | 1 | 1 | 1 | 1 | 1 | 2 | 0 | 0
Lable Printers | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0
PC/Server in the color are managed by Bill Irons

## Flex (Singapore)
PC (Tester) = | 54
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV | Wannacrypt Update
10.249.26.2 | SOLECTRONISNL1 | Solectron Instrument Serial Number Label 1 | 2006-01-20 | M50 | KKPPZ6P |  | 0.5 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.3 | SOLECTRONPNL1 | Solectron Part Number Label 1 | 2006-01-20 | M50 | KKPAA7A |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.4 | SOLECTRONCOFP1 | Solectron Certificate Of Functional Performance 1 | 2006-01-20 | M50 | KKMAB8Z |  | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.9 | TE82800-2 | Acquity Solvent Manager Pump Test Station | 2010-01-11 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.10 | TE82800-3 | Acquity Solvent Manager Pump Test Station | 2009-10-14 | M50 | KKPAB0R | 2005 | 1.5 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.11 | TE82943-11 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | H08L32067W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.12 | TE82943-12 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | MO8L32055W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.13 | TE82943-13 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32151W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.14 | TE82943-14 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32177W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.15 | TE82943-15 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | M08L32051W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.16 | TE82943-16 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | B08L32155W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.17 | TE82943-17 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | H07L32328W* | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.18 | TE82943-18 | Acquity Solvent Manager Test Station | 2009-10-14 | LAC/E 12 | L08L32004W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.20 | Final-Test-1 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | KKPAA0H |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.21 | Final-Test-2 | Alliance Final Test Station | 2006-03-01 | M50 | KKPRA3T | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12
10.249.26.22 | Final-Test-3 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | M11L32019W | 2011 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.23 | Final-Test-4 | Alliance Final Test Station | 2006-03-01 | LAC/E 13 | H10L32039W | 2010 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.24 | Final-Test-5 | Alliance Final Test Station | 2015-03-30 | LAC/E 13 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.25 | Final-Test-6 | Alliance Final Test Station | 2018-05-20 | LAC/E 13 |  |  | 4 | Windows 7 | SAV Endpoint 12
10.249.26.26 | Pumptray-Test-1 | Alliance Pumptray Tester | 2006-03-01 | M50 | KKLTM8V | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12
10.249.26.27 | Pumptray-Test-2 | Alliance Pumptray Tester | 2006-03-01 | M55 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.28 | Pumptray-Test-3 | Alliance Pumptray Tester | 2006-03-01 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.29 | Pump-Test-1 | Alliance Pump Tester | 2006-03-01 | M50 | KKTCP0T | 2005 | 1 | Windows XP SP2 | SAV Endpoint 12 | Done
10.249.26.30 | - | HP PC with RS232 Port | 2006-03-01 | Other |  |  | 0.5 | Windows XP SP3 | None
10.249.26.32 | RearPanel-Tester | Autoloader and Rear Panel Tester | 2008-07-21 | LAC/E 12 | C08L32093W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.34 | AutoLoader-2 | Alliance AutoLoader 2 | 2008-08-05 | LAC/E 12 | B08L32122N | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.35 | TE82520-1 | Alliance CCD Test Station | 2013-05-03 | M50 | KKPAA4Y |  | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.36 | TE82520-2 | Alliance CCD Test Station | 2014-11-21 | LAC/E 15 |  |  | 8 | Windows 7 | SAV Endpoint 12 | Done
10.249.26.40 | TE82903-6 | TUV Final Test System | 2008-02-26 | LAC/E 10 | G05L32009W | 2005 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.42 | TE82903-8 | TUV Final Test System | 2008-02-26 | LAC/E 10 | J04L32120W | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.43 | TE82903-9 | TUV Final Test System | 2008-02-26 | LAC/E 11 |  |  | 2 | Windows XP SP2 | SAV Endpoint 12
10.249.26.44 | TE82903-10 | TUV Final Test System | 2008-02-26 | LAC/E 10 | J04L32102W | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.45 | TE82964-1 | Detector Pretest System | 2008-02-26 | LAC/E 10 | H04BLM012C* | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.50 | TE82534-1 | 515 Test | 2006-03-01 | M58 | LMGKCVW |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.51 | TE82705-2 | Breeze Test | 2006-03-01 | M58 | LMGPRBH |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.55 | Genealogy-SDS | Acquity BSM/QSM Genealogy Input Station | 2009-12-04 | LAC/E 12 | M07L32046W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.56 | Genealogy-DET | Detector Genealogy Input Station | 2015-01-13 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.63 | TE82918-2 | 2998 Fine Alignment System | 2008-05-19 | LAC/E 12 | B08L32065W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.64 | TE82868-2 | 2998 Aperture Alignment System | 2008-05-19 | LAC/E 12 | K07L32122W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.65 | TE82951-2 | 2998 Mask Alignment System | 2008-05-19 | LAC/E 11 | J06L32014W* | 2006 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.68 | TE82973-1 | 2998 Flowcell Noise and Drift System | 2008-05-27 | LAC/E 12 | B08L32248W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.71 | TE82916-2 | 2998 Flowcell Alignment System | 2008-10-07 | LAC/E 12 | K07L32024W* | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.72 | TE82917-1 | 2998 Rough Alignment System | 2008-12-29 | LAC/E 12 | B08L32068W | 2008 | 1 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.73 | TE82880-2 | PDA Rough Alignment System | 2009-05-18 | LAC/E 12 | L07L32070W | 2007 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.74 | TE82881-2 | PDA Fine Alignment System | 2009-05-18 | LAC/E 12 | D08L32121W* | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.75 | TE82969-1 | PDA Linearity Test System | 2009-05-18 | LAC/E 13 | C10L32154W | 2010 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.76 | TE82972-1 | PDA Download Station | 2009-05-18 | LAC/E 12 | C08L32078W | 2008 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.77 | TE82882-1 | 2998/PDA Final Test System | 2009-05-18 | LAC/E 10 | D04BLM247C* | 2004 | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.26.78 | TE82882-2 | 2998/PDA Final Test System | 2009-05-18 | LAC/E 11 | C06BLM057C* | 2006 | 2 | Windows XP SP3 | SAV Endpoint 12 | Done
10.249.26.79 | TE82882-8 | 2998/PDA Final Test System | 2009-05-19 |  |  |  |  | Windows 7 | SAV Endpoint 12 | Done
10.249.26.80 | TE82882-9 | 2998/PDA Final Test System | 2009-05-20 |  |  |  |  | Windows 7 | SAV Endpoint 12 | Done
10.249.26.81 | TE82882-10 | 2998/PDA Final Test System | 2009-05-21 |  |  |  |  | Windows 7 | SAV Endpoint 12 | Done
10.249.26.82 | TE82882-11 | 2998/PDA Final Test System | 2009-05-22 |  |  |  |  | Windows 7 | SAV Endpoint 12 | Done
10.249.26.90 | SQT-Workstation | SQT Workstation |  |  | C12L32205W |  |  | Windows 7 | SAV Endpoint 12 | Done
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.26.1 | SOLECTRONMFG | Solectron Server (Flextronics Singapore) | 2006-01-20 | Other | 40NM291 | 2005 | 1 | Server 2003 | SAV Endpoint 12
Label Printers = | 2
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date
DMX I-4308 | Honeywell | 54177579 |  | Autopack Pte Ltd
DMX I-4308 | Honeywell | 54177587 |  | Autopack Pte Ltd

## Flex Senai (Malaysia)
PC (Tester) = | 5
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.49.10 | TE82720-1 | Detector Front End Board Tester | 2011-10-21 | LAC/E 10 |  |  | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.49.11 | TE82940-1 | 2489 Personality Board Debug Tester | 2011-10-21 | LAC/E 12 |  |  | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.49.12 | TE82961-1 2 | 2998 Charge Amp Board Tester | 2011-10-21 | LAC/E 12 |  |  | 2 | Windows XP SP2 | SAV Endpoint 12
10.249.49.13 | TE82895-1 | 2998 Personality Board Debug Tester | 2011-10-21 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.49.19 | TE82988-2 | Waters GTS (Board Functional Tester) |  | GTS |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.49.1 | FLEXTRONICSMFG | FLEXTRONICS Malaysia Server | 2011-05-25 | Other |  |  | 4 | Server 2008 R2 | SAV Endpoint 12

## Venture (Singapore)
PC (Tester) = | 38
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.40.2 | VENTUREISNL1 | VENTURE Instrument Serial Number Label 1 | 2009-02-24 | LAC/E 12 | 52600014591 |  | 2 | Windows XP SP2 | SAV Endpoint 12
10.249.40.3 | VENTUREPNL1 | VENTURE Part Number Label 1 | 2009-02-24 | LAC/E 12 | 52600016051 |  | 2 | Windows XP SP2
10.249.40.4 | VENTURECOFP1 | VENTURE Certificate Of Functional Performance 1 | 2009-02-24 | LAC/E 12 | 52600014511 |  | 2 | Windows XP SP2 | SAV Endpoint 12
10.249.40.6 | VENTUREGEN1 | VENTURE GENEALOGY 1 | 2013-12-12 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.7 | VENTUREGEN2 | VENTURE GENEALOGY 2 | 2013-12-12 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.8 | TE82720-2 | Detector Front-End Board Tester | 2013-11-04 | GTS | 13726-0202-11-1001 |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.9 | TE82943-19 | ACQUITY Solvent Manager Test Station | 2013-11-04 | LAC/E 13 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.10 | TE82943-20 | ACQUITY Solvent Manager Test Station | 2013-11-04 | LAC/E 13 |  |  | 3 | Windows XP SP3 | SAV Endpoint 12
10.249.40.11 | TE82943-21 | ACQUITY Solvent Manager Test Station | 2013-11-04 | LAC/E 13 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.12 | TE82943-22 | ACQUITY Solvent Manager Test Station | 2013-11-04 | LAC/E 13 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.20 | TE82956-2 | Acquity Column Heater Test Station | 2009-02-24 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.21 | TE82984-1 | Acquity Column Manager Dry Test Station | 2009-02-24 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.22 | TE92987-1 | Acquity Column Manager Wet Test Station | 2009-02-24 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.23 | TE82817 | PCM II Test Station | 2009-12-04 | M50 |  |  | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.40.24 | TE83013-2 | High Temperature Column Heater Tester | 2011-05-02 | M50 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.25 | TE83013-1 | High Temperature Column Heater Tester | 2010-05-18 | LAC/E 11 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.26 | TE82723 | Breeze Column Heater Test Station | 2010-07-13 ? | M52 | LMTFW1M |  | 1 | Windows XP SP3 | SAV Endpoint 12
10.249.40.27 | TE83026-1 | Acquity CM-A Test Station | 2011-05-16 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.28 | TE83026-2 | Acquity CM-A Test Station | 2012-02-28 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.29 | 2475FLRDLWEX | 2475-Acq FLR Firmware Download Station | 2013-10-29 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.30 | TE83064-10 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.31 | TE83064-11 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.32 | TE83064-12 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.33 | TE83064-13 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.34 | TE83064-14 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.35 | TE83064-15 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.36 | TE83064-16 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.37 | TE83064-17 | Acquity FTN Autosampler Test System | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.38 | TE82760-5 | 2475-Acq FLR Fluorescence Detector Final Test | 2013-09-09 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.39 | TE82995-3 | Acquity CPSM RZZ Assembly Test Station | 2012-09-13 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.40 | TE82995-2 | Acquity CPSM RZZ Assembly Test Station | 2010-10-06 | M58 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.41 | TE83006-2 | Acquity FTN Autosampler MSV Test Station | 2010-10-06 | M58 | LMCZMBC |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.42 | TE82774-2 | Alliance Column Heater/Cooler Test Station | 2012-02-22 | LAC/E 13 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.40.43 | TE82774-3 | Alliance Column Heater/Cooler Test Station | 2012-02-22 | LAC/E 13 |  |  | 3 | Windows XP SP3 | SAV Endpoint 12
10.249.40.44 | TE83029-1 | 2475-Acq FLR Lamp Alignment Station | 2013-10-29 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.45 | TE83031-1 | 2475 Optics Alignment Station | 2013-10-29 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.46 | TE83032-1 | FLR Optics Alignment Station | 2013-10-29 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.40.47 | TE82760-4 | 2475-Acq FLR Fluorescence Detector Final Test | 2013-09-09 | LAC/E 13 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.40.1 | VENTUREMFG | VENTURE Server | 2009-02-24 | Other | 59TJLJ1 |  | 4 | Server 2003 R2 | SAV Endpoint 12
Label Printers = | 2
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date
DMX I-4308
DMX I-4308

## Venture PCBA (Singapore)
PC (Tester) = | 2
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.40.18 | TE82743-3 | RACAL Functional Board Tester | 2012-06-14 | RACAL |  |  | 2 | Windows 2000 | SAV Endpoint 11
10.249.40.19 | TE82988-3 | Waters GTS (Functional Board Tester) | 2010-05-25 ? | GTS |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.40.233 | VENTUREMFG | VENTURE Server(UK)
Label Printers = | 0
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date

## CEI (Singapore)
PC (Tester) = | 8
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.55.2 | CEIISNL1 | CEI Instrument Serial Number Label 1 | 2013-06-20 | LAC/E 12 | 52600023768 |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.55.3 | CEIPNL1 | CEI Part Number Label 1 | 2013-06-20 | LAC/E 12 | 52600026950 |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.55.4 | CEICOFP1 | CEI Certificate Of Functional Performance 1 | 2013-06-20 | LAC/E 12 | 52600022351 |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.55.5 | CEIGEN1 | CEI GENEALOGY 1 | 2013-06-21 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.55.6 | CEIGEN2 | CEI GENEALOGY 2 | 2013-06-21 | LAC/E 12 |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
10.249.55.15 | TE82865-5 | CPSO Final Test Station | 2013-08-26 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.55.16 | TE82865-6 | CPSO Final Test Station | 2013-08-26 | M58 |  |  | 4 | Windows XP SP3 | SAV Endpoint 12
10.249.55.17 | TE82865-2 | ASO Final Test Station | 2015-09-01 | M50 |  |  | 1 | Windows XP SP3 | SAV Endpoint 12
Server = | 1
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.55.1 | CEIMFG | CEI Server, Singapore | 2013-06-20 | Other | 33RTGX1 |  | 8 | Server 2008 R2 | SAV Endpoint 12
Label Printers = | 0
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date

## CEI Batam (Indonesia)
PC (Tester) = | 2
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.50.18 | TE82743-2 | RACAL Functional Board Tester |  | RACAL |  |  | 2 | Windows 2000 | SAV Endpoint 11
10.249.50.19 | TE82988-4 | Waters GTS (Functional Board Tester) |  | GTS |  |  | 2 | Windows XP SP3 | SAV Endpoint 12
Server = | 2
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
10.249.50.1 | CEIMFG | CEI Server, Indonesia | 2011-10-04 | Other |  |  | 4 | Server 2008 R2 | SAV Endpoint 12
Label Printers = | 0
Pinter Model | Manufacturer | Serial Number | Mfg Year | Service Provider | Contract start date | Contract due date

## Richport
PC (Tester) =
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV

## Keypoint
PC (Tester) =
IP Address | Computer Name | Computer Description | IP # Assigned | Platform | Serial Number | Mfg Year | RAM (GB) | OS | Symantec AV
N/A (No Internet connection) | KEYPOINTPNL 1 | KeyPoint Part Number Labelling 1 | NA | Waters Model: D915GUX;Desktop: Intel® Pentium ®4 CPU 3.00GHz x86 | 55274-OEM-0056863-15375 | 2005 | 0.99 | Microsoft Windows XP Professional Version 2002 Service Pack 3 | Ver: 11.0.5002.333
N/A(No Internet connection) | KEYPOINTAB1 | KeyPoint Auto Bagger 1 | NA | Waters Model: LAC/E32 Config#12; Desktop: Intel® Core ™2 CPU 6400@2.13GHz x86 | 76487-OEM-0066135-21407 | 2007 | 1.97 | Microsoft Windows XP Professional Version 2002 Service Pack 3 | Ver: 11.0.5002.333