Event Log Interface (ELI) High Level Requirements - Singapore

# Phase 1: Process Requirements:

- Create Configuration files:

  - Complete and roles have been assigned to update and maintain them.

  - Plan in place to ensure consistency between config files at CMs and Milford Production.

- Identify End Users:

  - Roles assigned to personnel who will use the ELI to input data.

# Phase 2: Hardware Requirements:

- Identify Server (can be different per site):

  - Used to store the configuration files for the ELI.

  - Accessible by Contract Manufacturer, WPPL, and Milford Operations Engineering.

- Identify Host Computers (as many as needed for the number of end users at a site):

  - Windows 7 (preferred) or later.

  - Not a currently used computer for a tester. Can be an end users personal computer.

  - Login credentials to access to sigmaprod.corp.waters.com/sigma (on network).

  - Login credentials to access to server (on network). Configuration files are read by ELI from the server.

# Phase 3: ELI Software Requirements:

- Software Updates

  - Minor updates required to accommodate new sites.

# Phase 4: Installation Requirements:

- SigmaProbe and SigmaProbeAPI

  - Must be installed on all host computers to communicate with SigmaSure.

  - Must be configured on all host computers.

- Event Log Interface Software

  - Must be installed on all host computers.

# Phase 5: Process Requirements:

- Release Event Log Template 730001377 to CMs:

  - Template updated at contract manufacturers and operators trained.

  - Guidance documents are provided to operators on the floor.

- Train End Users of ELI, templates, and configuration files.

# Phase 6: Validation Requirements:

- CSV: Software Tool Validation Procedure

  - Software Validation Assessment Form needed to asses changes and new installations.

  - Installation Qualification likely required on host computers.