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‘Summary of problem(s) (a5 detailed a5 possible and incluge atischment f required)

"Request for schematics and any other information o help with the repair and replacement of parts for tis ester.
Frequent down ime of tester

Frequent changing of valve.

tubings need {0 be changed every few days

PCBA 056451 obsolete
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Guaitosion Reaured () Yes @ o _(Please explain in Summary of action aken)

‘Summary of acton taken ( as detailed as possible and include attachment f required )

Enclosed s the only information that e have that may be able o help you with the tester TES2519, 2690 Pump
Head Tester

Frequent down fime of tester: we do not have any data
Frequent changing of valve: we do not have any data
Tubing needing replace every few days: we have no data

'PCBA 056541 Obsoleted: That PCE Pump Diver Board was replace wih the new one Part Number= 210000425
on 30, Apr, 2012

We have a system here that i used fortesting Spares for he field, we are not having any issues with i 5o far

No qualification required - request forinformation only




