Instructions for the Author:  This document is intended to serve as a template for the report deliverables defined in 730001835, Process Validation Procedure for Milford and Singapore Sites. Text in blue is for guidance and should be deleted/replaced with applicable information based on the executed protocol.

The Report Number shall be based on the Process, Test Method, or Equipment Designator; with the suffix based on the type of Protocol being executed.  The following shows the different Suffix examples:

EDVR:  For an Equipment Design Verification Report, IQR:  For an Installation Qualification Report, TMVR:  For a Test Method Validation Report, OQR:  For an Operational Qualification Report, PQR:  For a Performance Qualification Report

Examples of a Process, Equipment or Test Method Report are shown below:

VAL000649-EDVR, VAL000649-TMVR, TE0084000-1-IQR

The SAP number shall be the specific DIR in SAP where the Report will be filed, as defined in the Records section of 730001835, Process Validation Procedure for Milford and Singapore Sites.

For the name of the Process, Test Method, or Equipment

PREPARED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |

The “Prepared By” signature denotes that this document accurately describes the (verification, qualification, or validation) activities.

REVIEWED BY (minimum of one reviewer, additional reviewers may be added as applicable)

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | System Owner, recommended * | * (If not Prepared By) |  |
|  | Test Validation Engineer |  |  |

The “Reviewed By” signature[s] denotes agreement with the description of the (verification qualification, or validation) activities.

APPROVED BY

| Name | Role | Signature | Date |
| --- | --- | --- | --- |
|  | Quality Engineer or MOE Engineer * | * (as defined in 730001835) |  |

The “Approved By” signature denotes that this document has been reviewed and approved for overall quality and completeness.

REVISION HISTORY

| Version: | 00 | Originator: | Originator Name | Change ID: | N/A or # |
| --- | --- | --- | --- | --- | --- |
| Summary of Change: Describe the change. For example: First document for approval. |  |  |  |  |  |

# PURPOSE

The purpose of this (Equipment Design Verification, Installation Qualification, Text Method Validation, Operational Qualification, or Performance Qualification) Report is to detail the activities associated with the execution of (List the associated Protocol number, name, and Iteration) for the TE or Val #, Enter the System Name.

## SYSTEM BACKGROUND

The TE or Val #, System Name, facilitates the functional test of the following part numbers: (List the part numbers). The system performs testing to ensure the product meets the critical to quality specifications in accordance with (list the specification document(s) number and name and/or other applicable specification document(s).

The (Enter the System Name) performs the following tests and/or checks: (List all tests/checks performed, refer to the following list of examples)

| - Onboard power supplies - Board ID - Serial Communication - Leak Detector Circuit - Events In and Out - Analog Out - Keypad Circuit | - Thermistor Accuracy - Display Circuit - LED Control - Analog Board Interface - Motor Sensors - Lamp Control - PMT Gain Circuit | - Motor ID - Motor Drive - Filter Drive - Display Contrast Control - Fan Power - Temperature Ramp Rate - Door Test |
| --- | --- | --- |

Describe the test report and data collection if applicable. For example: Upon completion of all testing, or in the case of a failed test, a Final Test Record is automatically generated and saved to the Sigma Quest Data Archive.

(For IQ’s, OQ’s, or PQ’s) define where the system is located. For example: The (System Name) is located in (provide the location of where the system is installed/used).

# SCOPE

This (type of protocol executed) Report details the (Verification, Qualification, or Validation) activities undertaken for the TE or Val #, System Name,  based on the requirements of the executed protocol, (name the protocol document number, title, and iteration), as detailed in (name the change document (VAF) and/or Validation Plan number, title, and iteration, if applicable).

# SUMMARY OF RESULTS – STATEMENT OF FITNESS FOR INTENDED USE

This section should be a clear statement on the status of the Test Equipment and/or system and whether it is fit for intended use, bearing in mind any outstanding deviations or corrective actions.

The TE or Val #, System Name was tested in accordance with (List the associated Protocol number, name, and Iteration).  All (Test Scripts or other test requirements) were performed and (statement of status, i.e.: all objective evidence requirements have been met (and all deviations have been resolved)).

Waters now has the necessary documentation in place to ensure that the TE or Val #, System Name complies with Waters’ requirements, the latest relevant quality system regulations, and cGMP practices.

Following the approval of this (Verification (for EDV or TMV), Qualification (for IQ), or Validation (For OQ or PQ)) Report, the TE or Val #, System Name can be considered fully (verified, qualified, or validated) and fit for intended use.

# DEFINITIONS / ABBREVIATIONS

The following definitions are used in this document:

| Term | Explanation |
| --- | --- |
| cGMP | Current Good Manufacturing Practice |
| TMV | Test Method Validation |
| EDV | Equipment Design Verification |
| IQ | Installation Qualification |
| OQ | Operational Qualification |
| PQ | Performance Qualification |
| QA | Quality Assurance |
| SOP | Standard Operating Procedure |
| TSP | Test Specification and Procedure |
| ASP | Assembly Procedure |
| MPR | Manufacturing Procedure |
| Cal/PM | Calibration/Preventive Maintenance |
| VAF | Validation Assessment Form |
| XXX | (insert/delete abbreviations/definitions as required) |

# TRAINING

This section should provide details of assurance that personnel involved in the verification, qualification, or validation have been trained and that this training is documented.

For any test results in which a Production Operator or Process Owner performed the testing a training statement to the operating procedure (TSP, MPR, etc.) shall be included.  The Training Record Attachment shall be referenced, if applicable.

A training statement to the Verification, Qualification, or Validation Protocol or Procedure, for any Performer(s), shall be included.  The Training Record Attachment shall be referenced.

# VERIFICATION, QUALIFICATION, or VALIDATION Results

This section should summarize the test activities and results specified in the Verification, Qualification, or Validation Protocol or Procedure. Photos or other objective evidence used to complete the Protocol or Procedure test scripts may be included within this section.

| Script or Section | Pass/Fail | Objective Evidence | Deviations |
| --- | --- | --- | --- |
| IQ-01 | Pass | Attachments 02, 03, and 04 | None |
| IQ-02 | Fail | Attachments 05 and 06 | Section 8, Deviation #1 |

# ATTACHMENTS

This section is used to list all attachments used as objective evidence related to the executed Verification, Qualification, or Validation Protocol.  All attachment documents, including the filled out EDV, IQ, TMV, OQ, or PQ test script documents that were performed, will be labelled and attached to this report.

Attachment examples: EDV, IQ, TMV, OQ, or PQ Data Sheets, Calibration Certificates, Preventive Maintenance Certificates, Final Test Records (including Event Logs), Training Records, etc.

All Attachments should be in logical order in reference to the report and shall be marked with the Report Document Number, the report iteration, Attachment Number, and will be paginated.  Below is an example of this marking (to be deleted):

# DEVIATION FROM THE VERIFICATION, QUALIFICATION, or VALIDATION PROTOCOL

This section should provide an overview and resolution of any deviation occurrences during the performance of the associated Verification, Qualification, or Validation Protocol or Procedure.

All deviations must be resolved and documented within this report.  If there are NO deviations during the performance of the Protocol simply write the following for this section:

There were no deviations generated during the execution of (name the EDV, IQ, TMV, OQ, or PQ Protocol or Procedure document, including revision).

For each deviation provide the description, resolution and/or proposed corrective action, as applicable.

# References

The current approved versions of the following documents are referenced within this document: (The Reference Column may be removed if not used. A Version/Iteration Column may be added if needed.)

| Reference | Document Number | Document title |
| --- | --- | --- |
| [x] | XXXXXXXX | (insert/delete references as required) |