	Item no.
	Description of Item
	Waters Equivalent

	4
	C18 LC column for non-targeted analysis, Inertsil ODS-3 column (P/N: 5020-01732) or equivalent
	186002560

	5
	Inertsil ODS-3 holder/cartridge E set (P/N 5020-19053 or equivalent)
	186007699

186007949

	6
	C18 LC column for non-targeted analysis, Eclipse XDB-C18 (P/N 990967-902) or equivalent  
	186003117

	7
	Eclipse XDB-C18 guard cartridge (P/N 820950-925 or equivalent)
	186007771

	8
	High Performance ZORBAX guard fittings kit (P/N 820999-901) or equivalent
	186007949

	9
	Semi-Prep C18 LC column for non-targeted analysis, Eclipse XDB-C18 Semi-Prep columns (P/N 990967-202) or equivalent
	186008167

	10
	Eclipse XDB-C18 preparative guard column (P/N 820675-112 or equivalent)
	186002972

	11
	Semi-Prep guard hardware kit (P/N 840140-901 or equivalent)
	289000779



	12
	Poroshell 120 EC-C18 (P/N 695775-902 or equivalent)
	186007367

	13
	Poroshell 120 EC-C18 UHPLC guard column (P/N 821725-911 or equivalent
	186007682

	14
	Amide LC column for non-targeted analysis, Inertsil Amide LC column (P/N 5020-07864) or equivalent
	186006091

	15
	Inertsil Amide LC column holder/cartridge E set (P/N 5020-20162 or equivalent)
	186007763

186007949

	16
	HILIC LC column for non-targeted analysis,  Inertsil HILIC column (P/N 5020-07715) or equivalent
	186004453

	17
	Inertsil HILIC LC column holder/cartridge E set (P/N 5020-19574 or equivalent)
	186007789

186007949


