LABORATORIES GROUP
Requirement Specifications 
	Supply And Delivery Of Liquid Chromatograph (LC) Consumables For Lab Use

	Item
	Quantity
	Product Requirement
	Unit Price

S$

(Exclude GST)
	Total Price
S$

(Exclude GST)

	Supplier may quote for all the items, or any combination of which. AVA reserves the rights to award in parts or in whole. Prices quoted shall be deemed all inclusive and firm to fulfill the requirement stated in the Requirement Specifications. Any additional claims on grounds of omission shall not be entertained


	1


	9 pieces
	1/16 inch blanking nut (Stainless Steel)

· Used for troubleshooting for LC to block route of flow so as to check for pressure built-up.

· Must be suitable for Agilent LC 1200 Series and 1290 Infinity.

· Agilent P/N: 01080-83202 or equivalent


	-
	-

	2
	20 pieces
	Union with Fittings (Stainless Steel)

· Dead Volume 

· Use to replace connection of column for method development
· Agilent P/N: 0100-0900 or equivalent

	-
	-

	3
	20 pieces
	Frit (PTFE)

· For 1260 Infinity/1200 Series/1100 Series analytical pumps 
· Agilent P/N: 01018-22707 or equivalent


	-
	-

	4
	160 pieces
	Frit for 1290 Inline filter

· 0.3 µm pore width

· Must be suitable for use with Agilent in-line filter
· Agilent P/N: 5023-0271 or equivalent


	-
	-

	5
	11 coil
	Peek Tubing, 1/16 inch OD, ID 0.13mm

· Length: 5m

· Colour : Preferably red

· Flexible & easy to cut 

· For use with stainless steel & peek fitting

· IT Tech Part no: HP 5042-6461 or equivalent


	-
	-

	6
	4 kits
	Inline Filter kit for Liquid Chromatograph system 

Kit contents to include:

· Filter housing

· Filter cap

· Filter insert

· Capillary Stainless Steel 0,12mm ID, 30mm length, rigid type, max operating pressure 1300bar, delay volume 1.3µL

· Capillary Stainless Steel 0.12mm ID, 50 mm length, flexible long socket type, max operating pressure 1300bar, delay volume 1.6µL

· Frit 0.3 µm for inline filters (at least 5 pieces),

· Agilent P/N: 5067-6189 or equivalent


	-
	-

	7
	27 pieces
	Stainless Steel Capillary for Agilent 1290 Valve Head 

· 0.12 mm ID
· 130 mm length

· Non-swaged Swagelok fitting on one side and a non-swaged M4 fitting on the other side

· Typically to connect a short column to a valve with an M4 port

· Agilent P/N: 5067-4735 or equivalent


	-
	-

	8
	30 pieces
	Inlet Filter for LC Solvent Reservoir (Glass)

· Solvent inlet, 20µm pore size 

· Suitable for analytical scale and micro scale

· Agilent P/N: 5041-2168 or equivalent


	-
	-

	9
	16 pieces 
	Frit Adapter for LC Solvent Glass Filter (PTFE)

· 3mm 
· compatible with Agilent P/N 5041-2168

· Agilent P/N: 5062-8517 or equivalent


	-
	-

	10
	5 kits
	In-Line Filter Kit Waters ACQUITY UPLC system

Kit to include:

· Holder

· Nut

· At least five pieces of 0.2µm stainless steel replacement filters

· Waters P/N: 205000343 or equivalent


	369.00
	1,845.00

	11
	1 piece
	Cone Gas Nozzle

· To be used for Waters XEVO TQ-MS Zspray system.

· Must be compatible with Item 12 [Samples Cone (0.36 DIA)] 
· Waters P/N: M946549CD1-S or equivalent
Note : Supplier quoting for Item 11 must also quote for  Item 12 and 13. Item 11, 12 and 13 are purchased as a set of the same series, and they will be awarded to the same supplier.

	792.00
	792.00

	12
	1 piece
	Samples Cone (0.36 DIA)

· To be used for Waters XEVO TQ-MS Zspray system.

· Must be compatible with Item 11 (Cone Gas Nozzle) 
· Waters P/N: M946699BD1-S or equivalent
Note : Supplier quoting for Item 12 must also quote for  Item 11 and 13. Item 11, 12 and 13 are purchased as a set of the same series, and they will be awarded to the same supplier.

	594.00
	594.00

	13
	3 pieces
	O-Ring, Sample Cone 

· Material: Viton

· Dimension: 12mm diameter x 1.5mm thickness

· To be used for Waters XEVO TQ-MS Zspray system.

· Must be compatible with Item 12 [Samples Cone (0.36 DIA)] 
· Waters P/N: 700001194 or equivalent
Note : Supplier quoting for Item 13 must also quote for  Item 11 and 12. Item 11, 12 and 13 are purchased as a set of the same series, and they will be awarded to the same supplier.

	63.00
	189.00

	14
	12 pieces
	Solvent Reservoir Filters for Waters ACQUITY UPLC Binary Solvent Manager System
· Waters P/N: WAT025531 or equivalent

	153.00
	1836.00


	Other information:

1. Suppliers are to submit the product information (eg. reports, certificates, technical specifications, etc) for all items for evaluation. 
2. Where the ITQ indicates required item is to be a particular model or equivalent (e.g. ABC or equivalent), the following samples shall be provided if the Supplier’s product is not the model stated before the closing date and time of ITQ. This is to facilitate AVA’s evaluation of the proposed product to ascertain its suitability and ability to meet requirement(s). If suppliers do not submit any samples, AVA reserves the right to reject the offer.

Item no.

Description of Item

Number of samples required

1

1/16 inch blanking nut (Stainless Steel)

1 piece

2

Union with Fittings (Stainless Steel)

1 piece

3

Frit (PTFE)

1 piece

4

Frit for 1290 Inline filter

1 piece

5

Peek Tubing, 1/16 inch OD, ID 0.13mm

1 piece

6

Inline Filter kit for Liquid Chromatograph system 

1 kit

7

Stainless Steel Capillary for Agilent 1290 Valve Head 

1 piece

8

Inlet Filter for LC Solvent Reservoir (Glass)

1 piece

9

Frit Adapter for LC Solvent Glass Filter (PTFE)

1 piece

10

In-Line Filter Kit Waters ACQUITY UPLC system

1 kit

11

Cone Gas Nozzle

1 piece

12

Samples Cone (0.36 DIA)

1 piece

13

O-Ring, Sample Cone 

1 piece

14

Solvent Reservoir Filters for Waters ACQUITY UPLC Binary Solvent Manager System
1 piece

       All samples must be properly labeled to show the ITQ number, Item number and the Supplier’s company name and contact details. 

Samples are to be submitted to: 

Ms Low Hui San, Tel: 6795 2826 or Email: LOW_hui_shan@ava.gov.sg

Mrs Yip-Ng Sou Cheng, Tel: 6316 5148 or Email: YIP-NG_sou_cheng@ava.gov.sg

Veterinary Public Health Centre

10 Perahu Road S718837 

Samples are to be returned after evaluation. Logistic for self-collection of samples must be arranged by supplier. 
3. Supplier may quote for all the items, or any combination of which. AVA reserves the rights to award in parts or in whole. Prices quoted shall be deemed all inclusive and firm to fulfill the requirement stated in the Requirement Specifications. Any additional claims on grounds of omission shall not be entertained
4. Delivery shall be made within 4 weeks upon order confirmation

.

5. Goods to be delivered to No.10 Perahu Road.


	Evaluation Criteria :

Offers will be evaluated based on the lowest that is technically acceptable.



	Person to contact for queries:

Items 6, 8, 9, 10, 11, 12, 13 and 14:

Ms Joanna Lee, Tel: 67952818 or Email: Joanna_LEE@ava.gov.sg

Items 1, 2, 3, 4, 5 and 7:

Ms Grace Neo, Tel 67952831 or Email: NEO_lay_peng@ava.gov.sg




Submitted by: ____Joanna Ang_________________

Company: _Waters Pacific Pte Ltd______________

Email: _Joanna_ang@waters.com_________________

Telephone contact: __96536605_____________________
Page 4 of 4

