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Science and Engineering INSTITUTES
(“the Institute”)

FOR
Supply, delivery, installation, commissioning and training of one unit of Gel Permeation Chromatography (GPC) for molecular weight analysis of polymeric materials in aqueous phase AND/OR one unit of Gel Permeation Chromatography (GPC) for molecular weight analysis of polymeric materials in organic mobile phase
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TENDER NO.
: IMRE/009/FY17
CLOSING DATE
: 08 September 2017, 4pm (Singapore time)
PRICE VALIDITY PERIOD
         : 4 months 
INSTRUCTIONS TO TENDERERS
1.
INTERPRETATION 
The meaning and definition of terms shall be the same as those found in Clause 1 of the Conditions of Contract.

2.
EVALUATION CRITERIA    
2.1
Where the Invitation to Tender specifies evaluation criteria in terms of the financial category and supply category/head required for registration with or certification by any Government Registration Authority (GRA), namely the Expenditure and Procurement Policies Unit of the Ministry of Finance (“EPPU”), the Building and Construction Authority, or the Health Sciences Authority, as the case may be, the evaluation of such criteria will be delegated to the relevant GRA. 

2.2
Where a Tenderer's existing registration with a GRA, which is valid up to the closing date of this Tender Offer, specifies that the Tenderer has met particular criteria in relation to a particular financial category and supply category/head, the Institute will regard the Tenderer as having met the criteria specified in the registration for the financial category and supply category/head set out in the registration and in the manner set out in the registration.
2.3
Tenderers who are registered with the relevant GRA, specifying that they have met the criteria for this Invitation to Tender, must declare their registration with the relevant GRA. 
2.4
Tenderers who do not hold a valid registration from the relevant GRA specifying that they have met the criteria for this Invitation to Tender are advised to apply for the registration with the relevant GRA at the earliest possible opportunity and declare their registration status in their Tender Offers. Such Tenderers should apply for registration with Ministry of Finance through the Electronic Business (GeBIZ) with effect from 9th September 2002. The address for the GeBIZ Homepage is http://www.gebiz.gov.sg. If by the closing date of this Invitation to Tender, their registration with the relevant GRA is still pending, Tenderers should enclose a copy of the receipt for registration fee paid issued by the GRA(s) with their Tender Offers.

3.
ELIGIBILITY

3.1
All persons or entities who are debarred from participating in the Institute and/or public sector tenders are disqualified from participating in this Invitation to Tender. Where a Tenderer is debarred after the submission of the Tender Offer, the Tenderer shall not be considered for the award of the Contract.  If for any reason, the Institute awards the Contract to any such Tenderer, the Institute may, at any time, rescind the Contract.  In such an event, the Institute shall not be liable for any damages or compensation to such Tenderer. 

3.2
At the discretion of the Institute, this Invitation to Tender may be issued only to firms registered with the relevant GRA, or to such registered firms as have been classified by the Institute as suitable for the supply of the   Equipment and Works as set out in the Invitation to Tender. Tenderers who are registered with the BCA and/or EPPU must enclose a photocopy of their BCA and/or EPPU Registration certificate together with their tender proposals.

4.PRIVATE 
SUBMISSION OF TENDER OFFERtc "2.
TENDER SUBMISSION"
4.1
Tenderers shall submit their Tender Offers in accordance with the following mode(s) of submission:

	Information or 

document(s) in tender
	Mode of Submission
	Closing Date (Singapore time)

	1. Form of Tender

2. Tenderer’s Proposal Form 

3. Compliance to Conditions of Contract

4. Requirement Specifications

5. Annex A - Price Schedule

6. Product Brochures

7. All other parts of the Tenderer’s Tender Offer


	This shall be submitted to the Institute using GeBIZ.


	08 September 2017, 4pm

	
	
	


4.2
Tenders submitted using GeBIZ

4.2.1
Where the Instructions to Tenderers specify that Tender Offers are to be submitted using GeBIZ, Tenderers shall submit their Tender Offers in accordance with the Terms and Conditions For Use Of The Government Electronic Business (GeBIZ).

4.2.2
Where the Instructions to Tenderers specify that a particular document is to be submitted through GeBIZ, the document may be submitted through GeBIZ without any handwritten signature.  The Institute shall be entitled to rely on the use or entry of the prescribed Security Device (as defined in the Terms and Conditions For Use Of The Government Electronic Business) by the Tenderer or its representative(s) as the authorised signature of the Tenderer, as conclusive evidence of the authenticity of the submitted document and the authority of the originator of the submitted document.

4.3
Tenders submitted using Tender Box

Where the Instructions to Tenderers specifies that Tender Offers are to be submitted using the Tender Box:

(a)
The Tender Offer is to be put in a sealed envelope.  The envelope should have on its top left-hand:

(i) the tender number; 

(ii) the closing date and time of the tender; 
(iii) the Tender Box Number to which the Tender must be delivered; and
(iv) the name and address of the Tenderer.

(b)
All documents and materials must be submitted into the Tender Box at the same time.

(c)
Tenderers shall submit the Tender Offers and supporting brochures/handbooks in the number of sets as specified in the Invitation to Tender. One set is to be marked “Original” and the other sets are to be marked “Copy”.

(d)
It will be the responsibility of the Tenderer to ensure delivery into the Tender Box. Every effort will, however, be made by the Institute to ensure that Tender Offers received through the post are promptly conveyed into the Tender Box but the Institute bears no liability therefor. Any Tender Offer delivered into the Tender Box after the closing time on the closing date will not be considered.  Postage must be pre-paid on all Tender Offers sent through the post. 
4.4
Tender Offers submitted using either GeBIZ, Tender Box or both

4.4.1 
The Tender Offer must include an address where, in the event that any notice request, waiver, consent or approval required to be sent can be directed to.

4.4.2
Alternative offer(s) in addition to the base offer may be submitted only if the Form of Tender prescribed in this Invitation to Tender contemplates that such alternative offer(s) are allowed.  Any alternative offer(s) must be made with full particulars, including price.

4.4.3
The Institute reserves the right to reject Tender Offers not submitted in accordance with the mode(s) of submission specified in the Instructions To Tenderers. Tender Offers forwarded by facsimile or telex or telegram are not acceptable and will be rejected by the Institute.
4.4.4
Any inconsistency or conflict arising between parts of the Tender Offer submitted using GeBIZ and the Tender Box shall be resolved in favour of the parts submitted through GeBIZ.

5.
COMPLIANCE WITH INSTRUCTIONS

5.1
Tender Offers will be accepted only if submitted according to the instructions contained and in the form(s) prescribed in the Invitation to Tender. Any Tender Offer which attempts to vary any of the documents in the Invitation to Tender is null and void and shall be rejected.
5.2 
A Tenderer wishing to quote for an alternative to an item shown in the Invitation to Tender may only do so by giving full particulars, including the applicable price thereof, in his Tender Offer.

5.3
Tender Offers received after the Tender closing date and time shall be disqualified.
6.
VALIDITY PERIODtc "2    VALIDITY OF OFFER"
Tender Offers submitted shall remain valid for acceptance for the price validity period specified in the Invitation to Tender and during such extension of the period as may be agreed in writing by the Tenderer at the request of the Institute.
7.
WITHDRAWAL OF TENDER OFFER

No Tender Offer may be withdrawn after the closing date prescribed in the Invitation to Tender. Any Tenderer who attempts to do so may, in addition to any remedy which the Institute may have against him, be liable to be debarred from future Institute and/or public sector tenders.

PRIVATE 8.
REQUIREMENT SPECIFICATIONStc "3
     SPECIFICATIONS"
8.1
The Equipment and Works supplied shall strictly meet the requirements and specifications as set out in the Requirement Specifications. 
8.2
The Tenderer shall provide explicit responses of compliance or non-compliance with the Requirement Specifications and/or any other technical requirements enclosed in this Invitation to Tender. In the event of any non-compliance with the Requirement Specifications and/or any other technical requirements, the Tenderer shall satisfy the Institute (by providing a certificate from the manufacturer of the item offered or a copy of the relevant extract from any reputable publication citing clearly its title and edition) that the form, fit and function of the items offered are equivalent to the Equipment and Works required and that they are interchangeable. Where the Tenderer fails to satisfy the Institute in the manner above, the Tender Offer is liable to be rejected.

PRIVATE 9.
TENDER PRICEtc "5     TENDER PRICE"

The Tenderer shall quote the all-in firm prices for the proposed Equipment and Works based on the payment terms specified in Clause 25 of the Conditions. All prices shall be evaluated on the basis of Singapore Dollars.  For prices tendered in currency other than Singapore Dollars, the rate for conversion to Singapore Dollars for the purposes of price evaluation shall be the currency exchange rate for the day before the closing date for the Invitation to Tender, as specified in the Monetary Authority of Singapore website.
10.
GOODS AND SERVICES TAX


Tenderers shall not include in the rates and prices proposed in their Tender Offers, the Goods and Services Tax (“GST”) chargeable for the supply by the Tenderer to the Institute of the Equipment and Works required in the Tender. All rates and prices quoted shall be exclusive of the GST. The Institute shall reimburse the Contractor any GST charged on the supply by the Contractor to the Institute of the Equipment and Works.

11.
GST REGISTRATION

11.1
The Tenderer shall declare his GST status in his Tender Offer. He shall clearly indicate whether he is, or whether he will be a taxable person under the Goods and Services Tax Act. He shall, if available, furnish the GST registration number to the Institute. 
11.2
A Tenderer who declares himself to be a non-taxable person under the Goods and Services Tax Act but who becomes a taxable person after acceptance of his Tender Offer shall forthwith inform the Institute of his change in GST status. He shall be entitled to reimbursement by the Institute of any GST charged on the supply by him of the Equipment and Works, where such supply takes place after his change in GST status.

PRIVATE 12.
SUFFICIENCY OF TENDER PRICEtc "6     SUFFICIENCY OF TENDER PRICE"
12.1
The Tenderer shall satisfy himself before tendering as to the correctness and sufficiency of his Tender Offer for the supply of the Equipment and Works and all matters and things necessary for the proper execution and completion of the supply regardless of whether such matters or things were specifically set out in the Invitation to Tender. 

12.2
The Tenderer shall notify the Institute in writing of any ambiguity, discrepancy, conflict, inconsistency or omission in or between any of the Invitation to Tender documents that may at any time be found. If the Tenderer discovers any ambiguity, discrepancy, conflict, inconsistency or omission in any Invitation to Tender document, the Tenderer shall notify and seek clarification about the same from the Institute at least seven (7) days from the closing date of the Invitation to Tender.

12.3
The Tenderer shall be held to have been thoroughly acquainted by his own independent observations and enquiries with the nature, extent and practicality of the Equipment and Works required and all other matters which can in any way influence his Tender Offer price.

12.4 
The Tender Offer price shall be deemed to have included the delivery of all items and/or the performance of all services to meet the requirements as specified in the Requirement Specifications irrespective of whether such items and/or services have been specifically listed or priced in the Tender Offer.

PRIVATE 13.
DOCUMENTATIONtc "8     DOCUMENTATION"
13.1
The Tenderer shall supply and deliver documentation pursuant to Clause 7.3 of the Conditions. The Tenderer shall list out the documents that will be so provided.

13.2
During the Tender Offer evaluation, the Tenderer shall supply two (2) copies of available documentation on request by the Institute. 

14.
LANGUAGE

The Tender Offer including all data, documents, catalogues etc. must be written in easily comprehensible English Language.

15.
CONFIDENTIALITY

15.1
Except with the consent in writing of the Institute,  the Tenderer shall not disclose to any third party this Invitation to Tender, or any of its provisions, or any specifications, plans, drawings, patterns, samples or information issued by the Institute. 

15.2
The Institute may require an unsuccessful Tenderer to return any specifications, plans, drawings, patterns, samples or instructions issued by the Institute.

16
EXPORT APPROVAL
The Tenderer shall indicate clearly whether there is any requirement for the Institute to furnish end-user certificates or statements. The Tenderer shall also indicate clearly in his Tender Offer if there is a need for the Institute to enter into separate agreement(s) with the Tenderer to satisfy export requirements of the Tenderer's or any foreign government.

17.
OWNERSHIP OF TENDER DOCUMENTS

17.1
All documents submitted by the Tenderer in response to the Invitation to Tender shall become the property of the Institute. 

17.2
All ideas, concepts, and information contained or reflected in any Tender Offer submitted shall not be considered to be of a confidential nature and the Institute shall be entitled to disclose, and make use of such ideas, concepts, and information or any part thereof.

17.3
The Institute reserves to itself all copyright in the Invitation to Tender.

18.
ALTERATION, ERASURES OR ILLEGIBILITY

Except for amendments to the entries made by the Tenderer himself which are initialed by the Tenderer, Tender Offers bearing any other alterations or erasures and Tender Offers in which prices are not legibly stated are liable to be rejected.

19.
INSTITUTE'S CLARIFICATIONS OF TENDER OFFER AND PRESENTATION BY TENDERER
19.1
In the event that the Institute seeks clarification upon any aspect of the Tender Offer, the Tenderer shall provide full and comprehensive response within seven (7) days of notification or such other time frame as may be notified by the Institute to the Tenderer.

19.2
The Tenderer shall, on the request of the Institute, make a presentation before the Institute on such aspects of his Tender Offer as may be required by the Institute.

20.
EXPENSE OF TENDERER


In no case will any expense incurred by a Tenderer in the preparation of his Tender Offer be borne by the Institute.

21.
NOTIFICATION

The Institute shall not be obliged to send any notification to unsuccessful Tenderers.

22.
APPLICABLE LAW

All Tender Offers submitted pursuant to this Invitation to Tender and the formation of any resulting contract shall be governed by Clause 29 of the Conditions.

23.
OWNERSHIP STATUS OF TENDERER
The Tenderer shall provide full information on

(a)  the name and address of any person, company or corporation which owns whether directly or indirectly, at least 50% of the total number of shares in the Tenderer; and
(b)  the number, percentage and class of shares held by such person, company or corporation.

PRIVATE 24.
CANVASSINGtc "12    CANVASSING"

Canvassing shall render the Tender Offer invalid. In the event of any canvassing being discovered after the acceptance of the Tender Offer, the Institute shall be entitled to rescind the contract awarded without being liable to pay any damages or compensation. In addition, such Tenderer may be liable to debarment for a period to be determined by the Institute.

PRIVATE 25.
ACCEPTANCE OF TENDER OFFERtc "13    ACCEPTANCE OF TENDER"
25.1 
The Institute reserves the right not to accept the lowest priced or incomplete Tender Offer or any Tender Offer, and shall not be bound to assign any reason for this.

25.2
When accepting a Tender Offer, the Institute may accept the whole or any part(s) of the Tender Offer, and the Contract Price shall be adjusted in accordance with the prices specified in the Form of Tender. In the event the adjustment cannot be done on the basis of the prices specified in the Form of Tender, then the adjusted price shall be the fair market price to be determined by the Institute at its sole discretion.
25.3
The issue by the Institute of a Letter of Acceptance accepting the Tender Offer or part of the Tender Offer shall create a binding Contract on the part of the Tenderer to supply to the Institute the Equipment and Works offered in the Tender Offer. The Contract shall be governed by the Conditions.

25.4
A Letter of Acceptance of the Tenderer’s Tender Offer may be issued:


(i)
through GeBIZ to the successful Tenderer; or


(ii)
to the successful Tenderer’s address or email address as given in his Tender Offer, by hand, by post or by email, as the case may be; 


Such issuance of the Letter of Acceptance through GeBIZ, by hand, by post or by email shall be deemed to be effective communication of acceptance. 

25.5
The Institute may at its discretion require the Tenderer to sign a written agreement (as specified in the Form of Agreement). In the event that the Tenderer is a duly authorized agent, the formal agreement is to be executed with the principal. The Tenderer shall bear the stamp duty, payable on the formal agreement, if any. 
25.6
The Institute reserves the right to accept the Tender Offer(s) of one or more Tenderer(s).
25.7
Where the Tender Offer is made in response to an invitation by the Institute for the supply of Goods for which the quantities were unspecified or merely estimated or of Services the extent and/or frequency of which were unspecified or merely estimated and it is stated in the Invitation to Tender that acknowledgment of the whole or any part of the Tender Offer will establish it as a Standing Tender during the period specified in the Invitation to Tender, the issue by the Institute of a Letter of Acceptance of the Tender Offer will render that tender a Standing Tender for the duration of the period during which the Goods and/or Services were stated to be required in the Invitation to Tender.  The receipt during that period by the Tenderer of an order for specific quantities of Goods or for Services of a specific extent at specific times from the Institute (evidence of posting by the Institute being legally admissible evidence of receipt by the Tenderer) will create a binding contract on the part of the Tenderer to supply to the Institute those Goods and/or Services in accordance with the Contract.  The Institute for its part will be under no obligation to purchase any quantity of Goods and/or Services included in a Standing Tender except to the extent that orders for those Goods and/or Services are already issued by the Institute.

26.
SAMPLES
26.1 Where the Invitation to Tender specifies that samples; e.g. of goods and/or packages, shall be submitted as evidence of the type and quality of items offered in the Tender Offer, such samples shall be delivered at the Location and by the time stipulated in the Invitation to Tender and should be marked clearly with the tender number, item number and the name of the Tenderer. Where samples are required, failure to provide the required samples at the stipulated time may render the Tender Offer liable to be disqualified.
26.2 The Tenderer shall indicate, when submitting the samples, whether he wishes the samples to be returned. If no indication is given, the Institute shall not be obliged to return any samples to the Tenderer. Notwithstanding the above, risk of loss or damage to the samples shall at all times remain with the Tenderer and where the samples are to be subject to destructive testing, such samples will not be returned to the Tenderer.
26.3 All costs, including but not limited to all shipping and transportation duties incurred in providing and delivering such samples to the Institute shall be borne by the Tenderer.

27.
SECURITY DEPOSIT 
In the event the Contract Price is more than or equal to S$500,000, the Contractor shall within fourteen (14) business days of receipt of the Letter of Acceptance issued by the Institute, deposit with the Institute the bank draft, cheque or the Banker's Guarantee (in the form of the draft Banker’s Guarantee set out in the Invitation to Tender), as the case may be, as required under the Conditions.

28.
INSURANCE

Within fourteen (14) business days of receipt of the Letter of Acceptance issued by the Institute, the Contractor shall deposit with the Institute copies of the insurance policies and evidence of payment of the premium if so required under the Conditions.

29.
Authorised Variations

29.1
The Institute reserves the right to negotiate with the Tenderer, to vary any provision or part of the Invitation to Tender or Tender Offer without reference to any other party in the following circumstances:  (i) where no one tender is obviously most advantageous in terms of evaluation criteria; or (ii) where exceptional circumstances so necessitate.  Any such variation shall be subject to the mutual consent in writing of the Institute and the Tenderer.
29.2
The provisions of this Clause shall in no way affect or detract from the Institute's rights under Clause 25.2 of the Instructions to Tenderers.

30.
General

30.1 The Institute reserves the right at any time to withdraw the Invitation to Tender without being liable for any costs, damages, losses and/or expenses whatsoever.
30.2 The Institute reserves the right to amend any terms in, or to issue supplementary terms to the Invitation to Tender at any time prior to the closing date of the Invitation to Tender. The Institute shall have the right to extend the closing date and time of the Invitation to Tender if supplementary terms and conditions are issued under this Clause. 
30.3 Evaluation of the Tender Offers will not be based on cost alone. Substantial consideration will be placed on the quality and finishing of the proposed Equipment and Works; and the qualification, experience and references of the Tenderer.

30.4 Any queries in respect of the Invitation to Tender or any matter related thereto may be submitted in writing to the contact person indicated on the Invitation to Tender. The Institute reserves the absolute right not to entertain or respond to any query which in the Institute’s opinion is inappropriate or improper.

30.5 The Tenderer confirms that it has obtained the consent of its employees whose personal data is provided in the Tender Offer to disclose their personal data to the Institute and its Affiliates for the purposes of the Tender Offer and Contract and for the supply of the Works and Equipment.

31.        SHORTLISTING TENDERERS

     
The Institute reserves the right to shortlist Tenderers in accordance with the criteria set forth in the Invitation to Tender; and give those so shortlisted the opportunity to submit new or amended Tender Offers on the basis of the Institute’s revised requirements, in accordance with a common deadline.

The Tender Offers received based on the firm and updated requirements shall form the basis of the final tender evaluation. The Tender Offers received in the final round shall be complete and comprehensive, and shall over-ride all Tender Offers previously submitted. The final Tender Offer shall not make references to previous Tender Offers. All Tender Offers received in the previous rounds shall be treated as lapsed. Such final Tender Offers shall be submitted in sealed envelopes and deposited in the tender box or electronically to GeBIZ as instructed by the Institute. 
32
CONSORTIUM 

32.1
"Consortium" means an unincorporated joint venture through the medium of a consortium or a partnership.

32.2
The following shall apply if a Tender Offer is submitted by a Consortium:

(a)
Each member of the Consortium shall be a business organization duly organized, existing and registered under the laws of its country of domicile.

(b)
No Consortium shall include a member who has been debarred from public sector tenders.

(c)
After the submission of the Tender Offer, any introduction of, or changes to, Consortium membership must be approved in writing by the Institute.

(d)
The following documents must be submitted with this Tender Offer:

(i)
A certified copy of the consortium or partnership agreement, signed by all members of the Consortium,

(ii)
The Tender Offer is to be submitted by a member of the Consortium ("Lead Member"). Documentary proof must be provided that the Lead Member is authorised by all members of the Consortium to submit, sign the Tender Offer, receive instructions, give any information, accept any contract and act for and on behalf of all the members of the Consortium. The documentary proof could be in the form of:
(1)
relevant provision(s) in the certified copy of the consortium or partnership agreement, or

(2)
certified copies of powers of attorney from each member of the Consortium.

(e)
Information must be submitted with respect to:

(i)
the legal relationship among the members of the Consortium.

(ii)
the role and responsibility of each member of the Consortium; and

(iii)
the address of the Consortium to which the Institute may send any notice, request, clarification or correspondence.

 
(f)
If the Institute awards the Contract to a Consortium:

(i)
The Letter of Acceptance may be through GeBIZ or handed to or posted to the address of the Lead Member of the Consortium given in the tender.

(ii)
The issue by the Institute of a Letter of Acceptance shall create a binding Contract on all the members of the Consortium.

(iii)
Each member of the Consortium shall be jointly and severally responsible to the Institute for the due performance of the Contract.

(iv)
As and when requested by the Institute, all members of the Consortium shall be required to sign a formal agreement in the appropriate form with the Institute. Until the said formal agreement is prepared and executed, the Consortium's Tender Offer together with the Institute 's Letter of Acceptance, shall constitute a binding Contract on all the members of the Consortium.

(v)
If any member of the Consortium withdraws from the Consortium, goes into liquidation, is wound up or cease to exist in accordance with the laws of the country of incorporation:

(1) this Contract shall continue and not be dissolved, and

(2) the remaining member(s) of the Consortium shall be obliged  to carry out and complete the Contract.
33
CORRIGENDA TO INVITATION TO TENDER 

33.1
The Institute reserves the right to amend any terms in, or to issue supplementary terms to the Invitation to Tender at any time prior to the closing date of the Invitation to Tender.

CONDITIONS OF CONTRACT

1. Interpretation:


In these Conditions:

1.1
In the Contract (as hereinafter defined), the following words and expressions shall have the meanings hereby assigned to them except where the context otherwise requires:

“Acceptance Test” means the Acceptance Test referred to in Clause 8.
“Affiliates” means: (i) an organisation, which directly or indirectly controls either Party; or (ii) an organisation which is directly or indirectly controlled by either Party; or (iii) an organisation, which is controlled, directly or indirectly, by the ultimate parent company of either Party. The term “control” as used herein means the possession of the power to direct or cause the direction of the management and the policies of an entity, whether through the ownership of a majority of the outstanding voting security or by contract or otherwise.
“Appendix “means the appendix attached to the Conditions.

“Authorised Variations” means such variations made under Clause 29 of the Instructions to Tenderers and/or Clause 15 of the Conditions.
“Completion Date” means the date by which the Equipment and Works are fully installed and commissioned in accordance with Clauses 7 and 8 or such revised date made thereunder.

Conditions” means the terms set out herein entitled "Conditions of Contract".

"Contract" means (i) the Invitation to Tender, (ii) the Contractor's Tender Offer, (iii) Letter of Acceptance, (iv) all correspondences referred to and constituting Authorised Variations, (v) Form of Agreement, (vi) any order issued pursuant to Clause 5 and (vii) any other documents agreed by the Institute in writing.
“Contract Price” means the sum payable for the supply of the Equipment and Works under the Contract. 

"Contractor" means the successful Tenderer who has been awarded the Contract by the Institute.
“Confidential Information” shall mean all information in any form or manner provided by the Institute to the Contractor or otherwise acquired by the Contractor in the course of or pursuant to this Contract relating to the Equipment, Works, the Requirement Specifications, the Institute, and/or its business, financial or other affairs.

“Delivery Date” means the date for supply and delivery of the Equipment and Works referred to in Clause 7 or such revised date made thereunder.


“Equipment” shall mean the equipment which the Contractor is required to supply under the Contract.  
“Extended Contract” means the Contract where in addition to the supply of the Equipment, the Contractor has to supply Works for a period of at least 3 years
"Goods" means all goods, including technical documentation, parts or units thereof, which the Contractor is required to supply under the Contract, excluding the Equipment.

“Institute” shall mean The Biomedical Sciences Institutes (BMSI) and includes the Institute acting through any officer authorised by the Institute to act on its behalf.

”IP” means all Know-How and intellectual property rights (including without limitation patents, copyrights, designs, semiconductor layout designs, and  trade secrets) worldwide arising under statutory or common law, and whether or not perfected.

"Invitation to Tender" means the invitation to participate in this tender and comprises all tender documents forwarded to the Tenderers inclusive of the Covering Letter, Instructions to Tenderers, Conditions of Contract, Requirement Specifications, Evaluation Criteria, any additional instructions to Tenderers (where issued), and any other documents and forms enclosed.

“Know-How” means any methods, techniques, processes, discoveries, inventions, innovations, unpatentable processes, technical information, specifications, recipes, formulae, designs, plans, documentation, drawings, data and other technical information.
“Location” shall mean the place or places where the Equipment and Works are to be delivered, installed, commissioned or performed as specified in the Contract, or if not so expressly specified, at  2 Fusionopolis Way, Innovis, #08-03 Singapore 117602
“Letter of Acceptance” means the letter issued by the Institute accepting the Contractor’s Tender Offer.

“Party” means either the Institute or the Contractor and “Parties” means both the Institute and the Contractor.

“Requirement Specifications means the specifications as set out in the document titled “Requirement Specifications” in the Invitation to Tender.”

"Services" means the services which the Contractor is required to supply under the Contract.

“Security Deposit” means the sum as referred to in Clause 3 as security for the due performance and observance of the Contractor's obligation under this Contract.
“Tender Offer” means the offer by the Tenderer to supply the Equipment and Works in accordance with the terms and conditions set out in the Contract.

"Tenderer" means a person or his permitted assigns offering to supply the Equipment and Works, and shall be deemed to include two or more persons if appropriate.

“Works” shall mean all Goods and /or Services which the Contractor is required to supply under the Contract.

1.2 
Words importing the singular shall also include the plural and vice versa where the context requires.

1.3
The headings in this Contract are for convenience of reference only and shall not be taken into consideration in the interpretation of this Contract.

1.4
Unless otherwise provided, any reference to any statute or legislation shall be deemed to be a reference to such statute or legislation as amended from time to time and shall be deemed to include any subsidiary legislation made thereunder.

2. Scope of Contract

2.1
The Contractor shall supply, deliver and install the Equipment and Works as specified in accordance with the Contract in every respect and to the directions and satisfaction of the Institute.
2.2
The Contractor shall deliver the Equipment and Goods and perform the Services at the Location and in the manner specified in the Contract. The Contractor shall do or supply all things, without additional charge, which are not expressly specified in the Invitation to Tender but which may be necessary for the proper completion of this Contract or obviously required to be done or supplied in the context of the Invitation to Tender and/or in view of the conditions on the Location, in consultation with the Institute.
2.3
The Contractor shall provide separate price quotations and breakdowns for each component of the Equipment and Works.   
2.4
The Institute is entitled to call for samples of any Goods required under the Contract for the Institute’s approval and for such further samples as are required until the samples submitted are in the Institute’s opinion in accordance with the requirements of the Contract.  If in the opinion of the Institute any Goods are not in accordance with the Contract or with any approved sample, the Institute reserves the right to submit the Goods to expert examination and/or test, and all costs in connection therewith shall be borne by the Contractor unless such examination and/or tests shows that the said Goods are in accordance with the Contract or with the approved sample.

2.5
The Contractor shall keep comprehensive and accurate records and accounts relating to the Equipment and Works. The Contractor shall make available at all times such records and accounts for inspection by the Institute and prepare and provide within the period specified by the Institute any other information required by the Institute pursuant to the Contract for the due and proper completion of the Works.

3. Security Deposit

3.1
In the event the Contract Price is more than or equal to S$500,000, the Contractor shall be required to lodge with the Institute a Security Deposit for the due and faithful performance of the Contract for the duration of the Contract, including an extensions to the Contract and/or any delays to the same. The amount of the Security Deposit shall be specified in the Appendix. The Contractor shall deposit with the Institute the cash amount of Security Deposit specified or a Banker’s Guarantee (in the form of the draft Banker’s Guarantee set out in the Invitation to Tender) within fourteen (14) business days of receipt of the Letter of Acceptance issued by the Institute.  The Institute shall thereafter be entitled to utilise and make payments out of or deductions from the said Security Deposit in accordance with the Contract.
3.2
The Security Deposit (or any balance thereof remaining for the credit of the Contractor) shall be released and refunded to the Contractor, free of interest, upon the expiry and due performance of the Contract.

4. Equipment Supply & Performance Requirements 
4.1 The Equipment and Goods supplied and the Services performed when completed shall strictly meet the requirements and specifications as set out in the Requirement Specifications. Any deficiency in the Equipment and Works, or the performance thereof shall be promptly rectified and attended to by the Contractor to the satisfaction of the Institute.
4.2 The Contractor shall at his own cost and when so notified in writing by the Institute, remove and replace the Equipment and Works supplied by the Contractor that are found on delivery to be damaged, defective or in any way inferior to approved samples, or not in accordance with the Contract, failing which the Institute shall have the right to purchase replacements elsewhere or to make good any damage in any manner it deems necessary and all costs thereby incurred shall be recoverable from the Contractor by deduction from any money due or to become due to the Contractor under the Contract.

4.3 The Contractor shall, without additional cost, ensure that the Goods and Equipment to be supplied are adequately packed so as to ensure that they reach the Location intact and undamaged. The Contractor shall ensure that the Goods and Equipment are packed in such a manner that they are suitable for export to and storage in the tropics and are protected from damage (including damage from rough handling) or deterioration during their transit from the Contractor’s factory/premises until their arrival at the Location. Any other requirements on packing explicitly specified in the Contract shall be complied with by the Contractor. The Contractor hereby acknowledges that the cost of all necessary packing materials (which will be considered non-returnable) and labor for the packing have been provided for and included in the Contract Price. Unless otherwise required by the Institute, packages containing dangerous articles shall be packed and marked in accordance with the requirements of generally accepted rules and conventions in international commerce. The Contractor shall replace any Goods or Equipment found on reaching its destination to have been damaged due to inadequate packing.

5. Orders for Standing Tenders

5.1 All orders for Works to be supplied under the Contract under a Standing Tender as specified in Clause 25.7 of the Instructions to Tenderers shall be given from time to time, in writing by the Institute on its “Purchase Order” form (hereinafter referred to as “Order”).  All such Orders shall clearly state the details and nature of the Works to be supplied and shall also state the amount, calculated at the rates in the Contract that shall become due to the Contractor on the satisfactory completion of supply of all Works specified on such Order.  The receipt by the Contractor of an Order will create a binding contract on the part of the Tenderer to supply to the Institute those Works specified in the Order in accordance with the Contract. 

5.2 On receipt of any Order, the Contractor shall commence delivery of the Works referred to therein and complete the same by the due date specified in the Order or otherwise as expeditiously as possible. 

5.3 
On satisfactory completion of the Works, the Contractor shall submit his bill to the Institute who shall certify the same for payment to the Contractor at the time and in the manner hereinafter provided.

5.1 If the total quantities of any items of Goods and/or the frequency and extent of any Services to be supplied by the Contractor during the period of the Contract are not specified in the Contract or stated to be merely estimated, the Institute shall be under no obligation to purchase any such Goods and/or Services. Any statement of the estimated quantities of any items of Goods or the estimated frequency and extent of the Services required during the period of the Contract which may have been given to the Contractor in the course of inviting tenders shall be deemed to be approximate only and merely for the information of the Contractor.  

5.5
In the event the Contract is an Extended Contract, and in the event that the model of the Goods offered by the Contractor in the Tender Offer has become obsolete and cannot be supplied if an Order is issued for it, the Contractor shall make available an improved model to the Institute at the same or lower price than that of the obsolete model. Provided that the Contractor must obtain the written approval of the Institute at least 14 days before supplying the improved model.  If the written approval is granted, the obsolete model shall be replaced by the improved model thereafter. The Contractor shall not supply the obsolete model thereafter.
6. Subcontracting and Assignment 

6.1
The Contractor shall not transfer or assign the Contract or any part, share or interests therein or otherwise sub-contract or delegate his obligations under the Contract to any party, unless written consent is obtained from the Institute.

6.2
The Contractor shall be responsible and liable to the Institute for all acts and defaults of any sub-contractor appointed by him or of any assignee and the sub-contractor’s and/or assignee’s employees and agents and shall indemnify and keep the Institute fully indemnified against all loss and damage suffered by the Institute arising out of or in connection with such acts and defaults.

6.1 This Agreement and all rights under it may be assigned or transferred by the Institute at its sole discretion.

6.2 The Contractor shall include in all contracts between the Contractor and its contractors entered into pursuant to or in connection with its performance of the Contract, the necessary provisions for the assignment by the Contractor to the Institute, if required by the Institute, of the benefit of such contracts upon any termination of the Contract. The Contractor shall when requested by the Institute provide the Institute with such contracts for the Institute’s inspection and/or copies thereof for the Institute’s retention.

7. Delivery and Completion Date
7.1 The Contractor undertakes that the Equipment and Works shall be supplied and delivered by the Delivery Date as specified in the Appendix and shall be fully installed and commissioned by the Completion Date as specified in the Appendix Where applicable, the supply and performance of the Works shall be carried out in accordance with such schedule as may be specified by the Institute in the Requirement Specifications or otherwise in writing. The Equipment and Works shall only be deemed to be installed and commissioned when the Equipment and Works has been delivered in whole, installed and passed the Acceptance Test and/or additional tests conducted under Clause 8. 
7.2 When the Equipment and Works are ready for shipment for delivery to the Institute, the Contractor shall seek consent from the Institute prior to arranging shipment. 

7.3 The Contractor undertakes to supply, by the Completion Date, the documentation referred to as follows:
7.3.1
The Contractor shall undertake to supply the Institute with two (2) (or such other number as stated in the Requirement Specifications) complete sets of comprehensive documentation on all aspects of the Equipment and Works including documentation to be used for planning, design, installation, operation, maintenance, administration and training purposes.  All sets of such documentation shall be of the latest version.
7.3.2
In the event of any conflict between the provisions of any documentation or information or data supplied by the Contractor (including the supporting data supplied by the Contractor in the Form of Tender) and the provisions of the Invitation to Tender, the provisions of the Invitation to Tender shall prevail unless the Institute agrees otherwise in writing.
7.4
The property in the Equipment and Goods shall pass to the Institute on delivery to the Location.

8. Acceptance Test

8.1 
Where it is specified in the Appendix that an Acceptance Test (as defined in Clause 8.2) will be conducted, the provisions of this Clause shall apply.
8.1 The Acceptance Test shall be conducted and completed within a period of thirty (30) days of the date of completion of the installation of the Equipment and Works. This period may be extended upon mutual agreement to ninety (90) days.
8.2 The Institute may require the Contractor to conduct such other tests at the Contractor’s own cost on each item or part of the Equipment and Works in accordance with such procedure(s), method(s) and timing as the Institute may in its absolute discretion deem fit for the purpose of confirming and verifying that the functions, features and performance of such part of the Equipment and Works meet with the requirements and standards stipulated in the Requirement Specifications which are applicable to such part of the Equipment and Works.  Such tests may be conducted, in the discretion of the Institute, in addition to or substitution of the Acceptance Test. 
8.3 Without prejudice to any other rights which it may have, the Institute may reject any item or part of the Equipment and Works which fails any test conducted under this Clause.
8.4 As soon as the supply of the Equipment and Works have been completed in accordance with the Contract, and passed the Acceptance Test and/or additional tests where applicable, the Contractor and the Institute shall jointly issue a document, herewith called an “Acceptance Certificate” and the date of the Acceptance Certificate shall be the Completion Date of the Equipment and Works.
8.5 The Contractor shall remain liable to the Institute in accordance with the terms and conditions contained herein notwithstanding the signing by the Institute of any certificate or document or any payment or the release of the security deposit.
9. Delay or Failure in the Equipment  and/or Works

9.1
Unless otherwise expressly provided herein, any date or period stated in the Contract may only be postponed or extended by written agreement and at the sole discretion of the Institute. In the absence of such agreement, time shall be of the essence of the Contract. 
9.2
In the event of failure by the Contractor to supply, deliver or complete the Equipment and Works or any part thereof by the Delivery Date at the Location or to install and commission the Equipment and Works or any part thereof by the Completion Date for reasons other than that provided for in Clause 13, the Institute, in addition to any other rights and remedies that it may have under the Contract or otherwise, shall have the right : 

9.2.1
to forthwith by notice in writing to the Contractor, cancel all or any such outstanding items of the Equipment and Works from the Contract (with the Contract Price being correspondingly reduced) without being liable therefor in damages and obtain the same from other sources and all increased costs thereby incurred shall be deducted from any monies due or to become due under this Contract or shall be recoverable from the Contractor as damages; or 
9.2.2
to withhold the payment of all monies due or to become due to the Contractor and to set off whatever liability incurred by the Contractor to the Institute as a result of the Contractor’s said failure or delay in the delivery or performance of the Equipment and Works against such monies; or 
9.2.3
to deduct from any monies due or to become due to the Contractor, as liquidated damages (and not as a penalty), the sum calculated as specified in the Appendix for each day of delay or failure to supply and deliver the Equipment and Works or install and commission the Equipment and Works (as the case may be) until the required Equipment and Works are supplied, delivered and commissioned by the Contractor. If stipulated by the Institute, there may be a series of phased Completion Dates with separate liquidated damages for each phase as set out in the Appendix. The payment of the liquidated damages will be in full satisfaction of the Contractor’s liability for such period of delay but such payments shall not relieve the Contractor from its obligation to supply, deliver, install or commission the Equipment and Works or from any other liability or obligations under this Contract.
9.3 If the Institute exercises its right under Clause 9.2.3 and the Equipment and Works or any part thereof is still not supplied and delivered or installed and commissioned within 4 weeks from the Delivery Date or Completion Date, as the case may be, then the Institute, without prejudice to its right to payment under Clause 9.2.3, may elect to exercise its right under Clause 9.2.1 or terminate the Contract with immediate effect on giving written notice to the Contractor. 

9.4 The rights of the Institute under Clause 27 shall apply in respect of any such termination pursuant to Clause 9.3.

10.
Support and Maintenance Services and Training
10.1
The Contractor guarantees that technical expertise and spare parts are available for the Equipment and its components for a period of at least five (5) years from the delivery and supply of the Equipment to the Institute to ensure the continued operation of the Equipment.
10.2 
In the event that the Equipment and its components for whatever reason is not supported in the manner as set out in Clause 10.1, the Contractor shall pay to the Institute an amount equivalent to the cost of replacing the Equipment and all of its components with other equipment of equal capability as the Equipment. The choice of the replacement equipment shall be at the sole discretion of the Institute.

10.3
In addition, the Institute may also require the Contractor, if he is not the manufacturer of the Equipment or of any part of the Equipment, to obtain an undertaking from the Original Equipment Manufacturer (OEM) to be executed in favour of the Institute to guarantee supply of spare parts and support throughout the entire life span of the Equipment.  The form of the undertaking shall be in written form and if required by the Institute, the undertaking shall be executed in the form of a deed.

10.4 
Where the Requirement Specifications specifies the provision of support and maintenance services and training, the Contractor shall provide the support and maintenance services and training as set out in the Requirement Specifications and in accordance with the terms stated therein.  The Contractor confirms that the Institute is not required to execute any further documents in relation to the provision of support and maintenance services (including any software or system licenses). The Contractor may request for the Institute to enter into separate support and maintenance agreements or software or system licenses provided always that the approval of such documents shall be at the Institute’s sole discretion and the terms and conditions of such documents must be in compliance and consistent with all the terms and conditions of the Invitation to Tender including the Requirement Specifications. 

11. Right of Set-Off 

The Parties agree that in addition to any right of set-off or similar right to which the Institute may be entitled in law, the Institute may at anytime and without notice to the Contractor combine and consolidate all or any sums, debts or amounts due from the Contractor to the Institute under the Contract or any other contract between the Institute and the Contractor  (including all costs, charges, interest, taxes and other expenses incurred in any way in relation to the said sums, debt or amounts which is due to the Institute) (hereinafter collectively referred to as  the “Combined Account”), and set-off any payment due from the Institute to the Contractor under the Contract against any sum due from the Contractor to the Institute in respect of the Combined Account.
12. Non-Waiver

12.1
The liability of the Contractor under this Contract shall not be discharged, diminished or affected by the granting of any time or indulgence to the Contractor and no term of this Contract shall be considered waived and no breach excused by the Institute unless made by the Institute in writing. 
12.2
No waiver by the Institute of any breach of the Contractor’s obligations under the Contract shall operate as a waiver of any future, continuing or other breach. 

13. Force Majeure
13.1
The Contractor shall not be liable for any failure to comply with its obligations under this Contract where such failure is caused by an Act of God or by any riot, civil commotion, strike, lockout, or other labor disturbance, or by any fire, war, acts of foreign enemies or perils of the sea or other perils beyond the control of the Contractor (“Force Majeure Event”). Failure by the Contractor’s sub-contractors to fulfill their sub-contracts shall not be regarded as a Force Majeure Event unless the sub-contracts would qualify for exemption from failure if the provisions of this Clause were applied to them. The Contractor shall notify the Institute in writing of the said failure within thirty (30) days of the commencement of the event relied upon by the Contractor for his failure to comply with his obligations and shall do everything in its power to resume full performance.
13.2
The Contractor shall for the duration of the Force Majeure Event be relieved of any obligation under this Contract as is affected by such event:
13.2.1
PROVIDED that the provisions of this Contract shall remain in force with regard to all other obligations under this Contract which are not affected by such event.

13.2.2
AND PROVIDED further that the Contractor shall, should the Institute in writing so require, resume his full obligations under this Contract upon the cessation of such event.

13.3
If and when the Force Majeure Events renders performance of this Contract or any part thereof impossible for a continuous period of three (3) months, then this Contract shall automatically terminate unless the Parties first agree otherwise in writing.
13.4
For so long as the Force Majeure Event continues, the Institute may contract with others for the supply of any item of the Equipment and Works which the Contractor fails to supply in accordance with the terms of this Contract. Any such item of the Equipment and Works supplied by others would be deemed as cancelled from this Contract (with the Contract Price being correspondingly reduced) without the Institute being liable to the Contractor for damages for such cancellation.
14. Gifts, Inducements and Rewards

The Institute shall be entitled to determine the employment of the Contractor under the Contract and to recover from the Contractor the amount of any loss resulting from such determination, if the Contractor shall have offered or given or agreed to give to any person any gift or consideration of any kind as an inducement or reward for doing or forbearing to do or for having done or forborne to do any action in relation to the obtaining or execution of the Contract with the Institute or for showing or forbearing to show favour to any person in relation to any Contract with the Institute, or if the like acts shall have been done by any person employed by the Contractor or acting on his behalf (whether with or without the knowledge of the Contractor) or if in relation to any Contract with the Institute the Contractor or any person employed by him or acting on his behalf shall have committed any offence under the Penal Code or Prevention of Corruption Act or shall have abetted or attempted to commit such an offence or shall have given any fee or reward the receipt of which is an offence under the Penal Code or the Prevention of Corruption Act.

15. Authorised Variations

15.1
As used in this Clause 15, the term "variation" shall mean any change in the original Contract intention as deduced from the Contract as a whole describing or defining the supply of the Equipment and Works and shall include but is not restricted to an addition to or omission from the supply of the Equipment and Works. For the avoidance of doubt the term "variation" shall exclude any instruction (which would otherwise be a variation) which has arisen due to or is necessitated by or is intended to cure any default of, negligence, or breach of Contract by the Contractor.

15.2
The Institute may at any time issue an instruction in writing that requires a variation. The Institute may request or instruct that the Contractor provides proposals for the variations at the Contractor’s cost. The Contractor shall state in writing the effect such variation will have on the Contract Price and to the works schedule. The Contractor shall furnish such details within [fourteen (14) business days] of receipt of the Institute's request or such other period as may be agreed. The Contractor shall not proceed to vary the supply of the Equipment and Works in any respect until and unless agreed to in writing by the Institute.

15.3
If or to the extent that a instruction in writing issued by the Institute does not state that it requires a variation, but the Contractor considers that it does require a variation, the Contractor shall within [fourteen (14) business days] from the date of receipt of the instruction notify in writing the Institute who may, if the Institute thinks fit, within [fourteen (14) business days] from the date of receipt of the Contractor's notification, confirm, modify, rescind or contradict in writing the instruction and the Contractor shall then comply forthwith. The Contractor shall not proceed with any works or services that are the subject of such instruction unless the Institute has expressly accepted in writing that such instruction entails a variation.
15.4
The Contractor shall provide under Clause 15.2 or Clause 15.3 (in the event the Institute agrees the instruction constitutes a variation), the Contractor’s most competitive prices for the Institute taking into consideration deals of similar scope, volumes, service levels and global reach, and benchmarked against the prices for equivalent goods, services, labour, materials, and equipment charged by the Contractor’s competitors.

15.5
For the avoidance of doubt, the Institute shall not be liable for and shall not be obliged to entertain any claims in respect of additional costs arising from any instruction which the Institute has not expressly identified and accepted in writing as giving rise to a variation, or for any variation which the Institute has not expressly agreed to in writing.

15.6
The Contractor shall satisfy the Institute as to the reasonableness of changes to the time schedule resulting from the variations. Upon the Institute being satisfied regarding the reasonableness of any extensions to the time schedule by the variation, the Institute may grant such extension of time as it deems fit.

15.7
Upon completion of the variations, the Contractor shall certify in writing to the Institute that the variations are completed.
16. Dispute Resolution
16.1
Notwithstanding anything in this Contract, in the event of any dispute, claim, question or disagreement arising out of or relating to this Contract, or the breach thereof (collectively referred to as "Dispute"), the Institute may elect to resolve the Dispute through mediation, arbitration or exclusively in the Singapore Courts. The Institute may make the election on its own accord by written notice to the Contractor or within thirty (30) days of the receipt of the Contractor's written notice stating the specific Dispute to be resolved. Should the Institute fail to make the election within thirty (30) days of the receipt of the written notice by the Contractor, the Dispute shall be resolved by reference to arbitration and the provisions of Clause 16.3 shall apply. If mediation is so elected by the Institute, the Parties shall not proceed to arbitration, litigation or any other form of dispute resolution unless the Parties have made reasonable efforts to resolve the Dispute through mediation in accordance with the mediation rules of the Singapore Mediation Centre, in which case the following provisions shall apply:

16.1.1
The Contractor who receives a notice for mediation from the Institute shall consent and participate in the mediation process in accordance with the mediation rules of the Singapore Mediation Centre.

16.1.2
Failure to comply with this Clause 16.1 shall be deemed to be a breach of contract.

16.1.3
If such Dispute has not been resolved within three (3) months of the commencement of mediation proceedings, or such other extended period as may be agreed in writing between the Parties, such Dispute shall be finally settled in accordance with Clause 16.2 as elected by the Institute.
16.2
Any Dispute which is not settled by mediation under Clause 16.1 shall be resolved either by reference to arbitration or exclusively in the Singapore Courts as elected by the Institute. 

16.3
Pursuant to Clauses 16.1 or 16.2, if arbitration is selected, the following provisions shall apply:

16.3.1 the Dispute shall be resolved by reference to arbitration in Singapore in the English language in accordance with the Arbitration Rules of the Singapore International Arbitration Centre ("SIAC Rules") for the time being in force which rules are deemed to be incorporated by reference into this Clause.

16.3.2
The arbitral tribunal shall consist of one arbitrator to be agreed upon between the Parties.

16.3.3
Either Party may propose to the other the name or names of one or more persons, one of whom would serve as the arbitrator. 

16.3.4
If no agreement is reached within thirty (30) days after receipt by one Party of such a proposal from the other, the arbitrator shall be appointed by the Chairman of the Singapore International Arbitration Centre.

16.4
Any reference to arbitration under this Clause shall be a submission to arbitration within the meaning of the Arbitration Act for the time being in force in Singapore.

16.5
The application of Part I of the International Arbitration Act, and the Model Law referred thereto, to this Contract is hereby excluded.

17. Indemnification of the Institute against Claims by Contractor’s Employees

In the event of the Institute (including for this purpose every officer and department thereof) being held liable for damages arising out of any claim by any workman or employee employed by the Contractor in and for the performance of the Contract in respect of any torts whatsoever, the Contractor shall indemnify the Institute, its officers or departments against such claim and any costs, charges and expenses in respect thereof, save where the claim is caused directly by the gross negligence or willful misconduct of the Institute, its officers or agents. 
18. Secrecy and Non-disclosure

18.1
The Contractor acknowledges that in conjunction with this Contract, he will receive or acquire Confidential Information either from the Institute or its related companies or in the course of its supply and performance of the Equipment and Works. The Contractor shall treat as confidential all Confidential Information and not disclose the Confidential Information to any third party save with the written consent of the Institute. Provided that this Clause shall not extend to information which was rightfully in the possession of the Contractor prior to the date of the Invitation to Tender, or which is already public knowledge or becomes so at a future date (otherwise than as a result of the Contractor’s breach of this Clause).
18.2
The Contractor further undertakes not to use any of the Confidential Information other than for the purposes of, and only to the extent necessary for the performance of this Contract and not for its own benefit nor for the benefit of any other party. Provided that this Clause shall not extend to information which was rightfully in the possession of the Contractor prior to the commencement of the Invitation to Tender, or which is already public knowledge or becomes so at a future date (otherwise than as a result of the Contractor’s breach of this Clause). The Contractor shall ensure that its employees, servants and subcontractors are aware of and comply with the provisions of Clauses 18.1 and 18.2.

18.3 
The Contractor will establish and maintain sufficient security measures and procedures to provide for the safe custody of Confidential Information and to prevent unauthorised access thereto or use thereof.
19. Ideas in Tenders

All ideas, details, concepts, plans, drawings, data, information and proposals contained in the documents forming the Tender Offer or otherwise disclosed by the Contractor to the Institute shall be deemed not to be of a confidential nature and the Institute shall be fully entitled to disclose and make use of such ideas, details, concepts, plans, drawings, data, information, and proposals without the prior consent of the Contractor.

20. Rights in Intellectual Property 

20.1
 The Institute shall be entitled to freely use, repair, maintain, refurbish, modify and upgrade the Equipment and Goods and to use any product of the Services without further reference to the Contractor. The Contractor hereby grants to the Institute a license to use all necessary IP of the Contractor, its subcontractor or supplier for the foregoing activities.
20.2
Where any third party licences are necessary for the use of the Equipment and Works, the Contractor shall be responsible for obtaining the same on behalf of the Institute. 
21. Warranty of Intellectual Property Proprietorship

21.1 
The Contractor warrants that none of the Equipment and Works or any part thereof as supplied, delivered, installed, performed and/or maintained by him pursuant to the Contract or the acceptance, distribution, manufacture, processing or use thereof as contemplated under this Contract infringes any IP rights of any person, company, firm, enterprise or party.
21.2 
The Contractor will at its expense indemnify, keep harmless and defend the Institute (including for this purpose every officer and department thereof) from and against any loss, costs and expenses, demands or liability, whether direct or indirect, arising out of a claim by a third party that any of the Equipment and Works or any part thereof or the acceptance, distribution, manufacture, processing or use thereof infringes any IP rights of that party.
21.3 
The indemnity referred to in Clause 21.2 shall be applicable whether or not legal proceedings are instituted and, if such proceedings are instituted, irrespective of the means, manner or nature of any settlement, compromise or determination.
21.4 
Without prejudice to the right of the Institute to defend a claim alleging the aforesaid infringement, the Contractor shall if requested by the Institute but at the Contractor’s expense, conduct the defence of a claim alleging such infringement. The Contractor agrees that in any of the aforesaid defence or settlement negotiations, the Contractor will take all actions to ensure that the interests, financial or otherwise, corporate name, image and reputation of the Institute are not prejudiced and will act expeditiously in response to and all matters related to any infringement claim from a third party as aforesaid.
21.5 
Without limiting the generality of Clauses 21.1 to 21.4, if it is determined by any independent tribunal of fact or law or if it is agreed between the parties to the dispute that an infringement of the IP rights of any person has occurred on grounds in any way related to the Equipment and Works or any part thereof, the Contractor shall at its sole expense:
21.5.1
modify or replace the said Equipment and Works or part thereof in order to achieve non-infringing status without prejudice however to the Requirement Specifications and the continued duty of the Contractor to completely and satisfactorily discharge his obligations, whether pursuant to the Contract or otherwise, to the Institute; or
21.5.2 procure for the Institute the right to continue the use and possession of the aforesaid Equipment and Works and all parts thereof; or
21.5.3 if the solutions in Clauses 21.5.1 or 21.5.2 cannot be achieved or the Institute receives a court order to stop the use of the aforesaid Equipment and Works or any part thereof, the Contractor shall remove the Equipment and Works, or the infringing part thereof and refund all monies previously paid to the Contractor by the Institute for the aforesaid Equipment and Works or part thereof (including such amount associated with the installation, maintenance, repair, modification and implementation thereof) together with interest thereon calculated at the rate being the average of the prevailing prime lending rate for Singapore Dollars quoted by Development Bank of Singapore Ltd, Oversea-Chinese Banking Corporation Ltd and United Overseas Bank Ltd from the date of payment by the Institute until the date of full refund by the Contractor.

21.6 
The Institute may, in any event, pursue all remedies available to it under the Contract or at law for the Contractor’s breach of agreement.

22. Workmen’s Compensation

Where the Appendix states that Clause 22 of the Conditions will be applicable, the Contractor shall forthwith upon the acceptance of the Tender Offer and as a condition precedent to the commencement of any work under the Contract, take out at his own expense an insurance policy insuring himself in respect of any liability which he may incur under the provisions of the Work Injury Compensation Act in respect of any workmen employed by him.
23. Insurance for the purpose of indemnifying the Institute against Claims by Contractor’s Employees

Where the Appendix states that Clause 23 of the Conditions will be applicable, the Contractor shall forthwith upon acceptance of the Tender Offer and as a condition precedent to the commencement of any work under the Contract, take out at his own expense with an insurance company to be approved by the Institute, a policy or policies of insurance in terms to be approved by the Institute, indemnifying the Institute (including for this purpose every officer and department thereof) from all liabilities arising out of claims by any and every workman and employee employed in and for the performance of the Contract for damages in respect of any tort whatsoever, save where the claim is caused directly by the gross negligence or willful misconduct of the Institute, its officers or agents.
24.
Maintenance of Insurance Policies

24.1
Any policy or policies taken out by the Contractor in compliance with Clauses 22 or 23 shall be deposited with the Institute or with such department as the Institute shall determine and the Contractor shall maintain such policy or policies in full force and effect by the payment of all premiums from time to time on the first day on which the same ought to be paid until the completion of the Contract and shall, if the Institute so directs, deposit with the Institute the receipts in respect of the payments of such premiums.
24.2
If any default is made by the Contractor in complying with the terms of Clauses 22, 23 and 24.1, the Institute may without prejudice to any other remedy available to the Institute for breach for any terms of the Contract:
24.2.1
withhold all payments which would otherwise be due to the Contractor under the Contract and out of such monies so withheld satisfy any claim by workmen or employees that would have been borne by an insurance company had the Contractor not made default in maintaining the required policy of insurance, and/or

24.2.2
pay such premiums as may have become due and remain unpaid and deduct the amount of such premiums from any monies due or becoming due to the Contractor.

24.3 
Nothing in Clause 24 shall be construed to take away or to waive or in any manner to modify the right of the Institute to be indemnified by the Contractor in respect of this Contract and the Contractor shall indemnify and keep the Institute harmless from all claims, costs and other expenses whatsoever which by reason of the Contractor’s default may become payable by the Institute.

25. Payments

25.1
The Contract Price (if payable by or through the Institute) is payable within thirty (30) days of supply of the Equipment and Works as provided under the Contract and after the submission to the Institute by the Contractor of his invoices together with the proper supporting documents and such other documents as may be requested by the Institute from time to time. The Institute will make payment to the Contractor of the full value of all Equipment and Works supplied.
25.2
Where the supply of the Equipment and Works has been unsatisfactory, the Institute may withhold payment of any invoice until such time as the Contractor shall render the Equipment and Works satisfactory and/or deduct against the Contractor’s bill the deductions to be made in accordance with the terms of the Contract.
25.3
No payment shall be considered as evidence of the quality of any goods or services to which such payment relates nor shall it relieve the Contractor from his responsibilities under the Contract for defective or damaged goods or unsatisfactory performance or non-compliance with requirements.

26. Warranties
26.1
The Contractor warrants and undertakes:

26.1.1
to ensure that the Equipment and Works strictly meet the requirements and specifications as set out in the Requirement Specifications;

26.1.2
to do all things which are necessary to achieve the goals set out by this Contract or reasonably inferred from the Contract;
26.1.3
that it has the right to pass title and property in the Equipment and Works to the Institute free from any restrictions or encumbrances;

26.1.4
that the documentation will contain complete information and instructions;
26.1.5 that the Equipment and/or Works shall be supplied and rendered by appropriately experienced, qualified and trained personnel with all due skill, care and diligence. In addition, there will be adequate numbers of such personnel to carry out and complete the supply of the Equipment and Works in accordance with the Contract;
26.1.6 
that it shall discharge its obligations pursuant to this Contract with all due skill, care and diligence including but not limited to good industry practice and (without limiting the generality of this Clause) in accordance with its own established internal procedures; 

26.1.7 that the Equipment and Works shall be supplied and the Contract performed in compliance with all applicable laws, enactments, orders, rules, regulations, by-laws and other similar instruments and that all relevant ethics and other relevant approvals shall be obtained; 
26.1.8 that the Equipment and Works shall be supplied and the Contract performed in compliance with the Workplace Safety and Health Act (Cap.354A), the associated regulations and any other applicable health and safety legislation (collectively “Health and Safety Laws”), and that it shall execute any documents required by the Institute to confirm such compliance with the Health and Safety Laws; and
26.1.9
that all equipment, materials and supporting documentation not mentioned or included in the Contract but which may be necessary for the proper operation and functioning of the Equipment and Works shall be provided by the Contractor to the Institute at no additional cost.
26.2 
Should the Equipment and Works not meet the Requirement Specifications by the Completion Date, the Contractor shall at the written notification of the Institute, immediately, at its own cost, replace the defective Equipment and Works, such that they are fully operational and comply with the Requirement Specifications.

26.3 
There shall be a warranty period during which the Contractor, at his own expense, shall make good to the satisfaction of the Institute and shall promptly attend to any defects whatsoever in the Equipment and Works (“the Warranty Period”). 
26.4 The duration of the Warranty Period shall be specified in the Appendix, commencing on the day following the Completion Date. Provided always that in no event shall the duration of any Warranty Period be less than one (1) year.

26.5
Where the Institute considers appropriate, it may in its absolute discretion require a separate Warranty Period in respect of each or any item or part of the Equipment delivered. The duration of any such Warranty Period shall be specified in the Appendix. Provided always that the duration of any such Warranty Period shall not be less than one (1) year.  
26.6
The Warranty Period for any replaced Equipment and Works pursuant to Clause 26.2 shall be extended by a period equivalent to the period commencing from the date of notification by the Institute pursuant to Clause 26.2 to the date of acceptance of the replaced Equipment and Works. 
27. Termination

27.1
The Institute may at any time give to the Contractor a written notice of termination thirty (30) days in advance.  This shall have the effect of terminating the appointment of the Contractor under the Contract with effect from the expiry of the thirty (30) days period (“the date of termination”). In the event of a notice of termination being served by the Institute under this sub-Clause herein:
27.1.1
the Institute shall pay the Contractor for all Equipment and Works executed prior to the date of termination in accordance with the Contract Price prorated up to the date of termination including the rates chargeable for the Equipment and Works with any Authorised Variations; and

27.1.2
the Contractor shall thereafter have no further claim whatsoever against the Institute under the Contract.

27.2
The Institute may terminate this Contract with immediate effect by giving notice in writing to the Contractor on any one of the following grounds:

27.2.1
If the Contractor is in default in the performance of this Contract or fails to fulfil any part of his obligations under this Contract or if there is a breach of any warranty given by the Contractor under this Contract, (and in the case whether the default, failure or breach is capable of remedy) fails to remedy it within thirty (30) days of receipt of a written notice by the Institute specifying the default, failure or breach;
27.2.2
If the Contractor ceases or threatens to cease to carry on its business, becomes bankrupt or insolvent or makes a composition with creditors or if, being a company, a winding-up order of any kind is made in respect of the Contractor, or if a receiver or manager is appointed over the Contractor's undertaking or assets or possession of or execution on any part of such undertaking or assets is taken or levied by creditors;

27.2.3
If the Contractor wholly suspends work under this Contract without justification or is failing to proceed with due diligence and due expedition and following expiry of two (2) weeks' written notice from the Institute to that effect, the Contractor has failed to take effective steps to recommence work or is continuing to proceed without due diligence or expedition, as the case may be; 

27.2.4
If the Contractor refuses or persistently fails or neglects to comply with the instructions of the Institute issued under the provisions of this Contract and following expiry of two (2) weeks written notice from the Institute to that effect, the Contractor has failed to take effective steps to comply with the said instructions; or 
27.2.5
If the Contractor or any person employed by the Contractor or any person acting on behalf of the Contractor, whether with or without the knowledge of the Contractor, offers or gives or agrees to offer or gives to any person any gift or consideration of any kind as an inducement or reward for doing or forbearing to do or having done or forborne to do any action in relation to the obtaining or execution of this Contract.
27.2.6 
If the Contractor or any person employed by the Contractor or any person acting on behalf of the Contractor, at any time, is included in the list of persons or entities debarred from participating in the Institute and/or public sector tenders as specified in the following website: http://intranet.gebiz.gov.sg/index_rt_eppu_index.html.
27.3
In the event of a termination under Clause 27.2, the Contractor shall indemnify the Institute against any loss, liability, claims, costs and expenses suffered by the Institute in connection with or arising from such termination.

27.4
In the event of termination under Clause 27.2, the Institute shall have the right to do any of the following:

27.4.1 sell or otherwise dispose of the Equipment and Works or any part thereof delivered including spare parts, documentation, method of use or information of any kind and the proceeds of such disposal shall be deducted from the Institute’s claim for compensation from the Contractor; 
27.4.2 return all or any part of the Equipment and Works already delivered to the Institute and the Contractor shall refund forthwith to the Institute the price of all or any part of the Equipment and Works returned by the Institute;  
27.4.3 purchase from other sources as it deems fit the Equipment and Works or any parts thereof or identical or similar Equipment and Works from other sources and the Contractor shall bear additional cost so incurred, if any. In addition, the Contractor shall also pay to the Institute as liquidated damages for any delay caused calculated in accordance with Sub-Clause 9.2.3 as if it had itself supplied and delivered the Equipment and Works on the date of actual delivery from these other sources of the Equipment and Works or parts thereof or identical or similar Equipment and Works;
27.4.4 the Institute may withhold payment of any monies payable to the Contractor until the Equipment and Works are completed and the damages payable to the Institute arising from such termination are quantified and ascertained by the Institute (such quantification and ascertainment to be made within a reasonable time) and if the aggregate amount of such damages and all monies paid to the Contractor under this Contract exceeds the Contract Price, such excess amount shall constitute a debt payable to the Institute by the Contractor; and
27.4.5 the Contractor shall remove from the Location, if required by the Institute, any temporary structures, plants, tools, goods, materials and equipment brought thereon by or for the Contractor and if the Contractor fails to do so within the time stipulated in the said notice for such removal, the Institute shall be entitled to store, remove, sell or otherwise deal with or dispose of the same and the Contractor shall be liable to the Institute for any costs, expenses and liabilities whatsoever incurred by the Institute in so dealing with or disposing the same.  In the event that the said temporary structures, plants, tools, goods, materials and equipment are sold, the proceeds after deduction therefrom of such monies as are due to the Institute from the Contractor shall be held for the Contractor for a period of not less than one (1) month from the date of posting of a notice to the Contractor to collect the said proceeds from the Institute and if the said Contractor fails to collect the same from the Institute within the said period, he shall be deemed to have disclaimed any rights to or interests in the said proceeds.  The Contractor shall not be entitled to make any claims whatsoever against the Institute or its employees or agents for any action taken by the Institute in accordance with the provisions of this Clause.

27.5 Notwithstanding anything contained herein, the Contractor shall not be entitled to claim for any reimbursement including but not limited to anticipated loss of profit and works-in progress for the value of any part of the Equipment and Works not delivered prior to the termination of this Contract.

27.6 
The rights of the Institute specified under this Clause 27 shall be in addition to such other rights and remedies as the Institute may have or be entitled to against the Contractor for breach of contract or otherwise.

28 Notices

Any notice to the Contractor to be given under the Contract shall be in writing, typescript or printed and may be served personally or sent by registered post or recorded delivery. If it is sent by registered post or recorded delivery to the last known place of abode or business of the Contractor it shall be deemed to have been served on the date when in the ordinary course of post it would have been delivered to him.

29 Applicable Law
The Contract shall be deemed to be made in Singapore and shall be subject to, governed by and interpreted in accordance with the Laws of the Republic of Singapore for every purpose. The application of the United Nations Convention on Contracts for the International Sale of Goods to this Contract is hereby expressly excluded.

30 Withholding Taxes

The Parties agree that in the event that withholding taxes are imposed by the Singapore government on any payments made under this Contract, the Contractor shall bear all such withholding taxes and the Institute shall deduct such taxes from payments due to the Contractor and forward the balance to the Contractor without any obligation to gross up such payment or pay the Contractor any amount so withheld. The Institute shall submit to the Contractor evidence of payment of such withholding tax to the Singapore government as soon as possible.

31 Personal Data
(a)          The Contractor shall comply with all applicable data protection laws and regulations, including the Personal Data Protection Act 2012 (“PDPA”), the regulations under the PDPA and the guidelines issued by the Personal Data Protection Commission (“PDPC”) (collectively the “Data Standards”). 

(b)          Where there has been a breach of the Data Standards, the Contractor shall notify the Institute immediately, and implement measures required by the Institute to remedy any such breach at the Contractor’s own cost. 

32 Entire Agreement


Unless otherwise expressly agreed in writing, this Contract embodies the entire understanding between the Parties in respect of the supply of the Equipment and Works and any prior or contemporaneous representations, either oral or written, are hereby superseded.  

33 Survival of Clauses 


The provisions of Clauses 6, 10, 12, 16, 17, 18, 19, 20, 21, 24.3, 26, 27, 28, 29, 31, 32, 33 and 34 shall continue in full force and in accordance with their terms, notwithstanding the termination of this Contract for any reason.

34 Severability


In the event that any term, condition or provision of this Contract is held to be a violation of any applicable law, statute or regulation, the same shall be deemed to be deleted from this Contract and shall be of no force and effect and this Contract shall remain in full force and effect as if such term, condition or provision had not originally been contained in this Contract. Notwithstanding the above in the event of any such deletion the Parties shall negotiate in good faith in order to agree the terms of a mutually acceptable and satisfactory alternative provision in place of the provision so deleted.

APPENDIX TO THE CONDITIONS OF CONTRACT
                                                 Clauses in the ConditionsADVANCE \U 6.0
I
Delivery Date

Clauses 1 & 7

Within 24 weeks after issuance of Letter of Acceptance

II
Completion Date
Clauses 1&7 

Within 4 weeks after delivery
III 
Acceptance Test
Clauses 1 & 8

Required
IV
Security Deposit
Clause 1 & 3
5% of the Contract Price 


(Applicable when the Contract Price is more than or equal to S$500,000)
V
(a)
Liquidated
Clause 9.2.3

0.1% of the Contract Price per day 



Damages



including Saturdays, Sundays and Public Holidays) for each day’s delay in delivery/commissioning

(b)
Liquidated
Clause 9.2.3

Not Applicable


            
Damages for 


             
phase



             
completion


             
dates

VI          Insurance for

Clause 22

Applicable

Workmen’s






Compensation
VII         Insurance for

Clause 23

Applicable

claims by






Contractor’s

employees

VIII
Warranty Period
Clause 26
To refer to requirement specifications
DRAFT BANKER’S GUARANTEE/ INSURANCE PERFORMANCE BOND FOR EQUIPMENT, GOODS AND/OR SERVICES

To: The Executive Director and his successors in office for and on behalf of the <Name of RI> (hereinafter called "the Institute”).

          Whereas on the _____ day of _____________20__ an Agreement (hereinafter called "the Contract") was made between _______________________ (name of Contractor) of ______________ (address) (hereinafter called "the Contractor") of the one part and the Institute of the other part whereby the Contractor agreed to ____________ _________________ (state nature of contract) for the sum of Singapore Dollars ______________ (S$ ___________ ).

 
And Whereas the Contractor is required under the Contract to pay 5% per cent of the total value of the Contract as a Security Deposit for the performance of his obligations under the Contract.

          Now in consideration of the Institute not insisting on the Contractor paying 5% per cent of the total value of the Contract as a security deposit for the said Contract, we (at the request of the Contractor) hereby agree as follows:

1
We shall pay the Institute on demand any sum or sums which from time to time may be demanded by the Institute up to the sum of Singapore Dollars (S$__________)  (“the Guaranteed Sum”) upon receiving your written notice of demand for payment made pursuant to Clause 4 hereof.

2
We shall not be discharged or released from this guarantee by any arrangement between yourself and the Contractor with or without our consent or by any alteration in the obligations undertaken by the Contractor or by any forbearance whether as to payment, time, performance or otherwise.

3
Our liability under this guarantee shall continue and this guarantee shall remain in full force and effect from [insert effective date: _____________ ] until [insert initial expiry date:_________ ]  [insert if expiry date is subject to automatic extension:  provided always that the expiry date of this guarantee and our liability thereunder shall be automatically extended for successive periods of [specify duration of each extension:  _______ days / months] unless we give you 90 days' written notice prior to the expiry of our liability of our intention not to extend this guarantee in respect of any future extension and provided further that you shall be entitled, upon receiving such notice of our intention (and within the period specified in Clause 4 hereof), either to:

(i) make a claim under this guarantee;  or

*(a)
direct us to pay such amount (not exceeding the Guaranteed Sum) as you may specify into a suspense account to be governed and disbursed by us subject to the Association of Banks in Singapore's Guidelines for operation of a Suspense Account;  or

 (b)
direct us to extend the validity of this guarantee for a further period not exceeding ________ days / months (and this guarantee shall then expire at the end of such further period). ]
Note : * Not applicable for Insurance Bond issued by insurance companies

4
This guarantee is conditional upon a demand or direction as specified herein being made by you by way of a notice in writing addressed to us and the same being received by us at [insert address of Bank’s notification office: ___________________ ] within 90 days from the expiry of this guarantee.  Thereafter this guarantee shall become null and void notwithstanding that this guarantee is not returned to us for cancellation except for any demand(s) or direction submitted to us in writing not later than 90 days from the expiry of this guarantee.
5
We shall be obliged to effect the payment required under such a demand or direction within thirty (30) days of our receipt thereof and notwithstanding any dispute or difference which may have arisen under the Contract or any instruction which may be given to us by the Contractor not to pay the same. We shall be under no duty to inquire into the reasons, circumstances or authenticity of the grounds for such demand or direction and shall be entitled to rely upon any written notice thereof received by us (within the period specified in Clause 4 hereof) as final and conclusive. 
6
The Institute may make more than one demand on, or direction under, this guarantee so long as the demands or directions are made pursuant to Clause 4 hereof and within the period specified therein and the aggregate amount specified in all such demands and directions does not exceed the Guaranteed Sum. 
7
This guarantee is issued subject to the laws of the Republic of Singapore and the jurisdiction of the Singapore courts.

Dated this _______ day of ______________

AS WITNESS our hand

Signed by: _______________________________


          (Name and designation of officer)

for and on behalf of the

_____________________




_____________________

(Name of Bank)






(Signature)

in the presence of:

Name ___________________

Designation ______________














_____________________






 (Signature of Witness)
REQUIREMENT SPECIFICATIONS
ANNEX A1 - Requirement Specifications for GPC for polymeric materials in aqueous phase
Tenderer is required to declare his compliance status to the specifications listed on the “Tenderer’s Compliance column”.
*Please note that any non-compliance to Critical Criteria SHALL PRECLUDE the Tender Proposal from further evaluation.
	S/N
	Item Description
	Critical Criteria*
(√)
	Tenderer’s Compliance (Yes/No)
	Tenderer’s Remarks

	1
	Scope of the tender
	
	
	

	2
	Technical Specifications
	
	
	

	2.1
	Pump
	
	
	

	2.1.1
	Isocratic solvent pump 

Compatible solvents: Water and salt water (such as 0.10M NaNO3)
	√
	Yes & Better
	Refer to Appendix 1 For List of Compatible Solvents

	2.1.2
	Flow rate range: 0.010 mL/min – 2 mL/min, with variation in flow rate of 0.001 mL increments 
	√
	Yes
	0.010 mL/min – 2 mL/min

	2.1.3
	Pressure: > 10 MPa
	√
	Yes & Better
	103 Mpa or 15,000 PSI

	2.1.4
	Built-in degasser 1 - 3 channels
	
	Yes
	2

	2.1.5
	Reservoir filter and solvent tray
	
	Yes
	

	2.1.6
	Connecting tubes: Metallic or Plastic
	
	Yes
	

	2.1.7
	Pump supports flow ramping, settable from 0.01 to 30 minute to reach 2 mL/min
	
	Yes
	0.01 to 30 minute to reach 2 mL/min

	2.2
	Autosampler
	
	
	

	2.2.1
	Injection volume range: 0.1 (L – 50 (L
	
	Yes
	0.1 ul – 250.0 ul

	2.2.2
	40 – 100 sample capacity for 1 – 2 mL vials, 
	    √
	Yes & Better
	100 in 2ml vials

	2.2.3
	Able to do manual injection 
	
	Yes
	

	2.2.4
	Carryover < 0.005%
	
	Yes
	< 0.005%

	2.3
	Column and oven
	
	
	

	2.3.1
	Temperature controlled multi-column oven for up to four 30 cm to 75 cm columns  
	
	Yes
	- Maximum of eight 30- to 75-mm columns 

- Maximum of six 150-mm columns Two modules configurable per APC System

	2.3.2
	Working temperature range: Room Temperature to 85 °C settable in 0.1 °C increments
	
	Yes & Better
	90 °C

	2.3.3
	Water column for general purpose, able to measure charged polymeric materials, e.g., negatively charged Poly(acrylic acid)- and positively charged Polyethylenimine-based co/polymers
	      √
	Yes
	

	2.3.4
	Determined molecular weight range: 500 – 1000000 Da
	√
	Yes
	

	2.3.5
	Guard column
	
	Yes
	

	2.4
	Detector  1 (RI detector)
	
	
	

	2.4.1
	Refractive index range: 1 to 1.75 RIU
	
	Yes
	1 to 1.75 RIU

	2.4.2
	Measurement range: 7.0 x 10-9 to 5.0 x 10-4 RIU
	
	Yes
	7.0 x 10-9 RIU to 5.0 x 10-4 RIU

	2.4.3
	Flow rate: 0 - 2 mL/min
	
	Yes
	: 0 - 2 mL/min

	2.4.4
	Sample cell: >1.0 μL
	
	Yes & Better
	Smallest

Dispersion Cell for Optimal Resolution
1.3ul

	2.4.5
	Noise: < 1 x 10-7 RIU/h max
	
	Yes
	≤±1.5 x 10-9 RIU (2 points/s, 1-s filter time constant 0.5 mL/min, 100% H2O)

	2.4.6
	Drift: < 2.5 × 10–7 RIU/hr
	
	Yes
	≤2.0 x 10-7 RIU/h (2 points/s, 1-s filter time constant, 0.5 mL/min, 100% H2O)

	2.4.7
	Integrated values for purge, solvent recycle and pressure relief
	
	Yes
	

	2.5
	Detector 2 (UV-vis detector)
	
	
	

	2.5.1
	Wavelength: 190 nm to 700 nm
	
	Yes
	

	2.5.2
	Sample cell: >5 uL
	
	Yes & Better
	Smallest Dispersion Cell for Optimal Resolution

	2.5.3
	Automatic purge and automatic solvent recycle and zero adjustment
	
	Yes
	

	2.6
	Data Processing
	
	
	

	2.6.1
	Computer installed with data process system
	    √
	Yes
	

	2.6.2
	Software system suite for GPC/SEC for single detector. 
	
	Yes
	

	2.6.3
	The system shall be capable of storing captured file data in an electronic format and exporting the data
	
	Yes
	

	2.6.4
	The system shall provide the ability to view print data from any application source without the originating application being installed.
	
	Yes
	

	2.6.5
	Instrument drivers
	
	Yes
	

	2.6.6
	Licenses for software for min 5 years
	
	Yes
	

	2.7
	Miscellaneous
	
	
	

	2.7.1
	To provide standard Calibration kits (such as Polyethylene Glycol (PEG), Poly(acrylic acid sodium salt), and cationic polymer Standards)
	
	Yes
	

	2.7.2
	Operators and user training for at least 5 staff within 1 month after equipment is commissioned
	
	Yes
	

	2.7.3
	Extended warranty or preventive maintenance (PM) with parts available as option 
	
	Yes
	Extended warranty with 1 PM and all the PM kits as option

	2.7.4
	 Availability of service support and authorised representative dealers in Singapore
	
	Yes
	

	2.7.5
	Accessories (Seal, filter, cutter, wrench, screwdrivers etc) provided as kit
	
	Yes
	

	2.8
	Features required
	
	
	

	2.8.1
	To withstand  high usage volume. Approx. 20 samples per day run
	
	Yes & Better
	- Fast GPC -Refer to Appendix 2 for justification

	2.8.2
	Run time per samples in a time range of 5 – 40 min
	
	Yes & Better
	15-20 minutes or less

	2.8.3
	Easy maintenance – change of seal, filter, column
	
	Yes
	

	2.9
	Compatibility with third party software or hardware
	
	Yes
	

	2.9.1
	Potential to upgrade to other detection setup in the future, including

- MALDI / mass spectroscopy

-Light scattering

-2D GPC

-UV/vis

-three detection array (e.g. viscometer)
	
	Yes
	

	3
	Health, Safety and Environment (HSE) Regulatory Requirement
	
	Yes
	

	3.1
	Tenderer to consider the health and safety risks associated with the delivery / installation / commissioning of the material / equipment / service and provide control measures to ensure safe and complete commissioning of the equipment / works.
	
	Yes
	

	3.2
	Tenderer to, on the behalf of the end-user, make submission for licenses necessary for the delivery / commissioning / operation of the material/equipment /service as deemed required by Singapore’s Controlling Agencies or Singapore’s Standards and Code of Practices.
	
	Yes
	

	3.3
	Tenderer to consider the health and safety risks associated with the delivery / installation / commissioning of the material/equipment/service and provide control measures to ensure safe and complete commissioning of works.
	
	Yes
	

	3.4
	Tenderer to be equipped with their own personal protective equipment (PPE) (e.g. LASER safety googles, air-purifying respirator, chemical resistant suit and gloves, cut-resistant gloves, safety eyewear, safety shoes etc.) mentioned in the risk assessment,  system installation / operation / maintenance manual, standard operating procedures, safety data sheets (SDS) and any other reference document made available.
	
	Yes
	

	3.5
	Where tenders involved physical alteration of spaces, tenderer must ensure specifications are included to ensure engagement of a Qualified Person is engaged to carry out necessary authority submissions e.g., FSC, PFM etc.
	
	Yes
	

	4
	Warranty period of the Equipment 
	
	Yes
	1 Year Standard

	4.1
	Optional extended warranty for 2nd and 3rd year
	
	Yes
	

	5
	Payment schedule/terms
	
	
	

	5.1
	30 days upon completion of delivery/commissioning of Equipment with user acceptance


	
	Yes
	

	6
	Incoterms
	
	
	

	6.1
	Delivered Duty Paid (DDP), IMRE Singapore
	
	Yes
	

	
	Delivery address: 

Institute of Materials Research and Engineering, 

2 Fusionopolis Way, Innovis #08-03, Singapore 138634.
	
	Yes
	

	7
	Acceptance test
	
	
	

	7.1
	Period of 4 weeks for acceptance test 
	
	Yes
	

	7.2
	Standard sample measurement calibration
	
	Yes
	

	7.3
	Acceptance test will be executed against test scenarios (with user’s samples and settings) to demonstrate the ability of determining the molecular weight of multiple polymers, such as lignin (CAS No: 8068-05-1), pectin (CAS No: 9000-69-5), Chitosan (CAS No: 9012-76-4), PHB (CAS No: 29435-48-1), Polyethylenimine and poly(2-dimethylaminoethyl methacrylate)
	
	Yes
	Already have proven application or journals using Waters system proposed system in this application analysis. Refer to attachement


ANNEX A2 - Requirement Specifications for GPC for polymeric materials in organic phase
	S/N
	Item Description
	Critical Criteria*
(√)
	Tenderer’s Compliance (Yes/No)
	Tenderer’s Remarks

	1
	Scope of the tender
	
	Yes
	

	2
	Technical Specifications
	
	Yes
	

	2.1
	Pump
	
	
	

	2.1.1
	Isocratic solvent pump 

Compatible solvents: Tetrahydrofuran (THF)
	√
	Yes & Better
	Refer to Appendix 1 For List of Compatible Solvents

	2.1.2
	Flow rate range: 0.010 mL/min – 2 mL/min, with variation in flow rate of 0.001 mL increments 
	√
	Yes
	

	2.1.3
	Pressure: > 10 MPa
	√
	Yes & Better
	103 Mpa or 15,000 PSI

	2.1.4
	Built-in degasser 1 - 3 channels
	
	Yes
	

	2.1.5
	Reservoir filter and solvent tray
	
	Yes
	

	2.1.6
	Connecting tubes: Metallic or Plastic
	
	Yes
	

	2.1.7
	Pump supports flow ramping, settable from 0.01 to 30 minute to reach 2 mL/min
	
	Yes
	

	2.2
	Autosampler
	
	
	

	2.2.1
	Injection volume range: 0.1 (L – 50 (L
	
	Yes
	

	2.2.2
	40 – 100 sample capacity for 1 – 2 mL vials, 
	    √
	Yes & Better
	100 in 2 mL Vials

	2.2.3
	Able to do manual injection 
	
	Yes
	

	2.2.4
	Carryover < 0.005%
	
	Yes
	

	2.3
	Column and oven
	
	
	

	2.3.1
	Temperature controlled multi-column oven for up to four 30 cm to 75 cm columns  
	
	Yes
	

	2.3.2
	Working temperature range: Room Temperature to 85 °C settable in 0.1 °C increments
	
	Yes & Better
	90°C

	2.3.3
	THF column for general purpose, able to measure charged polymeric materials, e.g., negatively charged Poly(acrylic acid)- and positively charged Polyethylenimine-based co/polymers
	      √
	Yes
	

	2.3.4
	Determined molecular weight range: 500 – 1000000 Da
	√
	Yes
	

	2.3.5
	Guard column
	
	Yes
	

	2.4
	Detector  1 (RI detector)
	
	
	

	2.4.1
	Refractive index range: 1 to 1.75 RIU
	
	Yes
	

	2.4.2
	Measurement range: 7.0 x 10-9 to 5.0 x 10-4 RIU
	
	Yes
	

	2.4.3
	Flow rate: 0 - 2 mL/min
	
	Yes
	

	2.4.4
	Sample cell: >1.0 μL
	
	Yes & Better
	Smallest

Dispersion Cell for Optimal Resolution

	2.4.5
	Noise: < 1 x 10-7 RIU/h max
	
	Yes
	

	2.4.6
	Drift: < 2.5 × 10–7 RIU/hr
	
	Yes
	

	2.4.7
	Integrated values for purge, solvent recycle and pressure relief
	
	Yes
	

	2.5
	Detector 2 (UV-vis detector)
	
	
	

	2.5.1
	Wavelength: 190 nm to 700 nm
	
	Yes
	

	2.5.2
	Sample cell: >5 uL
	
	Yes & Better
	Smallest

Dispersion Cell for Optimal Resolution

	2.5.3
	Automatic purge and automatic solvent recycle and zero adjustment
	
	Yes
	

	2.6
	Data Processing
	
	
	

	2.6.1
	Computer installed with data process system
	    √
	Yes
	

	2.6.2
	Software system suite for GPC/SEC for single detector. 
	
	Yes
	

	2.6.3
	The system shall be capable of storing captured file data in an electronic format and exporting the data
	
	Yes
	

	2.6.4
	The system shall provide the ability to view print data from any application source without the originating application being installed.
	
	Yes
	

	2.6.5
	Instrument drivers
	
	Yes
	

	2.6.6
	Licenses for software for min 5 years
	
	Yes
	

	2.7
	Miscellaneous
	
	
	

	2.7.1
	To provide standard Calibration kits (Polystyrene (PS), Polymethylmethacrylate (PMMA), or Polyethylene Glycol (PEG) Standards)
	
	Yes
	

	2.7.2
	Operators and user training for at least 5 staff within 1 month after equipment is commissioned
	
	Yes
	

	2.7.3
	Extended warranty or preventive maintenance (PM) with parts available as option 
	
	Yes
	Extended warranty with 1 PM and all the PM kits as option

	2.7.4
	 Availability of service support and authorised representative dealers in Singapore
	
	Yes
	

	2.7.5
	Accessories (Seal, filter, cutter, wrench, screwdrivers etc) provided as kit
	
	Yes
	

	2.8
	Features required
	
	
	

	2.8.1
	To withstand  high usage volume. Approx. 20 samples per day run
	
	Yes & Better
	Fast GPC -Refer to Appendix 2 for justification

	2.8.2
	Run time per samples in a time range of 5 – 40 min
	
	Yes & Better
	15-20minutes or less

	2.8.3
	Easy maintenance – change of seal, filter, column
	
	Yes
	

	2.9
	Compatibility with third party software or hardware
	
	Yes
	

	2.9.1
	Potential to upgrade to other detection setup in the future, including

- MALDI / mass spectroscopy

-Light scattering

-2D GPC

-UV/vis

-three detection array (e.g. viscometer)
	
	Yes
	

	3
	Health, Safety and Environment (HSE) Regulatory Requirement
	
	Yes
	

	3.1
	Tenderer to consider the health and safety risks associated with the delivery / installation / commissioning of the material / equipment / service and provide control measures to ensure safe and complete commissioning of the equipment / works.
	
	Yes
	

	3.2
	Tenderer to, on the behalf of the end-user, make submission for licenses necessary for the delivery / commissioning / operation of the material/equipment /service as deemed required by Singapore’s Controlling Agencies or Singapore’s Standards and Code of Practices.
	
	Yes
	

	3.3
	Tenderer to consider the health and safety risks associated with the delivery / installation / commissioning of the material/equipment/service and provide control measures to ensure safe and complete commissioning of works.
	
	Yes
	

	3.4
	Tenderer to be equipped with their own personal protective equipment (PPE) (e.g. LASER safety googles, air-purifying respirator, chemical resistant suit and gloves, cut-resistant gloves, safety eyewear, safety shoes etc.) mentioned in the risk assessment,  system installation / operation / maintenance manual, standard operating procedures, safety data sheets (SDS) and any other reference document made available.
	
	Yes
	

	3.5
	Where tenders involve physical alteration of spaces, tenderer must ensure specifications are included to ensure engagement of a Qualified Person is engaged to carry out necessary authority submissions e.g., FSC, PFM etc.
	
	Yes
	

	4
	Warranty period of the Equipment 
	
	Yes
	1 year

	4.1
	Optional extended warranty for 2nd and 3rd year
	
	Yes
	

	5
	Payment schedule/terms
	
	
	

	5.1
	30 days upon completion of delivery/commissioning of Equipment with user acceptance

	
	Yes
	

	6
	Incoterms
	
	
	

	6.1
	Delivered Duty Paid (DDP), IMRE Singapore
	
	Yes
	

	
	Delivery address: 

Institute of Materials Research and Engineering, 

2 Fusionopolis Way, Innovis #08-03, Singapore 138634.
	
	Yes
	

	7
	Acceptance test
	
	
	

	7.1
	Period of 4 weeks for acceptance test
	
	Yes
	

	7.2
	Standard sample measurement calibration
	
	Yes
	

	7.3
	Acceptance test will be executed against test scenarios (with user’s samples and settings) to demonstrate the ability of determining the molecular weight of multiple polymers, such as lignin (CAS No: 8068-05-1), pectin (CAS No: 9000-69-5), Chitosan (CAS No: 9012-76-4), PHB (CAS No: 29435-48-1), Polyethylenimine and poly(2-dimethylaminoethyl methacrylate)
	
	Yes
	Already have proven application or journals using Waters system proposed system in this application analysis. Refer to attachement


EVALUATION CRITERIA

The Institute shall evaluate the tender proposals based on the following criteria:
1. Critical Criteria

Non-compliance with any of the following critical criteria shall preclude the Tender Proposal from further evaluation by the Institute:
a. Debarment Status 


The Tenderer shall not be suspended or debarred by the Standing Committee On Debarment, c/o Ministry of Finance, from participating in public sector projects.

b. Conformance of the Tender Proposal with the critical criteria of the Technical Specifications (refer to Annex A for the Technical Specifications)

2. Other Criteria (Ranked in decreasing order of importance)

a. Full Compliance
The Tender Proposal shall comply fully with the Instructions to Tenderers, the Form of Tender and the Conditions of Contract and the Requirement Specifications.

b. Tenderer’s ability and expertise to undertake the project. It must have the ability to demonstrate experience and technical capability in handling projects of similar scale and nature. Please submit the necessary supporting documents;

(i) Track records/performance in existing and past projects.
(ii) To demonstrate the ability of determining the molecular weight of multiple polymers, such as lignin (CAS No: 8068-05-1), pectin (CAS No: 9000-69-5), Chitosan (CAS No: 9012-76-4), PHB (CAS No: 29435-48-1), Polyethylenimine and poly(2-dimethylaminoethyl methacrylate) by providing sample testing reports
c. Availability of service support and authorised representative dealers in Singapore, where applicable.
d. Cost effectiveness of the Tender Proposal submitted including the application of life cycle costing techniques, etc as may be deemed appropriate by the Institute
FORM OF TENDER
TENDER NO: IMRE/009/FY17
SUPPLY, DELIVERY, INSTALLATION, COMMISSIONING AND TRAINING OF ONE UNIT OF GEL PERMEATION CHROMATOGRAPHY (GPC) FOR MOLECULAR WEIGHT ANALYSIS OF POLYMERIC MATERIALS IN AQUEOUS PHASE AND/OR ONE UNIT OF GEL PERMEATION CHROMATOGRAPHY (GPC) FOR MOLECULAR WEIGHT ANALYSIS OF POLYMERIC MATERIALS IN ORGANIC MOBILE PHASE
To:
Institute of Materials Research and Engineering (‘The Institute’)
2 Fusionopolis Way
#08-03 Innovis

Singapore 117602
Dear Sirs

1.
We offer and undertake on your acceptance of our Tender Offer to supply the Equipment and Works for SINGAPORE DOLLARS____________________________________________________________ (S$ ____________________) as detailed below.

2.
Our Tender Offer is made subject to the Instructions to Tenderer and the Conditions of Contract (which we have not qualified or changed) and we agree that our Tender Offer remains open for consideration for a period of 4 months commencing on the Closing Date for the submission of Tender Offers i.e., the 08 day of September 2017.
3.
We understand that you are not bound to accept the lowest or any Tender Offer you may receive and that you reserve the right to and we agree that you may accept our Tender Offer in whole or in part in accordance with Clause 25 of the Instructions to Tenderers.

4.
Unless and until a formal agreement is executed, as may be required by you under Clause 25.5 of the Instructions to Tenderers, our Tender Offer set out in paragraph 1 hereof and your written acceptance thereof subject to any Authorised Variations shall constitute a binding agreement between us.

5.
All terms used in this Form of Tender which are defined in the Conditions of Contract shall have the meanings so ascribed to them.

6.
We further undertake to give you any further information that you may require or upon your request, make a presentation on such aspects of our Tender Offer as you may require. 

Dated this _8___ day of _September_____ 20 _17____
Signed by : JOANNA ANG
[Name]

                                         Signature of Tenderer & [image: image2.png]


[image: image3.jpg]



                                         Company Stamp

As ACCOUNT MANAGER
[Designation] 
Of WATERS PACIFIC PTD LTD
[Name and address of Company]

In the presence of JULIUS HIU   [image: image4.jpg]



[Signature of Witness]

Name Waters Pacific Pte Ltd
Address 1 Science Park Road, #02-01 The Capricorn, Singapore Science Park II, Singapore 117528
Company Contact Person:-

Name

: JOANNA ANG
Designation
: ACCOUNT MANAGER
Contact            : 9653 6605
Email

: JOANNA_ANG@WATERS.COM
Fax

: -
TENDERER’S PROPOSAL FORM
TENDERER’S PARTICULARS
	COMPANY NAME

Waters Pacific Pte Ltd
	REGISTRATION NO./ 200512450H
YEAR REGISTERED 19/Sep/2005


	ADDRESS
1 Science Park Road, #02-01 The Capricorn, Singapore Science Park II, Singapore 117528
	TELEPHONE: 65977100
FAX NO:



	GEBIZ REGISTRATION NO: 200512450H 


	GST REGISTRATION NO. (if applicable):
200512450H

	EPPU /BCA REGISTRATION (pls attach photocopy):


	INTERBANK GIRO ACCOUNT NO:

147-064570-001


	COUNTRY OF INCORPORATION:                                                                                                                       


	YEARS OF SUPPLYING: 24
YEARS OF ESTABLISHMENT: 54


	TYPE OF COMPANY (Please tick appropriate box



	
	
	Public
	
	Sole Proprietorship

	
	√
	Private
	
	Joint Venture (state member companies)

	
	
	Partnership
	
	Others (please specify __________________________)

	

	PAID UP CAPITAL

	US$800,100.00

	PARTICULARS OF PARTNERS/DIRECTORS



	Names of partners/Directors


	I/C No.
	Percentage of Shareholding

	Mark Tyrell Beaudoiun
	444235955
	NA

	Yvonne Deborah Talon
	G6237043U
	NA

	(Please list in separate sheet(s) if space is insufficient)



	USER REFERENCE List all customers (names, addresses and number of installations) in Singapore who have purchased and/or used the proposed Equipment)

(Please list in separate sheet(s) if space is insufficient)


	Client
	Project description (with contract amount)

	MSD (Installed base > 100 units)
	USD $700,000.00

	ADDITIONAL REQUIREMENTS


        Please attach company brochure, annual report, newsletters or other relevant documents if any.

JOANNA ANG [image: image5.jpg]
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__________________________________
____________________


Tenderer's Name & Signature
Company Stamp
TENDERER'S PROPOSAL FORM
EQUIPMENT SUPPORT AND MAINTENANCE








Information/Description
1.
Please provide details,


including the following :


a)
Number and qualifications
11


of engineers directly



responsible for maintenance


b)
Preventive maintenance policy


            Once Per Year


c)
Response time for unscheduled                                   Onsite 24-48 hrs response


maintenance


d)
Availability of parts and 
Asia Distribution Centre is 








    located in Singapore

limits to price escalation


e)
Maximum length of downtime



before replacement equipment


NA


is supplied

2.1
State the Warranty Period______ year(s)


Standard 1 year with option to       purchase extended warranty
2.2
State in detail the maintenance


services during the period of



Refer to PM Protocol attached

warranty, at no additional cost
3.
State the annual maintenance charges


for the subsequent three (3) years


Refer to the price schedule
TENDERER'S PROPOSAL FORM
SOFTWARE  SUPPORT








Information/Description
1.
Please provide details, including


the following :


a)
Number and qualifications of



software personnel directly 



11


responsible for servicing the



system


b)
Details of local software



Direct support


support operations


c)
List current clients that will


Major Pharma account: GSK


substantiate software support 


MSD, HSA


claims


d)
Response time for unscheduled


Onsite 24-48 hrs response


software maintenance


e)
Policy for distribution of



software new releases, 

Covered in Maintenance plan


and accompanying documents


f)
Availability of software personnel



3

for occasional consultation

2.1
State the warranty period________ year(s)

5
2.2
State in detail the maintenance services

Covered in Maintenance plan


during the warranty period, at no additional cost
3.
State the annual maintenance charges


Refer to price schedule

for the subsequent three (3) years
TENDERER'S PROPOSAL FORM

TRAINING









Information/Description
1.
Please provide details of the training


you intend to provide, including the


following :

            Type






On-site training


Frequency and duration




Every 6-12 months. 1 day.

Venue






Waters Facility

Cost






NA

Training documents




Softcopy Provided
Number of attendances if
No maximum limit to the attendees.   Waters will recommend 4 scientists per group per session so that everyone will get a chance to participate in the hands-on. 
At no additional cost
2.
Willingness to prepare and


Every quarter, Waters will conduct

conduct special courses for


workshops as marketing initiatives to

specific user requirements


existing or new customer bases. 

Examples of workshops are:   Fundamental of LC/LCMS, Biophamaceutical workflow, LC Troubleshooting and Method Development
COMPLIANCE TO CONDITIONS OF CONTRACT
1. Please fill in the following tables accordingly and include these in the Tender Submission.  Indicate compliance to the “Conditions of Contract” by a ‘Yes’ in the Compliance column, and cross-reference to the source data indicating compliance.
2. Where there is a failure to indicate any compliance against any clause, it shall be deemed that the Tenderer has indicated “Compliance” and the offer shall be evaluated accordingly.
	Clause
	Compliance

Yes / No

	Remarks


	1. INTERPRETATION
	
	

	1.1
	Yes
	

	1.2
	Yes
	

	1.3
	Yes
	

	1.4
	Yes
	

	2. SCOPE OF CONTRACT
	
	

	2.1
	Yes
	

	2.2
	Yes
	

	2.3
	Yes
	

	2.4
	Yes
	

	2.5
	
	

	3. SECURITY DEPOSIT
	
	

	3.1
	Yes
	

	3.2
	Yes
	

	4. EQUIPMENT SUPPLY & PERFORMANCE REQUIREMENTS
	
	

	4.1
	Yes
	

	4.2
	Yes
	

	4.3
	Yes
	

	5. ORDERS FOR STANDING TENDERS
	
	

	5.1
	Yes
	

	5.2
	Yes
	

	5.3
	Yes
	

	5.4
	Yes
	

	5.5
	Yes
	

	6. SUBCONTRACTING AND ASSIGNMENT
	
	

	6.1
	Yes
	

	6.2
	Yes
	

	6.3
	Yes
	

	6.4
	Yes
	

	7. DELIVERY AND COMPLETION DATE
	
	

	7.1
	Yes
	

	7.2
	Yes
	

	7.3
	Yes
	

	7.3.1
	Yes
	

	7.3.2
	Yes
	

	7.4
	Yes
	

	8. ACCEPTANCE TEST
	
	

	8.1
	Yes
	

	8.2
	Yes
	

	8.3
	Yes
	

	8.4
	Yes
	

	8.5
	Yes
	

	8.6
	Yes
	

	9. DELAY OR FAILURE IN THE EQUIPMENT AND/OR WORKS
	
	

	9.1
	Yes
	

	9.2
	Yes
	

	9.2.1
	Yes
	

	9.2.2
	Yes
	

	9.2.3
	Yes
	

	9.3
	Yes
	

	9.4
	Yes
	

	10. SUPPORT AND MAINTENANCE SERVICES AND TRAINING
	
	

	10.1
	Yes
	

	10.2
	Yes
	

	10.3
	Yes
	

	10.4
	Yes
	

	11. RIGHT OF SET-OFF
	Yes
	

	12. NON-WAIVER
	
	

	12.1
	Yes
	

	12.2
	Yes
	

	13. FORCE MAJEURE
	
	

	13.1
	Yes
	

	13.2
	Yes
	

	13.2.1
	Yes
	

	13.2.2
	Yes
	

	13.3
	Yes
	

	13.4
	Yes
	

	14. GIFTS, INDUCEMENTS AND REWARDS
	
	

	15. AUTHORISED VARIATIONS
	
	

	15.1
	Yes
	

	15.2
	Yes
	

	15.3
	Yes
	

	15.4
	Yes
	

	15.5
	Yes
	

	15.6
	Yes
	

	15.7
	Yes
	

	16. DISPUTE RESOLUTION
	
	

	16.1
	Yes
	

	16.1.1
	Yes
	

	16.1.2
	Yes
	

	16.1.3
	Yes
	

	16.2
	Yes
	

	16.3
	Yes
	

	16.3.1
	Yes
	

	16.3.2
	Yes
	

	16.3.3
	Yes
	

	16.3.4
	Yes
	

	16.4
	Yes
	

	16.5
	Yes
	

	17. INDEMNIFICATION OF THE INSTITUTE AGAINST CLAIMS BY CONTRACTOR’S EMPLOYEES
	Yes
	

	18. SECRECY AND NON-DISCLOSURE
	
	

	18.1
	Yes
	

	18.2
	Yes
	

	18.3
	Yes
	

	19. IDEAS IN TENDERS
	Yes
	

	20. OWNERSHIP OF INTELLECTUAL PROPERTY
	
	

	20.1
	Yes
	

	20.2
	Yes
	

	21. WARRANTY OF INTELLECTUAL PROPERTY PROPRIETORSHIP
	
	

	21.1
	Yes
	

	21.2
	Yes
	

	21.3
	Yes
	

	21.4
	Yes
	

	21.5
	Yes
	

	21.5.1
	Yes
	

	21.5.2
	Yes
	

	21.5.3
	Yes
	

	21.6
	Yes
	

	22. WORKMEN’S COMPENSATION
	Yes
	

	23. INSURANCE FOR THE PURPOSE OF IDEMNIFYING THE INSTITUTE AGAINST CLAIMS BY CONTRACTOR’S EMPLOYEES
	Yes
	

	24. MAINTENANCE OF INSURANCE POLICIES
	
	

	24.1
	Yes
	

	24.2
	Yes
	

	24.2.1
	Yes
	

	24.2.2
	Yes
	

	24.3
	Yes
	

	25. PAYMENTS
	
	

	25.1
	Yes
	

	25.2
	Yes
	

	25.3
	Yes
	

	26. WARRANTIES
	
	

	26.1
	Yes
	

	26.1.1
	Yes
	

	26.1.2
	Yes
	

	26.1.3
	Yes
	

	26.1.4
	Yes
	

	26.1.5
	Yes
	

	26.1.6
	Yes
	

	26.1.7
	Yes
	

	26.1.8
	Yes
	

	26.1.9
	Yes
	

	26.2
	Yes
	

	26.3
	Yes
	

	26.4
	Yes
	

	26.5
	Yes
	

	26.6
	Yes
	

	27. TERMINATION
	
	

	27.1
	Yes
	

	27.1.1
	Yes
	

	27.1.2
	Yes
	

	27.2
	Yes
	

	27.2.1
	Yes
	

	27.2.2
	Yes
	

	27.2.3
	Yes
	

	27.2.4
	Yes
	

	27.2.5
	Yes
	

	27.2.6
	Yes
	

	27.3
	Yes
	

	27.4
	Yes
	

	27.4.1
	Yes
	

	27.4.2
	Yes
	

	27.4.3
	Yes
	

	27.4.4
	Yes
	

	27.4.5
	Yes
	

	27.5
	Yes
	

	27.6
	Yes
	

	28. NOTICES
	Yes
	

	29. APPLICABLE LAW
	Yes
	

	30. WITHHOLDING TAXES
	Yes
	

	31. PERSONAL DATA
	Yes
	

	32. ENTIRE AGREEMENT
	Yes
	

	33. SURVIVAL OF CLAUSES
	Yes
	

	34. SEVERABILITY
	Yes
	


� Any compliant assigned with conditions or qualifiers shall be considered as non-compliant.


� When additional information is required or provided, the Tenderer MUST provide such information clearly (e.g. refer to section X, page Y of Z document) and not provide vague or incomplete information (e.g. refer to proposal).
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