

Requirement Specifications for Three-year Period Contract for the Supply and Delivery of 
Solid-phase Extraction Cartridges for Lab Use

Agri-Food & Veterinary Authority (AVA) is inviting interested suppliers to quote for Three-year Period Contract for Supply and Delivery of Solid-phase Extraction Cartridges for Lab Use.


SECTION I: COMMON SPECIFICATIONS

1. Suppliers are to submit the product information (eg. reports, certificates, technical specifications, etc) for all items via GeBIZ for evaluation. 

2. Certificate of Analysis (COA) are to be provided during delivery of items.


SECTION II: SAMPLES SUBMISSION

1. Suppliers are to submit the following samples before the closing date and time of Invitation to Quote (ITQ) to facilitate evaluation.

	Item no.
	Description of Item
	Number of samples to be submitted

	1
	Solid-phase Extraction Cartridges
· Waters part no. 186000115 or equivalent

	15 pieces

	2
	Solid-phase Extraction Cartridges
· Waters part no. 186008055 or equivalent

	15 pieces



2. Samples submitted shall meet the requirement specifications for the items in form, fit and function.

3. If suppliers do not submit any samples, AVA reserves the right to reject the offer.

4. All samples must be properly labeled to show the ITQ number, item number and the Supplier’s company name and contact details.

5. Samples submitted will not be returned. 

6. Samples are to be submitted to:
Ms Low Hui Shan, Tel: 6795 2826 or Email: low_hui_shan@ava.gov.sg
Mrs Yip-Ng Sou Cheng, Tel: 6316 5148 or Email: yip-ng_sou_cheng@ava.gov.sg
Veterinary Public Health Centre
10 Perahu Road S718837 










Section III: OTHER REQUIREMENTS


1. Contract Period: 3 years. The Contractor will be informed of the actual commencement date of contract upon award of Invitation to Quote (ITQ).

2. The quantities stated herein are estimated to the best of AVA’s knowledge at point of this Invitation to Quote. These shall not be construed as the minimum order quantity / value and AVA shall not be bound to purchase such quantity in whole or in part for the duration of this contract. Suppliers are to indicate the minimum order value/quantity for each order/item accordingly, if applicable.

3. Supplier may quote for all the items, or any combination of which. AVA reserves the rights to award in parts or in whole. Prices quoted for each item in GeBIZ shall be deemed final, all inclusive (including shipping, freight, handling and any other costs) and firm to fulfill the requirement stated in the Requirement Specifications. Any additional claims on grounds of omission shall not be entertained.

4. Price quoted shall remain firm during the contract period.

5. Purchase Order shall be issued via GeBIZ as and when goods are required.

6. Delivery shall be made within 4 to 6 weeks upon order confirmation.

7. Goods to be delivered to No. 10 Perahu Road S(718837).


Section IV: SUBMISSION LIST

The following information are to be submitted via GeBIZ before closure of the Invitation to Quote (ITQ):

1. Product information (eg. reports, certificates, technical specifications, etc) for all items for evaluation.
2. Duly completed Price Schedule (Annex A)
3. Duly completed Compliance Table (Annex B).

Suppliers are to quote via GeBIZ. Please use the Price Schedule (Annex A) to quote and submit your offer and other relevant information (refer to Section IV) of your proposal in softcopy via GeBIZ.


Section V: EVALUATION CRITERIA

Offers will be evaluated based on the lowest that is technically acceptable.



For enquiries, please contract: 

Ms Cai MiaoHua, Tel no. 6795 2814 or Email: Cai_Miao_Hua@ava.gov.sg













ANNEX A


PRICE SCHEDULE 

(TO BE COMPLETED AND SUBMIT VIA GEBIZ)

Three-year Period Contract for the Supply and Delivery of Solid-phase Extraction Cartridges for Lab Use

NOTE:

· Supplier may quote for all the items, or any combination of which. AVA reserves the rights to award in parts or in whole. Prices quoted for each item in GeBIZ shall be deemed final, all inclusive (including shipping, freight, handling and any other costs) and firm to fulfill the requirement stated in the Requirement Specifications. Any additional claims on grounds of omission shall not be entertained.

· The quantities stated herein are estimated to the best of AVA’s knowledge at point of this Invitation to Quote. These shall not be construed as the minimum order quantity / value and AVA shall not be bound to purchase such quantity in whole or in part for the duration of this contract. Suppliers are to indicate the minimum order value/quantity for each order/item accordingly, if applicable

	Item
No. 
	Product Requirement
	EstimatedQuantity
	Unit Price
(Excluding GST)
	Total Price
(Excluding GST)

	












1
	
Solid-phase Extraction Cartridges, 500mg/6cc

a) Sorbent size: 500mg/6cc
b) pH: 0 - 14
c) Suitable to be used for Bisphenol A, Bisphenol F, BADGE/BFDGE & their derivatives in food analysis
d) Also suitable to be used for Polycyclic Aromatic Hydrocarbons in food analysis
e) Waters part no. 186000115 or equivalent 
f) Minimum 30 pieces per box

Note: The estimated quantity is based on the packing size of 30 pieces per box.  In the event that the packing size is greater than 30 pieces per box, supplier may amend the number of packs accordingly to quote for a total number of 1,800 pieces.



	60 boxes
	

S$___________

(Price to be entered in GeBIZ)
	
S$_________






	












2
	
Solid-phase Extraction Cartridges, 30mg/1cc

a) Sorbent size: 30mg/1cc
b) pH: 0 - 14
c) Must contain water-wettable sorbent (Hydrophilic-Lipophilic Balanced Copolymer) that does not require conditioning & equilibration.
d) Must be effective to removes common matrix interferences like proteins, salts and phospholipids. 
e) No silanol interactions.
f) Waters part number 186008055 or equivalent 
g) Minimum 100 pieces per box

Note: The estimated quantity is based on the packing size of 100 pieces per box. In the event that the packing size is greater than 100 pieces per box, supplier may amend the number of packs accordingly to quote for a total number of 2,500 pieces.



	25 boxes

	

S$___________

(Price to be entered in GeBIZ)
	S$_________








Submitted by: _________________________          Tel No: ______________________________



Company: ____________________________          Email: _______________________________
								



ANNEX B

COMPLIANCE TABLE

(TO BE COMPLETED AND SUBMIT VIA GEBIZ)


· Suppliers are to indicate “Yes” or “No” in the Compliance Table below.
· If there is any variation to specifications embodied in this Section of this ITQ document, the supplier must state the variations in the “Remarks” column (Annex B) clearly. 
	
	
Requirement Specifications
	Suppliers to indicate either “YES” or “NO” in the column
	
Remarks

	1
	Solid-phase Extraction Cartridges, 500mg/6cc

a) Sorbent size: 500mg/6cc
b) pH: 0 - 14
c) Suitable to be used for Bisphenol A, Bisphenol F, BADGE/BFDGE & their derivatives in food analysis
d) Also suitable to be used for Polycyclic Aromatic Hydrocarbons in food analysis
e) Waters part no. 186000115 or equivalent 
f) Minimum 30 pieces per box


	
	

	2
	Solid-phase Extraction Cartridges, 30mg/1cc

a) Sorbent size: 30mg/1cc
b) pH: 0 - 14
c) Must contain water-wettable sorbent (Hydrophilic-Lipophilic Balanced Copolymer) that does not require conditioning & equilibration.
d) Must be effective to removes common matrix interferences like proteins, salts and phospholipids. 
e) No silanol interactions.
f) Waters part number 186008055 or equivalent 
g) Minimum. 100 pieces per box


	
	

	3
	Suppliers are to submit the product information (eg. reports, certificates, technical specifications, etc) for all items via GeBIZ for evaluation. 

	
	

	4
	Certificate of Analysis (COA) are to be provided during delivery of items.

	
	







Submitted by: _________________________         Tel No: _______________________________
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