## Sheet1
Name of Tenderer:
Date Analysed:
Please complete all four sections and attach all relevant chromatograms.
For parts with *, please delete accordingly.
1 | Linearity (5%)
(a) | Please fill up the area of MDMA for each concentration and for each injection.
| Concentration (ug/mL) | Injection No. | Area of MDMA | Average | SD | RSD
| 200 / 2 * | 1 |  | #DIV/0! | #DIV/0! | #DIV/0!
2
3
| 400 / 4 * | 1 |  | #DIV/0! | #DIV/0! | #DIV/0!
2
3
| 800 / 8 * | 1 |  | #DIV/0! | #DIV/0! | #DIV/0!
2
3
(b) | Please provide the MS Linearity Plot.
(c) | R2
2 | Accuracy (20%)
| Splitter used: | Y / N * | If Y, Split ratio:
| Injection No. | Area of MDMA | Concentration determined (µg/mL) | Average Concentration (µg/mL)
| 1 |  |  | #DIV/0!
2
3 | Sensitivity (5%)
| Analyte | Formula of Molecular Ion | Mass (Da) | S/N Ratio (TIC) | S/N Ratio (EIC)
Modafinil
Modafiendz
4 | Other Evaluation Criteria (10%)
(a) | System is able to switch on and off for power saving, and be able to pump down and be ready for sample analysis within one hour after switching on for efficient use of instrument. (5%) |  |  | Y / N *
(b) | View of real-time spectra and signal are available even when no sample injection is performed. (2%) |  |  | Y / N *
(c) | Able to extract UV data from MS chromatogram in the same window and vice versa. (3%) |  |  | Y / N *