SUPPLY, DELIVERY, INSTALLATION AND COMMISSIONING OF FOUR (4) LABORATORY ANALYTICAL INSTRUMENTS FOR WATER QUALITY DEPARTMENT OF PUB

SCHEDULE   OF DEVIATIONS

| Clause not Complied With | Description of Deviation |
| --- | --- |
| 4.2.2.10 4.2.5.12 | Do not require an extra syringe pump must be available as an option for direct infusion of sample. Direct infuse by inserting the LCMS vial to the calibrant channel inlet. Oil-less vacuum pump. Do not require changing oil. |

The Tenderer shall list above all deviation from Technical Specifications. Failure to comply with this condition and deliberate attempts to conceal deviations from specification may invalidate the tender offer. If no details are given, the tender offer will be assumed to be fully compliant with all specifications.

Name of Tenderer: …WATERS PACIFIC PTE LTD………………………………………

(COMPANY NAME IN BLOCK LETTERS)

Name of Person Authorised to sign

Tender for and on behalf of Tenderer: …Joanna Ang…………………….

Designation: …ACCOUNT MANAGER…………………………………

Date: …25 JULY 2019………………………………….