

	


Our Ref: T/IMRE//03/FY20

Date: 1 March 2021

To: All Tenderers,

Corrigendum No. 1

CORRIGENDUM FOR PROVISION OF ONE (1) UNIT OF HIGH RESOLUTION LIQUID CHROMATOGRAPHY MASS SPECTROMETER (HR LC-MS) SYSTEM


1. With reference to the above Invitation to Tender (ITT), please note the changes below.

	S/N
	Scope 
	Originally published on 22 February 2021
	Amendments in Corrigendum 

	1
	Amendment to Part 3: Requirement Specifications - S/N 1.2.2a
	Previous document titled ‘PART 3: REQUIREMENT SPECIFICATIONS’.
Original clause: Mass range should be at least from m/z 50 to 2000 for MS mode and 50 to 10,000 for MS/MS mode
	Refer to revised document titled ‘PART 3: REQUIREMENT SPECIFICATIONS (REVISED)’.
Revised clause: Mass range should be at least from m/z 50 to 2000 for MS/MS mode and 50 to 10,000 for MS mode




Thank you.
Yours faithfully,

DAN TEO
SENIOR OFFICER
PROCUREMENT
[bookmark: _GoBack]Note:  This is an Electronic Tender Document. No signature is required.
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