Our Ref: T/IMRE//03/FY20

Date: 1 March 2021

To: All Tenderers,

Corrigendum No. 1

CORRIGENDUM FOR PROVISION OF ONE (1) UNIT OF HIGH RESOLUTION LIQUID CHROMATOGRAPHY MASS SPECTROMETER (HR LC-MS) SYSTEM

- With reference to the above Invitation to Tender (ITT), please note the changes below.

| S/N | Scope | Originally published on 22 February 2021 | Amendments in Corrigendum |
| --- | --- | --- | --- |
| 1 | Amendment to Part 3: Requirement Specifications - S/N 1.2.2a | Previous document titled ‘PART 3: REQUIREMENT SPECIFICATIONS’. Original clause: Mass range should be at least from m/z 50 to 2000 for MS mode and 50 to 10,000 for MS/MS mode | Refer to revised document titled ‘PART 3: REQUIREMENT SPECIFICATIONS (REVISED)’. Revised clause: Mass range should be at least from m/z 50 to 2000 for MS/MS mode and 50 to 10,000 for MS mode |

Thank you.

Yours faithfully,

DAN TEO

SENIOR OFFICER

PROCUREMENT

Note:  This is an Electronic Tender Document. No signature is required.