## Summary
| Product Family | ASP/TSP | Total
Venture | CHCHC | ASP | 39
|  | TSP | 6
| FTN | ASP | 20
|  | TSP | 4
| Detectors | ASP | 26
|  | TSP | 4
| BSM/QSM | ASP | 6
|  | TSP | 2
| CM | ASP | 26
|  | TSP | 3
| QDa | ASP | 14
|  | TSP | 1
Flex | eAlliance | ASP | 30
|  | TSP | 10
| BSM/QSM | ASP | 15
|  | TSP | 3
| TUV Detectors | ASP | 26
|  | TSP | 6
| PDA Detectors | ASP | 39
|  | TSP | 2
| Pump | ASP | 16
|  | TSP | 3

## CEI Summary
Doc Type | Doc Number | Rev | Description | 186015020 | 186015021 | 186015020IVD | 186015014
ASP | 186015014 | C | ASSY PROC, SAMPLE ORGANIZER W/COMP |  |  |  | C
ASP | 186015020 | D | Proc., Assy., Sample Org. Packaging | D
ASP | 186015021 | A | Proc., Assy., Sample Org. Packaging |  | A
ASP | 200000205 | C | START UP KIT, SAMPLE ORGANIZER | C | C | C
ASP | 200000314 | G | ASSY PROC, START UP KIT CPSO |  |  |  | G
ASP | 279000778 | G | ASSY, TRANSFER MECHANISM, AUTOSAMPLER | G | G | G
ASP | 279000797 | G | ASSY, TRANSFER MECHANISM, ELEVATOR | G | G | G
ASP | 279000926 | F | HEATER/COOLER MODULE, ASSY | F | F | F | F
ASP | 279001161 | F | ASSY, PNEUMATIC PRESSURE SENSOR | F | F | F
ASP | 279001392 | F | LED DISPLAY COLUMN ASSY | F | F | F | F
ASP | 279001766 | D | LARGE FANS ASSY | D | D | D | D
ASP | 279001832 | F | ASSY, TRANSFER MECHANISM, ELEVATOR |  |  |  | F
ASP | 279002276 | E | ASSY, Z-AXIS MECHANISM, ELEVATOR |  |  |  | E
ASP | 279002283 | M | ASSY PROC, H-CLASS SAMPLE ORGANIZER |  |  |  | M
ASP | 289001456 | H | ASSY, FRONT DOOR, SAMPLE ORGANIZER | H | H | H
ASP | 289001481 | P | ASSY, Z-AXIS MECHANISM, ELEVATOR | P | P | P
ASP | 289001707 | E | Compressor Assembly | E | E | E | E
ASP | 289004078 | M | ASSY, ELEVATOR, W/LRG FAN | M |  | M
ASP | 289004287 | D | ASSY, ELEVATOR, LRG FAN, W/HA |  | D
ASP | 289004472 | U | ASSY, ELEVATOR | U | U | U
ASP | 289006129 | D | ASSY PROC, CPSO FRONT DOOR |  |  |  | D
ASP | 289008754 | A | ASSY, BADGE, ACQUITY UPLC | A | A | A | A
ASP | 186015020IVD | D | Packaging, Sample Organizer. |  |  | D
TSP | 735001053 | L | TEST PROCEDURE, ELEVATOR | L | L | L
TSP | 735001199 | B | Test Procedure ETS/ATS Shuttles | B | B | B | B
TSP | 735002510 | D | CPSO FINAL TEST |  |  |  | D
TSP | WAT046538 | 11 | GENERIC HI-POT & GND CONT Test PROC. | 11 | 11 | 11 | 11

## Venture Summary
Doc Type | Customer doc # | Rev | Description | Col Htr/Clr | [9 empty] | Column Mgr | [7 empty] | FLR Detector | [5 empty] | HTCH |  |  |  | Sample Mgr |  |  | Solvent Mgr |  | QDa
|  |  |  | 186001791 | 186001863 | 186002441 | 186002449 | 186015011 | 186017008 | 186017009 | 186179100 | 186186301 | N2971011 | 186015007 | 186015008 | 186015009 | 186015038 | 186015039 | 186015043 | 186015049 | N2971034 | 186002475 | 186015029 | 186017006 | 186247500 | N2971015 | N2971037 | 186015010 | 186015042 | 186015045 | N2971032 | 186015017 | 186015046 | N2971031 | 186015000 | 186017000 | 186008511
|  |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 4 | 3 | 7 | 11 | 11 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 4 | 16 | 16 | 7 | 4 | 4 | 20
ASP | 186001791 | E | PACKING PROCESS FOR ALLIANCE COLUMN HEATER-COOLER. | 1
ASP | 186001863 | G | PACKING PROCESS FOR ALLIANCE COLUMN HEATER |  | 1
ASP | 186002441 | A | PACKING PROCESS FOR TCM II |  |  | 1
ASP | 186002449 | A | PACKING PROCESS FOR PCM II |  |  |  | 1
ASP | 186002475 | L | ASSY, 2475 INSTRUMENT | [18 empty] | 1
ASP | 186015000 | B | ASP ACQUITY UPLC I-CLASS BSM | [31 empty] | 1
ASP | 186015010 | C | PACKAGING PROCEDURE FOR HTCH | [24 empty] | 1
ASP | 186015011 | N/A | ACQUITY UPLC 30CM, COL HTR |  |  |  |  | 1
ASP | 186015017 | A | ASSY, SAMPLE MANAGER, FTN | [28 empty] | 1
ASP | 186015029 | A | ACQUITY FLR DETECTOR | [19 empty] | 1
ASP | 186015038 | C | PACKING STATION FOR 5043 & 5038 | [13 empty] | 1
ASP | 186015039 | A | PACKING STATION FOR 5049 & 5039 | [14 empty] | 1
ASP | 186015042 | A | ACQUITY UPLC CH-A | [25 empty] | 1
ASP | 186015043 | C | PACKING STATION FOR 5043 & 5038 | [15 empty] | 1
ASP | 186015045 | A | PACKING STATION FOR 5045 | [26 empty] | 1
ASP | 186015046 | A | ASSY, SAMPLE MANAGER, FTN | [29 empty] | 1
ASP | 186015049 | B | PACKING STATION FOR 5049 & 5039 | [16 empty] | 1
ASP | 186017000 | B | Packaging, Acquity QSM-R | [32 empty] | 1
ASP | 186017006 | B | Acquity ARC FLR Detector | [20 empty] | 1
ASP | 186017008 | C | PACK, ACQ Arc 30cm COLUMN HEATER | [5 empty] | 1
ASP | 186017009 | C | PACK, ACQ Arc 30cm COLUMN HTR/CLR | [6 empty] | 1
ASP | 186179100 | C | ALLIANCE REFRESH COLUMN HEATER COOLER | [7 empty] | 1
ASP | 186186301 | C | ALLIANCE REFRESH COLUMN HEATER | [8 empty] | 1
ASP | 186247500 | C | 2475 Fluorescence Detector (blue) | [21 empty] | 1
ASP | 279000320 | K | Assy, XE Lamp & Holder | [18 empty] | 1
ASP | 279000326 | G | Assy, Filter Element Holder | [18 empty] | 1 | 1
ASP | 279000400 | AA | Assy, Optics Bench (2475) | [18 empty] | 1
ASP | 279000547 | J | ALLIANCE COLUMN HEATER/COOLER | 1
ASP | 279000556 | G | ALLIANCE COLUMN HEATER |  | 1
ASP | 279000632 | F | Assy, PCM II |  |  |  | 1
ASP | 279000691 | G | ASSY, TCM II |  |  | 1
ASP | 279001182 | N | Column Manager, W/Right Preheater | [10 empty] | 2
ASP | 279001226 | R | ASSY, ACQUITY FLR | [19 empty] | 1
ASP | 279001308 | L | Column Manager, Heater Cooler | [11 empty] | 1
ASP | 279001331 | K | Column Manager, w/Left Preheater | [12 empty] | 1
ASP | 279001332 | K | ASSY PROC, COL HTR, HT, STAND-ALONE | [24 empty] | 1
ASP | 279001335 | H | Assy, Optics Bench Acquity Fluor | [23 empty] | 1
ASP | 279001339 | E | Assy, XE Lamp & Holder | [19 empty] | 1
ASP | 279001390 | F | ASSY PROC, FRONT END, COL HTR, HT | [24 empty] | 1
ASP | 279001427 | E | Acquity, UPLC 30cm Col. Htr. |  |  |  |  | 1
ASP | 279001685 | M | SAMPLE MANAGER, CPSM | [28 empty] | 2
ASP | 279001726 | D | ASSY, MODULE, PCB | [28 empty] | 1 | 1
ASP | 279001734 | M | ASSY, CHASSIS METERING SYR DRIVE | [28 empty] | 1 | 1
ASP | 279001841 | M | ASSY PROCEDURE, HTCH-A FRONT, | [25 empty] | 1
ASP | 279001842 | C | ASSY PROCEDURE, HTCH-A | [25 empty] | 1
ASP | 279001950 | E | ASSY, THETA DRIVE, CPSM | [28 empty] | 1 | 1
ASP | 279001990 | AC | ASSY, BASE, SAMPLE MANAGER | [28 empty] | 1 | 2
ASP | 279001991 | F | ASSY, DATUM BASE W/THETA DRIVE | [28 empty] | 1 | 1
ASP | 279001992 | A | ASSY, MOTOR STACK, RZZ MECH | [28 empty] | 1 | 1
ASP | 279001993 | F | ASSY PROC, RZZ MECHANISM, FTN | [28 empty] | 1 | 1
ASP | 279002091 | A | ASSY PROC, COLUMN MODULE / ENGINE | [15 empty] | 1
ASP | 279002113 | G | ASSY, COLUMN MANAGER, ACQUITY | [15 empty] | 2
ASP | 279002135 | H | ASSY PROC, ACQUITY CM - AUX | [14 empty] | 1 |  | 1
ASP | 279002250 | D | ASSY PROCEDURE, LONG TROUGH | [26 empty] | 1
ASP | 279002251 | D | ASSY PROCEDURE SMALL TROUGH, | [26 empty] | 1
ASP | 279002385 | M | SAMPLE MANAGER,FTN 18K | [29 empty] | 1
ASP | 279002391 | D | Assy, HSG, Neele Seal, Low Vol | [29 empty] | 1
ASP | 279002450 | M | ASSY, BSM, 18K PSI, I-CLASS | [31 empty] | 1
ASP | 279002476 | P | ASSY, INTEGRATED DETECTOR, 2475 | [18 empty] | 1
ASP | 279002696 | C | ASSEMBLY, COLUMN HEATER, ALLIANCE, | [8 empty] | 1
ASP | 279002697 | F | Assy, Column Heater/Cooler, Alliance | [7 empty] | 1
ASP | 279002707 | E | Assy, Optics Bench (2475) Refresh | [21 empty] | 1
ASP | 279002717 | G | ASSY, COLUMN MANAGER, ACQUITY | [13 empty] | 2
ASP | 279003092 | D | ASSY PROCEDURE, CH-30A | [26 empty] | 1
ASP | 279003225 | B | Assy, Optics Bench,2475 W/O Flow Cell | [20 empty] | 1
ASP | 279003273 | G | ASSY, DETECTOR, 2475 W/O FLOW CELL | [20 empty] | 1 | 1
ASP | 279003284 | C | Assy, Front End, CH-A Altus A-30 | [27 empty] | 1
ASP | 279003293 | B | ASSY, OPTICS BENCH, FLR | [19 empty] | 1
ASP | 279003299 | F | Assy, Base Level, Samp Man., Altus A-30 | [30 empty] | 1
ASP | 279003302 | B | ASSY, OPTICS BENCH, 2475, GREEN | [22 empty] | 1
ASP | 279003313 | B | ASSY, COLUMN RETAINER | [17 empty] | 1
ASP | 279003314 | B | ASSY, COLUMN MODULE WITH ENGINE | [17 empty] | 1
ASP | 279003315 | B | ASSY, DUAL COLUMN MODULE | [17 empty] | 1
ASP | 279003365 | C | ASSY, 30CM COLUMN HEATER, UHPLC | [5 empty] | 1
ASP | 279003366 | C | ASSY, 30CM COLUMN HTR/CLR, UHPLC | [6 empty] | 1
ASP | 279003388 | E | Assy, Actuator, Velox | [32 empty] | 1
ASP | 279003400 | G | Assy, Velox Pump | [32 empty] | 1
ASP | 279003501 | C | ASSY, COLUMN HEATER, HPLC, ALTUS, A-10 | [9 empty] | 1
ASP | 279003512 | D | ASSY, DETECTOR, FLR, ALTUS A-30 | [23 empty] | 1
ASP | 279003532 | D | ASSY, DETECTOR, FLR., HPLC, ALTUS, A-10 | [22 empty] | 1
ASP | 279003537 | D | Assy, Sample Manager, FTN, Altus A-30 | [30 empty] | 1
ASP | 279003538 | D | ASSY, COLUMN MANAGER, ALTUS A-30 | [17 empty] | 1
ASP | 279010045 | L | ASSY PROC, 20K ACTUATOR | [31 empty] | 1
ASP | 289000465 | F | Assy, CAM and Pulley, Long | [18 empty] | 1 | 1
ASP | 289000466 | F | Assy, CAM and Pulley, Excitation | [18 empty] | 1 | 1
ASP | 289000469 | E | Assy, Grating/Bushing, Emission | [18 empty] | 1 | 1
ASP | 289000470 | D | Assy, Grating/Bushing, Excitation | [18 empty] | 1 | 1
ASP | 289001868 | T | ASSY, SYRINGE VALVE, | [28 empty] | 1 | 1
ASP | 289002597 | A | Post-Heater 4-Column H/C Assemble | [11 empty] | 1
ASP | 289003173 | E | Drawer Assy, Column Manager (Left) | [12 empty] | 1
ASP | 289004640 | W | ASSY, NEEDLE CARR, ACQ DIR INJ | [28 empty] | 1 | 1
ASP | 289004794 | J | Assy, Seal Wash Housing | [28 empty] | 1
ASP | 289005705 | D | ASSY PROC, HTCH-A REAR ENCLOSURE | [25 empty] | 1
ASP | 289008758 | A | ASSY, BADGE, ACQUITY H CLASS | [28 empty] | 1
ASP | 289008759 | A | ASSY, BADGE, ACQUITY I CLASS | [29 empty] | 1
ASP | 289010238 | D | Assy, Enclosure, Rear, CH-A, PKI | [27 empty] | 1
ASP | 289010566 | A | ASSY, DOOR, FLUORESC. DT, ALTUS A-10 | [22 empty] | 1
ASP | 289010568 | C | ASSY,DOOR W/ LABELS, SAMP MGR,ALTUS A-30 | [30 empty] | 1
ASP | 289010571 | C | ASSY, DOOR W/ LABELS, COL MGR, ALTUS A-30 | [17 empty] | 1
ASP | 289010574 | A | ASSY, DOOR WITH LABELS, FL , ALTUS A-30 | [23 empty] | 1
TSP | 735000205 | A | Acquity Column Manager and Column Manager Heater Cooler | [11 empty] | 1 | 1
TSP | 735000615 | P | FLUORESCENCE DETECTOR FINAL TEST | [18 empty] | 1 | 1 | 1 | 1 | 1 | 1
TSP | 735000629 | E | 2475, ALTUS A-10 FLR, ACQUITY UHPLC OPTICS ALIGN | [18 empty] | 1 |  | 1 | 1 | 1
TSP | 735000698 | L | ALLIANCE COLUMN HEATER/COOLER FUNC TEST | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1
TSP | 735000887 | F | PUMP CONTROL MODULE II, SYSTEM FLUIDICS ORGANIZER |  |  |  | 1
TSP | 735000888 | D | TEMPERATURE CONTROL MODULE II |  |  | 1
TSP | 735001645 | F | ACQUITY HIGH TEMPERATURE COLUMN HEATER | [24 empty] | 1
TSP | 735002010 | F | Acquity SDS Final test station | [31 empty] | 1
TSP | 735002011 | C | FLR OPTICS BENCH ALIGNMENT | [19 empty] | 1 |  |  |  | 1
TSP | 735002056 | B | Acquity Column Manager and Column Manager Heater Cooler | [10 empty] | 1
TSP | 735002064 | K | ACQUITY HIGH TEMP COL HEATER TEST PROC | [25 empty] | 1 | 1 | 1
TSP | 735002200 | D | ASSY, SYRINGE DR., METERING, HIGH RATIO | [28 empty] | 1 | 1 | 1
TSP | 735002229 | H | ACQUITY CMA TEST PROCEDURE | [13 empty] | 1 |  | 1 |  | 1
TSP | 735002236 | F | ACQUITY CMA AUX | [14 empty] | 1 |  | 1
TSP | 735002271 | G | ACQUITY CPSM RTZ MECHANISM | [28 empty] | 1 | 1 | 1
TSP | 735002984 | K | ACQUITY CPSM SAMPLE MANAGERS | [28 empty] | 1 | 1 | 1
TSP | 735003612 | B | ACQUITY ARC QSM FINAL INSTRUMENT TEST | [32 empty] | 1
ASP | N2971011 | B | Packaging, Altus A-10h Column Module | [9 empty] | 1
ASP | N2971015 | B | Altus A-10 FL Detector | [22 empty] | 1
ASP | N2971031 | C | Altus A-30 Sampling Module | [30 empty] | 1
ASP | N2971032 | C | Altus A-30h Column Module | [27 empty] | 1
ASP | N2971034 | B | Altus A-30m Clmn Module Pkg Proc | [17 empty] | 1
ASP | N2971037 | C | Altus A-30 FL Detector | [23 empty] | 1
ASP | 48899 | 5 | QDA DETECTOR ASSEMBLY II | [33 empty] | 1
ASP | 45615 | 10 | QDA ANALYSER MARK 2 | [33 empty] | 1
ASP | 45603 | 1 | PUMPING BLOCK ASSY | [33 empty] | 1
ASP | 45661 | 1 | ASSY, SEGMENTED QUAD | [33 empty] | 1
ASP | 45898 | 3 | QDa Packaging Procedure | [33 empty] | 1
TSP | 12252 | 17 | PAT and Flash test procedure | [33 empty] | 1
TSP | 46068 | 7 | 289010953 Acquity Qda II Analyser Leak Check Procedure | [33 empty] | 1
TSP | 46202 | 6 | Acquity Qda, AMITS test procedure | [33 empty] | 1
TSP | 46060 | 7 | Qda QUAD Test Specification | [33 empty] | 1
TSP | 48425 | 3 | 289011007 Acquity Qda II Instrument Leak Check Procedure | [33 empty] | 1
TSP | 50492 | 1 | QDa ESI Source Enclosure HT Connections Test Procedure | [33 empty] | 1
ASP | MI-WAT-186008511-013 | 0 | MAINS PSU ASSEMBLY | [33 empty] | 1
ASP | MI-WAT-186008511-012 | 0 | API GAS INLET VALVE II | [33 empty] | 1
ASP | MI-WAT-186008511-007 | 0 | ION BLOCK ASSY MKII | [33 empty] | 1
ASP | MI-WAT-186008511-014 | 0 | ASSY, TURBO VENT VALVE | [33 empty] | 1
ASP | MI-WAT-186008511-009 | 0 | ASSY, INTERNAL BACKING LINE | [33 empty] | 1
ASP | MI-WAT-186008511-011 | 0 | QDA GAS HANDLING ASSEMBLY II | [33 empty] | 1
ASP | MI-WAT-186008511-004 | 0 | RF COIL BOX ASSEMBLY | [33 empty] | 1
ASP | MI-WAT-186008511-010 | 0 | INVISIBLE CALIBRATION ASSEMBLY | [33 empty] | 1
ASP | MI-WAT-186008511-008 | 0 | ESI ENCLOSURE ASSY | [33 empty] | 1

## Flex Summary
Doc Type | Customer doc # | Rev | Description | Alliance |  |  | BSM/ QSM |  |  | Pump |  |  |  | Detector
|  |  |  | N2971010 | 186269505 | 186269506 | 186015001 | 186015018 | N2971030 | WAT207000 | 186001515 | 186001525 | 186001825 | 186002487 | 186002998 | 186248900 | N2971014 | 186299800 | N2971013 | 186015031 | N2971036 | 186015032 | 186015033 | N2971035 | 186015034 | 186015053 | 186017002 | 176017003
|  |  |  | 22 | 21 | 21 | 11 | 8 | 9 | 7 | 6 | 6 | 7 | 11 | 12 | 11 |  | 12 |  | 10 |  | 11 | 11 |  | 11 | 11 | 12 | 14
ASP | 186001825 | C | 1525µ Binary HPLC Pump w/Degasser | [9 empty] | √
ASP | 186002487 | B | 2489 UV/Visible Detector | [10 empty] | √
ASP | 186002998 | D | Proc., Assy., 2998 Detector | [11 empty] | √
ASP | 186015001 | A | Acquity UPLC Binary Solvent Mgr |  |  |  | √
ASP | 186015018 | A | ASSY PROC, ACQUITY QSM PACKAGING |  |  |  |  | √
ASP | 186015031 | B | ASSY PROCEDURE, TUV PACKAGING | [16 empty] | √
ASP | 186015032 | B | ASSY PROCEDURE, PDA PACKAGING | [18 empty] | √
ASP | 186015033 | B | ASSY PROCEDURE, PDAe PACKAGING | [19 empty] | √
ASP | 186015034 | A | ASSY PROCEDURE, ACQUITY UPC2 PACKAGING | [21 empty] | √
ASP | 186015053 | A | ASSY PROCEDURE PDA Detector w/TS PACKAGI | [22 empty] | √
ASP | 186017002 | C | ACQUITY Arc TUV Detector | [23 empty] | √
ASP | 186017003 | C | ACQUITY Arc PDA Detector | [24 empty] | √
ASP | 186248900 | E | ASSY PROCEDURE, 2489 PACKAGING | [12 empty] | √
ASP | 186269505 | D | ASSY, e2695 WITHOUT HEATER/COOLER |  | √
ASP | 186269506 | D | ASSY, e2695 WITH HEATER/COOLER |  |  | √
ASP | 186299800 | E | ASSY PROCEDURE, 2998 PACKAGING | [14 empty] | √
ASP | 279000355 | AF | ASSY PROCESS, 1525 PUMP | [8 empty] | √
ASP | 279000409 | AG | ASSY 1515 PUMP,ISOCRATIC,HIGH PRESS GRAD | [7 empty] | √
ASP | 279000647 | K | ASSY PROCEDURE OPTICS BENCH 2998 | [11 empty] | √
ASP | 279000689 | D | ASSY PROCEDURE. PDA, 2998 | [11 empty] | √ |  |  | √ | √ | [5 empty] | √ | √ |  | √
ASP | 279000805 | M | ASSY PROCEDURE, DETECTOR, 2998 CLASSIC | [11 empty] | √
ASP | 279000859 | B | ASSY PROCEDURE, BEAMSPLITTER | [11 empty] | √ |  |  | √ | √ | [5 empty] | √ | √ |  | √
ASP | 279000866 | P | ASSY, PROCEDURE, 1525u W/DEGASSER | [9 empty] | √
ASP | 279000886 | AC | ASSY, ACTUATOR, UPLC |  |  |  | √ | √ | √
ASP | 279000925 | F | ASSY, INJECTOR, 2695 | √ | √ | √
ASP | 279000972 | E | ASSY PROCEDURE, PDA | [18 empty] | √
ASP | 279001150 | N | ASSY, OPTICS BENCH PROCEDURE 2489 | [10 empty] | √
ASP | 279001320 | W | ASSY, BINARY SOLVENT MANAGER, I2V |  |  |  | √
ASP | 279001419 | E | PROCEDURE ASSY, PDA | [19 empty] | √ | √
ASP | 279001743 | G | ASSY PROCEDURE, DETECTOR TUV GP | [16 empty] | √
ASP | 279001744 | F | ASSY, DETECTOR, ACQUITY, PDA eLAMBDA | [19 empty] | √
ASP | 279001834 | N | ASSY PROC, ACQUITY UPLC QSM |  |  |  |  | √
ASP | 279001922 | 6 | ASSY PROCEDURE, TUV GP OPTICS BENCH | [16 empty] | √ | √
ASP | 279001923 | A | ASSY PROCEDURE, FILTER WHEEL | [12 empty] | √ | √ |  |  | √ | √ | [5 empty] | √
ASP | 279001933 | D | ASSY PROCEDURE, ACQUITY PDAe, OPTICS | [19 empty] | √ | √
ASP | 279001961 | F | ASSY, DETECTOR, ACQUITY PDA | [18 empty] | √
ASP | 279001962 | E | ASSY PROCEDURE, ACQUITY PDA, OPTICS | [18 empty] | √
ASP | 279002224 | F | ASSY PROCESS, DETECTOR, 2998 SFC | [21 empty] | √
ASP | 279002225 | E | ASSY PROCESS, OPTICS BENCH, 2998 SFC | [21 empty] | √
ASP | 279002592 | D | ASSY, FRONT BEZEL W/KEYPAD, ALLIANCE X |  | √ | √
ASP | 279002617 | D | ASSY, e2695 WITH HEATER/COOLER |  |  | √
ASP | 279002621 | D | ASSY, e2695 WITHOUT HEATER/COOLER |  | √
ASP | 279002655 | G | ASSY PROCESS, OPTICS BENCH, 2998 | [14 empty] | √ | √ | [8 empty] | √
ASP | 279002656 | E | ASSY PROCESS, OPTICS BENCH, 2489 | [12 empty] | √
ASP | 279002695 | F | ASSY, e2695 ALLIANCE X |  | √ | √
ASP | 279002733 | H | ASSY PROCESS, DETECTOR, 2489 | [12 empty] | √
ASP | 279002744 | F | ASSY PROCESS, DETECTOR, 2998 | [14 empty] | √
ASP | 279002897 | F | ASSY PROCESS, DETECTOR, PDA | [22 empty] | √
ASP | 279002903 | B | ASSY PROCESS, OPTICS BENCH, VEYRON PDA | [22 empty] | √
ASP | 279003196 | C | ASSY, DETECTOR, 2998, VELOX | [24 empty] | √
ASP | 279003200 | D | ASSY, DETECTOR, 2489, VELOX | [23 empty] | √
ASP | 279003224 | C | ASSY, OPTICS BENCH, 2489 W/O FLOW CELL | [23 empty] | √
ASP | 279003250 | C | ASSY, FRONT BEZEL W/KEYPAD, ALTUS A-10 | √
ASP | 279003271 | K | ASSY, DETECTOR, 2489 W/O FLOW CELL | [23 empty] | √
ASP | 279003278 | G | ASSY, DETECTOR, 2998 W/O FLOW CELL | [24 empty] | √
ASP | 279003288 | A | ASSY, OPTICS BENCH, 2489, PKI | [13 empty] | √
ASP | 279003385 | B | ASSY, FRONT BEZEL W/ LABELS, ALTUS A-10 | √
ASP | 279003500 | C | ASSY, SOLVENT, SAMPLE MODULE, ALTUS A-10 | √
ASP | 279003514 | C | ASSY, SEP. MODULE W/O HT/CL, ALTUS, A-10 | √
ASP | 279003530 | D | ASSY, DETECTOR, PDA, ALTUS, A-10 | [15 empty] | √
ASP | 279003531 | E | ASSY, DETECTOR, UV-VIS, ALTUS, A-10 | [13 empty] | √
ASP | 279003536 | C | ASSY, QSM, ALTUS A-30 | [5 empty] | √
ASP | 279003539 | D | ASSY, DETECTOR, PDA, eLAMBDA, ALTUS A-30
ASP | 279003540 | D | ASSY, DETECTOR, TUV, ALTUS A-30 | [17 empty] | √
ASP | 289000143 | C | Cartridge Housing Assembly | [6 empty] | √ | √ | √
ASP | 289000526 | T | ASSY, PUMP TRAY W/SEAL WASH | √ | √ | √
ASP | 289000527 | Y | ASSY, PUMP W/SEAL WASH ENHANCED | √ | √ | √
ASP | 289000557 | H | ASSY, BALL SCREW | √ | √ | √
ASP | 289000560 | M | ASSY, HEATER/COOLER, 2690/2790 |  |  | √
ASP | 289001161 | C | ASSY, VIAL SENSOR, LOWER | √ | √ | √
ASP | 289001162 | C | ASSY, VIAL SENSOR, UPPER | √ | √ | √
ASP | 289001177 | B | Assy Proc, 1525M Pump Head (50ul) | [9 empty] | √
ASP | 289001405 | F | ASSY PROCEDURE, FLOW CELL, 2998 | [11 empty] | √
ASP | 289001438 | C | ASSY PROCEDURE, APERTURE HOLDER, 2998 | [11 empty] | √ |  |  | √ | √ |  |  |  | √ | √ | √ | √ |  | √
ASP | 289001458 | C | Cartridge Housing Assembly | √ | √ | √
ASP | 289001486 | F | ASSY PROCEDURE, FILTER FLAG | [11 empty] | √
ASP | 289001566 | B | ASSY PROCEDURE, MIRROR, 40 DEGREE ELLIP | [11 empty] | √ |  |  | √ | √ | [5 empty] | √ | √ |  | √
ASP | 289001889 | F | ASSY, MIRROR 2998 | [18 empty] | √ | √ | √
ASP | 289001952 | D | ASSY PROCEDURE, BEAMSPLITTER | [18 empty] | √ | √ | √
ASP | 289001974 | D | ASSY PROCEDURE, APERTURE HOLDER | [18 empty] | √
ASP | 289001994 | C | ASSY, SEAL PACK, ALLIANCE | √ | √ | √
ASP | 289002755 | C | ASSY, W/ZIRCONIA MIXER CARTRIDGE, 50 uL |  |  |  | √
ASP | 289002846 | C | ASSY, MIXER, HP, 50UL, ZIRCONIA |  |  |  | √
ASP | 289002971 | L | 1525u SUPER KIT | [9 empty] | √
ASP | 289003007 | B | ASSY, W/ZIRCONIA MIXER CARTRIDGE, 100ul |  |  |  |  | √ | √
ASP | 289003547 | A | ASSY, FILTER, IN-LINE, SS FRIT |  |  |  | √
ASP | 289003548 | B | ASSY, CARTRIDGE, INLINE FILTER, SS FRIT |  |  |  | √
ASP | 289005813 | B | ASSY PROCEDURE, FILTER FLAG | [18 empty] | √ | √ | √
ASP | 289006323 | D | ASSY PROCESS, FILTER FLAG, SFC PDA | [14 empty] | √ | √ | [5 empty] | √ | √ |  | √
ASP | 289007898 | C | ASSY, ANALYTICAL FLOW CELL 2487/2489 | [12 empty] | √
ASP | 289007906 | B | ASSY PROCESS, FLOW CELL, 2998-REFRESH | [14 empty] | √
ASP | 289010022 | C | ASSY, FLOW CELL 2489 W/BULKHEAD | [23 empty] | √
ASP | 289010227 | C | ASSY, FLOW CELL, LOW DISPERSION | [24 empty] | √
ASP | 289010229 | D | ASSY, FLOW CELL, LOW DISPERSION, 2998 | [24 empty] | √
ASP | 289010294 | C | ASSY, FLOW CELL, PDA, ALTUS A-10 | [15 empty] | √
ASP | 289010306 | D | ASSY, ANALY. FLOW CELL 2487/2489, GREEN | [13 empty] | √
ASP | 289010560 | A | ASSY, DOOR WITH LABELS, PUMP, ALTUS A-30 | [5 empty] | √
ASP | 289024872 | P | ASSY PROCEDURE, DETECTOR, 2489 | [10 empty] | √
ASP | 735002132 | C | Genealogy Data Entry, SigmaSure |  |  |  | √ | √ | √
ASP | 735003655 | A | Instrument Serial Number Printing - STD | √ | √ | √ | √ | √ | √ |  |  |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
ASP | 735003656 | A | Instrument Serial Number Printing - MAN | √ | √ | √ | √ | √ | √ |  |  |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
ASP | 735003657 | A | Cert. of Funct. Perform. Printing | √ | √ | √ | √ | √ | √ |  |  |  |  | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
ASP | N2971010 | A | Pack, Altus A-10 Solvent & Sample Module | √
ASP | N2971013 | A | Altus A-10 PDA Detector | [15 empty] | √
ASP | N2971014 | A | Altus A-10 UV Detector | [13 empty] | √
ASP | N2971030 | B | Pack, Altus A-30 Solvent Delivery Module | [5 empty] | √
ASP | N2971035 | B | Altus A-30 PDA Detector
ASP | N2971036 | B | Altus A-30 UV Detector | [17 empty] | √
ASP | WAT045248 | L | ASSEMBLY, HPMV | √ | √ | √
ASP | WAT045267 | 7 | ASSY PROD, ASSY, SEAL & BODY | √ | √ | √
ASP | WAT060669 | 7 | ASSY, SYRINGE DRIVE | √ | √ | √
ASP | WAT081140 | J | ASSY, ANALYTICAL FLOW CELL 2487/2489 | [10 empty] | √
ASP | WAT081143 | G | ASSEMBLY, FILTER WHEEL | [10 empty] | √
ASP | WAT081145 | L | ASSY, 487 GRATING DRIVE | [10 empty] | √ |  | √ | √ |  |  | √ | √ | [5 empty] | √
ASP | WAT081257 | AB | ASSY,GRATINT/BUSHING 487 | [10 empty] | √ |  | √ | √ |  |  | √ | √ | [5 empty] | √
ASP | WAT081271 | B | 081271 DESIGN/PROCESS | [10 empty] | √ |  | √ | √ |  |  | √ | √ | [5 empty] | √
ASP | WAT207000 | AL | ASSY, HPLC PUMP, M515 | [6 empty] | √
ASP | WAT207006 | 5 | ASSY, PUMP HEAD,INLINE BALL CHECK VALVES | [6 empty] | √ | √ | √
ASP | WAT207033 | 10 | ASSY, BASIC PUMP, MECHANICS | [6 empty] | √ | √ | √ | √
ASP | WAT207035 | 2 | 207035 DESIGN/PROCESS | [6 empty] | √
ASP | WAT207066 | 4 | 207066 DESIGN/PROCESS | [6 empty] | √ | √ | √ | √
ASP | WAT207071 | A | Assy, Inlet/ Outlet Bracket | [6 empty] | √ | √ | √ | √
ASP | WAT270530 | 10 | ASSY, REAR PANEL, 2690 | √ | √
ASP | WAT271087 | P | ASSY, VACUUM DEGASSER, 2690 | √ | √ | √
ASP | WAT271290 | 16 | ASSY, MOLDED CAROUSEL DRIVE | √ | √ | √
TSP | 735000287 | B | TEST PROC, HPMV TESTER | √ | √ | √
TSP | 735000300 | C | ASSY SYRINGE DRIVE | √ | √ | √
TSP | 735000431 | G | TEST PROC.,2690 Carousel/Carrier Mech | √ | √ | √
TSP | 735000438 | G | 1515 ISOCRATIC & 1525 BINARY HPLC PUMPS | [7 empty] | √ | √ | √
TSP | 735001029 | C | Acquity Actuator Test Procedure |  |  |  | √ | √ | √
TSP | 735001356 | L | TUV detectors, final test procedure | [10 empty] | √ | [5 empty] | √ | √
TSP | 735001613 | T | PDA Final test | [11 empty] | √ |  |  | √ | √ |  |  | √ | √ | √ |  |  |  | √
TSP | 735001617 | H | 2489 TUV Download_Pre-Test Procedure | [10 empty] | √ |  | √ | √
TSP | 735002010 | G | AcQuity BSM Pump Automated Final Test |  |  |  | √
TSP | 735002130 | B | ACQUITY, TUV TC Download / Pretest | [16 empty] | √ | √ |  |  |  | √
TSP | 735002155 | F | Acquity QSM Final Instrument Test |  |  |  |  | √ | √
TSP | 735002531 | H | UPC2_Veyron PDA Test Procedure | [22 empty] | √
TSP | 735003544 | A | ACQUITY Arc Download / Pretest Procedure | [23 empty] | √
TSP | 735003545 | A | ACQUITY Arc TUV Final Test Procedure | [23 empty] | √
TSP | 735003548 | A | PKI TUV DETECTOR FINAL TEST PROCEDURE
TSP | WAT025373 | 6 | TEST SPEC/PROC, PRESSURE DECAY TESTER | [12 empty] | √ | √ | [9 empty] | √ | √
TSP | WAT040024 | 1 | TEST SPEC/PROC, 515 BEZEL ASSY | [6 empty] | √
TSP | WAT043815 | 5 | INJECTOR/SEAL PACK TESTER | √ | √ | √
TSP | WAT046538 | 11 | GENERIC Electrical SafetyTest PROC. | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √ | √
TSP | WAT047159 | 8 | TEST SPEC/PROC, 2690 FLUIDICS TRAY | √ | √ | √
TSP | WAT069481 | 4 | TEST SPEC/PROC, M2690 PUMP MECHANICS | Optional | Optional | Optional
TSP | WAT070800 | 6 | TEST SPEC/PROC 515 PUMP | [6 empty] | √
TSP | WAT210700 | 9 | TEST SPEC/PROC,M2690 PUMP TRAY W&W/O S/W | √ | √ | √
TSP | WAT242102 | 4 | TEST SPEC/PROC,2690 DISPLAY/KEYPAD TEST | √ | √ | √
TSP | WAT271129 | 31 | FINAL TEST PROCEDURE, 2690 | √ | √ | √