## Materlist
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | Current COST (USD) | MPC Cost(USD) | MPC Cost (SGD) | Cost Diff. (USD) | Cost Diff. with 10% (USD)
1 | Pipette | Eppendorf /VWR | P1000 | G42127G | WPPL Lab | 1 Year
2 | Pipette | Eppendorf / VWR | P1000 | G42285G | WPPL Lab | 1 Year
3 | Weighing Scale | Sartorius | MSA 125P-100-DI | 35701494 | WPPL Lab | 1 Year
4 | Multimeter | FLUKE / Region Suppliers (PTE) LTD | FL77-4 | 35700255 | WPPL Lab | 1 Year
5 | Wide Range Gauge | Edwards | D14703000 | 170077634 | WPPL Lab | 1 Year
6 | Wide Range Gauge | Edwards | D14703000 | 170077633 | WPPL Lab | 1 Year
7 | Wide Range Gauge | Edwards | D14703000 | 150253989 | WPPL Lab | 1 Year
8 | Wide Range Gauge | Edwards | D14703000 | 150253990 | WPPL Lab | 1 Year
9 | Traceable Stopwatch/ Timer Big Digit 4 Channel | VWR | 62344-641 | 170445616 | WPPL Lab | 2 Years
10 | Weight-1g | Sartorius | YCW313-00 | 34729085 | WPPL Lab | 1 Year
11 | Weight-10g | Sartorius | YCW413-00 | 35229142 | WPPL Lab | 1 Year
12 | Analogue Surface Resistance Meter Kit | Pro-Pack Materials Pte Ltd | SCS 701 | 7011745026 | WPPL Lab | 1 Year
13 | ESD Personnel Test Station | Vermason | 222563 | 1719001 | WPPL Lab | 1 Year
14 | Megger MIT410/2 Insulation Tester | Megger | MIT410/2 | 1006337101688680 | WPPL Lab | 1 Year
15 | Glassware washer | Lab Science Solution Pte Ltd | PG8593 | 74400208 | WPPL Lab | 1 Year
16 | Pipette | Eppendorf /VWR | 200uL | I22994G | WPPL Lab | 1 Year
17 | Pipette | Eppendorf /VWR | 200uL | I22911G | WPPL Lab | 1 Year
18 | Grundfos Pump | Adept Pure Water Limited | CME3-5 | 98358937 | Richport | 1 Year
19 | Tempreature Recorder | LogTag | TRIX-8 | 1000848285 | WPPL | 1 Year
20 | Tempreature Recorder | LogTag | TRIX-8 | 1000848290 | WPPL | 1 Year
21 | Tempreature Recorder | LogTag | TRIX-8 | 1000848288 | WPPL | 1 Year
22 | Tempreature Recorder | LogTag | TRIX-8 | 1000848283 | WPPL | 1 Year
23 | Tempreature Recorder | LogTag | TRIX-8 | 1000848289 | WPPL | 1 Year
24 | Tempreature Recorder | LogTag | TRIX-8 | 1000848284 | WPPL | 1 Year
25 | Tempreature Recorder | LogTag | TRIX-8 | 1000848286 | WPPL | 1 Year
26 | Tempreature Recorder | LogTag | TRIX-8 | 1000848287 | WPPL | 1 Year
27 | DIGIMATIC MICROMETER | Mitutoyo | MDC-1"PX | 632855699 | WPPL | 1 Year
28 | DIGIMATIC CALIPER | Mitutoyo | CD-8"ASX | B16215984 | WPPL | 1 Year
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75 | 169.7377 | 230 | -94.7377 | -104.2115
31 | Keithley Source Measurement Unit #1 | Keithley | 236 | 782275 | CEI PCBA | 12 | 1017.11 | 169.7377 | 230 | 847.3723 | 932.1095
32 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 | 145.89 | #N/A | #N/A
33 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 | 145.89 | #N/A | #N/A
34 | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 | 132.63 | #N/A | #N/A
35 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C | C011085 | CEI PCBA | 12 | 298.42 | #N/A | #N/A
36 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 | 397.89 | #N/A | #N/A
37 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 | 397.89 | #N/A | #N/A
38 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 | 119.37 | #N/A | #N/A
39 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 | 119.37 | #N/A | #N/A
40 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 | 119.37 | #N/A | #N/A
41 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 | 119.37 | #N/A | #N/A
42 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 | 232.1 | #N/A | #N/A
43 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017022 | CEI PCBA | 12 | 198.94 | #N/A | #N/A
44 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017023 | CEI PCBA | 12 | 198.94 | #N/A | #N/A
45 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017030 | CEI PCBA | 12 | 198.94 | #N/A | #N/A
46 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017042 | CEI PCBA | 12 | 198.94 | #N/A | #N/A
47 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 | 397.89 | #N/A | #N/A
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165.79 | 121.7684 | 165 | 44.0216 | 48.4238
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 271.89 | 206.6372 | 280 | 65.2528 | 71.7781
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 165.79 | 140.2181 | 190 | 25.5719 | 28.1291
62 | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | CEI PCBA | 12 | 1135.64 |  | #N/A
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34 | 88.5588 | 120 | -29.2188 | -32.1407
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 223.76 | 221.397 | 300 | 2.363 | 2.5993
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 231.5 | 132.8382 | 180 | 98.6618 | 108.528
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 159.71 | 73.799 | 100 | 85.911 | 94.5021
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12 | 88.5588 | 120 | -9.4388 | -10.3827
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74 | 221.397 | 300 | -3.657 | -4.0227
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | 201.39 |  | No Capability
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | 201.39 |  | No Capability
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78 | 221.397 | 300 | -1.617 | -1.7787
84 | Liquilaz | Particle Measuring Systems | E20P | 51053 | Flex | 12 | 1353.85 |  | No Capability
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26 | 59.0392 | 80 | -6.7792 | -7.4571
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75 | 59.0392 | 80 | -6.2892 | -6.9181
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87 | 33.2096 | 45 | -9.3395 | -10.2735
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44 | 33.2096 | 45 | -9.7695 | -10.7465
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9 | 33.2096 | 45 | -15.3096 | -16.8405
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44 | 33.2096 | 45 | -9.7695 | -10.7465
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | 285.71 |  | No Capability
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74 | 221.397 | 300 | -3.657 | -4.0227
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | 805.86 |  | No Capability
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | 80 | -5.3392 | -5.8731
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277 | -88.2505
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277 | -88.2505
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277 | -88.2505
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51 | 169.7377 | 230 | -80.2277 | -88.2505
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 1303.48 | 332.0955 | 450 | 971.3845 | 1068.523
119 | Universal Front End Tester | Keithley | 236 | 704826 | Flex Senai | 12 | 306.83 | #N/A | #N/A
120 | Universal Front End Tester | Keithley | 236 | 796741 | Flex Senai | 12 | 3470 | #N/A | #N/A
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 485.07 | 184.4975 | 250 | 300.5725 | 330.6298
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 | 609.67 | #N/A | #N/A
123 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 | 471.77 | #N/A | #N/A
124 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 | 471.77 | #N/A | #N/A
125 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | Flex Senai | 12 | 119.92 | #N/A | #N/A
126 | Function / Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 | 143.9 | #N/A | #N/A
127 | Digital Multimeter | Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 | 107.93 | #N/A | #N/A
128 | Mainframe / Electronic Load Module | Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | Flex Senai | 12 | 167.89 | #N/A | #N/A
129 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | Flex Senai | 12 | 41.97 | #N/A | #N/A
130 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | Flex Senai | 12 | 41.97 | #N/A | #N/A
131 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | Flex Senai | 12 | 41.97 | #N/A | #N/A
132 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | Flex Senai | 12 | 41.97 | #N/A | #N/A
133 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | Flex Senai | 12 | 41.97 | #N/A | #N/A
134 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | Flex Senai | 12 | 41.97 | #N/A | #N/A
135 | Source Measure Units | Keithley | 236 | 0810603 | Flex Senai | 12 | 3470 | #N/A | #N/A
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | 720 | #VALUE! | No Capability
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 141.5 | 140.2181 | 190 | 1.2819 | 1.4101
143 | DC Power Supply | TDK Lambda | GENH30-25 | 95166 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
144 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95170 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
145 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95165 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
146 | DC Power Supply | TDK Lambda | GENH30-25 | 95167 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
147 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95164 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
148 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95171 | Venture PCBA (LC) | 12 | 160 | #N/A | #N/A
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 170 | #N/A | #N/A
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 | 200 | #N/A | #N/A
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240 | #N/A | #N/A
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 | 250 | #N/A | #N/A
159 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 247.2 | #N/A | #N/A
160 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 360 | #N/A | #N/A
161 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 360 | #N/A | #N/A
162 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 247.2 | #N/A | #N/A
163 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 360 | #N/A | #N/A
164 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 247.2 | #N/A | #N/A
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 | 270 | #N/A | #N/A
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 | 270 | #N/A | #N/A
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 | 144 | #N/A | #N/A
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350 | #N/A | #N/A
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250 | #N/A | #N/A
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 | 270 | #N/A | #N/A
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 3070017 | Venture PCBA (LC) | 12 | 160 | 295.196 | 400 | -135.196 | -148.7156
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 300 | 295.196 | 400 | 4.804 | 5.2844
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 144 | #N/A | #N/A
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250 | #N/A | #N/A
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | 258.2965 | 350 | -58.2965 | -64.1262
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 72 | 59.0392 | 80 | 12.9608 | 14.2569
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 59.0392 | 80 | 4.9608 | 5.4569
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 176 | 132.8382 | 180 | 43.1618 | 47.478
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 350.4 | 132.8382 | 180 | 217.5618 | 239.318
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 144 | 132.8382 | 180 | 11.1618 | 12.278
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240 | 221.397 | 300 | 18.603 | 20.4633
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377 | -98.7115
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377 | -98.7115
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377 | -98.7115
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377 | -98.7115
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80 | 169.7377 | 230 | -89.7377 | -98.7115
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 432 | 413.2744 | 560 | 18.7256 | 20.5982
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 180 | 110.6985 | 150 | 69.3015 | 76.2317
206 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97019 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
207 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97020 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
208 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97015 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
209 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97016 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
210 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97017 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
211 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97018 | Venture PCBA (MS) | 12 | 160 | #N/A | #N/A
212 | DC ELECTRONIC LOAD | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 | 240 | #N/A | #N/A
213 | DC ELECTRONIC LOAD | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 | 240 | #N/A | #N/A
214 | DC ELECTRONIC LOAD | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 | 240 | #N/A | #N/A
215 | DC ELECTRONIC LOAD | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 | 240 | #N/A | #N/A
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 | 144 | #N/A | #N/A
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 | 250 | #N/A | #N/A
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 | 200 | #N/A | #N/A
219 | Prog Resistor | Marvin Test Solution | GX1164 | 97014 | Venture PCBA (MS) | 12 |  | #N/A | #N/A
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 | 270 | #N/A | #N/A
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 | 270 | #N/A | #N/A
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 | 270 | #N/A | #N/A
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | 0 | #N/A | #N/A
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | 0 | #N/A | #N/A
225 | Prog. Resistance Card | Geotest | GX1164-01 | 11640209 (95750) | Venture PCBA (LC) | 24 | 0 | #N/A | #N/A
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | 2634.77 | #VALUE! | No Capability
[8 empty] | 12505.2406 | 16945 | 1984.6694
SGD:USD = 1: 0.73799
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH30-25
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH30-25
[12 empty] | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A
[12 empty] | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C
[12 empty] | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
[12 empty] | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | NI Programmable DC Power supply | National Instruments | PXI-4130

## Quote from MPC
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | MPC-2020 Price (SGD) | Remark
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 300
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 230
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 120
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 80
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 80
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 300
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 180 | up to 10k psi
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 100 | up to 1KV
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 120
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 300
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | No Capability | can do normal calibration with data only
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | No Capability | can do normal calibration with data only
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 300
84 | Liquilaz | Particle Measuring Systems | E20P |  | Flex | 12 | No Capability | can do normal calibration with data only
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | No Capability
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 300
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | No Capability | No Capability
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 230
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 230
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 230
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 230
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 450 | Follow previous cal cert
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | No Capability | No Capability
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 400
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 400
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 | 400
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 400
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 300
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 300
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 350
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 180
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 180
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 180
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 300
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 300
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 300
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 300
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 230
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 230
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 230
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 230
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 230
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 560
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 150
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | No Capability

## Lowest Price in CM
Row Labels
Clamp Meter
79.12
Dial Depth Gauge
23.44
23.87
Dial Indicator
17.9
23.44
Digital Multimeter
53.7
DIGITAL PHOSPOR OSCILLOSCOPE
200
Digital Thermometer with Probe (K type)
59.34
Electrical Safety Analyzer
217.74
219.78
Electronic Weigh Balance
52.26
52.75
53.7
Load Box
75
80
89.51
VXI Universal Counter 200 MHZ
(blank)
Grand Total

## Items need to check with MPC
EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | Current COST (USD) | MPC Cost(USD) | Cost Diff. (USD)
Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75 | 169.7377 | -94.7377
Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34 | 88.5588 | -29.2188
Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7 | 59.0392 | -5.3392
Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12 | 88.5588 | -9.4388
Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74 | 221.397 | -3.657
Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78 | 221.397 | -1.617
Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26 | 59.0392 | -6.7792
Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87 | 33.2096 | -9.3395
Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44 | 33.2096 | -9.7695
Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9 | 33.2096 | -15.3096
Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44 | 33.2096 | -9.7695
Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74 | 221.397 | -3.657
Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51 | 169.7377 | -80.2277
VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 |  | 295.196 | -295.196
DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | 258.2965 | -58.2965
Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
[7 empty] | 4826.4546 | -1387.8846

## GTS list
Scope | Tektronix | C012802
Function Generator | Agilent | MY44054891
Mulitmeter | Agilent | MY48004403
Electronic Load Module | Chroma | 63103A003917
Electronic Load Module | Chroma | 63103A003907
Electronic Load Module | Chroma | 63103A003897
Electronic Load Module | Chroma | 63103A003947
Programmable Card, 4Ch | Geotest | GX1164
Programmable Power Supply | National Instrument | 160B96F
Data Acquisition | National Instrument | 164D2A9
Data Acquisition | National Instrument | 164D2B4
Genesys 750W Power Supply | Lambda | 11K5893Z
Genesys 750W Power Supply | Lambda | 11K5896Z
Genesys 750W Power Supply | Lambda | 11K5894Z
Genesys 750W Power Supply | Lambda | 11K5895Z
Genesys 750W Power Supply | Lambda | 11K5891Z
Genesys 750W Power Supply | Lambda | 11K5892Z
NI PXI-4071 FlexDMM | National Instrument | F1E66F
Aglient Current Shunt for DMM | Agilent