## Materlist
| EQUIPMENT DESCRIPTION |  | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | Current COST (USD) | MPC Cost(USD) | MPC Cost (SGD) | Cost Diff. (USD) | Cost Diff. with 10% (USD) | Remarks
1 | Pipette | Eppendorf /VWR | P1000 | G42127G | WPPL Lab | 1 Year |  | 0 |  | 0
2 | Pipette | Eppendorf / VWR | P1000 | G42285G | WPPL Lab | 1 Year |  | 0 |  | 0
3 | Weighing Scale | Sartorius | MSA 125P-100-DI | 35701494 | WPPL Lab | 1 Year |  | 0 |  | 0
4 | Multimeter | FLUKE / Region Suppliers (PTE) LTD | FL77-4 | 35700255 | WPPL Lab | 1 Year |  | 0 |  | 0
5 | Wide Range Gauge | Edwards | D14703000 | 170077634 | WPPL Lab | 1 Year |  | 0 |  | 0
6 | Wide Range Gauge | Edwards | D14703000 | 170077633 | WPPL Lab | 1 Year |  | 0 |  | 0
7 | Wide Range Gauge | Edwards | D14703000 | 150253989 | WPPL Lab | 1 Year |  | 0 |  | 0
8 | Wide Range Gauge | Edwards | D14703000 | 150253990 | WPPL Lab | 1 Year |  | 0 |  | 0
9 | Traceable Stopwatch/ Timer Big Digit 4 Channel | VWR | 62344-641 | 170445616 | WPPL Lab | 2 Years |  | 0 |  | 0
10 | Weight-1g | Sartorius | YCW313-00 | 34729085 | WPPL Lab | 1 Year |  | 0 |  | 0
11 | Weight-10g | Sartorius | YCW413-00 | 35229142 | WPPL Lab | 1 Year |  | 0 |  | 0
12 | Analogue Surface Resistance Meter Kit | Pro-Pack Materials Pte Ltd | SCS 701 | 7011745026 | WPPL Lab | 1 Year |  | 0 |  | 0
13 | ESD Personnel Test Station | Vermason | 222563 | 1719001 | WPPL Lab | 1 Year |  | 0 |  | 0
14 | Megger MIT410/2 Insulation Tester | Megger | MIT410/2 | 1006337101688680 | WPPL Lab | 1 Year |  | 0 |  | 0
15 | Glassware washer | Lab Science Solution Pte Ltd | PG8593 | 74400208 | WPPL Lab | 1 Year |  | 0 |  | 0
16 | Pipette | Eppendorf /VWR | 200uL | I22994G | WPPL Lab | 1 Year |  | 0 |  | 0
17 | Pipette | Eppendorf /VWR | 200uL | I22911G | WPPL Lab | 1 Year |  | 0 |  | 0
18 | Grundfos Pump | Adept Pure Water Limited | CME3-5 | 98358937 | Richport | 1 Year |  | 0 |  | 0
19 | Tempreature Recorder | LogTag | TRIX-8 | 1000848285 | WPPL | 1 Year |  | 0 |  | 0
20 | Tempreature Recorder | LogTag | TRIX-8 | 1000848290 | WPPL | 1 Year |  | 0 |  | 0
21 | Tempreature Recorder | LogTag | TRIX-8 | 1000848288 | WPPL | 1 Year |  | 0 |  | 0
22 | Tempreature Recorder | LogTag | TRIX-8 | 1000848283 | WPPL | 1 Year |  | 0 |  | 0
23 | Tempreature Recorder | LogTag | TRIX-8 | 1000848289 | WPPL | 1 Year |  | 0 |  | 0
24 | Tempreature Recorder | LogTag | TRIX-8 | 1000848284 | WPPL | 1 Year |  | 0 |  | 0
25 | Tempreature Recorder | LogTag | TRIX-8 | 1000848286 | WPPL | 1 Year |  | 0 |  | 0
26 | Tempreature Recorder | LogTag | TRIX-8 | 1000848287 | WPPL | 1 Year |  | 0 |  | 0
27 | DIGIMATIC MICROMETER | Mitutoyo | MDC-1"PX | 632855699 | WPPL | 1 Year |  | 0 |  | 0
28 | DIGIMATIC CALIPER | Mitutoyo | CD-8"ASX | B16215984 | WPPL | 1 Year |  | 0 |  | 0
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 480 | 217.7071 | 295 | 262.293 | 288.5222
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165.79 | 125.4583 | 170 | 40.3317 | 44.3649
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 271.89 | 206.6372 | 280 | 65.2528 | 71.7781
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 165.79 | 132.8382 | 180 | 32.9518 | 36.247
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 223.76 | 217.7071 | 295 | 6.0529 | 6.6582
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 231.5 | 132.8382 | 180 | 98.6618 | 108.528
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 159.71 | 73.799 | 100 | 85.911 | 94.5021
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12 | 73.799 | 100 | 5.321 | 5.8531
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74 | 217.7071 | 295 | 0.03295 | 0.036245
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78 | 217.7071 | 295 | 2.0729 | 2.2802
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26 | 51.6593 | 70 | 0.6007 | 0.66077
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75 | 51.6593 | 70 | 1.0907 | 1.1998
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87 | 22.1397 | 30 | 1.7303 | 1.9033
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44 | 22.1397 | 30 | 1.3003 | 1.4303
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44 | 22.1397 | 30 | 1.3003 | 1.4303
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 47.74 | 36.8995 | 50 | 10.8405 | 11.9245
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 46.89 | 36.8995 | 50 | 9.9905 | 10.9895
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74 | 217.7071 | 295 | 0.03295 | 0.036245
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 51.6593 | 70 | 2.0407 | 2.2448
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51 | 77.489 | 105 | 12.0211 | 13.2232
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51 | 77.489 | 105 | 12.0211 | 13.2232
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51 | 77.489 | 105 | 12.0211 | 13.2232
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51 | 77.489 | 105 | 12.0211 | 13.2232
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 485.07 | 243.5367 | 330 | 241.5333 | 265.6866
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 141.5 | 132.8382 | 180 | 8.6618 | 9.528
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 170 | 125.4583 | 170 | 44.5417 | 48.9959
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350 | 206.6372 | 280 | 143.3628 | 157.6991
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250 | 243.5367 | 330 | 6.4633 | 7.1096
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 360 | 295.196 | 400 | 64.804 | 71.2844
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 3070017 | Venture PCBA (LC) | 12 | 300 | 295.196 | 400 | 4.804 | 5.2844
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 300 | 295.196 | 400 | 4.804 | 5.2844
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 480 | 221.397 | 300 | 258.603 | 284.4633
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | 191.8774 | 260 | 8.1226 | 8.9349
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 72 | 51.6593 | 70 | 20.3407 | 22.3748
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 72 | 51.6593 | 70 | 20.3407 | 22.3748
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 72 | 51.6593 | 70 | 20.3407 | 22.3748
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 72 | 51.6593 | 70 | 20.3407 | 22.3748
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 64 | 51.6593 | 70 | 12.3407 | 13.5748
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 176 | 132.8382 | 180 | 43.1618 | 47.478
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 350.4 | 132.8382 | 180 | 217.5618 | 239.318
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 144 | 132.8382 | 180 | 11.1618 | 12.278
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240 | 217.7071 | 295 | 22.2929 | 24.5222
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240 | 217.7071 | 295 | 22.2929 | 24.5222
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240 | 217.7071 | 295 | 22.2929 | 24.5222
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240 | 217.7071 | 295 | 22.2929 | 24.5222
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80 | 77.489 | 105 | 2.511 | 2.7622
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80 | 77.489 | 105 | 2.511 | 2.7622
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80 | 77.489 | 105 | 2.511 | 2.7622
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80 | 77.489 | 105 | 2.511 | 2.7622
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80 | 77.489 | 105 | 2.511 | 2.7622
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 432 | 413.2744 | 560 | 18.7256 | 20.5982
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 180 | 110.6985 | 150 | 69.3015 | 76.2317
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | 0 | F.O.C | F.O.C |  | 0
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | 0 | F.O.C | F.O.C |  | 0
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75 | 77.489 | 105 | -2.489 | -2.7378
31 | Keithley Source Measurement Unit #1 | Keithley | 236 | 782275 | CEI PCBA | 12 | 1017.11 | No Capablity | No Capablity | 0 |  | Textronics
32 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 |  | 0 |  | 0
33 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 |  | 0 |  | 0
34 | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 |  | 0 |  | 0
35 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C | C011085 | CEI PCBA | 12 |  | 0 |  | 0
36 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 |  | 0 |  | 0 | 0
37 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 |  | 0 |  | 0 | 0
38 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 |  | 0 |  | 0 | 0
39 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 |  | 0 |  | 0 | 0
40 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 |  | 0 |  | 0 | 0
41 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 |  | 0 |  | 0 | 0
42 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 |  | 0 |  | 0 | 0
43 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 | 631030017022 | CEI PCBA | 12 |  | 0 |  | 0
44 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 | 631030017023 | CEI PCBA | 12 |  | 0 |  | 0
45 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 | 631030017030 | CEI PCBA | 12 |  | 0 |  | 0
46 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 | 631030017042 | CEI PCBA | 12 |  | 0 |  | 0
47 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 |  | 0 |  | 0
62 | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | CEI PCBA | 12 | 1135.64 | No Capablity | No Capablity | 0 |  | Textronics
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34 | 66.4191 | 90 | -7.0791 | -7.787
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | 201.39 | No Capablity | No Capablity | 0 |  | Textronics
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | 201.39 | No Capablity | No Capablity | 0 |  | Textronics
84 | Liquilaz | Particle Measuring Systems | E20P | 51053 | Flex | 12 | 1353.85 | No Capablity | No Capablity | 0
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9 | 22.1397 | 30 | -4.2397 | -4.6637
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | 285.71 | No Capablity | No Capablity | 0
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | 805.86 | No Capablity | No Capablity | 0 | 0
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 1303.48 | 332.0955 | 450 | 971.3845 | 1068.523
119 | Universal Front End Tester | Keithley | 236 | 704826 | Flex Senai | 12 | 306.83 | No Capablity | No Capablity | 0 |  | Textronics
120 | Universal Front End Tester | Keithley | 236 | 796741 | Flex Senai | 12 | 3470 | No Capablity | No Capablity | 0 | 0 | Textronics
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 |  | 0 |  | 0 | 0
123 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 |  | 0 |  | 0 | 0
124 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 |  | 0 |  | 0 | 0
125 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | Flex Senai | 12 |  | 0 |  | 0 | 0
126 | Function / Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 |  | 0 |  | 0 | 0
127 | Digital Multimeter | Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 |  | 0 |  | 0
128 | Mainframe | Chroma | 6314 | 631400009104 | Flex Senai | 12 |  | F.O.C | F.O.C | 0
129 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | Flex Senai | 12 |  | 0 |  | 0 | 0
130 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | Flex Senai | 12 |  | 0 |  | 0 | 0
131 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | Flex Senai | 12 |  | 0 |  | 0 | 0
132 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | Flex Senai | 12 |  | 0 |  | 0 | 0
133 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | Flex Senai | 12 |  | 0 |  | 0 | 0
134 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | Flex Senai | 12 |  | 0 |  | 0 | 0
135 | Source Measure Units | Keithley | 236 | 0810603 | Flex Senai | 12 | 3470 | No Capablity | No Capablity | 0 | 0 | Textronics
136 | Macbeth Lighting | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | 720 | No Capablity | No Capablity | 0 | 0
143 | DC Power Supply | TDK Lambda | GENH30-25 | 95166 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
144 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95170 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
145 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95165 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
146 | DC Power Supply | TDK Lambda | GENH30-25 | 95167 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
147 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95164 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
148 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95171 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240 | F.O.C | F.O.C | 0 | 0
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
159 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 247.2 | No Capablity | No Capablity | 0 | 0 | Textronics
160 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 360 | No Capablity | No Capablity | 0 | 0 | Textronics
161 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 360 | No Capablity | No Capablity | 0 | 0 | Textronics
162 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 247.2 | No Capablity | No Capablity | 0 | 0 | Textronics
163 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 360 | No Capablity | No Capablity | 0 | 0 | Textronics
164 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 247.2 | No Capablity | No Capablity | 0 | 0 | Textronics
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 144 | 118.0784 | 160 | 25.9216 | 28.5138
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250 | 236.1568 | 320 | 13.8432 | 15.2275
206 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97019 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
207 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97020 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
208 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97015 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
209 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97016 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
210 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97017 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
211 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97018 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
212 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
213 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
214 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
215 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
219 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 97014 | Venture PCBA (MS) | 24 |  | 0 |  | 0 | 0
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 |  | 0 |  | 0 | 0
225 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX1164-01 | 11640209 (95750) | Venture PCBA (LC) | 24 |  | 0 |  | 0 | 0
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | 2634.77 | No Capablity | No Capablity | 0
227 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 / 63103A | 631030017035 | Flex Senai | 12 |  | 0 |  | 0 | 0
228 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 / 63103A | 631030017265 | Flex Senai | 12 |  | 0 |  | 0 | 0
229 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 / 63103A | 631030017021 | Flex Senai | 12 |  | 0 |  | 0 | 0
230 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103 / 63103A | 63103A000083 | Flex Senai | 12 |  | 0 |  | 0 | 0
231 | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A | N/A | CEI PCBA | 12 |  | F.O.C | F.O.C | 0 | 0
232 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | CEI PCBA | 12 |  | 0 |  | 0 | 0
233 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | CEI PCBA | 12 |  | 0 |  | 0 | 0
234 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | CEI PCBA | 12 |  | 0 |  | 0 | 0
235 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | CEI PCBA | 12 |  | 0 |  | 0 | 0
236 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | CEI PCBA | 12 |  | 0 |  | 0 | 0
237 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | CEI PCBA | 12 |  | 0 |  | 0 | 0
238 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | CEI PCBA | 12 |  | 0 |  | 0 | 0
239 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | CEI PCBA | 12 |  | 0 |  | 0 | 0
240 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | CEI PCBA | 12 |  | 0 |  | 0 | 0
241 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | CEI PCBA | 12 |  | 0 |  | 0 | 0
242 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | CEI PCBA | 12 |  | 0 |  | 0 | 0
243 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | CEI PCBA | 12 |  | 0 |  | 0 | 0
244 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | CEI PCBA | 12 |  | 0 |  | 0 | 0
245 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | CEI PCBA | 12 |  | 0 |  | 0 | 0
246 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | CEI PCBA | 12 |  | 0 |  | 0 | 0
247 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | CEI PCBA | 12 |  | 0 |  | 0 | 0
248 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241 | CEI PCBA | 24 |  | 0 |  | 0 | 0
249 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | CEI PCBA | 24 |  | 0 |  | 0 | 0
250 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640209 | Flex Senai | 24 |  | 0 |  | 0 | 0
251 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 95189 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
252 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 95195 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
253 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 95193 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
254 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 95194 | Venture PCBA (LC) | 12 |  | 0 |  | 0 | 0
[7 empty] | 16631.54 | 12567.9697 | 17030 | 3823.5703 | 4205.9273
[11 empty] | Legend |  | No Capacity in MPC
GTS
Further verify with MPC about the capablity
SGD:USD = 1: 0.73799
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH30-25
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH30-25
[12 empty] | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A
[12 empty] | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C
[12 empty] | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
[12 empty] | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | Programmable DC Power supply | TDK Lambda | GENH60-12.5
[12 empty] | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103
[12 empty] | NI Programmable DC Power supply | National Instruments | PXI-4130

## Quote from MPC Rev03
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | MPC-2020 Price (SGD) | Remark
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 295
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 105
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 170
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 170
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 170
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 170
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 170
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 170
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 170
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 180
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 180
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 180
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 280
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 180
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 180
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 180
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 90
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 70
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 70
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 70
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 70
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 70
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 70
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 70
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 70
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 70
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 70
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 295
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | 180 | up to 10k psi
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 70
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 70
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 100 | up to 1KV
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 100
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 295
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | No Capability | can do normal calibration with data only
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | No Capability | can do normal calibration with data only
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 295
84 | Liquilaz | Particle Measuring Systems | E20P |  | Flex | 12 | No Capability | can do normal calibration with data only
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 70
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 70
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 70
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 70
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 70
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 70
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 70
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 70
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 70
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 70
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 70
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 70
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 70
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 70
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 70
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 70
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 30
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 30
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 30
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 30
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | No Capability
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 295
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | No Capability | No Capability
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 70
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 70
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 105
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 105
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 105
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 105
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | 450 | Follow previous cal cert
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 330
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | No Capability | No Capability
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 180
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 180
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 180
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 180
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 180
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 180
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 170
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 280
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 330
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 400
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 400
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 | 400
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 400
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 300
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 300
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 160
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 320
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 260
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 70
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 70
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 70
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 70
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 70
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 70
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 70
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 70
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 70
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 70
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 70
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 70
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 180
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 180
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 180
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 295
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 295
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 295
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 295
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 105
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 105
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 105
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 105
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 105
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 560
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | 150
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | F.O.C
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | F.O.C
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | No Capability

## Items need to check with MPC
EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | Current COST (USD) | MPC Cost(USD) | Cost Diff. (USD)
Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 75 | 169.7377 | -94.7377
Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 59.34 | 88.5588 | -29.2188
Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 53.7 | 59.0392 | -5.3392
Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 79.12 | 88.5588 | -9.4388
Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 217.74 | 221.397 | -3.657
Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 219.78 | 221.397 | -1.617
Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 52.26 | 59.0392 | -6.7792
Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 52.75 | 59.0392 | -6.2892
Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.87 | 33.2096 | -9.3395
Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 23.44 | 33.2096 | -9.7695
Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 17.9 | 33.2096 | -15.3096
Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 23.44 | 33.2096 | -9.7695
Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 217.74 | 221.397 | -3.657
Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 53.7 | 59.0392 | -5.3392
Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 89.51 | 169.7377 | -80.2277
Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 89.51 | 169.7377 | -80.2277
VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 |  | 295.196 | -295.196
DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | 258.2965 | -58.2965
Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 80 | 169.7377 | -89.7377
[7 empty] | 4826.4546 | -1387.8846

## GTS list
Scope | Tektronix | C012802
Function Generator | Agilent | MY44054891
Mulitmeter | Agilent | MY48004403
Electronic Load Module | Chroma | 63103A003917
Electronic Load Module | Chroma | 63103A003907
Electronic Load Module | Chroma | 63103A003897
Electronic Load Module | Chroma | 63103A003947
Programmable Card, 4Ch | Geotest | GX1164
Programmable Power Supply | National Instrument | 160B96F
Data Acquisition | National Instrument | 164D2A9
Data Acquisition | National Instrument | 164D2B4
Genesys 750W Power Supply | Lambda | 11K5893Z
Genesys 750W Power Supply | Lambda | 11K5896Z
Genesys 750W Power Supply | Lambda | 11K5894Z
Genesys 750W Power Supply | Lambda | 11K5895Z
Genesys 750W Power Supply | Lambda | 11K5891Z
Genesys 750W Power Supply | Lambda | 11K5892Z
NI PXI-4071 FlexDMM | National Instrument | F1E66F
Aglient Current Shunt for DMM | Agilent

## Sheet1
Improvement after implement of onsite calibration
Measures | Before | After | Remarks
Cost saving | 3795 USD/System | 3524 USD/System | Cost savings
($271/system)
Productivity improvement |  | 1 day downtime | Instrument/spare parts shipment disrupted due to
| ~ 15 days downtime |  | GTS calibration
Total time saving 70 days (14 days/system in CM)
Total labour cost saving ~14000USD(25USD/hr x 8hr x70 days)
Quality enhancement | handling damage | No removal – eliminate handling damage | Self test after calibration to make sure system work as desired
due to removal of NI/Geotest cards