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1 INTRODUCTION

In this manual, you can find the following information which is related to the Detectors:

· Tools and Fixtures used in Detectors production

· 

 HYPERLINK  \l "Testing_Stations_and_Equipments" 
Testing Stations and Equipments used in Detectors production



2 TOOLS AND FIXTURES USED IN DETECTORS PRODUCTION

Below is a list of tools and fixtures transferred used for Detectors production:

	 Location
	Tool Number
	Description
	Quantity
	Comments

	Optics Bench Assembly (Clean Room)
	9026597
	Lamp Gap Gage
	1
	Unique

	
	9120060
	Grating Alignment Pin
	3
	Unique

	
	999026543
	Modified Center Punch
	1
	Unique

	
	999026702
	Holder for Filter Bld
	1
	Unique

	
	A-140
	Retaining Tool
	1
	Unique

	
	A-144
	Retaining Tool
	1
	Unique

	
	WX1157
	12 in/oz Torque Wrench
	1
	Unique

	
	WX1158
	6 in/oz Torque Wrench
	1
	Unique

	
	WX1159
	60 in/oz Driver
	1
	Unique

	
	WX2139
	Lamp Alignment Fixture
	1
	Unique

	
	WX2143
	Locating Plate
	1
	Unique

	
	999026549
	Filter Wheel to Motor Fixture
	1
	Unique

	
	WX2148
	Photodiode Assy  Fixture
	1
	Unique

	
	WX2156
	Ex Cam and Pulley Assy Jig
	1
	Unique

	
	9120029
	Band Drive Assy Fixture
	1
	Unique

	
	WX2158
	Lamp Assy fixture
	1
	Unique

	
	WX2165
	PTM Shield
	1
	Unique

	
	WX2168
	Baffle Pin Press
	1
	Unique

	
	WX2172
	Mirror to Plate Fixture (M3)
	1
	Unique

	
	WX2177
	Optics Bench Support Block
	1
	Unique

	
	WX2180
	PTM Shield
	1
	Unique

	
	WX2194
	Mirror to Plate Fixture (M2)
	1
	Unique

	
	WAT081273
	Grating Drive Alignment Bar
	46
	Unique

	Main Assembly

(Non Clean Room)
	119646
	Spade Lug Push Tool
	1
	Unique

	
	999027459
	Flow Cell Alignment Tool
	1
	Unique

	
	999027063
	Pliers LED Assy
	2
	Unique

	
	999028339
	Button Switch Removal Tool
	2
	Unique

	
	999035134
	EMI Foam Guide
	1
	Unique

	
	9120096
	Tube Coiling Fixture
	1
	Unique

	
	9120096
	Tube Coiling Fixture
	1
	Unique

	
	WX2170
	Bard Fitting to Tube Assy Fixture
	1
	Unique

	
	999026419
	Stand Off Press
	1
	Unique

	
	WX2176
	Epoxy Pump
	1
	Unique

	
	999026419
	Stand Off Press
	1
	Unique

	
	WX2179
	Rivet Pusher
	1
	Unique

	
	999038894
	3/8 Nut Driver
	1
	Unique

	
	999038151
	Gasket Alignment Fixture
	1
	Unique


Click on the above description for visuals on the tools and fixtures.

2.1 Optic Bench Assembly (Cleanroom)
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	General Remark:
	PART INFORMATION

	
	Part No: 9026597
	Commodity Code: NIL

	
	Description: Lamp Gap Gage

	Maintenance Remark:

Venture ID# 9026597
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:
	PART INFORMATION

	
	Part No: 9120060
	Commodity Code: NIL

	
	Description: Grating Alignment Pin

	Maintenance Remark:

Venture ID# 9120060
Spoiled - 1
	Quantity Received: 3

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y


	General Remark: Asset # : 
	PART INFORMATION

	
	Part No: 999026543
	Commodity Code: NIL

	
	Description: Modified Center Punch

	Maintenance Remark:

Venture ID# 999026543
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark: Asset # : 
	PART INFORMATION

	
	Part No: 999026702
	Commodity Code: NIL

	
	Description: Holder for Filter Bld

	Maintenance Remark:

Venture ID# 999026702
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark: Asset # : Designated A-140 & A-144
	PART INFORMATION

	
	Part No: A-21
	Commodity Code: NIL

	
	Description: Retaining Tool

	Maintenance Remark:

Venture ID# A-140 & A-144
	Quantity Received: 2

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark: Asset # : WX1157
	PART INFORMATION

	
	Part No: WX1157
	Commodity Code: NIL

	
	Description: 12 in/oz Torque Wrench

	Maintenance Remark:

Venture ID# WX1157
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark: Asset # : WX1158
	PART INFORMATION

	
	Part No: WX1158
	Commodity Code: NIL

	
	Description: 6 in/oz Torque Wrench

	Maintenance Remark:

Venture ID# WX1158
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX1159
	PART INFORMATION

	
	Part No: WX1159
	Commodity Code: NIL

	
	Description: 60 in/oz Torque Wrench

	Maintenance Remark:

Venture ID# WX1159
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2139
	PART INFORMATION

	
	Part No: 999026610
	Commodity Code: NIL

	
	Description: Lamp Alignment Fixture

	Maintenance Remark:

Venture ID# WX2139 & 999026610
	Quantity Received: 1

	
	Date Received:  20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2143
	PART INFORMATION

	
	Part No: 999027122
	Commodity Code: NIL

	
	Description: Locating Plate

	Maintenance Remark:

Venture ID# WX2143 (999027122)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2147
	PART INFORMATION

	
	Part No: 999026549
	Commodity Code: NIL

	
	Description: Filter Wheel to Motor Fixture ( 2 parts)

	Maintenance Remark:

Venture ID# WX2147
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2148
	PART INFORMATION

	
	Part No: 9026601
	Commodity Code: NIL

	
	Description: Photodiode Assy Fixture

	Maintenance Remark:

Venture ID# WX2148 (9026601)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2156
	PART INFORMATION

	
	Part No: 9026608
	Commodity Code: NIL

	
	Description: Ex Cam and Pulley Assy Jig

	Maintenance Remark:

Venture ID# WX2156 (9020608)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2157
	PART INFORMATION

	
	Part No: 9120029
	Commodity Code: NIL

	
	Description: Band Drive Assy Fixture

	Maintenance Remark:

Venture ID# WX2157 (9120029)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: N
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	General Remark:  Asset # : WX2158
	PART INFORMATION

	
	Part No: WX2158
	Commodity Code: NIL

	
	Description: Lamp Assy Fixture

	Maintenance Remark:

Venture ID# WX2158
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2165

Obsolete
Tool is at Venture
	PART INFORMATION

	
	Part No: 999029863
	Commodity Code: NIL

	
	Description: PTM Shield

	Maintenance Remark:


	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: N
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	General Remark:  Asset # : WX2168
	PART INFORMATION

	
	Part No: 999026565
	Commodity Code: NIL

	
	Description: Baffle Pin Press

	Maintenance Remark:

Venture ID# WX2168
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2172
	PART INFORMATION

	
	Part No: 9026603-1 
	Commodity Code: NIL

	
	Description: Mirror to Plate Fixture (M3)

	Maintenance Remark:

Venture ID# WX2172 (9026603)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2177
	PART INFORMATION

	
	Part No: 999027074
	Commodity Code: NIL

	
	Description: Optics Bench Support Block

	Maintenance Remark:

Venture ID# WX2177 (999027074)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2180

Obsolete
Tool is at Venture
	PART INFORMATION

	
	Part No: 999029863
	Commodity Code: NIL

	
	Description: PTM Shield

	Maintenance Remark:


	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2194
	PART INFORMATION

	
	Part No: 9026603-2
	Commodity Code: NIL

	
	Description: Mirror to Plate Fixture (M2)

	Maintenance Remark:

Venture ID# WX2194 (9026603-2)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  
	PART INFORMATION

	
	Part No: WAT081273
	Commodity Code: NIL

	
	Description: Grating Drive Alignment Bar

	Maintenance Remark:

Venture ID#  WAT081273
Spoiled - 10 
	Quantity Received: 46

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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2.2 Main Assembly
 (Non Cleanroom)
	General Remark:  
	PART INFORMATION

	
	Part No: 119646
	Commodity Code: NIL

	
	Description: Spade Lug Push Tool

	Maintenance Remark:

Venture ID# 119646
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  
	PART INFORMATION

	
	Part No: 999027459
	Commodity Code: NIL

	
	Description: Flow Cell Alignment Tool

	Maintenance Remark:

Venture ID# 999027459
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  
	PART INFORMATION

	
	Part No: 999027063
	Commodity Code: NIL

	
	Description: Pliers LED Assy

	Maintenance Remark:

Venture ID# 999027063
	Quantity Received: 2

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  
	PART INFORMATION

	
	Part No: 999028339
	Commodity Code: NIL

	
	Description: Button Switch Removal Tool

	Maintenance Remark:

Venture ID# 999028339
	Quantity Received: 2

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  

Obsolete
Tool is at Venture
	PART INFORMATION

	
	Part No: 999035134
	Commodity Code: 

	
	Description: EMI Foam Guide

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  WX2166
	PART INFORMATION

	
	Part No: 9120096
	Commodity Code: NIL

	
	Description: Tube Coiling Fixture

	Maintenance Remark:

Venture ID# WX2166
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  WX2167
	PART INFORMATION

	
	Part No: 9120096
	Commodity Code: NIL

	
	Description: Tube Coiling Fixture

	Maintenance Remark:

Venture ID# WX2167
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2170
	PART INFORMATION

	
	Part No: 999027246
	Commodity Code: NIL

	
	Description: Barb Fitting to Tube Assy Fixture

	Maintenance Remark:

Venture ID# WX2170 (999027246)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark: Asset # : WX2173
	PART INFORMATION

	
	Part No: 999026419
	Commodity Code: NIL

	
	Description: Stand Off Press

	Maintenance Remark:

Venture ID# WX2173 (999026419)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2176
	PART INFORMATION

	
	Part No: WX2176
	Commodity Code: NIL

	
	Description: Epoxy Pump

	Maintenance Remark:

Venture ID# WX2176
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2178
	PART INFORMATION

	
	Part No: 999026419
	Commodity Code: NIL

	
	Description: Stand Off Press

	Maintenance Remark:

Venture ID# WX2178 (999026419)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2179
	PART INFORMATION

	
	Part No: 119834
	Commodity Code: NIL

	
	Description: Rivet Pusher

	Maintenance Remark:

Venture ID# WX2179
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : 
	PART INFORMATION

	
	Part No: 999038894
	Commodity Code: NIL

	
	Description: 3/8 Nut Driver

	Maintenance Remark:

Venture ID# 999038894
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : 
	PART INFORMATION

	
	Part No: 999038151
	Commodity Code: NIL

	
	Description: Gasket Alignment Fixture

	Maintenance Remark:

Venture ID# 999038151
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y


3 Testing Stations and Equipments
	General Remark:  Asset # : WX2140

TE# 83029-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description: Lamp Alignment PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2140

TE# 83029-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  Lamp Alignment PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2149

TE# 83031-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  2475 Optics Bench Alignment PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2149

TE# 83031-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  2475 Optics Bench Alignment PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y


	General Remark:  Asset # : WX2151

TE# 83031-1
	PART INFORMATION

	
	Part No: 9026661
	Commodity Code: NIL

	
	Description:  Alignment Fixture Instrument

	Maintenance Remark:

Venture ID# M10475900M (WX2151)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y


[image: image63.jpg]



[image: image64.jpg]



	General Remark:  Asset # : WX2152

TE# 83031-1
	PART INFORMATION

	
	Part No: WAT207000
	Commodity Code: NIL

	
	Description: 515 Solvent Delivery System

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2154

TE# 83031-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description: 2475 Optics Bench Alignment Station

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2159

TE# 83032-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  FLR Optics Bench Alignment PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2142

TE# 83032-1
	PART INFORMATION

	
	Part No: 999029699
	Commodity Code: NIL

	
	Description: Alignment Fixture Instrument

	Maintenance Remark:

Venture ID# K09UPF712R (WX2142)
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2150

TE# 83032-1
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description: FLR Optics Bench Alignment Station

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2144

TE# 83032-1
	PART INFORMATION

	
	Part No: WAT207000
	Commodity Code: NIL

	
	Description: 515 Solvent Delivery System

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2206

TE# WAT046538.
	PART INFORMATION

	
	Part No:  11173729
	Commodity Code: NIL

	
	Description:   Hi-pot/Ground Continuity Test (Adapter & Cable)

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2150

TE# WAT046538.
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:   Pat and Flash Cabinet

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2155

TE# 2475FLRWEX
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  Firmware Download PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2155

TE# 2475FLRWEX
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  Firmware Download PC

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2145

TE# 82760-5
	PART INFORMATION

	
	Part No: TE82760
	Commodity Code: NIL

	
	Description: Final Test System 1

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2145

TE# 82760-5
	PART INFORMATION

	
	Part No: TE82760
	Commodity Code: NIL

	
	Description: Final Test System 1

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2153

TE# 82760-5
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  Final Test System 1 Pump 

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2146

TE# 82760-4
	PART INFORMATION

	
	Part No: TE82760
	Commodity Code: NIL

	
	Description: Final Test System 2

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received: 20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2146

TE# 82760-4
	PART INFORMATION

	
	Part No: TE82760
	Commodity Code: NIL

	
	Description: Final Test System 2

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received:  20 May 13

	
	Location: GES 
	Used: Y
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	General Remark:  Asset # : WX2160

TE# 82760-4
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: NIL

	
	Description:  Final Test System 2 Pump 

	Maintenance Remark:

N/A
	Quantity Received: 1

	
	Date Received:  20 May 13

	
	Location: GES 
	Used: Y




Serial Numbers:

TRF:

	Lamp Alignment System
	
	

	
	
	
	

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-039S

	USB key board
	1
	 
	00832115

	USB mouse
	1
	 
	CN-ORGR5X-44751-13M-04YV

	Lamp Power Supply
	1
	 
	RoHS00224506/07

	PC work station
	1
	WX2140
	H09L32148W


	Optics Bench FLR System
	
	

	
	
	
	

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-052S

	USB key board
	1
	 
	CN-0DJ331-71616-13C-05DD

	USB mouse
	1
	 
	CN-ORGR5X-44751-13M-04FP

	PC work station
	1
	WX2159
	D09L32095W

	Alignment Fixture 
	1
	WX2142
	K09UPF712R

	515 Pump
	1
	WX2144
	D11515058A

	USB Converter
	1
	WX2150
	 


	Optics Bench 2475 System
	
	

	
	
	
	

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-043S

	USB key board
	1
	 
	CN-0DJ331-71616-13C-0625

	USB mouse
	1
	 
	CN-ORGR5X-44751-13M-04H1

	PC work station
	1
	WX2149
	D09L32095W

	Alignment Fixture 
	1
	WX2151
	M10475900M

	515 Pump
	1
	WX2152
	D11515059A

	USB Converter
	1
	WX2154
	 


	Final Test Station 1
	
	

	
	
	
	

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-046S

	USB key board
	1
	 
	CN-0DJ331-71616-13C-05DE

	USB mouse
	1
	 
	CN-ORGR5X-44751-13M-0587

	USB Scanner
	1
	 
	Y7YG76

	PC work station
	1
	WX2145
	M09L32135W

	1525 Pump
	1
	WX2153
	C0925P516R

	Control Valve 
	1
	 
	78552

	Power Controller
	1
	 
	008631

	USB Converter
	1
	 
	104204956


	Final Test Station 2
	
	

	
	
	
	

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-054S

	USB key board
	1
	 
	CN-0DJ331-71616-13C-05DI

	USB mouse
	1
	 
	N/A

	USB Scanner
	1
	 
	Y7YG85

	PC work station
	1
	WX2146
	G10L32057W

	1525 Pump
	1
	WX2160
	G0925P662R

	Control Valve 
	1
	 
	78553

	Power Controller
	1
	 
	008629

	USB Converter
	1
	 
	104204820


	Firmware Download Station
	
	

	
	
	
	

	Item Description
	Qty
	Wexford  Asset
	Serial Number

	Monitor
	1
	 
	CN-OVHPX3-74445-13S-494S

	USB key board
	1
	 
	CN-0DJ331-71616-13C-05DG

	USB mouse
	1
	 
	4448110

	USB Scanner
	1
	 
	Y7YG7R

	PC work station
	1
	WX2155
	B10L32121W
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