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1
INTRODUCTION

1
INTRODUCTION

In this manual, you can find the following information which is related to the Flow Through Needle Manager (FTN) Product Transfer:

1. Tools and Fixtures used in FTN production
2. Testing Stations
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2
TOOLS AND FIXTURES
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2
TOOLS AND FIXTURES USED IN FTN PRODUCTION

Below is a list of tools and fixtures
 transferred to Singapore for FTN production:

	 
	Tool Number
	Description
	Quantity
	Comments

	Sample Manager, FTN Assembly Tooling 279001685
	7445
	2MM Bit Torq Wrench 9 IN/LB
	1
	Unique

	
	999034509
	Door Alignment Fixture
	1
	Unique

	
	999026375
	Torx Wrench 48 IN/OZ
	2 Sets
	Unique

	
	999034211
	Alignment Tool
	2
	Unique

	
	999034349
	Fixture to Assemble Light Pipe
	1
	Unique

	
	99999
	T10 tORX dRIVER 4 IN/LB
	1 Set
	Unique

	
	G6000plus
	Guardian Electrical Safety Tester
	1 Set
	Unique

	
	TE82854
	FTN Final Tester
	4
	Unique

	
	999119927
	Upchurch tool
	2
	Unique

	METERING SYRINGE ASSEMBLY   279001734
	99999
	4 IN/LB 5/16 Nut Driver
	1 Set
	Unique

	
	99999
	42 IN/OZ T6 Torx (2.62)
	1 Set
	Unique

	
	99999
	60 IN/OZ T10 Torx (3.75)
	1 Set
	Unique

	
	999027792
	Fixture W/DT-500 Press
	1 Set
	Unique

	
	999027988
	Holding Fixture
	1 Set
	Unique

	
	999028403
	Spacer (.27" reference)
	2
	Unique

	
	999028479
	Spacer
	5
	Unique

	
	999029157
	Torx Wrench 2 IN/LB
	1 Set
	Unique

	
	999032577
	Belt Setting Fixture
	1 Set
	Unique

	
	999032831
	Set Block
	2
	Unique

	
	N/A
	Torque Wrenches
	1 Set
	Unique

	
	999028629
	Holding Fixture
	1
	Unique

	
	TE83006
	Tester 735001065
	1 Set
	Unique

	
	TE82858-5
	Sensor/Flag Tester
	1
	Unique
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ASSY, THETA DRIVE, CPSM
279001950

	99999
	1.5MM Allen Torx
	1 Set
	Unique

	
	999025540
	Rotor clip Tool
	1
	Unique

	
	999034304
	.010 Plastic Shim Stock
	6
	Unique

	
	999034305
	.0075 Plastic Shim Stock
	6
	Unique

	
	99999
	T10 Torx 10 IN/LB
	1 Set
	Unique
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ASSY, BASE SAMPLE MANAGER
279001990

	9999
	Plug Removal Tool
	1
	Unique

	
	119646
	-
	1
	Unique

	
	999026419
	Press for LED Holder
	2
	Unique

	
	999027063
	Press LED into Holder
	1
	Unique

	
	999028339
	Switch Cap Remover
	1
	Unique

	
	999034250
	Heater Alignment Template
	1
	Unique

	
	999034257
	Template to Align Clamp
	1
	Unique

	
	999034259
	Tubing Swadge Tool
	1
	Unique

	
	99999
	t10 tORX dRIVER 4 IN/LB
	1 Set
	Unique
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ASSY, DATUM BASE W/THETA DRIVE
279001991

	289005264
	Sample Tray Assy
	1
	Unique

	
	99999
	1.5MM Allen Torx
	1 Set
	Unique

	
	999032818
	Belt Tightening Fixture
	1 Set
	Unique

	
	999032941
	Gap Tool
	1
	Unique

	
	999034350
	Leveling Plate Fixture
	1
	Unique

	
	99999
	T10 Torx Driver 50 IN/OZ
	1 Set
	Unique

	
	N/A
	Torque Wrenches
	1 Set
	Unique

	
	9999
	Torque Drivers
	1 Set
	Unique

	ASSY, RZZ MECHANISM FTN

279001993

	999034508
	Bearing Press and Plate
	1
	Unique

	
	99999
	1.5MM Allen Torx
	1 Set
	Unique

	
	99999
	1.5MM Allen Torx
	1 Set
	Unique

	
	999032940
	Gap Tool
	1
	Unique

	
	999034358
	RZZ Gage to set the "Z" Axis
	10
	Unique

	
	N/A
	Torque Wrenches
	1 Set
	Unique

	
	TE82995
	RZZ Tester w/Calibration pin 405010684
	1 Set
	Unique

	
	999032846
	RZZ Test Fixture
	2 Set
	Unique

	ASSY, NEEDLE CARR, ACQ DI
289004640

	999034536
	Needle Carriage Assy Fixture
	1
	Unique

	
	999026223
	Snap On
	2
	Unique

	
	999034185
	Crease Fixture
	1 Set
	Unique

	
	99999
	Phillips Torx Driver 42 IN/OZ
	1 Set
	Unique

	
	99999
	T10 Torx Driver 40 IN/OZ
	1 Set
	Unique

	
	9999
	Torque Drivers
	1 Set
	Unique

	
	9999
	Torque Drivers
	1 Set
	Unique

	
	N/A
	Torque Wrenches
	1 Set
	Unique

	
	TE83014
	Sensor Test Box
	1 Set
	Unique

	ASSY, SEALWASH HOUSING
289004794


	999033553
	Press for Fixture Redesign
	1
	Unique

	
	999033450
	Fixture
	1
	Unique
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ASSY, Syringe Valve
289001868

	92346
	Retaining Ring Tool
	2
	Unique

	
	999029189
	Holding Fixture
	1
	Unique

	Spares
	9999
	Analytical Device
	1
	Unique

	
	2890005183
	Inject Pod
	2
	Unique


Click on the above description for visuals on the tools and fixtures.
^Please refer to APPENDIX  for more details on the tools and fixtures.
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2.1 Sample Manager, FTN Assembly Tooling 279001685[image: image35.jpg]- \'/.
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	General Remark:

	PART INFORMATION

	
	Part No: 7445
	Commodity Code: 8204110030

	
	Description:  2MM Bit Torq Wrench 9 IN/LB

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 15 February 2011

	
	Location: Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 99934509
	Commodity Code: 3926909980

	
	Description: Door Alignment Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 15 February 2011

	
	Location: Venture GES
	Used: No
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	General Remark:
Venture in-house Serial No 999026375 and 999026375-02
	PART INFORMATION

	
	Part No: 999026375
	Commodity Code: 8204200000

	
	Description:  Torx Wrench 48 IN/OZ

	Maintenance Remark:
	Quantity Received: 2 Sets

	
	Date Received: 5 January 2011

	
	Location: Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999034211
	Commodity Code: 3926909980

	
	Description: Alignment Tool

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011

	
	Location: Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999034349
	Commodity Code: 7616995090

	
	Description: Fixture to Assemble Light Pipe

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location: Venture GES
	Used: No
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	General Remark:
S/N : D10-09-6683
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: t10 tORX dRIVER 4 IN/LB

	Maintenance Remark:
Last Calibrated Date : 21 Sep 2010
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location: Venture GES
	Used: No
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2.2 METERING SYRINGE ASSEMBLY 
    279001[image: image59.jpg]
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	General Remark:
S/N : D10-09-6663
	PART INFORMATION

	
	Part No:  99999
	Commodity Code:  8205400000

	
	Description:  4 IN/LB 5/16 Nut Driver

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
 S/N : D10-09-6696
	PART INFORMATION

	
	Part No:  99999
	Commodity Code:  8204200000

	
	Description:  42 IN/OZ T6 Torx (2.62)

	Maintenance Remark:
Last Calibrated Date : 21 Sep 2010
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
S/N : D10-09-6650

	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: 60 IN/OZ T10 Torx (3.75)

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999027792
	Commodity Code: 8479899899

	
	Description: Fixture W/DT-500 Press

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received:17 January 2011

	
	Location:  Venture GES
	Used: Yes
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	General Remark:

	PART INFORMATION

	
	Part No: 999027988
	Commodity Code: 7326908588

	
	Description: Holding Fixture

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 999028403
	Commodity Code: 7326908588

	
	Description: Spacer (.27" reference)

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No


[image: image92.jpg]


[image: image93.jpg]




	General Remark:

	PART INFORMATION

	
	Part No: 999028479
	Commodity Code: 7616995090

	
	Description: Spacer

	Maintenance Remark:
	Quantity Received: 5

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 999029157
	Commodity Code: 8204200000

	
	Description: Torx Wrench 2 IN/LB

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 999032577
	Commodity Code: 7326908588

	
	Description: Belt Setting Fixture

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 999032831
	Commodity Code: 7616995090

	
	Description: Set Block

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
S/N : 0910400585
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: 8204200000

	
	Description: Torque Wrenches

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 999028629
	Commodity Code: 7326908588

	
	Description: Holding Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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2.3 [image: image117.jpg]


ASSY, THETA DRIVE, CPSM 

    279001950

	General Remark:
S/N : D10-09-6662
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: 1.5MM Allen Torx

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999025540
	Commodity Code:  8203206060

	
	Description:  Rotor clip Tool

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999034304
	Commodity Code:  3926909980

	
	Description:  .010 Plastic Shim Stock

	Maintenance Remark:
	Quantity Received: 6

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999034305
	Commodity Code:  3926909980

	
	Description:  .0075 Plastic Shim Stock

	Maintenance Remark:
	Quantity Received: 6

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
S/N : D10-09-6689
	PART INFORMATION

	
	Part No:  99999
	Commodity Code:  8204110030

	
	Description:  T10 Torx 10 IN/LB

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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2.4 ASSY, BASE SAMPLE MANAGER
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    279001990

	General Remark:

	PART INFORMATION

	
	Part No: 9999
	Commodity Code: 7326908588

	
	Description: Plug Removal Tool

	Maintenance Remark:
	Quantity Received: 1 

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No: 119646
	Commodity Code: -

	
	Description: -

	Maintenance Remark:
	Quantity Received: 1 

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:

	PART INFORMATION

	
	Part No:  999026419
	Commodity Code:  8203206060

	
	Description:  Press for LED Holder

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999027063
	Commodity Code:  8203206060

	
	Description:  Press LED into Holder

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999028339
	Commodity Code:  8203206060

	
	Description:  Switch Cap Remover

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999034250
	Commodity Code: 3923909980

	
	Description: Heater Alignment Template

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999034257
	Commodity Code:  3923909980

	
	Description:  Template to Align Clamp

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No:  999034259
	Commodity Code:  7326908588

	
	Description:  Tubing Swadge Tool

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
S/N : D10-09-6661
	PART INFORMATION

	
	Part No:  99999
	Commodity Code:  8204200000

	
	Description:  t10 tORX dRIVER 4 IN/LB

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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2.5 ASSY, DATUM BASE W/THETA DRIVE
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    279001991

	General Remark:

	PART INFORMATION

	
	Part No: 289005264
	Commodity Code: 9027905425

	
	Description: Sample Tray Assy

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No : D10-09-6699
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: 1.5MM Allen Torx

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
 S/N : 3390114
	PART INFORMATION

	
	Part No:  999032818
	Commodity Code:  9031808085

	
	Description:  Belt Tightening Fixture

	Maintenance Remark:
Last Calibrated Date : 08 Oct 2010
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999032941
	Commodity Code: 7326908588

	
	Description: Gap Tool

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999034350
	Commodity Code: 7616995090

	
	Description: Leveling Plate Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No : D10-09-6664
	PART INFORMATION

	
	Part No:  99999
	Commodity Code:  8204110030

	
	Description:  T10 Torx Driver 50 IN/OZ

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No: 0910400588
	PART INFORMATION

	
	Part No:  N/A
	Commodity Code:  8204200000

	
	Description:   Torque Wrenches

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No : J06-08--1115
	PART INFORMATION

	
	Part No: 9999
	Commodity Code: 8204110030

	
	Description: Torque Drivers

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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2.6 ASSY, RZZ MECHANISM FTN
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	General Remark:

	PART INFORMATION

	
	Part No: 999034508
	Commodity Code: 8479899899

	
	Description:  Bearing Press and Plate

	Maintenance Remark:
	Quantity Received:  1 

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No


[image: image190.jpg]


 [image: image12.jpg]


[image: image191.emf]

	General Remark:
Serial Number : D10-09-6668
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: 1.5MM Allen Torx

	Maintenance Remark:
	Quantity Received:  1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No: D10-09-6686
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: 1.5MM Allen Torx

	Maintenance Remark:
	Quantity Received:  1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999032940
	Commodity Code: 7326908588

	
	Description: Gap Tool

	Maintenance Remark:
	Quantity Received:  1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999034358
	Commodity Code: 7616995090

	
	Description: RZZ Gage to set the "Z" Axis

	Maintenance Remark:
	Quantity Received:  10

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
Serial No : 0910400573
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: 8204200000

	
	Description: Torque Wrenches

	Maintenance Remark:
	Quantity Received:  1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No
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2.7 ASSY, NEEDLE CARR, ACQ DI 

289004640
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	General Remark:
	PART INFORMATION

	
	Part No: 999034536
	Commodity Code: 7616995090

	
	Description: Needle Carriage Assy Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 21 June 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999026223
	Commodity Code: 8203206030

	
	Description: Snap On

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 999034185
	Commodity Code: 7616995090

	
	Description: Crease Fixture

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





	General Remark:
S/N : D10-09-6675
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: Phillips Torx Driver 42 IN/OZ

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





	General Remark:
S/N : D10-09-6690
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 8204200000

	
	Description: T10 Torx Driver 40 IN/OZ

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No











        

	General Remark:
S/N : D10-09-6653


	PART INFORMATION

	
	Part No: 9999
	Commodity Code: 8204110030

	
	Description: Torque Drivers

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No



	General Remark:
S/N : D10-09-6674
	PART INFORMATION

	
	Part No: 9999
	Commodity Code: 8204110030

	
	Description: Torque Drivers

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No






	General Remark:
S/N : 0910400560
	PART INFORMATION

	
	Part No: N/A
	Commodity Code: 8204200000

	
	Description: Torque Wrenches

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No



2.8 ASSY, SEALWASH HOUSING 
289004794
	General Remark:
	PART INFORMATION

	
	Part No: 999033553
	Commodity Code: 8479899899

	
	Description: Press for Fixture Redesign

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 999033450
	Commodity Code: 7616995090

	
	Description: Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




2.9 ASSY, Syringe Valve 

289001868





	General Remark:
	PART INFORMATION

	
	Part No: 92346
	Commodity Code: 8203206060

	
	Description: Retaining Ring Tool

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 999029189
	Commodity Code: 7616995090

	
	Description: Holding Fixture

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





2.10 Spares

	General Remark:
	PART INFORMATION

	
	Part No: 9999
	Commodity Code: 8481809050

	
	Description: Analytical Device

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No
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	General Remark:
	PART INFORMATION

	
	Part No: 2890005183
	Commodity Code: 8481909085

	
	Description: Inject Pod

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No



3
TESTING STATIONS

3.1.1 METERING SYRINGE ASSEMBLY, 279001734 TESTING STATIONS

Figure: Complete Metering Syringe Assembly Testing Station Set Up




	General Remark:
	PART INFORMATION

	
	Part No: L1700P
	Commodity Code: 8528510000

	
	Description: LCD Monitor Model E170Sb

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No






	General Remark:

	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: CPU Lenovo

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





	General Remark:
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: HP Keyboard

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: HP Mouse

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





	General Remark:
	PART INFORMATION

	
	Part No: MS335-XUG
	Commodity Code: 8471608000

	
	Description: Hand Held Scanners

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 186001273
	Commodity Code: 9027905425

	
	Description:  In-line Degasser

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: TE83006
	Commodity Code: 9031200000

	
	Description:  Tester 735001065

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




3.1.2 Sensor/Flag Tester

	General Remark:
	PART INFORMATION

	
	Part No: TE82858-5
	Commodity Code: 9031808085

	
	Description:  Sensor/Flag Tester

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: Yes




3.2 RZZ MECHANISM FTN, 279001993 TESTING STATIONS



	General Remark:
Comes with driver CD ROM
	PART INFORMATION

	
	Part No: L1700P
	Commodity Code: 8528510000

	
	Description: LCD Monitor Model E170Sb

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: CPU Lenovo

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No







	General Remark:
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: Lenovo, Microsoft Keyboard

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: MS335-XUG
	Commodity Code: 8471608000

	
	Description: Hand Held Scanners

	Maintenance Remark:
	Quantity Received: 1

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No





	General Remark:
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: Microsoft, Dell Mouse

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No





	General Remark: TE82995-2

Comes with 

1) Spare TE82995 IC PCBA (x1)

2) Spare Needle (x2)

3) Spare High Ration Metering Syringe P/N:7000005201 (x1)
	PART INFORMATION

	
	Part No: TE82995
	Commodity Code: 3926909980

	
	Description:  RZZ Tester w/Calibration pin 405010684

	Maintenance Remark:
	Quantity Received: 2 + Calibration pin 405010684 (6pcs)

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: 999032846
	Commodity Code: 9031200000

	
	Description:  RZZ Test Fixture

	Maintenance Remark:
	Quantity Received: 2 Set

	
	Date Received: 5 January 2011, 8 October 2012

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description:  Sensor Test Box

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 2 March 2011

	
	Location:  Venture GES
	Used: No


3.3 Sensor Test Box




3.4 Guardian Electrical Safety Tester
	General Remark: 
	PART INFORMATION

	
	Part No: G6000plus
	Commodity Code: 9030330040

	
	Description:  Guardian Electrical Safety Tester

	Maintenance Remark:
	Quantity Received: 1 Set

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




3.5 FTN Final Tester





	General Remark: 
	PART INFORMATION

	
	Part No: 186015001
	Commodity Code: 9027205060

	
	Description:  Refurbished BSM

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: Yes




	General Remark: 
	PART INFORMATION

	
	Part No: 186015007
	Commodity Code: 9027905425

	
	Description:  Refurbished Column Manager

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: 186015031
	Commodity Code: 9027304080

	
	Description:  Refurbished TUV Detector

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 205015016
	Commodity Code: 9027905430

	
	Description:  Flowcells

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: TE82854
	Commodity Code: 9031808085

	
	Description:  Tester box

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: C1606930
	Commodity Code: 3926909910

	
	Description:  Waste Containers

	Maintenance Remark:
	Quantity Received: 4

	
	Date Received: 5 January 2011 & 17January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 99999
	Commodity Code: 7616995090

	
	Description:  Valve Bracket

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 289002414
	Commodity Code: 9027905425

	
	Description:  Bottle Tray Assy

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: L1700P
	Commodity Code: 8528510000

	
	Description: LCD Monitor Model E170Sb

	Maintenance Remark:
	Quantity Received:8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: CPU Lenovo

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No
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	General Remark: 
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: Keyboard

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: -
	Commodity Code: -

	
	Description: Mouse

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark: 
	PART INFORMATION

	
	Part No: MS335-XUG
	Commodity Code: 8471608000

	
	Description: Hand Held Scanners

	Maintenance Remark:
	Quantity Received: 8

	
	Date Received: 5 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: 999119927
	Commodity Code: 7616995090

	
	Description: Upchurch tool

	Maintenance Remark:
	Quantity Received: 2

	
	Date Received: 17 January 2011

	
	Location:  Venture GES
	Used: No




	General Remark:
	PART INFORMATION

	
	Part No: WATO623411
	Commodity Code: 3926909910

	
	Description: Solvent Reservior Caps

	Maintenance Remark:
	Quantity Received: 6

	
	Date Received: 15 February 2011

	
	Location:  Venture GES
	Used: No




3.3 
COMPONENTS SERIAL NUMBERS 


4
APPENDIX


4
APPENDIX

4.1
APPENDIX A: Transportation Request Form GMIR – 8CCH3Y
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4.2
APPENDIX B: Transportation Request Form GMIR-8CZPJN
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4.3
APPENDIX C: Transportation Request Form GMIR-8DAHVC

 SHAPE  \* MERGEFORMAT 





4.4
APPENDIX D: Transportation Request Form GMIR-8H9GYH
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4.5
APPENDIX E: Transportation Request Form RDAS-8YCK2Y
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Figure: Location of BSM Test Stations
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Side View





Top View
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Figure: TE82995 RZZ Tester Testing Station Set Up
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Bottle Tray Assembly
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Waters

Proforma Invoice Transportation Request Form RDAS-8YCK2Y
Ship To Date: 09.21.2012 Bill To
GES Singapore Pte Ltd Mail Stop: TQ Criginator: Richard Davis
28 Marsling Lane Ext: 2522 Waters Corporation
739152 |
34 Maple St

Date Required: 10.01.2012  Milford, MA 01757
Singapore

Attention:  LooKokLeong.

Telephone: 63601226
1_) Recipient @] Shipper (Waters) ' _' Third Party

[General Comments / Rush Shipments Instructions: KE 9.21.2012

Mandatory for all Shipments | International Shipments Only

*H = Hazardous / *C of O = Country of Origin
Commodity *H Unit Unit Sub-Totz

Qty Part # Used | Complete Detailed Description of Goods Code ECCN[(Y/N)|*Cof O Price
1 TE82995-3 N [RTZ Assembly Test Station 9031200000 pA992 N us 6000.00) 6000.0
0 0.00 0.0
0 0.00 0.0
0 0.00| 0.0
0 0.00 0.0
0 0.00 0.0
0 0.00 0.0
Total Amount USD | $6000.0t

The undersigned authorizes _to act as forwarding agent for export control and customs purposes.

These commodities, technology, or software were exported from the United States in accordance with the U.S. Export
Administration
Regulations: Diversion contrary to U.S. law is prohibited.

For TRF corrections or edits please call x4842 or x4840

Shipping Information: To be completed by shipping

Pieces: 3 Freight $: 249.9 Date Shipped: 9/24/2012 Audit: jm 9/21/2012
SPL Check:: _.
Dims: ASSIST Cariier: fedex intl priority / AWB: 509092968985/8996/9000
SED #:

Email Originator:

Weight: 77 Packed By: as Signature: cl

Proforma invoice






