## Scope
Scope
1. The intent of this evaluation is to find root cause of high blank failure units
Conditions:
A. Please execute test per test group A and test group B
B. All chemistry to be retain in the original vials and not move swap.
C. Group A - Run carryover test after swapping seal pack between 'High Blank' units and Passing units (3 units each for experiemnt);
D. Group B - Run carryover test after swapping the needle between 'High Blank' units and Passing units ( 3 units each for this experiment)

## Test Group A
Results after swapping Seal Pack between UUT#
UUT# | Carryover result (Pass/Fail/HighBlank) | Post Blank Chromatography | UUT# | Carryover result (Pass/Fail/HighBlank) | Post Blank Chromatography
Passing UUT1 (SN: F18SMxxxxA) |  |  | High Blank' UUT1 (SN: F18SMxxxxA)
Passing UUT2 (SN: F18SMxxxxA) |  |  | High Blank' UUT2 (SN: F18SMxxxxA)
Passing UUT3 (SN: F18SMxxxxA) |  |  | High Blank' UUT3 (SN: F18SMxxxxA)

## Test Group B
Results after swapping Needle between UUT#
UUT# | Carryover result (Pass/Fail/HighBlank) | Post Blank Chromatography | UUT# | Carryover result (Pass/Fail/HighBlank) | Post Blank Chromatography
Passing UUT1 (SN: F18SMxxxxA) |  |  | High Blank' UUT1 (SN: F18SMxxxxA)
Passing UUT2 (SN: F18SMxxxxA) |  |  | High Blank' UUT2 (SN: F18SMxxxxA)
Passing UUT3 (SN: F18SMxxxxA) |  |  | High Blank' UUT3 (SN: F18SMxxxxA)