## 10 Oct 2020 GTS1GTS2 RACAL
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-11-24 | Current date: | 2020-11-10 13:48
Test Department |  |  |  |  | Update 10 Oct 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign
1 | Racal system control No.91359 | 3151 VX1 Waveform Generator ID#91359 CEI | Racal Inc | 3151 | 9809968 | 2020-02-28 | 2021-02-28 | 2039234 | ESSCO Calibration Laboratory | Yearly | Waters consigned | Racal
2 | Racal system 2461-CD control No. 91361 | VX1 Universal Counter 200MHz [ID#91361 ] | Racal Inc | 2461-CD | 08051445 | 2020-04-22 | 2021-04-22 | 2020000899 | Tra-Cal, LLC | Yearly | Waters consigned | Racal
3 | GTS1 95168 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 2020-04-21 | 2021-04-21 | 551220083577851 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
4 | GTS1 95169 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 2020-04-21 | 2021-04-21 | 551220083577857 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
5 | GTS1 95153 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 2020-04-21 | 2021-04-21 | 551220083579113 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
6 | GTS1 95158 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 2020-04-21 | 2021-04-21 | 551220083579045 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
7 | GTS1 91745 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 2020-04-21 | 2021-04-21 | 551220083577998 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
8 | GTS1 91744 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 2020-04-21 | 2021-04-21 | 551220083577996 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
9 | GTS1 95176 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 2020-04-21 | 2021-04-21 | 551220083577877 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
10 | GTS1 95177 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 2020-04-21 | 2021-04-21 | 551220083577871 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
11 | GTS1 95173 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 2020-04-21 | 2021-04-21 | 551220083577887 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
12 | GTS1 95172 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 2020-04-21 | 2021-04-21 | 551220083578939 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
13 | GTS1 91746 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 2020-04-21 | 2021-04-21 | 551220083579112 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
14 | GTS1 95175 | DC ELECTRONIC LOAD MAINFRAME | CHROMA | 6314 | 63140009193 | 2020-04-21 | 2021-04-21 | Cal. With DC load | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
15 | GTS1 91773 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 2020-04-21 | 2021-04-21 | 551220083577902 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
16 | GTS1 95195 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 2020-04-22 | 2021-04-22 | 551220083578984 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
17 | GTS1 95193 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 2020-04-22 | 2021-04-22 | 551220083578964 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
18 | GTS1 95192 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 2020-04-22 | 2021-04-22 | 551220083578963 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
19 | GTS1 95194 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 2020-04-22 | 2021-04-22 | 551220083578973 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | GTS1
20 | GTS2 82988-9 ID# 93188 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 2020-04-28 | 2021-04-28 | 551220083587388 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
21 | GTS2 ID# 93244 12M WP72 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 2020-04-28 | 2021-04-28 | 551220083587362 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
22 | GTS2 82988-9 ID# 93190 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 2020-04-28 | 2021-04-28 | 551220083587387 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
23 | GTS2 82988-9 ID# | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A | 6314A0002902 | 2020-04-28 | 2021-04-28 |  | Micro Precision Calibration PTE LTD |  | Waters consigned | GTS2
24 | GTS2 82988-9 ID# 93168 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 2020-04-28 | 2021-04-28 | 551220083588302 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
25 | GTS2_ 82988-9 ID# 93178 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 2020-04-28 | 2021-04-28 | 551220083588304 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
26 | GTS2 82988-9 ID# 93179 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 2020-04-28 | 2021-04-28 | 551220083588300 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
27 | GTS2 82988-9 ID# 93180 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 2020-04-28 | 2021-04-28 | 551220083588298 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
28 | GTS2 ID# 93245 12M WP72 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 2020-04-28 | 2021-04-28 | 551220083587336 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
29 | GTS2 82988-9 ID# 93185 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 2020-04-28 | 2021-04-28 | 551220083587378 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
30 | GTS2 82988-9 ID# 93189 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 2020-04-28 | 2021-04-28 | 551220083587389 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
31 | GTS2 82988-9 ID# 93186 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 2020-04-28 | 2021-04-28 | 551220083587333 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
32 | GTS2 82988-9 ID# 93187 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 2020-04-28 | 2021-04-28 | 551220083587353 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
33 | GTS2 82988-9 ID# 93182 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 2020-04-28 | 2021-04-28 | 551220083587361 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
34 | GTS2 82988-9 ID# 93183 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 2020-04-28 | 2021-04-28 | 551220083587371 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
35 | GTS2 82988-9 ID# 93184 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 2020-04-28 | 2021-04-28 | 551220083587377 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
36 | GTS2 82988-9 ID# 93246 12M WP72 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 2020-04-28 | 2021-04-28 | 551220083587385 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | GTS2
37 | Racal system unit Tektronix not able to cal. Will sent to Paul D Milford in ship out from Batam 18 May2022 | Keithley Source Measurement Unit control number : 90221 | Keithley | 236 | 0782275 | 2020-07-14 | 2021-07-31 | 2115483 | ESSCO Calibration Laboratory | Yearly | Waters consigned | Racal
38 | Racal system control No. 91360 | 6½ Digit VXI Multimeter ID#91360 | Racal-Dana instruments Inc | 4152A | US38010520 | 2020-08-12 | 2021-08-12 | 2020000900 | Tra-Cal, LLC | Yearly | Waters consigned | Racal
39 | Racal system ID:92231 12MO WP72 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | 2020-08-15 | 2021-08-15 | 551220083774210 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
40 | Racal system ID:92231 12MO WP72 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | 2020-08-15 | 2021-08-15 | 551220083774320 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
41 | Racal system ID:92231 12MOWP72 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | 2020-08-15 | 2021-08-15 | 551220083774199 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
42 | Racal system ID:92231 12MOWP72 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | 2020-08-15 | 2021-08-15 | 551220083774122 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
43 | Racal system ID:92231 12MOWP72 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | 2020-08-15 | 2021-08-15 | 551220083774162 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
44 | Racal system ID: 92231 12MOWP72 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | 2020-08-15 | 2021-08-15 | 551220083789348 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
45 | Racal system ID:92231 12MOWP72 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | 2020-08-15 | 2021-08-15 | 551220083789355 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
46 | Racal system ID:90245WP72 | Electronic Load | Agilent Technologies | 60502B | US37244144 | 2020-08-15 | 2021-08-15 | 551220083786887 | Micro Precision Calibration PTE LTD | Yearly | Replacement unit from Waters Paul | Racal
47 | Racal system ID:90242WP72 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | 2020-08-15 | 2021-08-15 | 551220083789414 | Micro Precision Calibration PTE LTD | Yearly | Replacement unit from Waters Paul | Racal
48 | Racal system ID:92225 12MOWP72 | Electronic Load | HP | 60502B | US37244141 | 2020-08-15 | 2021-08-15 | 551220083786915 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
49 | Racal system ID:92224 12MO WP72 | Electronic Load | HP | 60502B | US37244138 | 2020-08-15 | 2021-08-15 | 551220083786926 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
50 | Racal system ID: 90246WP72 | Electronic Load | Hewlett Packard | 60502B | US37243391 | 2020-08-15 | 2021-08-15 | 551220083788842 | Micro Precision Calibration PTE LTD | Yearly | Replacement unit from Waters Paul | Racal
51 | Racal system ID:92222 12MOWP72 | Electronic Load | HP | 60502B | US37244128 | 2020-08-15 | 2021-08-15 | 551220083788834 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned | Racal
52 | Racal system [old serial number B071897] | Tektronics 4-Channel Digitizing Oscilloscope | Tektronics | TDS460A | B070519 | 2020-09-12 | 2021-09-12 | 551220083820716 | Micro Precision Calibration PTE LTD | yearly | Waters consigned | Racal
53 | GTS1 91743 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | 2020-04-21 | 2022-04-21 | 551220083579160 | Micro Precision Calibration PTE LTD | 2Yearly | Waters consigned | GTS1
54 | GTS2 82988-9 ID# 93181 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241 (IZ-BK-BA-000) | 2020-04-29 | 2022-04-29 | 551220083588369 | Micro Precision Calibration PTE LTD | 2 Yearly | Waters consigned | GTS2
Meryl
|  |  |  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  |  |  | Micro Precision Calibration PTE LTD | ANSI/NCSL Z540-1-1994 (R2002) and ANSI/NCSL Z540.3-2006 (R2013) | 2020-08-26 | October 31, 2022 | ISO / IEC 17025: 2017
AC-1969.15
|  |  |  | Setsco Service Pte Ltd | LA_1993-0051-C | 2020-04-16 | 2024-04-15 | ISO / IEC 17025: 2017
|  |  |  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2019-06-29 | 2021-06-30 | ISO / IEC 17025: 2017
|  |  |  | ProBiz Technology Pte Ltd | LA-2008-0417-C | 2019-07-13 | 2022-07-01 | ISO / IEC 17025: 2017
|  |  |  | Keysight Technologies Singapore (Sales) Pte Ltd | LA-2014-0575-C | 2018-08-30 | 2022-08-29 | ISO / IEC 17025: 2017
|  |  |  | Mitutoyo Asia Pacific Pte. Ltd. | LA-1996-0102-C | 2019-09-27 | 2022-10-22 | ISO / IEC 17025: 2017
|  |  |  | Tra-Cal, LLC | ANSI/NCSL Z540-1-1994 (R2002) and ANSI/NCSL Z540.3-2006 (R2013) | 2019-05-31 | February 28, 2022 | ISO / IEC 17025: 2017
Certificate Number: L2151
|  |  |  | ESSCO CALIBRATION LABORATORY |  | 2020-06-19 | 2021-06-30 | ISO / IEC 17025: 2017
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on F9: PTST: 3194 previously MY48002510
Note on F33: Terng Buk Ngoh, Meryl: Replacement for 12M4070Z