## GTS1 cal update
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-05-19 | Current date: | 2020-05-05 18:11
Test Department |  |  |  |  | Update 24 Apr 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | GTS1 95168 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 2020-04-21 | 2021-04-21 | 551220083577851 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
2 | GTS1 95169 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 2020-04-21 | 2021-04-21 | 551220083577857 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
7 | GTS1 95176 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 2020-04-21 | 2021-04-21 | 551220083577877 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
8 | GTS1 95177 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 2020-04-21 | 2021-04-21 | 551220083577871 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
9 | GTS1 95173 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 2020-04-21 | 2021-04-21 | 551220083577887 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
10 | GTS1 95172 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 2020-04-21 | 2021-04-21 | 55220083578939 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
5 | GTS1 91745 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 2020-04-21 | 2021-04-21 | 551220083577998 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
6 | GTS1 91744 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 2020-04-21 | 2021-04-21 | 551220083577996 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
4 | GTS1 95158 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 2020-04-21 | 2021-04-21 | 551220083579045 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
11 | GTS1 91773 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 2020-04-21 | 2021-04-21 | 551220083577902 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
3 | GTS1 95153 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 2020-04-21 | 2021-04-21 | 551220083579113 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
12 | GTS1 95175 | DC ELECTRONIC LOAD MAINFRAME | CHROMA | 6314 | 63140009193 | 2020-04-21 | 2021-04-21 | Cal. With DC load | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
13 | GTS1 95195 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 2020-04-22 | 2021-04-22 | 551220083578984 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
14 | GTS1 95193 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 2020-04-22 | 2021-04-22 | 551220083578964 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
15 | GTS1 95194 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 2020-04-22 | 2021-04-22 | 551220083578973 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
16 | GTS1 95192 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 2020-04-22 | 2021-04-22 | 551220083578963 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
17 | GTS1 91746 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 2020-04-21 | 2021-04-21 | 551220083579112 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
18 | GTS1 91743 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | 2020-04-21 | 2022-04-21 | 551220083579160 | Micro Precision Calibration PTE LTD | 2Yearly | Waters consigned |  | GTS1
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on F15: PTST: 3194 previously MY48002510