## GTS2 cal update 4 May2020
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-05-19 | Current date: | 2020-05-05 18:11
Test Department |  |  |  |  | Update 4 May 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | GTS2 82988-9 ID# 93188 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 2020-04-28 | 2021-04-28 | 551220083587388 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
2 | GTS2 ID# 93244 12M WP72 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 2020-04-28 | 2021-04-28 | 551220083587362 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
3 | GTS2 82988-9 ID# 93190 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 2020-04-28 | 2021-04-28 | 551220083587387 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
4 | GTS2 82988-9 ID# | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A | 6314A0002902 | 2020-04-28 | 2021-04-28 |  | Micro Precision Calibration PTE LTD |  | Waters consigned |  | GTS2
5 | GTS2 82988-9 ID# 93168 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 2020-04-28 | 2021-04-28 | 551220083588302 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
6 | GTS2_ 82988-9 ID# 93178 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 2020-04-28 | 2021-04-28 | 551220083588304 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
7 | GTS2 82988-9 ID# 93179 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 2020-04-28 | 2021-04-28 | 551220083588300 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
8 | GTS2 82988-9 ID# 93180 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 2020-04-28 | 2021-04-28 | 551220083588298 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
9 | GTS2 ID# 93245 12M WP72 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 2020-04-28 | 2021-04-28 | 551220083587336 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
10 | GTS2 82988-9 ID# 93185 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 2020-04-28 | 2021-04-28 | 551220083587378 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
11 | GTS2 82988-9 ID# 93189 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 2020-04-28 | 2021-04-28 | 551220083587389 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
12 | GTS2 82988-9 ID# 93186 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 2020-04-28 | 2021-04-28 | 551220083587333 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
13 | GTS2 82988-9 ID# 93187 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 2020-04-28 | 2021-04-28 | 551220083587353 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
14 | GTS2 82988-9 ID# 93182 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 2020-04-28 | 2021-04-28 | 551220083587361 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
15 | GTS2 82988-9 ID# 93183 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 2020-04-28 | 2021-04-28 | 551220083587371 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
16 | GTS2 82988-9 ID# 93184 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 2020-04-28 | 2021-04-28 | 551220083587377 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
17 | GTS2 82988-9 ID# 93246 12M WP72 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 2020-04-28 | 2021-04-28 | 551220083587385 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
18 | GTS2 82988-9 ID# 93181 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241[IZ-BK-BA-000] | 2020-04-29 | 2022-04-29 | 551220083588369 | Micro Precision Calibration PTE LTD | 2 Yearly | Waters consigned | Notify Waters paul on 30 Mar 2020 for calibration | GTS2
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on F14: Terng Buk Ngoh, Meryl: Replacement for 12M4070Z