## Waters project
CEI-FRM-QC-03-R01
CEI LIMITED
INSTRUMENT MASTER LIST
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment Owner | Customized Equipment | Customer ID | Customer | Location | Active
1 | 90221 | Keithley Source Measurement Unit | Keithley | 236 | 0782275 | 12 months | 2019-01-15 | 2020-01-31 | ESSCO Calibration Laboratory | N.A | NO | N.A | Waters | Milford | out for service
2 | 92239 | 6½ Digit VXI Multimeter ID#92239 12MO V019 | Racal Inc | 4152A | US38010180 | 12 months | 2019-03-26 | 2020-03-26 | Tra-Cal, LLC | N.A | NO | N.A | Waters | Milford | out for service
3 | 98205 | 3151 VX1 Waveform Generator ID#98205 V019 CEI | Racal Inc | 3151A+ | 0305800 | 12 months | 2019-03-26 | 2020-03-26 | Tra-Cal, LLC | N.A | NO | N.A | Waters | Milford | out for service
4 | 92241 12MO V019 | VX1 Counter Card | Racal Inc | 2461-CD | 1100 | 12 months | 2019-03-26 | 2020-03-26 | Tra-Cal, LLC | N.A | NO | N.A | Waters | Milford | out for service
5 |  | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
6 |  | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
7 |  | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
8 |  | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
9 |  | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | 12 months | 2019-08-16 | 2020-08-16 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
10 |  | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | 12 months | 2019-08-16 | 2020-08-16 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
11 |  | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | 12 months | 2019-08-16 | 2020-08-16 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
12 | 92222 12MO WP72 | Electronic Load | HP | 60502B | US37244128 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
13 | 92224 12MO WP72 | Electronic Load | HP | 60502B | US37244138 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
14 | 92225 12MO WP72 | Electronic Load | HP | 60502B | US37244141 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
15 |  | Tektronics 4-Channel Digitizing Oscilloscope | Tektronics | TDS460A | B071897 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
16 | 90246WP72 | Electronic Load | HP | 60502B | US37243391 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
17 | 90245WP72 | Electronic Load | HP | 60502B | US37244144 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
18 | 90242WP72 | Electronic Load | HP | 60502A | 3011A-01246 | 12 months | 2019-08-15 | 2020-08-15 | Tech systems Services & integration | N.A | NO | N.A | Waters | Waters Production | Y
19 |  | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | 12 months | 2019-08-22 | 2020-08-22 | Tektronix Southeast Asia Pte. Ltd | N.A | NO | N.A | Waters | Waters Production | Y
20 | 95168 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
21 | 95169 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
22 | 95153 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
23 | 95158 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
24 | 91745 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
25 | 91744 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
26 | 95176 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
27 | 95177 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
28 | 95173 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
29 | 95172 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
30 | 91746 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
31 | 91773 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 12 months | 2020-04-21 | 2021-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
32 | 95195 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 12 months | 2020-04-22 | 2021-04-22 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
33 | 95193 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 12 months | 2020-04-22 | 2021-04-22 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
34 | 95192 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 12 months | 2020-04-22 | 2021-04-22 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
35 | 95194 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 12 months | 2020-04-22 | 2021-04-22 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
36 | 93188 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
37 | 93244 12M WP72 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
38 | 93190 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
39 | 93168 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
40 | 93178 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
41 | 93179 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
42 | 93180 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
43 | 93245 12M WP72 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
44 | 93185 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
45 | 93189 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
46 | 93186 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
47 | 93187 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
48 | 93182 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
49 | 93183 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
50 | 93184 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
51 | 93246 12M WP72 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 12 months | 2020-04-28 | 2021-04-28 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
52 | 91743 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 002061-BH-BA-00 | 24 months | 2020-04-21 | 2022-04-21 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
53 | 11640241 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | IZ-BK-BA-000 | 24 months | 2020-04-29 | 2022-04-29 | Micro Precision Calibration PTE LTD | N.A | NO | N.A | Waters | Waters Production | Y
| Reviewed by : | Meryl | Date: | 2020-05-08
Formulas:
Due Date = EDATE([Calibration Date],12)
Note on F27: PTST: 3194 previously MY48002510
Note on F49: Terng Buk Ngoh, Meryl: Replacement for 12M4070Z