## Racal ship 13 Aug
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-04-22 | Current date: | 2020-04-08 09:30
Test Department |  |  |  |  | Update 10 FEB 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | Racal system Spare unit Tektronix not able to cal. Will sent to Paul D Milford in ship out from Batam 18 May2020 | Keithley Source Measurement Unit control number : 90221 | Keithley | 236 | 0782275 | 2019-01-15 | 2020-01-31 | 1809763 | ESSCO Calibration Laboratory | Yearly | Waters consigned | Will need Paul help arange ESSCO cal lab]--ship out on 18 May 2020 | Racal
2 | Racal system control No. 92239 | 6½ Digit VXI Multimeter ID#92239 12MO V019 | Racal Inc | 4152A | US38010180 | 2019-03-26 | 2020-03-26 | 2019000642 | Tra-Cal, LLC | Yearly | Waters consigned | Pending Paul D calibration return for replacement | Racal
3 | Racal system control No.98205 | 3151 VX1 Waveform Generator ID#98205 V019 CEI | Racal Inc | 3151A+ | 0305800 | 2019-03-26 | 2020-03-26 | 2019000643 | Tra-Cal, LLC | Yearly | Waters consigned | Pending Paul D calibration return for replacement
4 | Racal system 2461-CD control No. 2241 | VX1 Counter Card [ID#92241 12MO V019] | Racal Inc | 2461-CD | 1100 | 2019-03-26 | 2020-03-26 | 2019000641 | Tra-Cal, LLC | Yearly | Waters consigned | Pending Paul D calibration return for replacement
5 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | 2019-08-15 | 2020-08-15 | CEI / 2362 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
6 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | 2019-08-15 | 2020-08-15 | CEI / 2363 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
7 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | 2019-08-15 | 2020-08-15 | CEI / 2364 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
8 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | 2019-08-15 | 2020-08-15 | CEI / 2365 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
9 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | 2019-08-16 | 2020-08-16 | CEI / 2367 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
10 | Racal system | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | 2019-08-16 | 2020-08-16 | CEI / 2368 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
11 | Racal system | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | 2019-08-16 | 2020-08-16 | CEI / 2366 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
12 | Racal system ID# 92222 12MO WP72 | Electronic Load | HP | 60502B | US37244128 | 2019-08-15 | 2020-08-15 | CEI / 2374 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
13 | Racal system ID# 92224 12MO WP72 | Electronic Load | HP | 60502B | US37244138 | 2019-08-15 | 2020-08-15 | CEI / 2372 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
14 | Racal system ID#92225 12MO WP72 | Electronic Load | HP | 60502B | US37244141 | 2019-08-15 | 2020-08-15 | CEI / 2371 | Tech systems Services & integration | Yearly | Waters consigned |  | Racal
15 | Racal system | Tektronics 4-Channel Digitizing Oscilloscope | Tektronics | TDS460A | B071897 | 2019-08-15 | 2020-08-15 | CEI / 2375 | Tech systems Services & integration | yearly | Waters consigned |  | Racal
16 | Racal system ID# 90246WP72 | Electronic Load | HP | 60502B | US37243391 | 2019-08-15 | 2020-08-15 | CEI/2373 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
17 | Racal system ID#90245WP72 | Electronic Load | HP | 60502B | US37244144 | 2019-08-15 | 2020-08-15 | CEI/2369 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
18 | Racal system ID#90242WP72 | Electronic Load | HP | 60502A | 3011A-01246 | 2019-08-15 | 2020-08-15 | CEI/2370 | Tech systems Services & integration | Yearly | Replacement unit from Waters Paul |  | Racal
19 | Racal system | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | 2019-08-22 | 2020-08-22 | '0786386:20190822171221 | Tektronix Southeast Asia Pte. Ltd | yearly | Waters consigned |  | Racal
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Tektronix Southeast Asia Pte ltd | LA-1997-0124-C | 2016-01-01 | 2019-12-31 | ISO / IEC 17025: 2005
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Setsco Service Pte Ltd | LA_1993-0051-C | 2016-04-16 | 2020-04-15 | ISO / IEC 17025: 2005
|  | Bestlabs Singapore Pte Ltd | LA-2006-0358-C | 18 Dec'17 | 2020-09-14 | ISO / IEC 17025: 2005
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)

## GTS2 ship on 27 Apr
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-04-22 | Current date: | 2020-04-08 09:30
Test Department |  |  |  |  | Update 10 FEB 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | GTS2 82988-9 ID# 93188 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3258 | 2019-04-26 | 2020-04-26 | 551220082948260 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
2 | GTS2 ID# 93244 12M WP72 | 20MHz Function Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44052037 | 2019-04-26 | 2020-04-26 | 551220082948182 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
3 | GTS2 82988-9 ID# 93190 | NI Programmable DC Power supply Power SMU | National Instruments | PXI-4130 | 160B92C | 2019-04-26 | 2020-04-26 | 551220082948284 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
4 | GTS2 82988-9 ID# | DC Electronic Load Main Frame 8 Channel | Chroma | 6314A | 6314A0002902 | 2019-04-26 | 2020-04-26 |  | Micro Precision Calibration PTE LTD |  | Waters consigned |  | GTS2
5 | GTS2 82988-9 ID# 93168 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005460 | 2019-04-26 | 2020-04-26 | 551220082948194 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
6 | GTS2_ 82988-9 ID# 93178 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005457 | 2019-04-26 | 2020-04-26 | 551220082948199 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
7 | GTS2 82988-9 ID# 93179 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005485 | 2019-04-26 | 2020-04-26 | 551220082948210 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
8 | GTS2 82988-9 ID# 93180 | DC Electronic Load 6A/60A/80V 300W | Chroma | 63103A | 63103A005472 | 2019-04-26 | 2020-04-26 | 551220082948214 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
9 | GTS2 ID# 93245 12M WP72 | Agilent 61/2 Digit Multimeter | Agilent | 34411A | MY48003752 | 2019-04-26 | 2020-04-26 | 551220082948177 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
10 | GTS2 82988-9 ID# 93185 | Programmable DC Power supply | TDK Lambda | GENH60-12.5-LAN-U | 09M1038A | 2019-04-26 | 2020-04-26 | 551220082948318 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
11 | GTS2 82988-9 ID# 93189 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 17E3259 | 2019-04-26 | 2020-04-26 | 551220082948268 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
12 | GTS2 82988-9 ID# 93186 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4062Z | 2019-04-26 | 2020-04-26 | 551220082948329 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
13 | GTS2 82988-9 ID# 93187 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 12M4063Z | 2019-04-26 | 2020-04-26 | 551220082948336 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
14 | GTS2 82988-9 ID# 93182 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4064Z | 2019-04-26 | 2020-04-26 | 551220082948288 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
15 | GTS2 82988-9 ID# 93183 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4068Z | 2019-04-26 | 2020-04-26 | 551220082948301 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
16 | GTS2 82988-9 ID# 93184 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 12M4069Z | 2019-04-26 | 2020-04-26 | 551220082948310 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
17 | GTS2 82988-9 ID# 93246 12M WP72 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C012641 | 2019-04-26 | 2020-04-26 | 551220082948191 | Micro Precision Calibration PTE LTD | Yearly | Waters consigned |  | GTS2
18 | GTS2 82988-9 ID# 93181 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 11640241 | 2018-06-13 | 2020-06-30 | 1698752 | ESSCO cal. Lab | 2 Yearly | Waters consigned | Notify Waters paul on 30 Mar 2020 for calibration | GTS2
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Tektronix Southeast Asia Pte ltd | LA-1997-0124-C | 2016-01-01 | 2019-12-31 | ISO / IEC 17025: 2005
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Setsco Service Pte Ltd | LA_1993-0051-C | 2016-04-16 | 2020-04-15 | ISO / IEC 17025: 2005
|  | Bestlabs Singapore Pte Ltd | LA-2006-0358-C | 18 Dec'17 | 2020-09-14 | ISO / IEC 17025: 2005
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on F14: Terng Buk Ngoh, Meryl: Replacement for 12M4070Z

## GTS1 ship on 20 Apr
Calibration masterlist
P.T. SURYA TEKNOLOGI |  |  |  |  | Coordinator : Meryl | Trigger 2 weeks advance alert: | 2020-04-22 | Current date: | 2020-04-08 09:30
Test Department |  |  |  |  | Update 10 FEB 2020
S/N | Location | Description | Brand | Model | Serial Number | Date Calibrated | Calibration Due Date | Report Number | Calibrated By | Interval | Buy / consign | Remark [Trigger Packed for shipment date ]
1 | GTS1 95168 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | 2019-04-25 | 2020-04-25 | 551220082948272 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
2 | GTS1 95169 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | 2019-04-25 | 2020-04-25 | 551220082948264 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
3 | GTS1 95153 | 6½ DIGITAL MULTIMETER | Agilent Tech | 34411A | MY46000358 | 2019-04-25 | 2020-04-25 | 551220082948125 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
4 | GTS1 95158 | 4 CH 500MHz OSCILLOSCOPE | TEKTRONIX | TDS3054C | C011085 | 2019-04-25 | 2020-04-25 | 551220082948145 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
5 | GTS1 91745 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | 2019-04-25 | 2020-04-25 | 551220082948245 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
6 | GTS1 91744 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | 2019-04-25 | 2020-04-25 | 551220082948253 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
7 | GTS1 95176 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | 2019-04-25 | 2020-04-25 | 551220082948258 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
8 | GTS1 95177 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | 2019-04-25 | 2020-04-25 | 551220082948247 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
9 | GTS1 95173 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | 2019-04-25 | 2020-04-25 | 551220082948233 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
10 | GTS1 95172 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | 2019-04-25 | 2020-04-25 | 551220082948241 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
11 | GTS1 91773 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Tech | 33220A | MY44046858 | 2019-04-25 | 2020-04-25 | 551220082948107 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
12 | GTS1 95175 | DC ELECTRONIC LOAD MAINFRAME | CHROMA | 6314 | 63140009193 | 2019-04-25 | 2020-04-25 | Cal. With DC load | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
13 | GTS1 95195 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017022 | 2019-04-25 | 2020-04-25 | 551220082948140 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
14 | GTS1 95193 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017023 | 2019-04-25 | 2020-04-25 | 551220082948160 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
15 | GTS1 95194 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017030 | 2019-04-25 | 2020-04-25 | 551220082948153 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
16 | GTS1 95192 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | CHROMA | 63103 | 631030017042 | 2019-04-25 | 2020-04-25 | 551220082948168 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
17 | GTS1 91746 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | 2019-04-25 | 2020-04-25 | 551220082948239 | Micro Precision Calibration PTE LTD | yearly | Waters consigned |  | GTS1
18 | GTS1 91743 | PXI PROGRAMMABLE RESISTOR MODULE | GEOTEST | GX 1164-01 | 91743 [ 002061-BH-BA-00) | 2018-07-31 | 2020-07-31 | 1722755 | ESSCO cal. Lab | 2Yearly | Waters consigned |  | GTS1
Meryl
|  | Cal. Lab | ISO17025 Cert. No. | Date issue | Date expiry | Remarks
|  | Tektronix Southeast Asia Pte ltd | LA-1997-0124-C | 2016-01-01 | 2019-12-31 | ISO / IEC 17025: 2005
|  | Micro Precision Calibration PTE LTD | AC-1969.15 version 004 | 2018-10-06 | 2020-10-31 | ISO / IEC 17025: 2017
ANAB
|  | Setsco Service Pte Ltd | LA_1993-0051-C | 2016-04-16 | 2020-04-15 | ISO / IEC 17025: 2005
|  | Bestlabs Singapore Pte Ltd | LA-2006-0358-C | 18 Dec'17 | 2020-09-14 | ISO / IEC 17025: 2005
|  | Techsystem Services & Integration Asia Pte Ltd | LA-2000-0175-C | 2017-07-01 | 2021-06-30 | ISO / IEC 17025: 2005
|  | Tra-Cal, LLC |  |  |  | ISO / IEC 17025: 2005
|  | ESSCO CALIBRATION LABORATORY |  |  |  | ISO / IEC 17025: 2005
Formulas:
Calibration Due Date = EDATE([Date Calibrated],12)
Note on F7: PTST: 3194 previously MY48002510