## Pivot
| Q1 | Q1 | Q1 | Q2 | Q2 | Q2 | Q3 | Q3 | Q3 | Q4 | Q4 | Q4
Sum of Price Converted to USD | Column Labels
Row Labels | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Grand Total
CEI | Column Labels Mar: 475; Column Labels Apr: 73.5294 | 548.5294
Flex Kallang | 1284.26 | 926.53 | 965.9 | 1614.41 | 653.45 | 773.68 | 283.88 | 411.18 | 333.36 |  | 283.88 | 141.94 | 7672.47
Flex Senai | Column Labels Mar: 806.51; Column Labels Jul: 210.52; Column Labels Nov: 1024.5; Column Labels Dec: 1059.71 | 3101.24
Venture | Column Labels Jan: 718.4; Column Labels Mar: 816; Column Labels May: 256; Column Labels Jun: 144; Column Labels Jul: 368; Column Labels Sep: 720; Column Labels Nov: 496 | 3518.4
Venture PCBA | Column Labels Mar: 720; Column Labels Apr: 247.2; Column Labels May: 2125.6; Column Labels Jul: 3290; Column Labels Nov: 910 | 7292.8
Grand Total | 2002.66 | 926.53 | 3783.41 | 1935.1394 | 3035.05 | 917.68 | 4152.4 | 411.18 | 1053.36 |  | 2714.38 | 1201.65 | 22133.4394
| Q1 | Q2 | Q3 | Q4 | Total
CEI | Column Labels Jan: 475; Column Labels Feb: 73.5294; Column Labels Mar: 0; Column Labels Apr: 0; Column Labels May: 548.5294; Column Labels Jun: no additional support cost, no charge for internal calibration
Flex Kallang | Column Labels Jan: 3176.69; Column Labels Feb: 3041.54; Column Labels Mar: 1028.42; Column Labels Apr: 425.82; Column Labels May: 7672.47; Column Labels Jun: Ext cal - 10% support cost, int cal - 10% SG&A + 5% Profit
Flex Senai | Column Labels Jan: 806.51; Column Labels Feb: 0; Column Labels Mar: 210.52; Column Labels Apr: 2084.21; Column Labels May: 3101.24; Column Labels Jun: no additional support cost, no charge for internal calibration
Venture | Column Labels Jan: 1534.4; Column Labels Feb: 400; Column Labels Mar: 1088; Column Labels Apr: 496; Column Labels May: 3518.4; Column Labels Jun: 3870.24; Column Labels Jul: with 10% support cost, no charge for internal calibration
Venture PCBA | Column Labels Jan: 720; Column Labels Feb: 2372.8; Column Labels Mar: 3290; Column Labels Apr: 910; Column Labels May: 7292.8; Column Labels Jun: 8022.08; Column Labels Jul: with 10% support cost, no charge for internal calibration
| 5992.6 | 3515.0694 | 2326.94 | 3006.03 | 22133.4394

## Claim History
Venture Instrument | Q2 2018 | Q1 2018 | Q4 2017 | Q3 2017 | Total Annual | 2019 Budget
Summary | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$)
Subtotal Calibration Cost (Instrument) | 1144 | 983.84 | 545.6 | 1196.8 | 3870.24 | 26384
Miscellaneous Materials | 1919.9334 | 969.089 | 5489.847 | 6708.5436 | 15087.413
Others | 80 | 320 | 480 | 925.34 | 1805.34
Total | 3143.9334 | 2272.929 | 6515.447 | 8830.6836 | 20762.993 | 26384
Venture PCBA | Q2 2018 | Q1 2018 | Q4 2017 | Q3 2017 | Total Annual | 2019 Budget
Summary | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$)
Subtotal Calibration Cost (PCBA) | 2610.08 | 792 | 1001 | 3619 | 8022.08 | 8424
Total | 2610.08 | 792 | 1001 | 3619 | 8022.08 | 8424
Flex Instrument | 1H 2018 | 2H 2017 | Total Annual | 2019 Budget
Summary | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$)
Subtotal External Calibration Cost | 1957.6341 | 5019.8252 | 6977.4593 | 17432
Subtotal Internal Calibration Cost | 5126.5698 | 2593.1713 | 7719.7411
Spare Parts | 4115.6522 | 2878.8195 | 6994.4717
Others (Tooling, equipment repair etc) | 2938.4392 | 2430.5186 | 5368.9579
Total | 14138.2953 | 12922.3347 | 27060.63 | 17432
Flex PCBA | 1H 2018 | 2H 2017 | Total Annual | 2019 Budget
Summary | Amount (US$) | Amount (US$) | Amount (US$) | Amount (US$)
Senai Calibration | 806.5143 | 2294.7334 | 3101.2477 | 3256
Total | 806.5143 | 2294.7334 | 3101.2477 | 3256
CEI | 2017/18 | 2019 Budget
Summary | Amount (US$) | Amount (US$)
Subtotal Calibration Cost (Instrument) | 544.5255 | 831
Subtotal Calibration Cost (PCBA) | 7695.11 | 8030
Others
Total | 8239.6355 | 8861

## Combine
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Month | Vendor | Original Currency | Pricing in Original Currency | Price Converted to USD | Location
1a | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
1b | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2017-09-18 | 2018-03-18 | Sep | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
2 | 0207 | Column Heater | Waters | WAT091727 | M03CHM015R | 12 Months | 2018-04-03 | 2019-04-03 | Apr | Internal | USD | 33.34 | 33.34 | Flex Kallang
3 | 0208 | Column Heater | Waters | WAT091727 | E01CHM203R | 12 Months | 2018-04-03 | 2019-04-03 | Apr | Internal | USD | 33.34 | 33.34 | Flex Kallang
4 | 0209 | Column Heater | Waters | WAT091727 | D01CHM128R | 12 Months | 2018-02-14 | 2019-02-14 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
5 | 0210 | Column Heater | Waters | WAT091727 | K03CHM938R | 12 Months | 2018-02-14 | 2019-02-14 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
6 | 0211 | Column Heater | Waters | WAT091727 | B03CHM551R | 12 Months | 2018-02-14 | 2019-02-14 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
7 | 0212 | Column Heater | Waters | WAT091727 | F00CHM528R | 12 Months | 2018-02-14 | 2019-02-14 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
8 | 0213 | Column Heater | Waters | WAT091727 | F00CHM531R | 12 Months | 2018-02-13 | 2019-02-13 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
9a | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
9b | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2017-09-18 | 2018-03-18 | Sep | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
10a | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
10b | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2017-09-18 | 2018-03-18 | Sep | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
11a | 0218 | Electronic Weigh Balance | AND | HR200 | 12308385 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Internal | USD | 57.8285 | 57.83 | Flex Kallang
11b | 0218 | Electronic Weigh Balance | AND | HR200 | 12308385 | 06 Months | 2018-09-08 |  | Sep | Ming Deng | USD | 57.8285 |  | Flex Kallang
12 | 0219 | Temperature Control Module | Waters | WAT091728 | J99TCM867R | 12 Months | 2018-01-24 | 2019-01-24 | Jan | Internal | USD | 33.4 | 33.4 | Flex Kallang
13 | 0220 | Temperature Control Module | Waters | WAT091728 | MX5MM4884M | 12 Months | 2018-01-26 | 2019-01-26 | Jan | Internal | USD | 33.4 | 33.4 | Flex Kallang
14a | 0221 | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2018-05-24 | 2018-11-23 | May | Internal | USD | 141.94 | 141.94 | Flex Kallang
14b | 0221 | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2017-11-24 | 2018-05-31 | Nov | Internal | USD | 141.94 | 141.94 | Flex Kallang
15a | 0222 | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2018-05-24 | 2018-11-23 | May | Internal | USD | 141.94 | 141.94 | Flex Kallang
15b | 0222 | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2017-11-24 | 2018-05-31 | Nov | Internal | USD | 141.94 | 141.94 | Flex Kallang
16a | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2018-01-18 | 2018-07-18 | Jan | Internal | USD | 141.94 | 141.94 | Flex Kallang
16b | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2017-07-19 | 2018-01-19 | Jul | Internal | USD | 141.94 | 141.94 | Flex Kallang
17a | 0224 | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2018-06-01 | 2018-12-01 | Jun | Internal | USD | 141.94 | 141.94 | Flex Kallang
17b | 0224 | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2017-12-02 | 2018-06-09 | Dec | Internal | USD | 141.94 | 141.94 | Flex Kallang
18a | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2018-01-18 | 2018-07-18 | Jan | Internal | USD | 141.94 | 141.94 | Flex Kallang
18b | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2017-07-19 | 2018-01-19 | Jul | Internal | USD | 141.94 | 141.94 | Flex Kallang
19a | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
19b | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2017-09-18 | 2018-03-18 | Sep | Ming Deng | SGD | 72 |  | Flex Kallang
20 | 0228 | Temperature Control Module | Waters | WAT091728 | H01TCM643M | 12 Months | 2018-01-23 | 2019-01-23 | Jan | Internal | USD | 33.4 | 33.4 | Flex Kallang
21 | 0230 | Temperature Control Module | Waters | WAT091728 | G01TCM633M | 12 Months | 2018-01-24 | 2019-01-24 | Jan | Internal | USD | 33.4 | 33.4 | Flex Kallang
22 | 0231 | Temperature Control Module | Waters | WAT091728 | MX4MM6882M | 12 Months | 2018-04-03 | 2019-04-03 | Apr | Internal | USD | 33.4 | 33.4 | Flex Kallang
23 | 0232 | Temperature Control Module | Waters | WAT091728 | MX5DM2250R | 12 Months | 2018-04-03 | 2019-04-03 | Apr | Internal | USD | 33.4 | 33.4 | Flex Kallang
24 | 0233 | Column Heater | Waters | WAT038040 | H01CHM352M | 12 Months | 2018-02-13 | 2019-02-13 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
25 | 0234 | Column Heater | Waters | WAT038040 | M00CHM910M | 12 Months | 2018-02-13 | 2019-02-13 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
26 | 0235 | Column Heater | Waters | WAT038040 | H01CHM335M | 12 Months | 2018-02-13 | 2019-02-13 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
27 | 0236 | Column Heater | Waters | WAT038040 | MX6JM7863M | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
28 | 0237 | Column Heater | Waters | WAT038040 | L97CHM711M | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
29 | 0238 | Column Heater | Waters | WAT038040 | MX6KM9444M | 12 Months | 2018-04-02 | 2019-04-02 | Apr | Internal | USD | 33.34 | 33.34 | Flex Kallang
30 | 0239 | Column Heater | Waters | WAT038040 | MX5MM5993M | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
31 | 0244 | Column Heater | Waters | WAT038040 | MX6JM7867M | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 33.34 | 33.34 | Flex Kallang
32 | 0245 | Digital Multimeter | Fluke | 110 | 85730619 | 12 Months | 2018-01-05 | 2019-01-05 | Jan | TSIA | SGD | 72 | 53.7 | Flex Kallang
33 | 0246 | Digital Multimeter | Fluke | 179 | 90240092 | 12 Months | 2018-01-31 | 2019-01-31 | Jan | TSIA | SGD | 72 | 53.7 | Flex Kallang
34 | *** 0249 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | 12 Months | 2018-01-10 | 2019-01-10 | Jan | Micro Precision | SGD | 300 | 223.76 | Flex Kallang
35a | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2018-03-02 | 2018-09-02 | Mar | Internal | USD | 141.94 | 141.94 | Flex Kallang
35b | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2018-09-02 |  | Sep | Internal | USD | 141.94 |  | Flex Kallang | New equipment
36a | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
36b | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2017-09-18 | 2018-03-18 | Sep | Ming Deng | USD | 53.7033 |  | Flex Kallang
37 | 0311 | Temperature Control Module | Waters | WAT091728 | E97TCM153R | 12 Months | 2018-01-24 | 2019-01-24 | Jan | Internal | USD | 33.4 | 33.4 | Flex Kallang
38 | 0431 | Picoammeter | Keithley | 485 | 435110 | 12 Months | 2018-03-28 | 2019-03-28 | Mar | Keysight Technologies | SGD | 270 | 201.39 | Flex Kallang
39 | 0458 | Auto Pressure (Flowcell Tester) | Waters | NA | TE-82475-2 | 12 Months | 2018-04-11 | 2019-04-11 | Apr | Internal | USD | 141.94 | 141.94 | Flex Kallang
40a | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
40b | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
41a | 0498 | Electronic Weigh Balance | AND | HR200 | 12326300 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
41b | 0498 | Electronic Weigh Balance | AND | HR200 | 12326300 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
42a | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
42b | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
43a | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
43b | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 |  | Flex Kallang
44a | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
44b | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
45a | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
45b | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
46a | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
46b | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
47a | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2018-01-15 | 2018-07-15 | Jan | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
47b | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2017-08-08 | 2018-02-08 | Aug | Ming Deng | SGD | 80 | 58.74 | Flex Kallang
48a | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 64 | 47.74 | Flex Kallang
47b | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2018-09-08 |  | Sep | Ming Deng | SGD | 72 | 52.87 | Flex Kallang
49a | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2018-03-02 | 2018-09-02 | Mar | Ming Deng | SGD | 32 | 23.87 | Flex Kallang
49b | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2018-09-02 |  | Sep | Ming Deng | SGD | 40 | 29.37 | Flex Kallang
50a | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2018-03-01 | 2018-09-01 | Mar | Ming Deng | SGD | 24 | 17.9 | Flex Kallang
50b | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2018-09-01 |  | Sep | Ming Deng | SGD | 30 | 22.03 | Flex Kallang
51 | 0631 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-18 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
52 | 0632 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-17 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
53 | 0633 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-16 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
54 | 0634 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-15 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
55 | 0635 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-14 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
56 | 0636 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-13 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
57 | 0637 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-12 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
58 | 0638 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-11 | 12 Months | 2018-01-07 | 2019-01-07 | Jan | Internal | USD | 15.79 | 15.79 | Flex Kallang
59 | 0670 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT364A | 12 Months | 2018-03-02 | 2019-03-02 | Mar | Internal | USD | 105.29 | 105.29 | Flex Kallang
60 | 0671 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT361A | 12 Months | 2018-05-04 | 2019-05-04 | May | Internal | USD | 105.29 | 105.29 | Flex Kallang
61 | 0672 | Dual Wavelength Detector | Waters | TUV Detector | K09UPT215A | 12 Months | 2018-05-03 | 2019-05-03 | May | Internal | USD | 105.29 | 105.29 | Flex Kallang
62 | 0673 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT362A | 12 Months | 2018-04-20 | 2019-04-20 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
63 | 0674 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT363A | 12 Months | 2018-04-21 | 2019-04-21 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
64 | 0675 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT360A | 12 Months | 2018-05-04 | 2019-05-04 | May | Internal | USD | 105.29 | 105.29 | Flex Kallang
65 | 0676 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT359A | 12 Months | 2018-04-21 | 2019-04-21 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
66 | 0677 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT366A | 12 Months | 2018-04-21 | 2019-04-21 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
67a | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2018-03-08 | 2018-09-08 | Mar | Ming Deng | SGD | 64 | 47.74 | Flex Kallang
67b | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2017-09-20 | 2018-03-20 | Sep | Ming Deng | SGD | 72 | 52.87 | Flex Kallang
68 | 1109 | Dual Wavelength Detector | Waters | TUV Detector | K05UPT479M | 12 Months | 2018-02-05 | 2019-02-05 | Feb | Internal | USD | 105.29 | 105.29 | Flex Kallang
69 | 1429 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E759A | 12 Months | 2018-04-10 | 2019-04-10 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
70 | 1430 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E763A | 12 Months | 2018-04-11 | 2019-04-11 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
71 | 1431 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E765A | 12 Months | 2018-04-12 | 2019-04-12 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
72 | 1432 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E766A | 12 Months | 2018-04-06 | 2019-04-06 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
73 | 1433 | 2489 UV / Visible Detector | Waters | 186248900 | C1387E135M | 12 Months | 2018-04-12 | 2019-04-12 | Apr | Internal | USD | 105.29 | 105.29 | Flex Kallang
74 | 1515 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E607A | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 105.29 | 105.29 | Flex Kallang
75 | 1516 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E608A | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 105.29 | 105.29 | Flex Kallang
76 | 1519 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E609A | 12 Months | 2018-02-15 | 2019-02-15 | Feb | Internal | USD | 105.29 | 105.29 | Flex Kallang
77 | 1520 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E610A | 12 Months | 2018-02-20 | 2019-02-20 | Feb | Internal | USD | 105.29 | 105.29 | Flex Kallang
78 | 1394 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2018-06-13 | 2019-06-13 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
79 | 1396 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2018-06-28 | 2019-06-28 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
80 | 1399 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2018-06-12 | 2019-06-12 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
81 | 1400 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2018-06-12 | 2019-06-12 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
82 | 1401 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2018-06-13 | 2019-06-13 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
83 | 1404 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2018-06-21 | 2019-06-21 | Jun | Internal | USD | 105.29 | 105.29 | Flex Kallang
84a | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2018-05-15 | 2018-11-15 | May | Ming Deng | SGD | 72 | 53.7 | Flex Kallang
84b | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2017-12-08 | 2018-06-08 | Dec | Ming Deng | USD | 53.7033 |  | Flex Kallang
85 | 2094 | Load Box | Chroma | S14-03 | 14354695 | 12 Months | 2018-04-18 | 2019-04-18 | Apr | Bestlabs | SGD | 120 | 89.51 | Flex Kallang
86 | 2095 | Load Box | Chroma | S14-03 | 14354681 | 12 Months | 2018-04-18 | 2019-04-18 | Apr | Bestlabs | SGD | 120 | 89.51 | Flex Kallang
87 | 2096 | Load Box | Chroma | S14-03 | 14354691 | 12 Months | 2018-04-26 | 2019-04-26 | Apr | Bestlabs | SGD | 120 | 89.51 | Flex Kallang
88 | 2097 | Load Box | Chroma | S14-03 | 7322788 | 12 Months | 2018-04-25 | 2019-04-25 | Apr | Bestlabs | SGD | 120 | 89.51 | Flex Kallang
89 | S0168 | Universal Front End Tester | Keithley | 236 | 704826 | 12 Months | 2017-07-22 | 2018-07-22 | Jul | Keysight Technologies | MYR | 858.93 | 210.52 | Flex Senai
90 | S0169 | Universal Front End Tester | Keithley |  | 796741 | 12 Months | 2018-05-22 | 2019-05-22 | Mar | Tektronix | MYR | 1279.33 | 321.44 | Flex Senai
91 | S0170 | Universal Front End Tester | National Instrument |  | 1347EFD | 12 Months | 2018-03-27 | 2019-03-27 | Mar | ST Electronics | SGD | 650 | 485.07 | Flex Senai
92 | S0171 | PIC Charge Amp Tester | National Instrument |  | 130A201 | 12 Months | 2018-03-02 | 2019-03-02 | Mar | Internal | - | 0 | 0 | Flex Senai
93 | S0199 | Power SMU | National instrument | PXI4130 | 1459564 | 12 Months | 2017-12-07 | 2018-12-07 | Dec | ST Electronics | SGD | 560 | 417.91 | Flex Senai
94 | S0200 | M Series Multifunction DAQ | National Instrument | PXI6229 | 145DF2F | 12 Months | 2017-12-06 | 2018-12-06 | Dec | ST Electronics | SGD | 430 | 320.9 | Flex Senai
95 | S0201 | M Series Multifunction DAQ | National Instrument | PXI6229 | 145DF16 | 12 Months | 2017-12-06 | 2018-12-06 | Dec | ST Electronics | SGD | 430 | 320.9 | Flex Senai
96 | S0202 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 528 | 129.41 | Flex Senai
97 | S0203 | Function / Arbitrary Waveform Generator | Agilent | 33220A | MY44043984 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 528 | 129.41 | Flex Senai
98 | S0204 | Digital Multimeter | Agilent | 34411A | MY48002718 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 484 | 118.63 | Flex Senai
99 | S0205 | Mainframe / Electronic Load Module | Chroma | 6314/03103/63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 1320 | 323.53 | Flex Senai
100 | S0206 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
101 | S0207 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | 12 Months | 2017-11-19 | 2018-11-19 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
102 | S0208 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | 12 Months | 2017-11-20 | 2018-11-20 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
103 | S0209 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | 12 Months | 2017-11-20 | 2018-11-20 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
104 | S0210 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | 12 Months | 2017-11-20 | 2018-11-20 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
104 | S0211 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | 12 Months | 2017-11-20 | 2018-11-20 | Nov | SST | MYR | 220 | 53.92 | Flex Senai
105 | IQC-16GC0010 | Light Box | X-Rite | JUDGE II | C61093251217 | 12 Months | 2018-09-05 | 2019-09-05 | Sep | RVC International | SGD | 900 | 720 | Venture
106a | W1-16GC0002 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12335004 (93371) | 06 Months | 2018-05-22 | 2018-11-22 | May | Ming Deng | SGD | 80 | 64 | Venture
106b | W1-16GC0002 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12335004 (93371) | 06 Months | 2017-11-29 | 2018-05-29 | Nov | Micro Precision | SGD | 80 | 64 | Venture
107a | W1-16GC0005 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333739 (93373) | 06 Months | 2018-05-22 | 2018-11-22 | May | Ming Deng | SGD | 80 | 64 | Venture
107b | W1-16GC0005 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333739 (93373) | 06 Months | 2017-11-29 | 2018-05-29 | Nov | Micro Precision | SGD | 80 | 64 | Venture
108a | W1-16GC0008 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333783 (93372) | 06 Months | 2018-05-22 | 2018-11-22 | May | Ming Deng | SGD | 80 | 64 | Venture
108b | W1-16GC0008 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333783 (93372) | 06 Months | 2017-11-29 | 2018-05-29 | Nov | Micro Precision | SGD | 80 | 64 | Venture
109a | W1-16GC0011 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333730 (93370) | 06 Months | 2018-05-22 | 2018-11-22 | May | Ming Deng | SGD | 80 | 64 | Venture
109b | W1-16GC0011 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333730 (93370) | 06 Months | 2017-11-29 | 2018-05-29 | Nov | Micro Precision | SGD | 80 | 64 | Venture
110a | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | 06 Months | 2018-01-02 | 2018-07-02 | Jan | Ming Deng | SGD | 80 | 64 | Venture
110b | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | 06 Months | 2018-07-18 | 2019-01-18 | Jul | Micro Precision | SGD | 80 | 64 | Venture
111 | W1-16GC0016 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | 12 Months | 2018-03-23 | 2019-03-23 | Mar | SGS | SGD | 220 | 176 | Venture
112 | W1-16GC0017 | Digital Process Indicators | CHROMA | DP81R-SER-DC2 | 09030136 | 12 Months | 2018-01-02 | 2019-01-02 | Jan | SGS | SGD | 438 | 350.4 | Venture
113 | W1-16GC0018 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | 12 Months | 2018-06-01 | 2019-06-01 | Jun | Caltek | SGD | 180 | 144 | Venture
114 | W1-16GC0020 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 240 | 240 | Venture
115 | W1-16GC0021 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | 12 Months | 2017-11-15 | 2018-11-15 | Nov | Micro Precision | USD | 240 | 240 | Venture
116 | W1-16GC0022 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | 12 Months | 2018-01-18 | 2019-01-18 | Jan | Micro Precision | USD | 240 | 240 | Venture
117 | W1-16GC0023 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | 12 Months | 2018-03-14 | 2019-03-14 | Mar | Micro Precision | USD | 240 | 240 | Venture
118a | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | 06 Months | 2018-01-02 | 2018-07-02 | Jan | Ming Deng | SGD | 80 | 64 | Venture
118b | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | 06 Months | 2018-07-18 | 2019-01-18 | Jul | Micro Precision | SGD | 80 | 64 | Venture
119 | W1-16GC0087 | Load Box | CHROMA | S14-03 | 7322783 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | Bestlabs | SGD | 100 | 80 | Venture
120 | W1-16GC0088 | Load Box | CHROMA | S14-03 | 7322786 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | Bestlabs | SGD | 100 | 80 | Venture
121 | W1-16GC0089 | Load Box | CHROMA | S14-03 | 14354687 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | Bestlabs | SGD | 100 | 80 | Venture
122 | W1-16GC0090 | Load Box | CHROMA | S14-03 | 14354682 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | Bestlabs | SGD | 100 | 80 | Venture
123 | W1-16GC0091 | Load Box | CHROMA | S14-03 | 14354698 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | Bestlabs | SGD | 100 | 80 | Venture
124 | W1-17GC0122 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | 12 Months | 2018-08-31 | 2019-08-31 | Aug | Seaward Electronic | USD | 432 |  | Venture | New equipment
125 | PWAT-18GC0046 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | MY48003234 | 12 Months | 2017-10-25 | 2018-10-25 | Oct | Servicecal | USD | 144 |  | Venture PCBA | New equipment
126 | PWAT-18GC0047 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44015802 | 12 Months | 2018-07-12 | 2019-07-12 | Jul | Servicecal | USD | 250 |  | Venture PCBA | New equipment
127 | PWAT-18GC0048 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS3054C | C020604 | 19 Months | 2017-05-09 | 2018-12-19 | Dec | Tektronix | USD | 200 |  | Venture PCBA | New equipment
128 | PWAT-16GC0002 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01907 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
129 | PWAT-16GC0003 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01876 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
130 | PWAT-16GC0004 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01587 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
131 | PWAT-16GC0005 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A02210 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
132 | PWAT-16GC0006 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01795 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
133 | PWAT-16GC0007 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A00920 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 141.5 | 113.2 | Venture PCBA
134 | PWAT-16GC0014 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213251 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
135 | PWAT-16GC0015 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213252 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
136 | PWAT-16GC0016 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213090 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
137 | PWAT-16GC0017 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213209 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
138 | PWAT-16GC0018 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02477 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
139 | PWAT-16GC0019 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213216 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
140 | PWAT-16GC0020 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02507 | 12 Months | 2018-05-03 | 2019-05-03 | May | Micro Precision | SGD | 170 | 136 | Venture PCBA
141 | PWAT-16GC0024 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | 12 Months | 2018-04-12 | 2019-04-12 | Apr | Keysight Technologies | SGD | 309 | 247.2 | Venture PCBA
142 | PWAT-16GC0025 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | 12 Months | 2018-03-19 | 2019-03-19 | Mar | Keysight Technologies | SGD | 450 | 360 | Venture PCBA
143 | PWAT-16GC0034 | Oscillascope | Textronix | TDS460A | B060926 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 350 | 350 | Venture PCBA
144 | PWAT-16GC0039 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | 12 Months | 2017-11-17 | 2018-11-17 | Nov | Micro Precision | USD | 360 | 360 | Venture PCBA
145 | PWAT-16GC0041 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | 12 Months | 2017-11-17 | 2018-11-17 | Nov | Micro Precision | USD | 300 |  | Venture PCBA
146 | PWAT-16GC0042 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 480 | 480 | Venture PCBA
147 | PWAT-16GC0008 | DC Power Supply | TDK-Lambda | GENH30-25 | 95166 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
148 | PWAT-16GC0009 | DC Power Supply | TDK-LAMBDA | GENH60-12.5 | 95170 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
149 | PWAT-16GC0010 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95165 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
150 | PWAT-16GC0011 | DC Power Supply | TDK-Lambda | GENH30-25 | 95167 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
151 | PWAT-16GC0012 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95164 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
152 | PWAT-16GC0013 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95171 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 160 | 160 | Venture PCBA
153 | PWAT-16GC0021 | Digital Phosphor Oscilloscope | Tektronix | TDS 3054C | C011477 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 200 | 200 | Venture PCBA
154 | PWAT-16GC0022 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 240 | 240 | Venture PCBA
155 | PWAT-16GC0023 | Function/Arbitrary Waveform Generator | Agilent | 33220A | MY44044085/95154 | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 250 | 250 | Venture PCBA
156 | PWAT-16GC0030 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 270 | 270 | Venture PCBA
157 | PWAT-16GC0031 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 270 | 270 | Venture PCBA
158 | PWAT-16GC0033 | Multimeter | Agilent | 34411A | MY53002751/95155 | 12 Months | 2017-09-25 | 2018-09-25 | Sep | Micro Precision | USD | 144 |  | Venture PCBA
159 | PWAT-16GC0036 | POWER SMU | NATIONAL INSTRUMENTS | PXI4130 | 145025B | 12 Months | 2018-07-30 | 2019-07-30 | Jul | Micro Precision | USD | 270 | 270 | Venture PCBA
160 | PWAT-16GC0035 | PCI 6025E | National Instruments | 6025E | C57A10 | 12 Months | 2017-11-17 | 2018-11-17 | Nov | Micro Precision | USD | 250 | 250 | Venture PCBA
161 | PWAT-16GC0026 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | 12 Months | 2018-03-19 | 2019-03-19 | Mar | Keysight Technologies | SGD | 450 | 360 | Venture PCBA
162 | PWAT-16GC0029 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | 12 Months | 2018-05-06 | 2019-05-06 | May | Keysight Technologies | SGD | 309 | 247.2 | Venture PCBA
163 | PWAT-16GC0027 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | 12 Months | 2018-05-17 | 2019-05-17 | May | Keysight Technologies | SGD | 309 | 247.2 | Venture PCBA
164 | PWAT-16GC0028 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | 12 Months | 2018-06-07 | 2019-06-07 | Jun | Keysight Technologies | SGD | 450 |  | Venture PCBA | Not in use?
165 | PWAT-16GC0040 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | 12 Months | 2017-11-17 | 2018-11-17 | Nov | Micro Precision | USD | 300 | 300 | Venture PCBA | Spare unit, not in use
166 | PWAT-16GC0038 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | 12 Months | 2015-12-02 | 2016-12-02 | Dec | Micro Precision | USD | 360 |  | Venture PCBA | Spare unit, not in use
167 | PWAT-16GC0043 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | 12 Months | 2015-08-21 | 2016-08-21 | Aug | Micro Precision | USD | 480 |  | Venture PCBA | Spare unit, not in use
168 | 19032G400225 | Electrical Satety Analyzer Chroma) |  | 19032 | 19032G400225 | 12 Months | 2018-03-13 | 2019-03-13 | Mar | SGS | SGD | 646 | 475 | CEI
170 | 14354696 | Load Box (Chroma) |  | S14-03 | 14354696 | 12 Months | 2018-04-06 | 2019-04-06 | Apr | Bestlabs | SGD | 100 | 73.5294 | CEI
169 | - | Shutter Tester |  | TE82869-2 | - | 12 Months | 2018-04-02 | 2019-04-02 | Apr | CEI Internal | - | 0 | 0 | CEI
22133.4394

## CEI Original
CEI LIMITED
INSTRUMENT MASTER LIST 2018
INSTRUMENT | Model | INSTRUMENT SERIAL NO | LOCATION | LAST CALIBRATION DATE | NEXT CALIBRATION DATE | CALIBRATION FREQUENCY (1 Year unless otherwise specified) | RANGE | CALIBRATION LAB - Cert no. | Calibration Cost
Electrical Satety Analyzer (Chroma) | 19032 | 19032G400225 | MFG | 2018-03-13 | 2019-03-13 | 1 | Ground Bond 25Amp, 100mOhm. DC Hipot 2.4kV, 5mA. | SGS Industrial Report No : 10443901 /1.1 | SGD 646
Shutter Tester | TE82869-2 | - | MFG | 2018-04-02 | 2019-04-02 | 1 | Home Air Connector 76 PSI ± 10 | Internal Calibration CEI | -
Load Box (Chroma) | S14-03 | 14354696 | MFG | 2018-04-06 | 2019-04-06 | 1 | Multirange | BESTLABS BLE1809188-1 | SGD 100
Prepared by : Anthony Chua | Date : 03 Sep 2018
Reviewed by : Vivian Lee | Date : 03 Sep 2018
CEI LIMITED
INSTRUMENT MASTER LIST 2017
INSTRUMENT Brand | Model | INSTRUMENT SERIAL NO | LOCATION | LAST CALIBRATION DATE | NEXT CALIBRATION DATE | CALIBRATION FREQUENCY (1 year unless otherwise specified) | RANGE | CALIBRATION LAB - Cert no. | Calibration Cost
Electrical Satety Analyzer (Chroma) | 19032 | 19032G400225 | MFG | 2017-03-17 | 2018-03-17 | 1 | Ground Bond 25Amp, 100mOhm. DC Hipot 2.4kV, 5mA. | SGS Industrial Report No : 10419750 /1.1A | SGD 864
Shutter Tester | TE82869-2 | - | MFG | 2017-04-03 | 2018-04-03 | 1 | Home Air Connector 76 PSI ± 10 | Internal Calibration CEI WA-CM440-735002758-2017
Load Box(Chroma) | S14-03 | 14354696 | MFG | 2017-03-09 | 2018-03-09 | 1 | Multirange | BS TECH BE-174320 | SGD 100
Prepared & Reviewed by : Vivian Lee
Date: 13 Apr 2017

## Flex Kallang Original
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active | Price USD
1 | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90891 | Waters | Waters - Production | Y | 53.7033
2 | 0207 | Column Heater | Waters | WAT091727 | M03CHM015R | 12 Months | 2018-04-03 | 2019-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81008 | Waters | Waters 5th Floor | Y | 33.34
3 | 0208 | Column Heater | Waters | WAT091727 | E01CHM203R | 12 Months | 2018-04-03 | 2019-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81009 | Waters | Waters 5th Floor | Y | 33.34
4 | 0209 | Column Heater | Waters | WAT091727 | D01CHM128R | 12 Months | 2018-02-14 | 2019-02-14 | Internal | Joel Mamalateo Deduyo | Y | 81010 | Waters | Waters - Production | Y | 33.34
5 | 0210 | Column Heater | Waters | WAT091727 | K03CHM938R | 12 Months | 2018-02-14 | 2019-02-14 | Internal | Joel Mamalateo Deduyo | Y | 81011 | Waters | Waters - Production | Y | 33.34
6 | 0211 | Column Heater | Waters | WAT091727 | B03CHM551R | 12 Months | 2018-02-14 | 2019-02-14 | Internal | Joel Mamalateo Deduyo | Y | 81012 | Waters | Waters - Production | Y | 33.34
7 | 0212 | Column Heater | Waters | WAT091727 | F00CHM528R | 12 Months | 2018-02-14 | 2019-02-14 | Internal | Joel Mamalateo Deduyo | Y | 81013 | Waters | Waters - Production | Y | 33.34
8 | 0213 | Column Heater | Waters | WAT091727 | F00CHM531R | 12 Months | 2018-02-13 | 2019-02-13 | Internal | Joel Mamalateo Deduyo | Y | 81014 | Waters | Waters - Production | Y | 33.34
9 | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90038 | Waters | Waters - Production | Y | 53.7033
10 | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90018 | Waters | Waters - Production | Y | 53.7033
11 | 0218 | Electronic Weigh Balance | AND | HR200 | 12308385 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90273 | Waters | Waters - Production | Y | 57.8285
12 | 0219 | Temperature Control Module | Waters | WAT091728 | J99TCM867R | 12 Months | 2018-01-24 | 2019-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81024 | Waters | Waters 5th Floor | Y | 33.4
13 | 0220 | Temperature Control Module | Waters | WAT091728 | MX5MM4884M | 12 Months | 2018-01-26 | 2019-01-26 | Internal | Joel Mamalateo Deduyo | Y | 81030 | Waters | Waters 5th Floor | Y | 33.4
14 | 0221 | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2018-05-22 | 2018-11-22 | Internal | Joel Mamalateo Deduyo | Y | TE82705-2 | Waters | Waters - Production | Y | 141.94
15 | 0222 | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2018-05-22 | 2018-11-22 | Internal | Joel Mamalateo Deduyo | Y | TE82534 | Waters | 5th Floor | Y | 141.94
16 | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2018-01-18 | 2018-07-18 | Internal | Joel Mamalateo Deduyo | Y | TE82625-1 | Waters | Waters - Production | Y | 141.94
17 | 0224 | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2018-06-01 | 2018-12-01 | Internal | Joel Mamalateo Deduyo | Y | TE82519 | Waters | 5th Floor | Y | 141.94
18 | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2018-01-18 | 2018-07-18 | Internal | Joel Mamalateo Deduyo | Y | TE82503-4 | Waters | Waters - Production | Y | 141.94
19 | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90913 | Waters | Waters - Production | Y | 53.7033
20 | 0228 | Temperature Control Module | Waters | WAT091728 | H01TCM643M | 12 Months | 2018-01-23 | 2019-01-23 | Internal | Joel Mamalateo Deduyo | Y | 81029 | Waters | Waters 5th Floor | Y | 33.4
21 | 0230 | Temperature Control Module | Waters | WAT091728 | G01TCM633M | 12 Months | 2018-01-24 | 2019-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81026 | Waters | Waters 5th Floor | Y | 33.4
22 | 0231 | Temperature Control Module | Waters | WAT091728 | MX4MM6882M | 12 Months | 2018-04-03 | 2019-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81027 | Waters | Waters 5th Floor | Y | 33.4
23 | 0232 | Temperature Control Module | Waters | WAT091728 | MX5DM2250R | 12 Months | 2018-04-03 | 2019-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81028 | Waters | Waters 5th Floor | Y | 33.4
24 | 0233 | Column Heater | Waters | WAT038040 | H01CHM352M | 12 Months | 2018-02-13 | 2019-02-13 | Internal | Joel Mamalateo Deduyo | Y | 81020 | Waters | Waters - Production | Y | 33.34
25 | 0234 | Column Heater | Waters | WAT038040 | M00CHM910M | 12 Months | 2018-02-13 | 2019-02-13 | Internal | Joel Mamalateo Deduyo | Y | 81021 | Waters | Waters - Production | Y | 33.34
26 | 0235 | Column Heater | Waters | WAT038040 | H01CHM335M | 12 Months | 2018-02-13 | 2019-02-13 | Internal | Joel Mamalateo Deduyo | Y | 81022 | Waters | Waters - Production | Y | 33.34
27 | 0236 | Column Heater | Waters | WAT038040 | MX6JM7863M | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | 81018 | Waters | Waters - Production | Y | 33.34
28 | 0237 | Column Heater | Waters | WAT038040 | L97CHM711M | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | 81019 | Waters | Waters 5th Floor | Y | 33.34
29 | 0238 | Column Heater | Waters | WAT038040 | MX6KM9444M | 12 Months | 2018-04-02 | 2019-04-02 | Internal | Joel Mamalateo Deduyo | Y | 81017 | Waters | Waters 5th Floor | Y | 33.34
30 | 0239 | Column Heater | Waters | WAT038040 | MX5MM5993M | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | 81023 | Waters | Waters - Production | Y | 33.34
31 | 0244 | Column Heater | Waters | WAT038040 | MX6JM7867M | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | 81016 | Waters | Waters - Production | Y | 33.34
32 | 0245 | Digital Multimeter | Fluke | 110 | 85730619 | 12 Months | 2018-01-05 | 2019-01-05 | TSIA | Joel Mamalateo Deduyo | N | 96263 | Waters | Waters - Production | Y | 53.7033
33 | 0246 | Digital Multimeter | Fluke | 179 | 90240092 | 12 Months | 2018-01-31 | 2019-01-31 | TSIA | Joel Mamalateo Deduyo | N | 91368 | Waters | Waters - Production | Y | 53.7033
34 | *** 0249 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | 12 Months | 2018-01-10 | 2019-01-10 | Micro Precision | Joel Mamalateo Deduyo | N | 95037 | Waters | Waters 5th Floor | Y | 223.7637
35 | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2018-03-02 | 2018-09-02 | Internal | Joel Mamalateo Deduyo | Y | TE82503-05 | Waters | Waters - Production | Y | 141.94
36 | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 95206 | Waters | Waters - Production | Y | 53.7033
37 | 0311 | Temperature Control Module | Waters | WAT091728 | E97TCM153R | 12 Months | 2018-01-24 | 2019-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81033 | Waters | 5th Floor | Y | 33.4
38 | 0431 | Picoammeter | Keithley | 485 | 435110 | 12 Months | 2018-03-28 | 2019-03-28 | Keysight Technologies | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y | 201.3873
39 | 0458 | Auto Pressure (Flowcell Tester) | Waters | NA | TE-82475-2 | 12 Months | 2018-04-11 | 2019-04-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | 5th Floor | Y | 141.94
40 | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90610 | Waters | Waters - Production | Y | 53.7033
41 | 0498 | Electronic Weigh Balance | AND | HR200 | 12326300 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90606 | Waters | Waters - Production | Y | 53.7033
42 | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90605 | Waters | Waters - Production | Y | 53.7033
43 | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Joel Mamalateo Deduyo | N | 90608 | Waters | Waters - Production | Y | 53.7033
44 | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90604 | Waters (1500 Pump) | Waters - Production | Y | 53.7033
45 | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90603 | Waters | Waters - Production | Y | 53.7033
46 | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90600 | Waters | Waters - Production | Y | 53.7033
47 | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2018-01-15 | 2018-07-15 | Ming Deng | Joel Mamalateo Deduyo | N | 90607 | Waters | Waters - Production | Y | 53.7033
48 | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Phani | N | NA | Waters | 5th Floor | Y | 47.7363
49 | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2018-03-02 | 2018-09-02 | Ming Deng | Phani | N | NA | Waters | Waters - Production | Y | 23.8681
50 | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2018-03-01 | 2018-09-01 | Ming Deng | Phani | N | NA | Waters | Waters - Production | Y | 17.9011
51 | 0631 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-18 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
52 | 0632 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-17 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
53 | 0633 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-16 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
54 | 0634 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-15 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
55 | 0635 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-14 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
56 | 0636 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-13 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
57 | 0637 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-12 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
58 | 0638 | BSM/QSM Tester | Waters | TE-82943 | TE-82943-11 | 12 Months | 2018-01-05 | 2019-01-05 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - BSM/QSM | Y | 15.79
59 | 0670 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT364A | 12 Months | 2018-03-02 | 2019-03-02 | Internal | Joel Mamalateo Deduyo | Y | 84010 | Waters | Waters - Production | Y | 105.29
60 | 0671 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT361A | 12 Months | 2018-05-04 | 2019-05-04 | Internal | Joel Mamalateo Deduyo | Y | 84007 | Waters | Waters - Production | Y | 105.29
61 | 0672 | Dual Wavelength Detector | Waters | TUV Detector | K09UPT215A | 12 Months | 2018-05-03 | 2019-05-03 | Internal | Joel Mamalateo Deduyo | Y | 84011 | Waters | Waters - Production | Y | 105.29
62 | 0673 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT362A | 12 Months | 2018-04-20 | 2019-04-20 | Internal | Joel Mamalateo Deduyo | Y | 84008 | Waters | Waters - Production | Y | 105.29
63 | 0674 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT363A | 12 Months | 2018-04-21 | 2019-04-21 | Internal | Joel Mamalateo Deduyo | Y | 84009 | Waters | Waters - Production | Y | 105.29
64 | 0675 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT360A | 12 Months | 2018-05-04 | 2019-05-04 | Internal | Joel Mamalateo Deduyo | Y | 84006 | Waters | Waters - Production | Y | 105.29
65 | 0676 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT359A | 12 Months | 2018-04-21 | 2019-04-21 | Internal | Joel Mamalateo Deduyo | Y | 84005 | Waters | Waters - Production | Y | 105.29
66 | 0677 | Dual Wavelength Detector | Waters | TUV Detector | M09UPT366A | 12 Months | 2018-04-21 | 2019-04-21 | Internal | Joel Mamalateo Deduyo | Y | TE82943-18 | Waters | Waters - Production | Y | 105.29
67 | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2018-03-08 | 2018-09-08 | Ming Deng | Gary Lai Yam Bee | N | NA | Waters | Waters - Production | Y | 47.7363
68 | 1109 | Dual Wavelength Detector | Waters | TUV Detector | K05UPT479M | 12 Months | 2018-02-05 | 2019-02-05 | Internal | Joel Mamalateo Deduyo | Y | 91897 | Waters | Waters - Production | Y | 105.29
69 | 1429 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E759A | 12 Months | 2018-04-10 | 2019-04-10 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
70 | 1430 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E763A | 12 Months | 2018-04-11 | 2019-04-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
71 | 1431 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E765A | 12 Months | 2018-04-12 | 2019-04-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
72 | 1432 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E766A | 12 Months | 2018-04-06 | 2019-04-06 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
73 | 1433 | 2489 UV / Visible Detector | Waters | 186248900 | C1387E135M | 12 Months | 2018-04-12 | 2019-04-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
74 | 1515 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E607A | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
75 | 1516 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E608A | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
76 | 1519 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E609A | 12 Months | 2018-02-15 | 2019-02-15 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
77 | 1520 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E610A | 12 Months | 2018-02-20 | 2019-02-20 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
78 | 1394 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2018-06-13 | 2019-06-13 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
79 | 1396 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2018-06-28 | 2019-06-28 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
80 | 1399 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2018-06-12 | 2019-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
81 | 1400 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2018-06-12 | 2019-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
82 | 1401 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2018-06-13 | 2019-06-13 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
83 | 1404 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2018-06-21 | 2019-06-21 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y | 105.29
84 | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2018-05-15 | 2018-11-15 | Ming Deng | Joel Mamalateo Deduyo | N | NA | Waters (BSM/QSM ) | Waters - Production | Y | 53.7033
85 | 2094 | Load Box | Chroma | S14-03 | 14354695 | 12 Months | 2018-04-18 | 2019-04-18 | Bestlabs | Joel Mamalateo Deduyo | N | 86080 | Waters (Generic) | Waters - Production | Y | 89.5055
86 | 2095 | Load Box | Chroma | S14-03 | 14354681 | 12 Months | 2018-04-18 | 2019-04-18 | Bestlabs | Joel Mamalateo Deduyo | N | 86081 | Waters (Generic) | Waters - Production | Y | 89.5055
87 | 2096 | Load Box | Chroma | S14-03 | 14354691 | 12 Months | 2018-04-26 | 2019-04-26 | Bestlabs | Joel Mamalateo Deduyo | N | 86079 | Waters (Generic) | Waters - Production | Y | 89.5055
88 | 2097 | Load Box | Chroma | S14-03 | 7322788 | 12 Months | 2018-04-25 | 2019-04-25 | Bestlabs | Joel Mamalateo Deduyo | N | 86085 | Waters (Generic) | Waters - Production | Y | 89.5055
1395
1402
1428
1397
1398
1403
1405
1781
1782
1783
1784
1787

## Flex Senai Original
[7 empty] | 3.98 | 1.34
S/N | Equipment ID | Equipment Description | Manufacturer | Equipment Serial Number | Customer ID | Due Date | Price in MYR | Price in SGD | Price in USD
1 | S0168 | Universal Front End Tester | Keithley | 704826 | 95030 | 2018-07-22 | 1279.33 |  | 321.4397
2 | S0169 | Universal Front End Tester | Keithley | 796741 | 90274 | 2018-03-21 | 1279.33 |  | 321.4397
3 | S0170 | Universal Front End Tester | National Instrument | 1347EFD | NA | 2018-03-15 |  | 650 | 485.0746
4 | S0171 | PIC Charge Amp Tester | National Instrument | 130A201 | NA | 2019-03-02 |  | 840 | 626.8657
5 | S0199 | Power SMU | National instrument | 1459564 | NA | 2018-12-07 |  | 650 | 485.0746
6 | S0200 | M Series Multifunction DAQ | National Instrument | 145DF2F | NA | 2018-12-06 |  | 650 | 485.0746
7 | S0201 | M Series Multifunction DAQ | National Instrument | 145DF16 | NA | 2018-12-06 |  | 650 | 485.0746
8 | S0202 | Digital Phosphor Oscilloscope | Tektronix | C0110786 | 95156 | 2018-11-19 | 600 |  | 150.7538
9 | S0203 | Function / Arbitrary Waveform Generator | Agilent | MY44043984 | 95156 | 2018-11-19 | 550 |  | 138.191
10 | S0204 | Digital Multimeter | Agilent | MY48002718 | 95157 | 2018-11-19 | 1500 |  | 376.8844
11 | S0205 | Mainframe / Electronic Load Module | Chroma | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | NA | 2018-11-19 | 250 |  | 62.8141
12 | S0206 | DC Power Supply | TDK Lambda | 95162 | 95162 | 2018-11-19 | 250 |  | 62.8141
13 | S0207 | DC Power Supply | TDK Lambda | 95163 | 95163 | 2018-11-19 | 250 |  | 62.8141
14 | S0208 | DC Power Supply | TDK Lambda | 95179 | 95179 | 2018-11-20 | 250 |  | 62.8141
15 | S0209 | DC Power Supply | TDK Lambda | 95141 | 95141 | 2018-11-20 | 250 |  | 62.8141
16 | S0210 | DC Power Supply | TDK Lambda | 95178 | 95178 | 2018-11-20 | 250 |  | 62.8141
|  |  | Total | [5 empty] | 4252.7571

## Venture Original
Waters consigned equipment, Total : 63 items (With Payment) | [10 empty] | Date : 17-Sept-2018
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL | MANUFACTURER SERIAL NO | CALIBRATION SOURCE | CALIBRATION CYCLE | LAST CALIBRATION | NEXT CALIBRATION | Calibration Cost | REMARK
1 | IQC (WATERS) | IQC-16GC0010 | Light Box | X-Rite | JUDGE II | C61093251217 | RVC INTERNATIONAL PTE LTD | 12 | 05/09/2018 | 05/09/2019 | SGD900.00 | Consigned equipment
2 | WATERS | W1-16GC0002 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12335004 (93371) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 22/05/2018 | 22/11/2018 | SGD80.00 | Consigned equipment
3 | WATERS | W1-16GC0005 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333739 (93373) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 22/05/2018 | 22/11/2018 | SGD80.00 | Consigned equipment
4 | WATERS | W1-16GC0008 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333783 (93372) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 22/05/2018 | 22/11/2018 | SGD80.00 | Consigned equipment
5 | WATERS | W1-16GC0011 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333730 (93370) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 22/05/2018 | 22/11/2018 | SGD80.00 | Consigned equipment
6 | WATERS | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 18/07/2018 | 18/01/2019 | SGD80.00 | Consigned equipment
7 | WATERS | W1-16GC0016 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | SGS | 12 | 23/03/2018 | 23/03/2019 | SGD220.00 | Consigned equipment
8 | WATERS | W1-16GC0017 | Digital Process Indicators | CHROMA | DP81R-SER-DC2 | 09030136 | SGS | 12 | 02/01/2018 | 02/01/2019 | SGD438.00 | Consigned equipment
9 | WATERS | W1-16GC0018 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | CALTEK PTE LTD | 12 | 01/06/2018 | 01/06/2019 | SGD180.00 | Consigned equipment
10 | WATERS | W1-16GC0020 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD240.00 | Consigned equipment
11 | WATERS | W1-16GC0021 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Micro Precision | 12 | 15/11/2017 | 15/11/2018 | USD240.00 | Consigned equipment
12 | WATERS | W1-16GC0022 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Micro Precision | 12 | 18/01/2018 | 18/01/2019 | USD240.00 | Consigned equipment
13 | WATERS | W1-16GC0023 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Micro Precision | 12 | 14/03/2018 | 14/03/2019 | USD240.00 | Consigned equipment
14 | WATERS | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | MING DENG METROLOGY SERVICES PTD LTD | 6 | 18/07/2018 | 18/01/2019 | SGD80.00 | Consigned equipment
15 | WATERS | W1-16GC0087 | Load Box | CHROMA | S14-03 | 7322783 | BESTLABS | 12 | 13/03/2018 | 13/03/2019 | SGD100.00 | Consigned equipment
16 | WATERS | W1-16GC0088 | Load Box | CHROMA | S14-03 | 7322786 | BESTLABS | 12 | 13/03/2018 | 13/03/2019 | SGD100.00 | Consigned equipment
17 | WATERS | W1-16GC0089 | Load Box | CHROMA | S14-03 | 14354687 | BESTLABS | 12 | 13/03/2018 | 13/03/2019 | SGD100.00 | Consigned equipment
18 | WATERS | W1-16GC0090 | Load Box | CHROMA | S14-03 | 14354682 | BESTLABS | 12 | 13/03/2018 | 13/03/2019 | SGD100.00 | Consigned equipment
19 | WATERS | W1-16GC0091 | Load Box | CHROMA | S14-03 | 14354698 | BESTLABS | 12 | 13/03/2018 | 13/03/2019 | SGD100.00 | Consigned equipment
20 | WATERS | W1-17GC0122 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Micro Precision | 12 | 31/08/2018 | 31/08/2019 | USD432.00 | Consigned Equipment
21 | WATERS (JUNIOR GTS FOR QDA) | PWAT-18GC0046 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | MY48003234 | Micro Precision | 12 | 25/10/2017 | 25/10/2018 | USD144.00 | Waters UK Consign equipment
22 | WATERS (JUNIOR GTS FOR QDA) | PWAT-18GC0047 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44015802 | Micro Precision | 12 | 12/07/2018 | 12/07/2019 | USD250.00 | Waters UK Consign equipment
23 | WATERS (JUNIOR GTS FOR QDA) | PWAT-18GC0048 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS3054C | C020604 | Micro Precision | 19 | 09/05/2017 | 19/12/2018 | USD200.00 | Waters UK Consign equipment
24 | WATERS (RACAL TESTER) | PWAT-16GC0002 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01907 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
25 | WATERS (RACAL TESTER) | PWAT-16GC0003 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01876 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
26 | WATERS (RACAL TESTER) | PWAT-16GC0004 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01587 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
27 | WATERS (RACAL TESTER) | PWAT-16GC0005 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A02210 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
28 | WATERS (RACAL TESTER) | PWAT-16GC0006 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01795 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
29 | WATERS (RACAL TESTER) | PWAT-16GC0007 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A00920 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD141.50 | Waters USA Consign equipment
30 | WATERS (RACAL TESTER) | PWAT-16GC0014 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213251 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
31 | WATERS (RACAL TESTER) | PWAT-16GC0015 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213252 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
32 | WATERS (RACAL TESTER) | PWAT-16GC0016 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213090 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
33 | WATERS (RACAL TESTER) | PWAT-16GC0017 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213209 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
34 | WATERS (RACAL TESTER) | PWAT-16GC0018 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02477 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
35 | WATERS (RACAL TESTER) | PWAT-16GC0019 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213216 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
36 | WATERS (RACAL TESTER) | PWAT-16GC0020 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02507 | Micro Precision | 12 | 03/05/2018 | 03/05/2019 | USD170.00 | Waters USA Consign equipment
37 | WATERS (RACAL TESTER) | PWAT-16GC0024 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Keysight | 12 | 12/04/2018 | 12/04/2019 | SGD309.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
38 | WATERS (RACAL TESTER) | PWAT-16GC0025 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Keysight | 12 | 19/03/2018 | 19/03/2019 | SGD450.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
39 | WATERS (RACAL TESTER) | PWAT-16GC0034 | Oscillascope | Textronix | TDS460A | B060926 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD350.00 | Waters USA Consign equipment
40 | WATERS (RACAL TESTER) | PWAT-16GC0039 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Micro Precision | 12 | 17/11/2017 | 17/11/2018 | USD360.00 | Waters USA Consign equipment
41 | WATERS (RACAL TESTER) | PWAT-16GC0041 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Micro Precision | 12 | 17/11/2017 | 17/11/2018 | USD300.00 | Waters USA Consign equipment
42 | WATERS (RACAL TESTER) | PWAT-16GC0042 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD480.00 | Waters USA Consign equipment
43 | WATERS (GTS TESTER) | PWAT-16GC0008 | DC Power Supply | TDK-Lambda | GENH30-25 | 95166 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
44 | WATERS (GTS TESTER) | PWAT-16GC0009 | DC Power Supply | TDK-LAMBDA | GENH60-12.5 | 95170 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
45 | WATERS (GTS TESTER) | PWAT-16GC0010 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95165 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
46 | WATERS (GTS TESTER) | PWAT-16GC0011 | DC Power Supply | TDK-Lambda | GENH30-25 | 95167 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
47 | WATERS (GTS TESTER) | PWAT-16GC0012 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95164 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
48 | WATERS (GTS TESTER) | PWAT-16GC0013 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95171 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD160.00 | Waters USA Consign equipment
49 | WATERS (GTS TESTER) | PWAT-16GC0021 | Digital Phosphor Oscilloscope | Tektronix | TDS 3054C | C011477 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD200.00 | Waters USA Consign equipment
50 | WATERS (GTS TESTER) | PWAT-16GC0022 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD240.00 | Waters USA Consign equipment
51 | WATERS (GTS TESTER) | PWAT-16GC0023 | Function/Arbitrary Waveform Generator | Agilent | 33220A | MY44044085/95154 | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD250.00 | Waters USA Consign equipment
52 | WATERS (GTS TESTER) | PWAT-16GC0030 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD270.00 | Waters USA Consign equipment
53 | WATERS (GTS TESTER) | PWAT-16GC0031 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD270.00 | Waters USA Consign equipment
54 | WATERS (GTS TESTER) | PWAT-16GC0033 | Multimeter | Agilent | 34411A | MY53002751/95155 | Micro Precision | 12 | 25/09/2017 | 25/09/2018 | USD144.00 | Waters USA Consign equipment
55 | WATERS (GTS TESTER) | PWAT-16GC0036 | POWER SMU | NATIONAL INSTRUMENTS | PXI4130 | 145025B | Micro Precision | 12 | 30/07/2018 | 30/07/2019 | USD270.00 | Waters USA Consign equipment
56 | WATERS (UNIVERSAL TESTER) | PWAT-16GC0035 | PCI 6025E | National Instruments | 6025E | C57A10 | Micro Precision | 12 | 17/11/2017 | 17/11/2018 | USD250.00 | Waters USA Consign equipment
57 | WATERS (UNIVERSAL TESTER) | PWAT-16GC0026 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Keysight | 12 | 19/03/2018 | 19/03/2019 | SGD450.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
58 | WATERS (UNIVERSAL TESTER) | PWAT-16GC0029 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Keysight | 12 | 06/05/2018 | 06/05/2019 | SGD309.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
59 | WATERS (PCBA) | PWAT-16GC0027 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Keysight | 12 | 17/05/2018 | 17/05/2019 | SGD309.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
60 | WATERS (PCBA) | PWAT-16GC0028 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Keysight | 12 | 07/06/2018 | 07/06/2019 | SGD450.00 | Waters USA Consign equipment For the calibration cost not fixed, Keysight will follow the marketing quote
61 | WATERS (RACAL TESTER) | PWAT-16GC0040 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Micro Precision | 12 | 31/01/2017 | 31/01/2018 | USD300.00 | Waters USA Consign equipment Spare unit, Keep in Lab, will be arrange calibration under Q4 2018 (Nov 2018)
62 | WATERS (RACAL TESTER) | PWAT-16GC0038 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Micro Precision | 12 | 02/12/2015 | 02/12/2016 | USD360.00 | Waters USA Consign equipment Spare unit, Keep in Lab, will be arrange calibration under Q4 2018 (Nov 2018)
63 | WATERS (RACAL TESTER) | PWAT-16GC0043 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Micro Precision | 12 | 21/08/2015 | 21/08/2016 | USD480.00 | Waters USA Consign equipment Spare unit, Keep in Lab, will be arrange calibration under Q4 2018 (Nov 2018)
Prepared by Venture
Name : Lee Kwang Quek
Signature :
Designation : Technician
Date :