## Waters
Note: (1) DGP may apply company's QMS procedure for calibration / verification / validation accepted by Waters in this form. (2) DGP shall conduct necessary revalidation / verification if the equipments require repairs or are relocated. (3) Any amendment to the form shall be updated in the footnote and notify Waters for signatory. | [10 empty] | * SN# 100 onwards are equipment which requires calibration and/or maintenance * SN# 200 onwards are electronics equipment * SN# 300 onwards are MHE, storage and office equipment |  |  |  |  | UPDATED ON : | 2020-03-05
S/N* | ASSET# | CEA# | PO# | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | OWNER | EQUIPMENT LOCATION | *Validation/ Verification Required? Y/ N.A | PM/CAL Warranty/Contract Details | PM/CAL Interval | (PM) Periodic MaintenanceRequired Y/ N.A | (PM) Last MaintenanceDate | (PM) Next MaintenanceDate | (CAL) Calibration Required Y/ N.A | (CAL) Last Calibration Date | (CAL) Next Calibration Date | REMARKS
1 - MAINTENANCE / CALIBRATION - TEMPERATURE - STORING AND MONITORING EQUIPMENT
101 | 1000753 | WPPL16016 | 2016-305 | COOLER 1 / 51.16 1065027 | Laboratory Refrigerator | Arctiko / Bio Laboratories | LR1400 | Waters | DGP | Y - Validated by Installation and Operational Qualification (IQ/OQ) | PM for Fridge: Warranty Period: 19 Jul 2017 to 18 Jul 2018 Under contract: 15 Mar 2020 to 14 Mar 2021 (Refer to PO# 2019-460) Calibration for Sensor: N.A (Renew in 2020) | Annually | Yes - under warranty / contract (For fridge) * Verification for the temperature sensor is required during PM | 2019-08-28 | 2020-08-27 | Y - For sensor only | 2020-03-05 | 2021-03-05
102 | 1000753 | WPPL16016 | 2016-305 | FREEZER 1 / 51.16 1065028 | Laboratory Freezer |  | LF1400 | Waters | DGP |  |  |  |  | 2019-08-28 | 2020-08-27 |  | 2020-03-05 | 2021-03-05
111 | 1000938 | WPPL19004 | 2019-147 | COOLER 2 / 19191091783 | Laboratory Refrigerator |  | LR1400 | Waters | DGP | Pending for Installation Qualification (IQ) VAL001446 | PM for Fridge: Under warranty: 05 Aug 2019 to 04 Aug 2020 Under contract: 05 Aug 2020 to 04 Aug 2023 (Refer to PO# 2019-147) Calibration for Sensor: N.A (Renew in 2020) |  |  | N.A | 2020-08-27 |  | N.A | 2020-04-06 | This is a newly installed equipment. Next PM & CAL date based on equipment installation date on 05 Aug 2019.
112 | 1000938 | WPPL19004 | 2019-147 | FREEZER 2 / 19191091782 | Laboratory Freezer |  | LF1400 | Waters | DGP | Pending for Installation Qualification (IQ) VAL001447 |  |  |  | N.A | 2020-08-27 |  | N.A | 2020-04-06 | This is a newly installed equipment. Next PM & CAL date based on equipment installation date on 05 Aug 2019.
103 | 1000753 | WPPL16016 | 2016-305 | LOGGER# 1 / 1216-00095 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 1) | Hanwell / Bio Laboratories | Monitoring System RL4000 RL4002-434.075 | Waters | DGP | Y - Validated by Performance Qualification (PQ) | PM: Under contract: N.A (Renew in 2020) Calibration: Under contract: N.A (Renew in 2020) |  | Y | 2019-09-06 | 2020-09-05 | Y | 2019-09-21 | 2020-09-20 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00911 Channel B - SN# 1116-00912
104 | 1000753 | WPPL16016 | 2016-305 | LOGGER# 2 / 1216-00096 | Dual Channel Temperature Transmitter with LCD Display (Used on Cooler 1) |  |  | Waters | DGP |  |  |  |  | 2019-09-06 | 2020-09-05 |  | 2019-09-21 | 2020-09-20 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-01070 Channel B - SN# 1116-01075
105 | 1000753 | WPPL16016 | 2016-305 | LOGGER# 3 / 1216-00099 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 1) |  |  | Waters | DGP | Y - Performance Verification completed for Cooler 1 & Freezer 1 |  |  |  | 2019-09-06 | 2020-09-05 |  | 2019-10-05 | 2020-10-04 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-01079 Channel B - SN# 1116-01080
107 | N.A | N.A | 2016-220 | LOGGER# 4 / 0716-00964 | Dual Channel Temperature Transmitter with LCD Display (Used on Cooler 1) |  |  | Waters | DGP | Y - Performance Verification required after calibration done |  |  |  | 2019-09-06 | 2020-09-05 |  | 2019-10-05 | 2020-10-04 | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 0216-00505 Channel B - SN# 0816-00061
113 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 5 / 1216-00090 | Dual Channel Temperature Transmitter with LCD Display |  |  | Waters | DGP | Equipment are not in used currently | Calibration: Under contract: N.A (Renew in 2020) |  |  | 2017-07-10 | N.A |  | 2019-03-01 | N.A | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00899 Channel B - SN# 1116-00901
114 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 6 / 1216-00091 | Dual Channel Temperature Transmitter with LCD Display |  |  | Waters | DGP |  |  |  |  | 2017-07-10 | N.A |  | 2019-03-01 | N.A | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00903 Channel B - SN# 1116-00904
115 | 1000752 | WPPL16016 | 2016-304 | LOGGER# 7 / 1216-00094 | Dual Channel Temperature Transmitter with LCD Display |  |  | Waters | DGP |  |  |  |  | 2017-07-10 | N.A |  | 2019-03-01 | N.A | Temperature Range: -40°C to +60°C Probe Part# JO97-05 Channel A - SN# 1116-00908 Channel B - SN# 1116-00910
108 | 1000753 | WPPL16016 | 2016-305 | 192.168.1.13 / 1016-01128 | Synergy Device Smart Receiver | Hanwell Monitoring System / Bio Laboratories Pte Ltd | SR2-E-P4 | Waters | DGP | N.A | PM: Under contract: N.A (Renew in 2020) |  |  | 2019-09-06 | 2020-09-05 | N.A
109 | 1000753 | WPPL16016 | 2016-305 | 1116-00354 | Synergy Device External Transmitter |  | RX434.075 | Waters | DGP |  |  |  |  | 2019-09-06 | 2020-09-05
110 | 1000753 | WPPL16016 | 2016-305 | 192.168.1.19 / 20-00-00-96 | Notion Pro SMS Alert |  | IN-TA001 | Waters | DGP |  |  |  |  | 2019-09-06 | 2020-09-05
106 | N.A | N.A | N.A | 90100084 | Fridge | Sanyo | SMR-T330(SG) | Waters | DGP | Y - one time verified working condition, currently use for general chilling / freezing of goods require to store under chill / freeze - calibration is not required. | N.A | Weekly Cleaning | N.A |  |  | N.A
2 - ELECTRONICS - IT INFRASTRUCTURE
201 | N.A | N.A | N.A | CN-OU274R-61180-04P-1E1M (SG3PLARA) | Monitor | Dell | E1910C | Waters | DGP | N.A | N.A
202 | 1000748 | WPPL16028 | 2016-450 | CN-OOJPKM-72872-69H-CYCB-AOO (SG3PLLWA) |  | Dell / Genesis Networks Pte Ltd | E2216H | Waters | DGP
203 | 1000748 | WPPL16028 | 2016-450 | 94Z81H2 (SG3PLARA) | CPU |  | Optiplex 7040 | Waters | DGP |  | Warranty Period: POW: 05 Jan 2017 to 06 Jan 2020 Hard Drive: 05 Jan 2017 to 06 Jan 2021
204 | 1000748 | WPPL16028 | 2016-450 | 95141H2 (SG3PLLWA) |  |  |  | Waters | DGP
207 | 1000753 | WPPL16016 | 2016-305 | BB6M8X1 | CPU | Dell / Bio Laboratories Pte Ltd | VOSTRO 270 | Waters | DGP |  | No Warranty
208 | 1000753 | WPPL16016 | 2016-305 | 635LM190EKA0613 | 19"TFT -LCD Monitor | Coco Solution / Bio Laboratories Pte Ltd | GLM190ELM | Waters | DGP |  | N.A
2 - ELECTRONICS - IT INFRASTRUCTURE (SERVER RACK)
212 | N.A | N.A | N.A | 10.249.17.254 / 0017C54431F8 | Sonicwall TZ210 | Sonic Wall | APL20-063 | Waters | DGP | N.A | N.A
213 | N.A | N.A | N.A | 48575443D325AD18 | Optical Network Terminal | Huawei | EchoLife HG8040 | Waters | DGP
214 | N.A | N.A | N.A | RZLZ1G3000310 | Wireless AC1750 Dual-Band Gigabit Cloud Router | D-Link | DIR-868L | Waters | DGP
215 | N.A | N.A | N.A | 10.249.17.203 / LBNNTMMD510EGN | Ethernet Routing Switch | Avaya | 4524GT-PWR | Waters | DGP
216 | N.A | N.A | 2012-030 | Unmarked | 17U Network Cabinet (W600 x D600 x H945) | Syntax Enclosure System Pte Ltd | AS6617 | Waters | DGP
2 - ELECTRONICS - PRINTER
225 | TBA | WPPL17014 | 2017-323 | DGP1 / CNDXJDG6D7 | Printer with BarDimm | Hewlett Packard / Soft-Pro Computer Pte Ltd | HP Laserjet Enterprise 600 M605dn | Waters | DGP | N.A | N.A
226 | TBA | WPPL17014 | 2017-323 | DGP3 /CNDKK7S769 | Printer |  |  | Waters | DGP
219 | N.A | N.A | 2011-352 | 08J1116000322 | Thermal Barcode Label Printer (SAP) | Zebra / Advantech Peripherals Singapore Pte Ltd | ZM400 | Waters | DGP
2 - ELECTRONICS - HANDHELD SCANNING DEVICE
220 | 1000368 | WPPL11024 | 2011-352 | 11322520900508 | Wireless Access Port with Antennas | Motorola / Advantech Peripherals Singapore Pte Ltd | AP-5131 | Waters | DGP | N.A | N.A
227 | N.A | N.A | N.A | 8107000500272 *Not in working condition | Handheld Scanner (Catamaran v11) | Symbol / Advantech Peripherals Singapore Pte Ltd | MC9090 | Waters | DGP
228 | N.A | N.A | N.A | 9186000502122 |  |  |  | Waters | DGP
230 | N.A | N.A | N.A | 9186000502136 |  |  |  | Waters | DGP
231 | N.A | N.A | N.A | 1409300504822 |  |  | MC92N0 | Waters | DGP
223 | 1000368 | WPPL11024 | 2011-352 | 1132900503110 | 1-Dock Charger |  | CRD9000-1000 | Waters | DGP
229 | N.A | N.A | N.A | 8290000501608 *Not in working condition |  |  | CRD9000-1000 | Waters | DGP
3 - STORAGE
301 | N.A | N.A | 2015-362 | Unmarked | Racking System - 12 Rack (Dimension 122 x 61 x 244 cm) | DG Packaging Pte Ltd | N.A | Waters | DGP
302 | 1000660 | WPPL16002 | 2015-362 | Unmarked | Racking System - 8 Rack (Dimension 122 x 61 x 244 cm) |  | N.A | Waters | DGP
303 | 1000660 | WPPL16002 | 2015-362 | Unmarked | Flammable Cabinet 2 DR Manual 60G | Sysbel / DG Packaging Pte Ltd | WA810600 | Waters | DGP
3 - MHE - MATERIAL HANDLING
304 | N.A | N.A | 2015-344 | LT-01 | Step Ladder Trolley c/w 2 Platform | Y K Toh Marketing Pte Ltd | LT-Step03 | Waters | DGP
305 | N.A | N.A | N.A | Ladder | Ladder | Unmarked | N.A | Waters | DGP
3 - SIGNAGE AND STAMP
306 | N.A | N.A | N.A | 1pc | Self-Inking Stamp, 50mm X 17mm (Zack Lin's Signatory) | 2255 | SUN Printers Group Pte Ltd | Waters | Office
Any changes made are to be updated below:-
101 |  |  | PM contract details / Last and next CAL date updated
102 |  |  | PM contract details / Last and next CAL date updated
111 |  |  | next CAL date updated
112 |  |  | next CAL date updated

## Removed
S/N* | ASSET# | CEA# | PO# | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | OWNER | EQUIPMENT LOCATION | *Validation/ Verification Required? Y/ N.A | PM/CAL Warranty/Contract Details | REMARKS
221 | 1000368 | WPPL11024 | 2011-352 | 1201000502820 | Handheld Scanner (Catamaran v11) | Symbol / Advantech Peripherals Singapore Pte Ltd | MC9090 | Waters | DGP | N.A | No Warranty | Returned to Chin Ping (WPPL) but equipment cannot be fixed and are now not in working condition
222 | 1000368 | WPPL11024 | 2011-352 | 1201000502837 |  |  |  | Waters | DGP
224 | 1000368 | WPPL11024 | 2011-352 | 1124900503721 | 1-Dock Charger |  | CRD9000-1000 | Waters | DGP
205 | N.A | N.A | N.A | 7NDZX1S *Not in working condition | CPU | Dell | Optiplex 755 | Waters | DGP | N.A | No Warranty | To be disposed as instructed by WPPL on 15 Oct 2018
206 | N.A | N.A | N.A | 3NMF7A01 *Not in working condition | Laptop | Dell | Lattitude E4310 | Waters | DGP
217 | N.A | N.A | 2012-053 | CNB8CDM40B *Not in working condition | Printer with BarDimm | Hewlett Packard / Soft-Pro Computer Pte Ltd | HP Laserjet Enterprise 600 M601DN | Waters | DGP | N.A | No Warranty
218 | N.A | N.A | 2012-052 | CNB8CDM407 *Not in working condition | Printer |  |  | Waters | DGP

## Reminder Alert
S/N* | EQUIPMENT ID/ SN | EQUIPMENT DESCRIPTION | PM/CAL Interval | (CAL) Calibration Required Y/ N.A | (CAL) Last Calibration Date | (CAL) Next Calibration Date | Date to Contact Vendor to Make Calibration Appt | (PM) Periodic MaintenanceRequired Y/ N.A | (PM) Last MaintenanceDate | (PM) Next MaintenanceDate (Wednesday) | Date to Contact Vendor to Make Maintenance Appt
103 | LOGGER# 1 / 1216-00095 | Dual Channel Temperature Transmitter with LCD Display (Used on Freezer 1) | Annually | Y - For sensor only | 2019-09-21 | 2020-09-19 | 2020-08-19 | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
104 | LOGGER# 2 / 1216-00096 | Dual Channel Temperature Transmitter with LCD Display (Used on Cooler 1) | Annually |  | 2019-09-21 | 2020-09-19 | 2020-08-19 | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
105 | LOGGER# 3 / 1216-00099 | Dual Channel Temperature Transmitter with LCD Display (Used on Cooler 1) | Annually |  | 2019-10-05 | 2020-10-04 | 2020-09-03 | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
107 | LOGGER# 4 / 0716-00964 | Dual Channel Temperature Transmitter with LCD Display | Annually |  | 2019-10-05 | 2020-10-04 | 2020-09-03 | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
108 | 192.168.1.13 / 1016-01128 | Synergy Device Smart Receiver | Annually | Y |  |  |  | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
109 | 1116-00354 | Synergy Device External Transmitter | Annually | Y |  |  |  | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
110 | 192.168.1.19 / 20-00-00-96 | Notion Pro SMS Alert | Annually | Y |  |  |  | Y | 2019-09-06 | 2020-09-02 | 2020-08-02
101 | COOLER 1 / 51.16 1065027 | Laboratory Refrigerator | Annually | Y - For sensor only | 2019-03-11 | 2020-03-10 | 2020-02-09 | Yes - under warranty / contract (For fridge) * Verification for the temperature sensor is required during PM | 2019-08-28 | 2020-08-27 | 2020-07-28
102 | FREEZER 1 / 51.16 1065028 | Laboratory Freezer | Annually | Y - For sensor only | 2019-03-11 | 2020-03-10 | 2020-02-09 |  | 2019-08-28 | 2020-08-27 | 2020-07-28
113 | LOGGER# 5 / 1216-00090 | Dual Channel Temperature Transmitter with LCD Display | Annually | Y | 2019-03-01 | 2020-02-28 | 2020-01-29
114 | LOGGER# 6 / 1216-00091 | Dual Channel Temperature Transmitter with LCD Display | Annually | Y | 2019-03-01 | 2020-02-28 | 2020-01-29
115 | LOGGER# 7 / 1216-00094 | Dual Channel Temperature Transmitter with LCD Display | Annually | Y | 2019-03-01 | 2020-02-28 | 2020-01-29