## Sheet1
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | 17025 Price | Customer site | Currency | WPPL CM Price | Currency | Remark
1 | Pipette | Eppendorf /VWR | P1000 | G42127G | WPPL Lab | 1 Year | 70 |  | SGD
2 | Pipette | Eppendorf / VWR | P1000 | G42285G | WPPL Lab | 1 Year | 70 |  | SGD
3 | Weighing Scale | Sartorius | MSA 125P-100-DI | 35701494 | WPPL Lab | 1 Year | 80 |  | SGD
4 | Multimeter | FLUKE / Region Suppliers (PTE) LTD | FL77-4 | 35700255 | WPPL Lab | 1 Year | 85 |  | SGD
5 | Wide Range Gauge | Edwards | D14703000 | 1700776+E634 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
6 | Wide Range Gauge | Edwards | D14703000 | 170077633 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
7 | Wide Range Gauge | Edwards | D14703000 | 150253989 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
8 | Wide Range Gauge | Edwards | D14703000 | 150253990 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
9 | Traceable Stopwatch/ Timer Big Digit 4 Channel | VWR | 62344-641 | 170445616 | WPPL Lab | 2 Years | 60 |  | SGD
10 | Weight-1g | Sartorius | YCW313-00 | 34729085 | WPPL Lab | 1 Year | 20 |  | SGD
11 | Weight-10g | Sartorius | YCW413-00 | 35229142 | WPPL Lab | 1 Year | 20 |  | SGD
12 | Analogue Surface Resistance Meter Kit | Pro-Pack Materials Pte Ltd | SCS 701 | 7011745026 | WPPL Lab | 1 Year | 230 |  | SGD
13 | ESD Personnel Test Station | Vermason | 222563 | 1719001 | WPPL Lab | 1 Year | 180 |  | SGD
14 | Megger MIT410/2 Insulation Tester | Megger | MIT410/2 | 1006337101688680 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
15 | Glassware washer | Lab Science Solution Pte Ltd | PG8593 | 74400208 | WPPL Lab | 1 Year | need more information |  |  |  |  | or provide previous cal report
16 | Pipette | Eppendorf /VWR | 200uL | I22994G | WPPL Lab | 1 Year | 60 |  | SGD
17 | Pipette | Eppendorf /VWR | 200uL | I22911G | WPPL Lab | 1 Year | 60 |  | SGD
18 | Grundfos Pump | Adept Pure Water Limited | CME3-5 | 98358937 | Richport | 1 Year | need more information |  |  |  |  | or provide previous cal report
19 | Tempreature Recorder | LogTag | TRIX-8 | 1000848285 | WPPL | 1 Year | 200 |  | SGD
20 | Tempreature Recorder | LogTag | TRIX-8 | 1000848290 | WPPL | 1 Year | 200 |  | SGD
21 | Tempreature Recorder | LogTag | TRIX-8 | 1000848288 | WPPL | 1 Year | 200 |  | SGD
22 | Tempreature Recorder | LogTag | TRIX-8 | 1000848283 | WPPL | 1 Year | 200 |  | SGD
23 | Tempreature Recorder | LogTag | TRIX-8 | 1000848289 | WPPL | 1 Year | 200 |  | SGD
24 | Tempreature Recorder | LogTag | TRIX-8 | 1000848284 | WPPL | 1 Year | 200 |  | SGD
25 | Tempreature Recorder | LogTag | TRIX-8 | 1000848286 | WPPL | 1 Year | 200 |  | SGD
26 | Tempreature Recorder | LogTag | TRIX-8 | 1000848287 | WPPL | 1 Year | 200 |  | SGD
27 | DIGIMATIC MICROMETER | Mitutoyo | MDC-1"PX | 632855699 | WPPL | 1 Year | 45 |  | SGD
28 | DIGIMATIC CALIPER | Mitutoyo | CD-8"ASX | B16215984 | WPPL | 1 Year | 45 |  | SGD
29 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400225 | CEI | 12 | 320 | CEI Price | SGD | 646 | SGD
30 | Load Box | Chroma | S14-03 | 14354696 | CEI | 12 | 230 | CEI Price | SGD | 100 | SGD
31 | Keithley Source Measurement Unit #1 | Keithley | 236 | 782275 | CEI PCBA | 12 | 330 | CEI Price | SGD | 1227 | SGD
32 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 | 215 | CEI Price | SGD | 176 | SGD
33 | Programmable DC Power supply | TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 | 215 |  | SGD | 176 | SGD
34 | 6½ DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 | 120 | CEI Price | SGD | 160 | SGD
35 | 4 CH 500MHz OSCILLOSCOPE | Tektronix | TDS3054C | C011085 | CEI PCBA | 12 | 350 | CEI Price | SGD | 360 | SGD
36 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 | 350 | CEI Price | SGD | 480 | SGD
37 | NI [ M series ] MULTIFUNCTION DAQ Device | National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 | 350 | CEI Price | SGD | 480 | SGD
38 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
39 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
40 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
41 | Programmable DC Power supply | TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
42 | 20MHZ FUNCTION.ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 | 180 | CEI Price | SGD | 280 | SGD
43 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017022 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
44 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017023 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
45 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017030 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
46 | DC ELECTRONIC LOAD MODULE 0-60 A, 80 V, 300 W | Chroma | 63103 | 631030017042 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
47 | NI Programmable DC Power supply | National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 | 200 | CEI Price | SGD | 480 | SGD
48 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
49 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
50 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
51 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
52 | HP66103A DC Power Module 35V/4.5A | Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
53 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
54 | HP66101A DC Power Module 8V/16A | Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
55 | Electronic Load | Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
56 | Electronic Load | Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
57 | Electronic Load | Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
58 | Tektronics 4-Channel Digitizing Oscilloscope | Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 280 | CEI Price | SGD | 328 | SGD
59 | Electronic Load | Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
60 | Electronic Load | Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
61 | Electronic Load | Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
62 | Keithley Source Measurement Unit #2 | Keithley | 236 | 0786386 | CEI PCBA | 12 | 330 | CEI Price | SGD | 1370 | SGD
63 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | Flex | 12 | 85 |  | SGD | 81 | SGD
64 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80 |  | SGD | 72 | SGD
65 | Electronic Weigh Balance | AND | HR200 | 12305757 | Flex | 6 | 80 |  | SGD | 72 | SGD
66 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80 |  | SGD | 72 | SGD
67 | Electronic Weigh Balance | AND | HR200 | 12200404 | Flex | 6 | 80 |  | SGD | 72 | SGD
68 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80 |  | SGD | 72 | SGD
69 | Electronic Weigh Balance | AND | HR200 | 12303279 | Flex | 6 | 80 |  | SGD | 72 | SGD
70 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80 |  | SGD | 72 | SGD
71 | Electronic Weigh Balance | AND | HR200 | 12315717 | Flex | 6 | 80 |  | SGD | 72 | SGD
72 | Digital Multimeter | Fluke | 110 | 85730619 | Flex | 12 | 85 |  | SGD | 72 | SGD
73 | Digital Multimeter | Fluke | 179 | 90240092 | Flex | 12 | 85 |  | SGD | 72 | SGD
74 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
75 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | Flex | 12 | need more information |  |  | 316 | SGD | or provide previous cal report
76 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80 |  | SGD | 72 | SGD
77 | Electronic Weigh Balance | AND | HR200 | 12316922 | Flex | 6 | 80 |  | SGD | 72 | SGD
78 | High Voltage Probe | Fluke | 80K-6 | 89200011 | Flex | 12 | 100 |  |  | 218 | SGD | up to 1KV
79 | Clamp Meter | Kyoritsu | 2033 | 66386 | Flex | 12 | 120 |  | SGD | 108 | SGD
80 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
81 | Picoammeter | Keithley | 485 | 310788 | Flex | 12 | need more information |  |  | 270 | SGD | or provide previous cal report
82 | Picoammeter | Keithley | 485 | 435110 | Flex | 12 | need more information |  |  | 0 | #N/A | or provide previous cal report
83 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
84 | Liquilaz | Particle Measuring Systems | E20P |  | Flex | 12 | need more information |  |  | 0 | #N/A | or provide previous cal report
85 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80 |  | SGD | 72 | SGD
86 | Electronic Weigh Balance | AND | HR200 | 12326186 | Flex | 6 | 80 |  | SGD | 72 | SGD
87 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80 |  | SGD | 72 | SGD
88 | Electronic Weigh Balance | AND | HR200 | 12326300 | Flex | 6 | 80 |  | SGD | 72 | SGD
89 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80 |  | SGD | 72 | SGD
90 | Electronic Weigh Balance | AND | HR200 | 12324733 | Flex | 6 | 80 |  | SGD | 72 | SGD
91 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80 |  | SGD | 72 | SGD
92 | Electronic Weigh Balance | AND | HR200 | 12326184 | Flex | 6 | 80 |  | SGD | 72 | SGD
93 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80 |  | SGD | 72 | SGD
94 | Electronic Weigh Balance | AND | HR200 | 12326187 | Flex | 6 | 80 |  | SGD | 72 | SGD
95 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80 |  | SGD | 72 | SGD
96 | Electronic Weigh Balance | AND | HR200 | 12326180 | Flex | 6 | 80 |  | SGD | 72 | SGD
97 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80 |  | SGD | 72 | SGD
98 | Electronic Weigh Balance | AND | HR200 | 12326190 | Flex | 6 | 80 |  | SGD | 72 | SGD
99 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80 |  | SGD | 72 | SGD
100 | Electronic Weigh Balance | AND | HR200 | 12326279 | Flex | 6 | 80 |  | SGD | 72 | SGD
101 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50 |  | SGD | 64 | SGD
102 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50 |  | SGD | 64 | SGD
103 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45 |  | SGD | 32 | SGD
104 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45 |  | SGD | 32 | SGD
105 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45 |  | SGD | 24 | SGD
106 | Dial Indicator | Mitutoyo | 2514S | JDY576 | Flex | 6 | 45 |  | SGD | 24 | SGD
107 | Mass Flow Meter | Aalborg | GFM17 | 170609-1 | Flex | 12 | need more information |  |  | 390 | SGD | or provide previous cal report
108 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50 |  | SGD | 64 | SGD
109 | Torque Wrench | Snap-on | QD1R200 | 408302147 | Flex | 6 | 50 |  | SGD | 64 | SGD
110 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
111 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | Flex | 12 | No Capability |  | No Capability | 1100 | SGD
112 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80 |  | SGD | 72 | SGD
113 | Electronic Weigh Balance | AND | HR200 | 12336741 | Flex | 6 | 80 |  | SGD | 72 | SGD
114 | Load Box | Chroma | S14-03 | 14354695 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
115 | Load Box | Chroma | S14-03 | 14354681 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
116 | Load Box | Chroma | S14-03 | 14354691 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
117 | Load Box | Chroma | S14-03 | 7322788 | Flex | 12 | 230 | Ges price | USD | 120 | SGD
118 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | Flex | 12 | need more information |  |  | 1712 | SGD | or provide previous cal report
119 | Universal Front End Tester | Keithley | 236 | 0704826 | Flex Senai | 12 | 320 | Ges price | USD | 1279.33 | MYR
120 | Universal Front End Tester | Keithley | 236 | 0796741 | Flex Senai | 12 | 320 | Ges price | USD | 4500 | SGD
121 | Universal Front End Tester | National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 250 | Ges price | USD | 650 | SGD
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 | 270 | Ges price | USD | 270 | USD
123 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 | 270 | Ges price | USD | 270 | SGD
124 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 | 270 | Ges price | USD | 160 | SGD
125 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C0110786 | Flex Senai | 12 | 200 | Ges price | USD | 160 | SGD
126 | Function / Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 | 250 | Ges price | USD | 160 | MYR
127 | Digital Multimeter | Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 | 180 | Ges price | USD | 160 | MYR
128 | Mainframe / Electronic Load Module | Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | Flex Senai | 12 | 240 | Ges price | USD | 160 | MYR
129 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95162 | Flex Senai | 12 | 160 | Ges price | USD | 160 | MYR
130 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95163 | Flex Senai | 12 | 160 | Ges price | USD | 240 | MYR
131 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95179 | Flex Senai | 12 | 160 | Ges price | USD | 240 | MYR
132 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95141 | Flex Senai | 12 | 160 | Ges price | USD | 240 | MYR
133 | DC Power Supply | TDK Lambda | GENH30-25 | 95178 | Flex Senai | 12 | 160 | Ges price | USD | 240 | MYR
134 | DC Power Supply | TDK Lambda | GENH30-25 | 95142 | Flex Senai | 12 | 160 | Ges price | USD | 144 | MYR
135 | Source Measure Units | Keithley | 236 | 0810603 | Flex Senai | 12 | 320 | Ges price | USD | 250 | SGD
136 | Light Box | X-Rite | JUDGE II | C61093251217 | Venture (LC) | 12 | need more information |  |  | 200 | SGD | or provide previous cal report
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 185 | USD
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 270 | USD
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 270 | USD
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 270 | USD
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 0 | USD
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 0 | USD
143 | DC Power Supply | TDK Lambda | GENH30-25 | 95166 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 185 | USD
144 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95170 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 160 | USD
145 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95165 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 160 | USD
146 | DC Power Supply | TDK Lambda | GENH30-25 | 95167 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 160 | USD
147 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95164 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 160 | USD
148 | DC Power Supply | TDK Lambda | GENH60-12.5 | 95171 | Venture PCBA (LC) | 12 | 160 | Ges price | USD | 160 | USD
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12 | 170 | Ges price | USD | 170 | USD
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 170 | USD
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 | 200 | Ges price | USD | 200 | USD
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240 | Ges price | USD | 240 | USD
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 | 250 | Ges price | USD | 250 | USD
159 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
160 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
161 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
162 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
163 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
164 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 | 180 | Ges price | USD | 144 | USD
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350 | Ges price | USD | 350 | USD
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250 | Ges price | USD | 250 | USD
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12 | 360 | Ges price | USD | 360 | USD
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12 | 360 | Ges price | USD | 360 | USD
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12 | 300 | Ges price | USD |  | TBA
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12 | 300 | Ges price | USD | 160 | USD
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12 | 480 | Ges price | USD | 160 | USD
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12 | 480 | Ges price | USD | 160 | USD
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 180 | Ges price | USD | 160 | USD
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 160 | USD
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | Ges price | USD | 240 | USD
180 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
182 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80 |  | SGD | 144 | SGD
184 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80 |  | SGD | 250 | SGD
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80 |  | SGD | 200 | SGD
186 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80 |  | SGD | 185 | SGD
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
188 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
190 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80 |  | SGD | 0 | SGD
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80 |  | SGD | 0 | SGD
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 180 |  | SGD | 185 | SGD
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 180 |  | SGD | 438 | SGD
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 180 |  | SGD | 180 | SGD
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12 | 432 | Ges price | USD | 432 | USD
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12 | need more information |  |  | 180 | USD | or provide previous cal report
206 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97019 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
207 | DC POWER SUPPLY | TDK Lambda | GENH30-25 | 97020 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
208 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97015 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
209 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97016 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
210 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97017 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
211 | DC POWER SUPPLY | TDK Lambda | GENH60-12.5 | 97018 | Venture PCBA (MS) | 12 | 160 | Ges price | USD | 160 | USD
212 | DC ELECTRONIC LOAD | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
213 | DC ELECTRONIC LOAD | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
214 | DC ELECTRONIC LOAD | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
215 | DC ELECTRONIC LOAD | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 | 180 | Ges price | USD | 144 | USD
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 250 | USD
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 | 200 | Ges price | USD | 200 | USD
219 | Prog Resistor | Marvin Test Solution | GX1164 | 97014 | Venture PCBA (MS) | 12 | 260 | Ges price | USD | 185 | USD
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 | 270 | Ges price | USD | 270 | USD
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 | 270 | Ges price | USD | 270 | USD
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 270 | USD
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12 | 145 | Ges price | USD | 0 | USD
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12 | FOC (verify only) |  | FOC (verify only) | 0 | USD
225 | Prog. Resistance Card | Geotest | GX1164-01 | 11640209 (95750) | Venture PCBA (LC) | 24 | 185 |  | SGD | 185 | USD | Need onsite
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15 | need more information |  |  | 3513.02 | SGD | or provide previous cal report
227 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 44K-0204 | Venture (LC) | 12 | 432 | Ges price | USD | 432 | USD

## myr
MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | 17025 Price | Customer site | Currency | WPPL CM Price | Currency | Remark
Keithley | 236 | 704826 | Flex Senai | 12 | 320 | Ges price | USD | 1279.33 | MYR
Agilent Technologies | 33220A | MY44043984 | Flex Senai | 12 | 250 | Ges price | USD | 160 | MYR
Agilent Technologies | 34411A | MY48002718 | Flex Senai | 12 | 180 | Ges price | USD | 160 | MYR
Chroma | 6314 / 63103 / 63103A | 631400009104/ 631030017035/ 631030017265/ 631030017021/ 63103A000083 | Flex Senai | 12 | 240 | Ges price | USD | 160 | MYR
[5 empty] | 990 |  |  | 1759.33
586.4433

## usd
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | 17025 Price | Customer site | Currency | WPPL CM Price | Currency | Remark
122 | Power SMU | National Instruments | PXI4130 | 1459564 | Flex Senai | 12 | 270 | Ges price | USD | 270 | USD
156 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | Venture PCBA (LC) | 12 | 200 | Ges price | USD | 200 | USD
157 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314 | 63145125/95148 | Venture PCBA (LC) | 12 | 240 | Ges price | USD | 240 | USD
158 | Function/Arbitrary Waveform Generator | Agilent Technologies | 33220A | MY44044085/95154 | Venture PCBA (LC) | 12 | 250 | Ges price | USD | 250 | USD
165 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
166 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
167 | Multimeter | Agilent Technologies | 34411A | MY53002751/95155 | Venture PCBA (LC) | 12 | 180 | Ges price | USD | 144 | USD
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12 | 350 | Ges price | USD | 350 | USD
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12 | 250 | Ges price | USD | 250 | USD
170 | POWER SMU | National Instruments | PXI4130 | 145025B | Venture PCBA (LC) | 12 | 270 | Ges price | USD | 270 | USD
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12 | 180 | Ges price | USD | 160 | USD
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 160 | USD
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12 | 200 | Ges price | USD | 240 | USD
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12 | 240 | Ges price | USD | 240 | USD
212 | DC ELECTRONIC LOAD | Chroma | 63103A | 97010 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
213 | DC ELECTRONIC LOAD | Chroma | 63103A | 97011 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
214 | DC ELECTRONIC LOAD | Chroma | 63103A | 97012 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
215 | DC ELECTRONIC LOAD | Chroma | 63103A | 97013 | Venture PCBA (MS) | 12 | 240 | Ges price | USD | 240 | USD
216 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | 97025 | Venture PCBA (MS) | 12 | 180 | Ges price | USD | 144 | USD
217 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | 97026 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 250 | USD
218 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS 3054C | 97024 | Venture PCBA (MS) | 12 | 200 | Ges price | USD | 200 | USD
220 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97021 | Venture PCBA (MS) | 12 | 270 | Ges price | USD | 270 | USD
221 | Multifunction DAQ | National Instruments | NI PXI-6229 | 97022 | Venture PCBA (MS) | 12 | 270 | Ges price | USD | 270 | USD
222 | Power SMU | National Instruments | NI PXI-4130 | 97023 | Venture PCBA (MS) | 12 | 250 | Ges price | USD | 270 | USD
[7 empty] | 6520 |  |  | 6398

## sgd
MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL | 17025 Price | Customer site | Currency | WPPL CM Price | Currency | Remark
Chroma | 19032 | 19032G400225 | CEI | 12 | 320 | CEI Price | SGD | 646 | SGD
Chroma | S14-03 | 14354696 | CEI | 12 | 230 | CEI Price | SGD | 100 | SGD
Keithley | 236 | 782275 | CEI PCBA | 12 | 330 | CEI Price | SGD | 1227 | SGD
TDK Lambda | GENH30-25 | 09M1019A | CEI PCBA | 12 | 215 | CEI Price | SGD | 176 | SGD
TDK Lambda | GENH30-25 | 09M1020A | CEI PCBA | 12 | 215 |  | SGD | 176 | SGD
Agilent Technologies | 34411A | MY46000358 | CEI PCBA | 12 | 120 | CEI Price | SGD | 160 | SGD
Tektronix | TDS3054C | C011085 | CEI PCBA | 12 | 350 | CEI Price | SGD | 360 | SGD
National Instruments | PXI-6229 | 145DF14 | CEI PCBA | 12 | 350 | CEI Price | SGD | 480 | SGD
National Instruments | PXI-6229 | 145DF42 | CEI PCBA | 12 | 350 | CEI Price | SGD | 480 | SGD
TDK Lambda | GENH60-12.5 | 09M1026A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
TDK Lambda | GENH60-12.5 | 09M1028A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
TDK Lambda | GENH60-12.5 | 09M1029A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
TDK Lambda | GENH60-12.5 | 09M1032A | CEI PCBA | 12 | 215 | CEI Price | SGD | 144 | SGD
Agilent Technologies | 33220A | MY44046858 | CEI PCBA | 12 | 180 | CEI Price | SGD | 280 | SGD
Chroma | 63103 | 631030017022 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
Chroma | 63103 | 631030017023 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
Chroma | 63103 | 631030017030 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
Chroma | 63103 | 631030017042 | CEI PCBA | 12 | 220 | CEI Price | SGD | 240 | SGD
National Instruments | PXI-4130 | 1450264 | CEI PCBA | 12 | 200 | CEI Price | SGD | 480 | SGD
Agilent Technologies | 66103A | US34212664 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66103A | US34212667 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66103A | US34212669 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66103A | US34212670 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66103A | US34212672 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66101A | US34442070 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Agilent Technologies | 66101A | MY40000535 | CEI PCBA | 12 | 165 | CEI Price | SGD | 200 | SGD
Hewlett Packard | 60502B | US37244128 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Hewlett Packard | 60502B | US37244138 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Hewlett Packard | 60502B | US37244141 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Tektronix | TDS460A | B071897 | CEI PCBA | 12 | 280 | CEI Price | SGD | 328 | SGD
Hewlett Packard | 60502B | US37243391 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Hewlett Packard | 60502B | US37244144 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Hewlett Packard | 60502A | 3011A-01246 | CEI PCBA | 12 | 190 | CEI Price | SGD | 200 | SGD
Keithley | 236 | 0786386 | CEI PCBA | 12 | 330 | CEI Price | SGD | 1370 | SGD
Fluke | 51 II | 89280141 | Flex | 12 | 85 |  | SGD | 81 | SGD
AND | HR200 | 12305757 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12305757 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12200404 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12200404 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12303279 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12303279 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12315717 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12315717 | Flex | 6 | 80 |  | SGD | 72 | SGD
Fluke | 110 | 85730619 | Flex | 12 | 85 |  | SGD | 72 | SGD
Fluke | 179 | 90240092 | Flex | 12 | 85 |  | SGD | 72 | SGD
Quadtech | Guardian 6000 | 5037655 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
AND | HR200 | 12316922 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12316922 | Flex | 6 | 80 |  | SGD | 72 | SGD
Fluke | 80K-6 | 89200011 | Flex | 12 | 100 |  |  | 218 | SGD | up to 1KV
Kyoritsu | 2033 | 66386 | Flex | 12 | 120 |  | SGD | 108 | SGD
Quadtech | Guardian 6000 | 6069766 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
Quadtech | Guardian 6000 Plus | 8280865 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
AND | HR200 | 12326186 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326186 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326300 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326300 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12324733 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12324733 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326184 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326184 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326187 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326187 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326180 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326180 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326190 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326190 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326279 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12326279 | Flex | 6 | 80 |  | SGD | 72 | SGD
Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50 |  | SGD | 64 | SGD
Snap-on | QD2R1000 | 1009032663 | Flex | 6 | 50 |  | SGD | 64 | SGD
Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45 |  | SGD | 32 | SGD
Mitutoyo | 2904S / 7217S | LQY537 / 000943 | Flex | 6 | 45 |  | SGD | 32 | SGD
Mitutoyo | 2514S | JDY576 | Flex | 6 | 45 |  | SGD | 24 | SGD
Mitutoyo | 2514S | JDY576 | Flex | 6 | 45 |  | SGD | 24 | SGD
Snap-on | QD1R200 | 408302147 | Flex | 6 | 50 |  | SGD | 64 | SGD
Snap-on | QD1R200 | 408302147 | Flex | 6 | 50 |  | SGD | 64 | SGD
Chroma | 19032 | 19032G000182 | Flex | 12 | 240 | Ges price | USD | 300 | SGD
AND | HR200 | 12336741 | Flex | 6 | 80 |  | SGD | 72 | SGD
AND | HR200 | 12336741 | Flex | 6 | 80 |  | SGD | 72 | SGD
Chroma | S14-03 | 14354695 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
Chroma | S14-03 | 14354681 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
Chroma | S14-03 | 14354691 | Flex | 12 | 230 | CEI Price | SGD | 120 | SGD
Chroma | S14-03 | 7322788 | Flex | 12 | 230 | Ges price | USD | 120 | SGD
Keithley | 236 | 796741 | Flex Senai | 12 | 320 | Ges price | USD | 4500 | SGD
National Instruments | PCI-6025E | 1347EFD | Flex Senai | 12 | 250 | Ges price | USD | 650 | SGD
National Instruments | PXI6229 | 145DF2F | Flex Senai | 12 | 270 | Ges price | USD | 270 | SGD
National Instruments | PXI6229 | 145DF16 | Flex Senai | 12 | 270 | Ges price | USD | 160 | SGD
Tektronix | TDS3054C | C0110786 | Flex Senai | 12 | 200 | Ges price | USD | 160 | SGD
Keithley | 236 | 0810603 | Flex Senai | 12 | 320 | Ges price | USD | 250 | SGD
Keithley | 236 | 0683301(ID#90744) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
Keithley | 236 | 0648831 (ID#90316) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
Keithley | 236 | 497638 | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
Keithley | 236 | 0549819 (ID#95105) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
Keithley | 236 | 0796740 (ID#90275) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 450 | SGD
Keithley | 236 | 0648819 (ID#90317) | Venture PCBA (LC) | 12 | 320 | Ges price | USD | 309 | SGD
AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
AND | HR-200 | 12335004 (93371) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80 |  | SGD | 240 | SGD
AND | HR-200 | 12333739 (93373) | Venture (LC) | 6 | 80 |  | SGD | 144 | SGD
AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80 |  | SGD | 250 | SGD
AND | HR-200 | 12333783 (93372) | Venture (LC) | 6 | 80 |  | SGD | 200 | SGD
AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80 |  | SGD | 185 | SGD
AND | HR-200 | 12333730 (93370) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
AND | HR-200 | 12316088 (90966) | Venture (LC) | 6 | 80 |  | SGD | 270 | SGD
AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80 |  | SGD | 0 | SGD
AND | HR-200 | 12336767(94322) | Venture (LC) | 6 | 80 |  | SGD | 0 | SGD
Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12 | 180 |  | SGD | 185 | SGD
Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12 | 180 |  | SGD | 438 | SGD
Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12 | 180 |  | SGD | 180 | SGD
Chroma | S14-03 | 7322783 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
Chroma | S14-03 | 7322786 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
Chroma | S14-03 | 14354687 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
Chroma | S14-03 | 14354682 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
Chroma | S14-03 | 14354698 | Venture (LC) | 12 | 230 | CEI Price | SGD | 100 | SGD
[5 empty] | 18680 |  |  | 26893