## 2019-2020 comparison
To include autopack
Row Labels | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2019
Calibration $ to CEI | To include autopack Jun: 590.94 | 590.94
Calibration $ to CEI PCBA | To include autopack Nov: 3488.93
Calibration $ to Flex | 1144.41 | 1306.2865 | 800.995 | 1395.435 | 1904.417 | 1219.065 | 1535.2005 | 2152.437 | 1011.5 | 607.77 | 447.111 | 1180.468 | 14705.095
Calibration $ to Flex PCBA | Mar: 481.48; To include autopack Jun: 618.03; To include autopack Sep: 303.98
Calibration $ to Venture | 494.4 | 3564 | 1621 | 2789 | 2327 | 573.6 | 984 | 1352.16 | 0 | 1140 | 1390 | 0 | 16235.16
Calibration $ to Venture PCBA | To include autopack Sep: 720; To include autopack Oct: 344
Calibration $ to Supplier directly | Feb: 1184.13; Mar: 3948.23; Apr: 7320; To include autopack Nov: 2000 | 14452.36
Total Actual calibration in 2019 (Excluding parts/adhoc) | 1638.81 | 6054.4165 | 6851.705 | 11504.435 | 4231.417 | 3001.635 | 2519.2005 | 3504.597 | 2035.48 | 2091.77 | 7326.041 | 1180.468 | 51939.975
Calibration contract (GTS) estimated | 0 | 6568.72 | 0 | 7368.72 | 0 | 0 | 3684.36 | 0 | 0 | 0 | 0 | 0 | 17621.8
Calibration contract (Calibration) estimated | 1022.2222 | 481.4815 | 1333.3333 | 566.67 | 1992.5952 | 392.5926 | 907.4074 | 2785.1852 | 51.8519 | 1888.8889 | 1211.1111 | 607.4074 | 13240.7467
Calibration from other vendors estimated | 616.5878 | -995.785 | 5518.3717 | 3569.045 | 2238.8218 | 2609.0424 | -2072.5669 | 719.4118 | 1983.6281 | 202.8811 | 6114.9299 | 573.0606 | 21077.4283
Note on B5: HuaZhen Luo: Internal: 577.20 +5% SG&A External: 538.35
Note on A6: sgdann: No 10% markup for Fle Senai
Note on C9: sgyyso: PO2019-083 - Optical Gaging
Note on D9: sgyyso: WPPL GTS PO2019-133 Micro Precision ($2105.59) PO2019-145 Keysight ($756.82) PO2019-149 Tektronix ($1,085.82)
Note on E9: sgyyso: 2019-218 Micro Precision 2x GTS at CEI Batam
Note on L9: sgyyso: autopack
Note on C11: HuaZhen Luo: 2 x GTS in Venture due on 18 Feb 2021
Note on E11: HuaZhen Luo: 2 x GTS in CEI Batam due on 25 Apr 2020; + 800 onsite fee
Note on H11: HuaZhen Luo: GTS in Flex Senai due on 15 Jul 2020 + 400 Onsite fee
Note on B12: Edwin Koh: Jan - Microprecision calibration already done before contract - HZ

## 2020 estimate
Forecast
Row Labels | Jan(Act) | Feb(Act) | Mar(Act) | Apr(Act) | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2020
Calibration $ to CEI | [12 empty] | 0 | bar: May to Dec
Calibration $ to CEI PCBA | [12 empty] | 0 | bar: May to Dec
Calibration $ to Flex | 1481.03 | 459.8 | 600.21 | 1009.12 | 489.69 | 879.87 | 1682.78 | 1710.16 | 875.48 | 0 | 0 | 484.33 | 9672.47
Calibration $ to Flex PCBA |  |  |  |  | May: 733.95; Jun: 0; Sep: 366.97 | 1100.92
Calibration $ to Venture | 807.84 | 0 | 4087.69 | 431.2 | 431.2 | 431.2 | 0 | 431.2 | 792 | 0 | 0 | 0 | 7412.33
Calibration $ to Venture PCBA
Total calibration cost from other Vendors | 2288.87 | 459.8 | 4687.9 | 1440.32 | 1654.84 | 1311.07 | 1682.78 | 2141.36 | 2034.45 | 0 | 0 | 484.33 | 18185.72
MPC Calibration contract (GTS) estimated | 0 | 6568.72 | 0 | 7368.72 | 0 | 0 | 3684.36 | 0 | 0 | 0 | 0 | 0 | 17621.8
MPC Calibration contract (Calibration) estimated | 1022.2222 | 481.4815 | 1333.3333 | 566.67 | 1992.5952 | 392.5926 | 907.4074 | 2785.1852 | 51.8519 | 1888.8889 | 1211.1111 | 607.4074 | 13240.7467
Total calibration Cost in 2020 | 3311.0922 | 7510.0015 | 6021.2333 | 9375.71 | 25183.1056 | 1703.6626 | 6274.5474 | 4926.5452 | 2086.3019 | 1888.8889 | 1211.1111 | 1091.7374 | 49048.2667
Adhoc calibration | 629.08 | 640.82 | 1515.09 | 4239.59 | 7120.4 | 556.84 | 1066.13 | 4722.03 | 1104.49 | 896.02 | 497.15 | 8030.59 | 31018.23
Total calibration Cost with Adhoc in 2020 | 3940.1722 | 8150.8215 | 7536.3233 | 13615.3 | 32303.5056 | 2260.5026 | 7340.6774 | 9648.5752 | 3190.7919 | 2784.9089 | 1708.2611 | 9122.3274 | 80066.4967
Billing from CMs
Row Labels | Jan(Act) | Feb(Act) | Mar(Act) | Apr(Act) | May(Act) | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2020
Calibration $ to CEI |  |  |  |  | NA | [7 empty] | 0 | bar: Jun to Dec
Calibration $ to CEI PCBA |  |  |  |  | NA | [7 empty] | 0 | bar: Jun to Dec
Calibration $ to Flex | 1481.03 | 459.8 | 600.21 | 1009.12 | 491.82 | 883.6905 | 1571.1 | 163.9407 | 875.48 | 0 | 0 | 484.33 | 8020.5212
Calibration $ to Flex PCBA |  |  |  |  | 742.5234 | Jun: 0; Sep: 366.97 | 1109.4934
Calibration $ to Venture | 807.84 | 0 | 4087.69 | 431.2 | 0 | 431.2 | 0 | 431.2 | 792 | 0 | 0 | 0 | 6981.13
Calibration $ to Venture PCBA
Total calibration cost from other Vendors | 2288.87 | 459.8 | 4687.9 | 1440.32 | 1234.3434 | 1314.8905 | 1571.1 | 595.1407 | 2034.45 | 0 | 0 | 484.33 | 16111.1446
MPC Calibration contract (GTS) Act |  |  | 6249.12 | 6568.72 | 0 | Jun: 0; Jul: 0 | 12817.84
MPC Calibration contract (Calibration) Act |  |  | 1088.9 | 940.45 | 2133.35 | Jun: 392.58; Jul: 922.22 | 5477.5
Adhoc calibration | 629.08 | 640.82 | 1515.09 | 4239.59 | 838.2484 | 2188.4728 | 752.98 | 4722.03 | 1104.49 | 896.02 | 497.15 | 8030.59 | 26054.5612
Total calibration Cost with Adhoc in 2020 | 2917.95 | 1100.62 | 13541.01 | 13189.08 | 4205.9418 | 3895.9433 | 3246.3 | 5317.1707 | 3138.94 | 896.02 | 497.15 | 8514.92 | 60461.0458
Differences
Row Labels | Jan(Act) | Feb(Act) | Mar(Act) | Apr(Act) | May(Act) | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2020
Calibration $ to CEI |  |  |  |  | NA | [7 empty] | 0 | bar: Jun to Dec
Calibration $ to CEI PCBA |  |  |  |  | NA | [7 empty] | 0 | bar: Jun to Dec
Calibration $ to Flex | 0 | 0 | 0 | 0 | 2.13 | 3.8205 | -111.68 | -1546.2193 | 0 | 0 | 0 | 0 | -1651.9488
Calibration $ to Flex PCBA | 0 | 0 | 0 | 0 | 8.5734 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.5734
Calibration $ to Venture | 0 | 0 | 0 | 0 | -431.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -431.2
Calibration $ to Venture PCBA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total calibration cost from other Vendors | 0 | 0 | 0 | 0 | -420.4966 | 3.8205 | -111.68 | -1546.2193 | 0 | 0 | 0 | 0 | -2074.5754
MPC Calibration contract (GTS) |  |  | -319.6 | 6568.72 | -7368.72 | 0 | 0 | -3684.36 | 0 | 0 | 0 | 0 | -4803.96
MPC Calibration contract (Calibration) |  |  | -244.4333 | 373.78 | 140.7548 | -0.012593 | 14.8126 | -2785.1852 | -51.8519 | -1888.8889 | -1211.1111 | -607.4074 | -6259.543
Adhoc calibration | 0 | 0 | 0 | 0 | -6282.1516 | 1631.6328 | -313.15 | 0 | 0 | 0 | 0 | 0 | -4963.6688
Total calibration Cost with Adhoc in 2020 | -1022.2222 | -7050.2015 | 6004.6867 | -426.22 | -1022.2222 | 1635.4407 | -4094.3774 | -4331.4045 | -51.8519 | -1888.8889 | -1211.1111 | -607.4074 | -18101.7472
Note on A6: sgdann: No 10% markup for Fle Senai