## 2019-2020 comparison
To include autopack
Row Labels | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2019
Calibration $ to CEI | To include autopack Jun: 590.94 | 590.94
Calibration $ to CEI PCBA | To include autopack Nov: 3488.93
Calibration $ to Flex | 1144.41 | 1306.2865 | 800.995 | 1395.435 | 1904.417 | 1219.065 | 1535.2005 | 2152.437 | 1011.5 | 607.77 | 447.111 | 1180.468 | 14705.095
Calibration $ to Flex PCBA | Mar: 481.48; To include autopack Jun: 618.03; To include autopack Sep: 303.98
Calibration $ to Venture | 494.4 | 3564 | 1621 | 2789 | 2327 | 573.6 | 984 | 1352.16 | 0 | 1140 | 1390 | 0 | 16235.16
Calibration $ to Venture PCBA | To include autopack Sep: 720; To include autopack Oct: 344
Calibration $ to Supplier directly | Feb: 1184.13; Mar: 3948.23; Apr: 7320; To include autopack Nov: 2000 | 14452.36
Total Actual calibration in 2019 (Excluding parts/adhoc) | 1638.81 | 6054.4165 | 6851.705 | 11504.435 | 4231.417 | 3001.635 | 2519.2005 | 3504.597 | 2035.48 | 2091.77 | 7326.041 | 1180.468 | 51939.975
Calibration contract (GTS) estimated | 0 | 6568.72 | 0 | 7368.72 | 0 | 0 | 3684.36 | 0 | 0 | 0 | 0 | 0 | 17621.8
Calibration contract (Calibration) estimated | 1022.2222 | 481.4815 | 1333.3333 | 566.67 | 1992.5952 | 392.5926 | 907.4074 | 2785.1852 | 51.8519 | 1888.8889 | 1211.1111 | 607.4074 | 13240.7467
Calibration from other vendors estimated | 616.5878 | -995.785 | 5518.3717 | 3569.045 | 2238.8218 | 2609.0424 | -2072.5669 | 719.4118 | 1983.6281 | 202.8811 | 6114.9299 | 573.0606 | 21077.4283
Note on B5: HuaZhen Luo: Internal: 577.20 +5% SG&A External: 538.35
Note on A6: sgdann: No 10% markup for Fle Senai
Note on C9: sgyyso: PO2019-083 - Optical Gaging
Note on D9: sgyyso: WPPL GTS PO2019-133 Micro Precision ($2105.59) PO2019-145 Keysight ($756.82) PO2019-149 Tektronix ($1,085.82)
Note on E9: sgyyso: 2019-218 Micro Precision 2x GTS at CEI Batam
Note on L9: sgyyso: autopack
Note on C11: HuaZhen Luo: 2 x GTS in Venture due on 18 Feb 2021
Note on E11: HuaZhen Luo: 2 x GTS in CEI Batam due on 25 Apr 2020; + 800 onsite fee
Note on H11: HuaZhen Luo: GTS in Flex Senai due on 15 Jul 2020 + 400 Onsite fee
Note on B12: Edwin Koh: Jan - Microprecision calibration already done before contract - HZ

## 2020 estimate
To include autopack
Row Labels | Jan(Act) | Feb(Act) | Mar(Act) | Apr(Act) | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total 2019
Calibration $ to CEI |  |  |  |  | To include autopack Jun: 590.94 | 590.94
Calibration $ to CEI PCBA |  |  |  |  | To include autopack Nov: 3488.93
Calibration $ to Flex | 1144.41 | 1306.2865 | 800.995 | 1395.435 | 1904.417 | 1219.065 | 1535.2005 | 2152.437 | 1011.5 | 607.77 | 447.111 | 1180.468 | 14705.095
Calibration $ to Flex PCBA |  |  | 481.48 |  | To include autopack Jun: 618.03; To include autopack Sep: 303.98
Calibration $ to Venture | 494.4 | 3564 | 1621 | 2789 | 2327 | 573.6 | 984 | 1352.16 | 0 | 1140 | 1390 | 0 | 16235.16
Calibration $ to Venture PCBA |  |  |  |  | To include autopack Sep: 720; To include autopack Oct: 344
Adhoc calibration | bar: To include autopack Sep to To include autopack Oct
Calibration $ to Supplier directly |  | 1184.13 | 3948.23 | 7320 | To include autopack Nov: 2000 | 14452.36
Total Actual calibration in 2019 (Excluding parts/adhoc) | 1638.81 | 6054.4165 | 6851.705 | 11504.435 | 4231.417 | 3001.635 | 2519.2005 | 3504.597 | 2035.48 | 2091.77 | 7326.041 | 1180.468 | 51939.975
Calibration contract (GTS) estimated | 0 | 6568.72 | 0 | 7368.72 | 0 | 0 | 3684.36 | 0 | 0 | 0 | 0 | 0 | 17621.8
Calibration contract (Calibration) estimated | 1022.2222 | 481.4815 | 1333.3333 | 566.67 | 1992.5952 | 392.5926 | 907.4074 | 2785.1852 | 51.8519 | 1888.8889 | 1211.1111 | 607.4074 | 13240.7467
Calibration from other vendors estimated | 616.5878 | -995.785 | 5518.3717 | 3569.045 | 2238.8218 | 2609.0424 | -2072.5669 | 719.4118 | 1983.6281 | 202.8811 | 6114.9299 | 573.0606 | 21077.4283
Note on B5: HuaZhen Luo: Internal: 577.20 +5% SG&A External: 538.35
Note on A6: sgdann: No 10% markup for Fle Senai
Note on C10: sgyyso: PO2019-083 - Optical Gaging
Note on D10: sgyyso: WPPL GTS PO2019-133 Micro Precision ($2105.59) PO2019-145 Keysight ($756.82) PO2019-149 Tektronix ($1,085.82)
Note on E10: sgyyso: 2019-218 Micro Precision 2x GTS at CEI Batam
Note on L10: sgyyso: autopack
Note on C12: HuaZhen Luo: 2 x GTS in Venture due on 18 Feb 2021
Note on E12: HuaZhen Luo: 2 x GTS in CEI Batam due on 25 Apr 2020; + 800 onsite fee
Note on H12: HuaZhen Luo: GTS in Flex Senai due on 15 Jul 2020 + 400 Onsite fee
Note on B13: Edwin Koh: Jan - Microprecision calibration already done before contract - HZ