## Summary
Summary | Amount (US$)
Calibration Cost- Box Build | 1909.7803
Calibration Cost-PCBA | 0
At hoc-Spare and Misc | 290.0986
Total | 2199.8789

## Internal
Internal Calibration for Equipment used in Waters@Kallang Place
July 2020 Internal Calibration
[7 empty] | Sum |  |  | 1187.61
[7 empty] | SG&A |  |  | 59.3805
[7 empty] | Profit |  |  | 124.699
[7 empty] | Subtotal Internal Calibration |  |  | 1371.6895
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Remarks
1 | 0223 | Joel Mamalateo Deduyo | HPMV Tester | WATERS | NA | TE82625-1 | 06 Months | 2020-07-16 | 2021-01-16 | 141.94
2 | 0225 | Joel Mamalateo Deduyo | Injector Seal Pack Tester | WATERS | TE82503-4 | TE82503-4 | 06 Months | 2020-07-16 | 2021-01-16 | 141.94
3 | 1395 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E727A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
4 | 1397 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E729A | 12 Months | 2020-07-20 | 2021-07-20 | 105.29
5 | 1398 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E730A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
6 | 1402 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E734A | 12 Months | 2020-07-17 | 2021-07-17 | 105.29
7 | 1403 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E735A | 12 Months | 2020-07-08 | 2021-07-08 | 105.29
8 | 1405 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E737A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
9 | 1428 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E710A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
10 | 1781 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | C13CHM795R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
11 | 1782 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | D12CHM299R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
12 | 1783 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | K14CHM398R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
13 | 1784 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | L14CHM438R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
14 | 1787 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | D15CHM641R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34

## External
External Calibration for Equipment used in Waters@Kallang Place
July 2020 External Calibration
[8 empty] | SUM |  | 489.1734
[8 empty] | 10% Support Cost |  | 48.9173
[8 empty] | Subtotal |  | 538.0908
[7 empty] | Convertion rate |  |  | 1.3901
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CAL DATE | PO | Cost USD | Cost SGD | VENDOR | Remarks
1 | 0206 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
2 | 0216 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
3 | 0217 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
4 | 0226 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
5 | 0278 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
6 | 0497 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
7 | 2769 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12303631 | 06 Months | 2020-07-09 | NA | NA | NA | Micro Precision
8 | 0597 | Joel Mamalateo Deduyo | Mass Flow Meter | AALBORG | GFM17 | 170609-1 | 12 Months | 2020-07-08 | J12A11144 | 489.1734 | 680 | Caltek

## PM
Preventive Maintenance for Equipment used in Waters@Kallang Place
July 2020 Internal Calibration
[7 empty] | Sum |  |  | 0
[7 empty] | SG&A |  |  | 0
[7 empty] | Profit |  |  | 0
[7 empty] | Subtotal Internal Calibration |  |  | 0
S/N | PM EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | CUSTOMER ID : | PM INTERVAL | PM DATE | DUE DATE | COST (US$) | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0 | NA

## SENAI_
WATERS CONSIGN EQUIPMENT TRACKING RECORD | [7 empty] | Total Cost | 0
July 2020 SENAI Calibration | [6 empty] | 4.28 |  | 1.3901
2020
S/N | EQID | DESCRIPTION | EQUIPMENT SERIAL NO. | CUSTOMER PROPERTY TAG | Cal Due Date | Schedule for 2020 | Price in MYR | Price in SGD | Price in USD | Invoice | Calibration Report | Cert | Remarks
1 | NA | NA | NA | NA | NA | NA | 0 | 0 | 0 | NA | NA | NA | NA
[6 empty] | TOTAL | 0 | 0 | 0
[7 empty] | . | . | .

## Parts
Spare Parts used in Waters@Kallang Place
July 2020 Calibration
[5 empty] | SUM | 263.726
[5 empty] | COA | 26.3726
[5 empty] | Total sum | 290.0986
S/N | Date | DESCRIPTION | Part no | BAAN No. | Quantity | Cost (US$)/EA | Remarks
1 | 2020-07-09 | ASSY, HB DEUTERIUM LAMP | WAT-402000351 | WAT-402000351 | 1 | 153.626 | For 2489 detectors 186248900 s/n: H1387E710A due to expiry of lamp hours.
2 | 2020-05-20 | INLINE FILTER ASSY | WAT-WAT035190 | WAT-WAT035190 | 6 | 13.4 | For Alliance Final Tester 5 (4x) and Injector tester TE82503-5 (2x)
3 | 2020-05-29 | ASSY, FITTING PLUG | WAT-WAT025566 | WAT-WAT025566 | 5 | 5.94 | For HPMV testers TE82625-1 (1x) and Alliance Final Testers (4x)

## Others
Others (Fixture, repairs etc)
July 2020 Calibration
|  |  | SUM |  | 0
|  |  | 10% Support Cost |  | 0
|  |  | Subtotal Others |  | 0
|  |  | Convertion rate |  | 1.4211
S/N | Date | Element / Avtivity | Quantity | Cost SGD | Cost (US$) | Remarks | Attachment
NA | NA | NA | NA | 0 | 0 | NA | NA