## Sheet1
Internal Calibration for Equipment used in Waters@Kallang Place
July 2020 Internal Calibration
[7 empty] | Sum |  |  | 1187.61
[7 empty] | SG&A |  |  | 59.3805
[7 empty] | Profit |  |  | 124.699
[7 empty] | Subtotal Internal Calibration |  |  | 1371.6895
S/N | EQID | OWNER | EQUIPMENT | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Cal Report | Remarks
1 | 0223 | Joel Mamalateo Deduyo | HPMV Tester | WATERS | NA | TE82625-1 | 06 Months | 2020-07-16 | 2021-01-16 | 141.94
2 | 0225 | Joel Mamalateo Deduyo | Injector Seal Pack Tester | WATERS | TE82503-4 | TE82503-4 | 06 Months | 2020-07-16 | 2021-01-16 | 141.94
3 | 1395 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E727A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
4 | 1397 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E729A | 12 Months | 2020-07-20 | 2021-07-20 | 105.29
5 | 1398 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E730A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
6 | 1402 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E734A | 12 Months | 2020-07-17 | 2021-07-17 | 105.29
7 | 1403 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E735A | 12 Months | 2020-07-08 | 2021-07-08 | 105.29
8 | 1405 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E737A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
9 | 1428 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | WATERS | 186248900 | H1387E710A | 12 Months | 2020-07-09 | 2021-07-09 | 105.29
10 | 1781 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | C13CHM795R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
11 | 1782 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | D12CHM299R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
12 | 1783 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | K14CHM398R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
13 | 1784 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | L14CHM438R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34
14 | 1787 | Joel Mamalateo Deduyo | Column Heater | WATERS | WAT091727 | D15CHM641R | 12 Months | 2020-07-17 | 2021-07-17 | 33.34