## Summary
Summary | Amount (US$)
Calibration Cost- Box Build | 883.6905
Calibration Cost-PCBA | 1150.5172
At hoc-Spare and Misc | 1037.9556
Total | 3072.1633

## Internal
Internal Calibration for Equipment used in Waters@Kallang Place
June 2020 Internal Calibration
[7 empty] | Sum |  |  | 765.1
[7 empty] | SG&A |  |  | 38.255
[7 empty] | Profit |  |  | 80.3355
[7 empty] | Subtotal Internal Calibration |  |  | 883.6905
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Remarks
1 | 1394 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
2 | 1396 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2020-06-28 | 2021-06-28 | 105.29
3 | 1399 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2020-06-04 | 2021-06-04 | 105.29
4 | 1400 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
5 | 1401 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
6 | 1404 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2020-06-21 | 2021-06-21 | 105.29
7 | 2352 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM834M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
8 | 2353 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM835M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
9 | 2354 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM839M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
10 | 2355 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM840M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34

## External
External Calibration for Equipment used in Waters@Kallang Place
June 2020 External Calibration
[8 empty] | SUM |  | 0
[8 empty] | 10% Support Cost |  | 0
[8 empty] | Subtotal |  | 0
[7 empty] | Convertion rate |  |  | 1.4211
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CAL DATE | PO | Cost USD | Cost SGD | VENDOR | Remarks
1 | 0499 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2020-06-03 | NA | NA | NA | Micro Precision | Customer Paid
2 | 0501 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2020-06-03 | NA | NA | NA | Micro Precision | Customer Paid
3 | 0502 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2020-06-03 | NA | NA | NA | Micro Precision | Customer Paid
4 | 0503 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2020-06-03 | NA | NA | NA | Micro Precision | Customer Paid
5 | 0504 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2020-06-03 | NA | NA | NA | Micro Precision | Customer Paid

## PM
Preventive Maintenance for Equipment used in Waters@Kallang Place
June 2020 Internal Calibration
[7 empty] | Sum |  |  | 126.32
[7 empty] | SG&A |  |  | 6.316
[7 empty] | Profit |  |  | 13.2636
[7 empty] | Subtotal Internal Calibration |  |  | 145.8996
S/N | PM EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | CUSTOMER ID : | PM INTERVAL | PM DATE | DUE DATE | COST (US$) | Remarks
1 | PM 03477 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-11 | 12 Months | 2020-06-12 | 2021-06-12 | 15.79
2 | PM 03478 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-12 | 12 Months | 2020-06-12 | 2021-06-12 | 15.79
3 | PM 03479 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-13 | 12 Months | 2020-06-12 | 2021-06-12 | 15.79
4 | PM 03480 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-14 | 12 Months | 2020-06-12 | 2021-06-12 | 15.79
5 | PM 03481 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-15 | 12 Months | 2020-06-17 | 2021-06-17 | 15.79
6 | PM 03482 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-16 | 12 Months | 2020-06-17 | 2021-06-17 | 15.79
7 | PM 03483 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-17 | 12 Months | 2020-06-17 | 2021-06-17 | 15.79
8 | PM 03484 | Joel Mamalateo Deduyo | Acquity SDS tester | Waters | TE82943 | TE82943-18 | 12 Months | 2020-06-17 | 2021-06-17 | 15.79

## SENAI_
WATERS CONSIGN EQUIPMENT TRACKING RECORD | [7 empty] | Total Cost | 1150.5172
June 2020 SENAI Calibration | [6 empty] | 4.28 |  | 1.4211
2020
S/N | EQID | DESCRIPTION | EQUIPMENT SERIAL NO. | CUSTOMER PROPERTY TAG | Cal Due Date | Schedule for 2020 | Price in MYR | Price in SGD | Price in USD | Invoice | Calibration Report | Cert | Remarks
1 | S0645 | Keithley 236 _ Source Measure Units | 810603 | NA | 2021-06-05 | NA | 0 | 1635 | 1150.5172
[6 empty] | TOTAL | 0 | 1635 | 1150.5172
[7 empty] | . | . | .

## Parts
Spare Parts used in Waters@Kallang Place
June 2020 Calibration
[5 empty] | SUM | 810.96
[5 empty] | COA | 81.096
[5 empty] | Total sum | 892.056
S/N | Date | DESCRIPTION | Part no | BAAN No. | Quantity | Cost (US$)/EA | Remarks
1 | 2020-05-20 | ASSY, CABLE, THERMAL SWITCH | WAT-441001453 | WAT-441001453 | 1 | 1.66 | For 2998 detector(golden unit) p/n: 186002998 s/n: D089980406A due to noise failure.(For Spare bench P/n: 700011867)
2 | 2020-05-20 | ASSY, CABLE TEMPERATURE SENSOR | WATH-279001871 | WATH-279001871 | 1 | 41.17 | For PDA detector(golden unit) p/n: 186005032 s/n: BETUPD008N due temperature sensor failure.(For Spare bench P/n: 700011652)
3 | 2020-05-29 | ASSY, HB DEUTERIUM LAMP | WAT-402000351 | WAT-402000351 | 5 | 153.626 | For 2489 detectors 186248900 s/n: H1387E728A,H1387E733A,H1387E732A,H1387E736A and D1387E766A due to expiry of lamp hours.

## Others
Others (Fixture, repairs etc)
June 2020 Calibration
|  |  | SUM |  | 0
|  |  | 10% Support Cost |  | 0
|  |  | Subtotal Others |  | 0
|  |  | Convertion rate |  | 1.4211
S/N | Date | Element / Avtivity | Quantity | Cost SGD | Cost (US$) | Remarks | Attachment
NA | NA | NA | NA | 0 | 0 | NA | NA