## Sheet1
Internal Calibration for Equipment used in Waters@Kallang Place
June 2020 Internal Calibration
[7 empty] | Sum |  |  | 765.1
[7 empty] | SG&A |  |  | 38.255
[7 empty] | Profit |  |  | 80.3355
[7 empty] | Subtotal Internal Calibration |  |  | 883.6905
S/N | EQID | OWNER | EQUIPMENT | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Cal Report | Remarks
1 | 1394 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
2 | 1396 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2020-06-28 | 2021-06-28 | 105.29
3 | 1399 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2020-06-04 | 2021-06-04 | 105.29
4 | 1400 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
5 | 1401 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2020-06-12 | 2021-06-12 | 105.29
6 | 1404 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2020-06-21 | 2021-06-21 | 105.29
7 | 2352 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM834M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
8 | 2353 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM835M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
9 | 2354 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM839M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34
10 | 2355 | Joel Mamalateo Deduyo | Column Heater Module | Waters | WAT038040 | M17CHM840M | 12 Months | 2020-06-12 | 2021-06-12 | 33.34