## Waters
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active
1 | 0196 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | 12 Months | 2019-07-30 | 2020-07-30 | TSIA | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
2 | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 90891 | Waters | Waters - Production | Y
3 | 0207 | Column Heater | Waters | WAT091727 | M03CHM015R | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81008 | Waters | Waters 5th Floor | Y
4 | 0208 | Column Heater | Waters | WAT091727 | E01CHM203R | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81009 | Waters | Waters 5th Floor | Y
5 | 0209 | Column Heater | Waters | WAT091727 | D01CHM128R | 12 Months | 2020-01-23 | 2021-01-23 | Internal | Joel Mamalateo Deduyo | Y | 81010 | Waters | Waters - Production | Y
6 | 0210 | Column Heater | Waters | WAT091727 | K03CHM938R | 12 Months | 2020-01-23 | 2021-01-23 | Internal | Joel Mamalateo Deduyo | Y | 81011 | Waters | Waters - Production | Y
7 | 0211 | Column Heater | Waters | WAT091727 | B03CHM551R | 12 Months | 2020-01-24 | 2021-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81012 | Waters | Waters - Production | Y
8 | 0212 | Column Heater | Waters | WAT091727 | F00CHM528R | 12 Months | 2020-01-24 | 2021-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81013 | Waters | Waters - Production | Y
9 | 0213 | Column Heater | Waters | WAT091727 | F00CHM531R | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81014 | Waters | Waters - Production | Y
10 | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 90038 | Waters | Waters - Production | Y
11 | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 90018 | Waters | Waters - Production | Y
12 | 0221 | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2020-05-21 | 2020-11-21 | Internal | Joel Mamalateo Deduyo | Y | TE82705-2 | Waters | Waters - Production | Y
13 | 0222 | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2020-05-21 | 2020-11-21 | Internal | Joel Mamalateo Deduyo | Y | TE82534 | Waters | 5th Floor | Y
14 | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82625-1 | Waters | Waters - Production | Y
15 | 0224 | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2020-05-22 | 2020-11-22 | Internal | Joel Mamalateo Deduyo | Y | TE82519 | Waters | 5th Floor | Y
16 | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82503-4 | Waters | Waters - Production | Y
17 | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 90913 | Waters | Waters - Production | Y
18 | 0233 | Column Heater | Waters | WAT038040 | H01CHM352M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81020 | Waters | Waters - Production | Y
19 | 0234 | Column Heater | Waters | WAT038040 | M00CHM910M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81021 | Waters | Waters - Production | Y
20 | 0235 | Column Heater | Waters | WAT038040 | H01CHM335M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81022 | Waters | Waters - Production | Y
21 | 0236 | Column Heater | Waters | WAT038040 | MX6JM7863M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81018 | Waters | Waters - Production | Y
22 | 0237 | Column Heater | Waters | WAT038040 | L97CHM711M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81019 | Waters | Waters 5th Floor | Y
23 | 0238 | Column Heater | Waters | WAT038040 | MX6KM9444M | 12 Months | 2020-04-02 | 2021-04-02 | Internal | Joel Mamalateo Deduyo | Y | 81017 | Waters | Waters 5th Floor | Y
24 | 0239 | Column Heater | Waters | WAT038040 | MX5MM5993M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81023 | Waters | Waters - Production | Y
25 | 0244 | Column Heater | Waters | WAT038040 | MX6JM7867M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81016 | Waters | Waters - Production | Y
26 | 0245 | Digital Multimeter | Fluke | 110 | 85730619 | 12 Months | 2019-12-16 | 2020-12-16 | TSIA | Joel Mamalateo Deduyo | N | 96263 | Waters | Waters - Production | Y
27 | 0246 | Digital Multimeter | Fluke | 179 | 90240092 | 12 Months | 2020-02-13 | 2021-02-13 | TSIA | Joel Mamalateo Deduyo | N | 91368 | Waters | Waters - Production | Y
28 | *** 0249 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | 12 Months | 2020-01-08 | 2021-01-08 | Micro Precision | Joel Mamalateo Deduyo | N | 95037 | Waters | Waters 5th Floor | Y
29 | 0256 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | 12 Months | 2019-11-22 | 2020-11-21 | Scientific Instruments | Joel Mamalateo Deduyo | N | WT-TE-0331 | Waters | 5th Floor | Y
30 | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2020-02-27 | 2020-08-27 | Internal | Joel Mamalateo Deduyo | Y | TE82503-05 | Waters | Waters - Production | Y
31 | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 95206 | Waters | Waters - Production | Y
32 | 0279 | High Voltage Probe | Fluke | 80K-6 | 89200011 | 12 Months | 2019-09-24 | 2020-09-24 | SGS | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
33 | 0280 | Clamp Meter | Kyoritsu | 2033 | 66386 | 12 Months | 2019-07-30 | 2020-07-30 | TSIA | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
34 | *** 0360 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | 12 Months | 2019-11-28 | 2020-11-28 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters 5th Floor | Y
35 | 0431 | Picoammeter | Keithley | 485 | 435110 | 12 Months | 2020-02-18 | 2021-02-18 | Keysight Technologies | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
36 | *** 0432 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 08280865 | 12 Months | 2019-10-03 | 2020-10-03 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
37 | 0458 | Auto Pressure (Flowcell Tester) | Waters | NA | TE-82475-2 | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | 5th Floor | Y
38 | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 90610 | Waters | Waters - Production | Y
39 | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90605 | Waters | Waters - Production | Y
40 | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 90608 | Waters | Waters - Production | Y
41 | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90604 | Waters (1500 Pump) | Waters - Production | Y
42 | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90603 | Waters | Waters - Production | Y
43 | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90600 | Waters | Waters - Production | Y
44 | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90607 | Waters | Waters - Production | Y
45 | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2020-03-04 | 2020-09-04 | Ming Deng | Phani | N | NA | Waters | 5th Floor | Y
46 | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2020-03-06 | 2020-09-06 | Ming Deng | Phani | N | NA | Waters | Waters - Production | Y
47 | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2020-03-06 | 2020-09-06 | Ming Deng | Phani | N | NA | Waters | Waters - Production | Y
48 | 0597 | Mass Flow Meter | AALBORG | GFM17 | 170609-1 | 12 Months | 2020-07-08 | 2021-07-08 | Caltek | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
49 | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2020-03-04 | 2020-09-04 | Ming Deng | Gary Lai Yam Bee | N | NA | Waters | Waters - Production | Y
50 | 1109 | Dual Wavelength Detector | Waters | TUV Detector | K05UPT479M | 12 Months | 2020-01-31 | 2021-01-31 | Internal | Joel Mamalateo Deduyo | Y | 91897 | Waters | Waters - Production | Y
51 | 1394 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
52 | 1395 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E727A | 12 Months | 2020-07-09 | 2021-07-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
53 | 1396 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2020-06-24 | 2021-06-24 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
54 | 1397 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E729A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
55 | 1398 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E730A | 12 Months | 2020-07-09 | 2021-07-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
56 | 1399 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2020-06-04 | 2021-06-04 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
57 | 1400 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
58 | 1401 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
59 | 1402 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E734A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
60 | 1403 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E735A | 12 Months | 2020-07-08 | 2021-07-08 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
61 | 1404 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2020-06-19 | 2021-06-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
62 | 1405 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E737A | 12 Months | 2020-07-09 | 2021-07-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
63 | 1428 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E710A | 12 Months | 2020-07-09 | 2021-07-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
64 | 1429 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E759A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
65 | 1430 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E763A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
66 | 1431 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E765A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
67 | 1432 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E766A | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
68 | 1433 | 2489 UV / Visible Detector | Waters | 186248900 | C1387E135M | 12 Months | 2020-04-08 | 2021-04-08 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
69 | *** 1492 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | 12 Months | 2019-10-26 | 2020-10-26 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
70 | 1515 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E607A | 12 Months | 2019-12-26 | 2020-12-26 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
71 | 1516 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E608A | 12 Months | 2019-12-27 | 2020-12-27 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
72 | 1519 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E609A | 12 Months | 2019-12-27 | 2020-12-27 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
73 | 1520 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E610A | 12 Months | 2019-12-26 | 2020-12-26 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
74 | 1577 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | 12 Months | 2019-09-04 | 2020-09-04 | Xrite | Hayati Binte Isshak | N | NA | Waters | Changi South - IQA | Y
75 | 1781 | Column Heater | WATERS | WAT091727 | C13CHM795R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
76 | 1782 | Column Heater | WATERS | WAT091727 | D12CHM299R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
77 | 1783 | Column Heater | WATERS | WAT091727 | K14CHM398R | 12 Months | 2019-07-18 | 2020-07-18 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
78 | 1784 | Column Heater | WATERS | WAT091727 | L14CHM438R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
79 | 1787 | Column Heater | WATERS | WAT091727 | D15CHM641R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
80 | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters (BSM/QSM ) | Waters - Production | Y
81 | 2092 | Electronic Weigh Balance | AND | HR200 | 12337042 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 92207 | Waters (Pump Series) | Waters - Production | Y
82 | *** 2094 | Load Box | Chroma | S14-03 | 14354695 | 12 Months | 2019-12-12 | 2020-12-12 | TSIA | Joel Mamalateo Deduyo | N | 86080 | Waters (Generic) | Waters - Production | Y
83 | *** 2095 | Load Box | Chroma | S14-03 | 14354681 | 12 Months | 2020-03-06 | 2021-03-06 | Micro Precision | Joel Mamalateo Deduyo | N | 86081 | Waters (Generic) | Waters - Production | Y
84 | *** 2096 | Load Box | Chroma | S14-03 | 14354691 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86079 | Waters (Generic) | Waters - Production | Y
85 | *** 2097 | Load Box | Chroma | S14-03 | 7322788 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86085 | Waters (Generic) | Waters - Production | Y
86 | 2217 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | 12 Months | 2020-03-30 | 2021-03-30 | Micro Precision | Joel Mamalateo Deduyo | N | 95515 | Waters | Waters - Production | Y
87 | 2348 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E101A | 12 Months | 2020-03-20 | 2021-03-20 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
88 | 2349 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E103A | 12 Months | 2020-03-20 | 2021-03-20 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
89 | 2350 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E106A | 12 Months | 2020-03-13 | 2021-03-13 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
90 | 2351 | 2489 UV / Visible Detector | Waters | 186248900 | D1887E275A | 12 Months | 2020-04-08 | 2021-04-08 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
91 | 2352 | Column Heater Module | Waters | WAT038040 | M17CHM834M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
92 | 2353 | Column Heater Module | Waters | WAT038040 | M17CHM835M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
93 | 2354 | Column Heater Module | Waters | WAT038040 | M17CHM839M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
94 | 2355 | Column Heater Module | Waters | WAT038040 | M17CHM840M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
95 | 2769 | Electronic Weigh Balance | AND | HR200 | 12303631 | 06 Months | 2020-07-09 | 2021-01-09 | Micro Precision | Joel Mamalateo Deduyo | N | 82184 | Waters | Waters - Production | Y
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec