## Summary
Summary | Amount (US$)
Calibration Cost- Box Build | 600.2124
Calibration Cost-PCBA | 0
At hoc-Spare and Misc | 790.427
Total | 1390.6394

## Internal
Internal Calibration for Equipment used in Waters@Kallang Place
Mar 2020 Internal Calibration
[7 empty] | Sum |  |  | 315.87
[7 empty] | SG&A |  |  | 15.7935
[7 empty] | Profit |  |  | 33.1664
[7 empty] | Subtotal Internal Calibration |  |  | 364.8299
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Remarks
1 | 2348 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E101A | 12 Months | 2020-03-20 | 2021-03-20 | 105.29 | NA
2 | 2349 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E103A | 12 Months | 2020-03-20 | 2021-03-20 | 105.29 | NA
3 | 2350 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E106A | 12 Months | 2020-03-13 | 2021-03-13 | 105.29 | NA

## External
External Calibration for Equipment used in Waters@Kallang Place
Mar 2020 External Calibration
[8 empty] | SUM |  | 213.9841
[8 empty] | 10% Support Cost |  | 21.3984
[8 empty] | Subtotal |  | 235.3825
[7 empty] | Convertion rate |  |  | 1.3973
S/N | EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CAL DATE | PO | Cost USD | Cost SGD | VENDOR | Remarks
1 | 0592 | Phani | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2020-03-04 | J12A10191 | 57.2533 | 80 | Ming Deng
2 | 0594 | Phani | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2020-03-06 | J12A10191 | 22.9013 | 32 | Ming Deng
3 | 0595 | Phani | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2020-03-06 | J12A10191 | 19.323 | 27 | Ming Deng
4 | 0877 | Gary Lai Yam Bee | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2020-03-04 | J12A10191 | 57.2533 | 80 | Ming Deng
5 | 0497 | Joel Mamalateo Deduyo | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-01-31 | J12A10191 | 57.2533 | 80 | Ming Deng
6 | 2217 | Joel Mamalateo Deduyo | 'Benchtop Measuring Machine | 'Quality Vision International | 'StarLite 150 | 'RSL1002609 | 12 Months | 2020-03-30 | NA | 0 | 0 | Micro Precision | Customer Paid

## PM
Preventive Maintenance for Equipment used in Waters@Kallang Place
Mar 2020 Internal Calibration
[8 empty] | Sum |  |  | 0
[8 empty] | SG&A |  |  | 0
[8 empty] | Profit |  |  | 0
[8 empty] | Subtotal Internal Calibration |  |  | 0
S/N | Past Cal EQID | PM EQID | OWNER | Equipment Description | MANUFACTURER | MODEL | SERIAL NO. | PM INTERVAL | PM DATE | DUE DATE | COST (US$) | Remarks
1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## SENAI_
WATERS CONSIGN EQUIPMENT TRACKING RECORD | [7 empty] | Total Cost | 0
Mar 2020 SENAI Calibration | [6 empty] | 4.2086 |  | 1.3973
2020
S/N | EQID | DESCRIPTION | EQUIPMENT SERIAL NO. | CUSTOMER PROPERTY TAG | Cal Due Date | Schedule for 2020 | Price in MYR | Price in SGD | Price in USD | Invoice | Calibration Report | Cert
1 | NA | NA | NA | NA | NA | NA | NA | NA | 0 | NA | NA | NA
[6 empty] | TOTAL | 0 | 0 | 0
[7 empty] | . | . | .

## Parts
Spare Parts used in Waters@Kallang Place
Mar 2020 Calibration
[5 empty] | SUM | 718.57
[5 empty] | COA | 71.857
[5 empty] | Total sum | 790.427
S/N | Date | DESCRIPTION | Part no | BAAN No. | Quantity | Cost (US$)/EA | Remarks
1 | 2020-03-20 | PWR SUP DC 80W MULTI-OUTPUT RM | WATH-279003675 | WATH-279003675 | 2 | 40 | For 1)TUV detector s/n: M09UPT360A at BSM final test due to lamp lighting failure (faulty) 2)PDA fine align box build fail to power up
2 | 2020-03-20 | POWER SUPPLY, HB LAMP HAMAMATS | WAT-279001105 | WAT-279001105 | 1 | 101.46 | For TUV detector s/n: M09UPT360A at BSM final test due to lamp lighting failure
3 | 2020-03-20 | ASSEMBLY, CABLE DC PWR SUPPLY | WATH-441001260 | WATH-441001260 | 1 | 8.76 | For TUV detector s/n: M09UPT360A at BSM final test due to lamp lighting failure (burnt mark)
4 | 2020-03-20 | ASSY, HB DEUTERIUM LAMP | WAT-402000351 | WAT-402000351 | 2 | 154.4 | For TUV detector s/n:M09UPT363A and B1587E608A
5 | 2020-03-24 | INLINE FILTER ASSY | WAT-WAT035190 | WAT-WAT035190 | 3 | 13.4 | For 1) WPPL and For Actuator Tester TE82800-2 and TE82800-3 as part of maintenance
6 | 2020-03-31 | POWER SUPPLY 600W TEST | WAT-WAT270471 | WAT-WAT270471 | 1 | 179.35 | For TE82526-1 due to unable to power up

## Others
Others (Fixture, repairs etc)
Mar 2020 Calibration
|  |  | SUM |  | 0
|  |  | 10% Support Cost |  | 0
|  |  | Subtotal Others |  | 0
|  |  | Convertion rate |  | 1.3973
S/N | Date | Element / Avtivity | Quantity | Cost SGD | Cost (US$) | Remarks | Attachment
1 | NA | NA | NA | #VALUE! | NA | NA | NA