## Sheet1
Internal Calibration for Equipment used in Waters@Kallang Place
Mar 2020 Internal Calibration
[7 empty] | Sum |  |  | 315.87
[7 empty] | SG&A |  |  | 15.7935
[7 empty] | Profit |  |  | 33.1664
[7 empty] | Subtotal Internal Calibration |  |  | 364.8299
S/N | EQID | OWNER | EQUIPMENT | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Cal Report | Remarks
1 | 2348 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E101A | 12 Months | 2020-03-20 | 2021-03-20 | 105.29 | NA | NA
2 | 2349 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E103A | 12 Months | 2020-03-20 | 2021-03-20 | 105.29 | NA | NA
3 | 2350 | Joel Mamalateo Deduyo | 2489 UV / Visible Detector | Waters | 186248900 | C1887E106A | 12 Months | 2020-03-13 | 2021-03-13 | 105.29 | NA | NA