## Sheet1
Internal Calibration for Equipment used in Waters@Kallang Place
May 2020 Internal Calibration
[7 empty] | Sum |  |  | 425.82
[7 empty] | SG&A |  |  | 21.291
[7 empty] | Profit |  |  | 44.7111
[7 empty] | Subtotal Internal Calibration |  |  | 491.8221
S/N | EQID | OWNER | EQUIPMENT | MANUFACTURER | MODEL | SERIAL NO. | CAL INTERVAL | CALIBRATION DATE | DUE DATE | COST (US$) | Cal Report | Remarks
1 | 0221 | Joel Mamalateo Deduyo | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2020-05-21 | 2020-11-21 | 141.94
2 | 0222 | Joel Mamalateo Deduyo | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2020-05-21 | 2020-11-21 | 141.94
3 | 0224 | Joel Mamalateo Deduyo | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2020-05-22 | 2020-11-22 | 141.94