## Waters
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | Location | Active
1 | 0196 | Digital Thermometer with Probe (K type) | Fluke | 51 II | 89280141 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
2 | 0206 | Electronic Weigh Balance | AND | HR200 | 12305757 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90891 | Waters | Waters - Production | Y
3 | 0207 | Column Heater | Waters | WAT091727 | M03CHM015R | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81008 | Waters | Waters 5th Floor | Y
4 | 0208 | Column Heater | Waters | WAT091727 | E01CHM203R | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | 81009 | Waters | Waters 5th Floor | Y
5 | 0209 | Column Heater | Waters | WAT091727 | D01CHM128R | 12 Months | 2020-01-23 | 2021-01-23 | Internal | Joel Mamalateo Deduyo | Y | 81010 | Waters | Waters - Production | Y
6 | 0210 | Column Heater | Waters | WAT091727 | K03CHM938R | 12 Months | 2020-01-23 | 2021-01-23 | Internal | Joel Mamalateo Deduyo | Y | 81011 | Waters | Waters - Production | Y
7 | 0211 | Column Heater | Waters | WAT091727 | B03CHM551R | 12 Months | 2020-01-24 | 2021-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81012 | Waters | Waters - Production | Y
8 | 0212 | Column Heater | Waters | WAT091727 | F00CHM528R | 12 Months | 2020-01-24 | 2021-01-24 | Internal | Joel Mamalateo Deduyo | Y | 81013 | Waters | Waters - Production | Y
9 | 0213 | Column Heater | Waters | WAT091727 | F00CHM531R | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81014 | Waters | Waters - Production | Y
10 | 0216 | Electronic Weigh Balance | AND | HR200 | 12200404 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90038 | Waters | Waters - Production | Y
11 | 0217 | Electronic Weigh Balance | AND | HR200 | 12303279 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90018 | Waters | Waters - Production | Y
12 | 0221 | 1500 Series Pump Final Test Station | Waters | Pump | TE82705-2 | 06 Months | 2020-05-21 | 2020-11-21 | Internal | Joel Mamalateo Deduyo | Y | TE82705-2 | Waters | Waters - Production | Y
13 | 0222 | 515 Final Test Station | Waters | Pump | TE82534 | 06 Months | 2020-05-21 | 2020-11-21 | Internal | Joel Mamalateo Deduyo | Y | TE82534 | Waters | 5th Floor | Y
14 | 0223 | HPMV Tester | Waters | NA | TE82625-1 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82625-1 | Waters | Waters - Production | Y
15 | 0224 | 2690 Pump Head Tester | Waters | NA | TE82519 | 06 Months | 2020-05-22 | 2020-11-22 | Internal | Joel Mamalateo Deduyo | Y | TE82519 | Waters | 5th Floor | Y
16 | 0225 | Injector Seal Pack Tester | Waters | TE82503-4 | TE82503-4 | 06 Months | 2020-01-16 | 2020-07-16 | Internal | Joel Mamalateo Deduyo | Y | TE82503-4 | Waters | Waters - Production | Y
17 | 0226 | Electronic Weigh Balance | AND | HR200 | 12315717 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 90913 | Waters | Waters - Production | Y
18 | 0233 | Column Heater | Waters | WAT038040 | H01CHM352M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81020 | Waters | Waters - Production | Y
19 | 0234 | Column Heater | Waters | WAT038040 | M00CHM910M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81021 | Waters | Waters - Production | Y
20 | 0235 | Column Heater | Waters | WAT038040 | H01CHM335M | 12 Months | 2020-01-29 | 2021-01-29 | Internal | Joel Mamalateo Deduyo | Y | 81022 | Waters | Waters - Production | Y
21 | 0236 | Column Heater | Waters | WAT038040 | MX6JM7863M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81018 | Waters | Waters - Production | Y
22 | 0237 | Column Heater | Waters | WAT038040 | L97CHM711M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81019 | Waters | Waters 5th Floor | Y
23 | 0238 | Column Heater | Waters | WAT038040 | MX6KM9444M | 12 Months | 2020-04-02 | 2021-04-02 | Internal | Joel Mamalateo Deduyo | Y | 81017 | Waters | Waters 5th Floor | Y
24 | 0239 | Column Heater | Waters | WAT038040 | MX5MM5993M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81023 | Waters | Waters - Production | Y
25 | 0244 | Column Heater | Waters | WAT038040 | MX6JM7867M | 12 Months | 2020-01-30 | 2021-01-30 | Internal | Joel Mamalateo Deduyo | Y | 81016 | Waters | Waters - Production | Y
26 | 0245 | Digital Multimeter | Fluke | 110 | 85730619 | 12 Months | 2019-12-16 | 2020-12-16 | Micro Precision | Joel Mamalateo Deduyo | N | 96263 | Waters | Waters - Production | Y
27 | 0246 | Digital Multimeter | Fluke | 179 | 90240092 | 12 Months | 2020-02-13 | 2021-02-13 | Micro Precision | Joel Mamalateo Deduyo | N | 91368 | Waters | Waters - Production | Y
28 | *** 0249 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 5037655 | 12 Months | 2020-01-08 | 2021-01-08 | Micro Precision | Joel Mamalateo Deduyo | N | 95037 | Waters | Waters 5th Floor | Y
29 | 0256 | Pressure Calibrator | Ametek | APC10KGINDG | 9093205 | 12 Months | 2019-11-22 | 2020-11-21 | Micro Precision | Joel Mamalateo Deduyo | N | WT-TE-0331 | Waters | 5th Floor | Y
30 | 0259 | Injector Seal Pack Tester | Waters | TE82503-5 | TE82503-5 | 06 Months | 2020-02-27 | 2020-08-27 | Internal | Joel Mamalateo Deduyo | Y | TE82503-05 | Waters | Waters - Production | Y
31 | 0278 | Electronic Weigh Balance | AND | HR200 | 12316922 | 06 Months | 2020-01-13 | 2020-07-13 | Micro Precision | Joel Mamalateo Deduyo | N | 95206 | Waters | Waters - Production | Y
32 | 0279 | High Voltage Probe | Fluke | 80K-6 | 89200011 | 12 Months | 2019-09-24 | 2020-09-24 | SGS | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
33 | 0280 | Clamp Meter | Kyoritsu | 2033 | 66386 | 12 Months | 2019-07-30 | 2020-07-30 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
34 | *** 0360 | Electrical Safety Analyzer | Quadtech | Guardian 6000 | 6069766 | 12 Months | 2019-11-28 | 2020-11-28 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters 5th Floor | Y
35 | 0431 | Picoammeter | Keithley | 485 | 435110 | 12 Months | 2020-02-18 | 2021-02-18 | Keysight Technologies | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
36 | *** 0432 | Electrical Safety Analyzer | Quadtech | Guardian 6000 Plus | 08280865 | 12 Months | 2019-10-03 | 2020-10-03 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
37 | 0458 | Auto Pressure (Flowcell Tester) | Waters | NA | TE-82475-2 | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | 5th Floor | Y
38 | 0481 | Liquilaz | Particle Measuring Systems | E20P | 51053 | 12 Months | 2019-08-21 | 2020-08-21 | Particle Measuring Systems | Joel Mamalateo Deduyo | N | NA | Waters | 5th Floor | Y
39 | 0497 | Electronic Weigh Balance | AND | HR200 | 12326186 | 06 Months | 2020-01-31 | 2020-07-31 | Micro Precision | Joel Mamalateo Deduyo | N | 90610 | Waters | Waters - Production | Y
40 | 0499 | Electronic Weigh Balance | AND | HR200 | 12324733 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90605 | Waters | Waters - Production | Y
41 | 0500 | Electronic Weigh Balance | AND | HR200 | 12326184 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 90608 | Waters | Waters - Production | Y
42 | 0501 | Electronic Weigh Balance | AND | HR200 | 12326187 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90604 | Waters (1500 Pump) | Waters - Production | Y
43 | 0502 | Electronic Weigh Balance | AND | HR200 | 12326180 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90603 | Waters | Waters - Production | Y
44 | 0503 | Electronic Weigh Balance | AND | HR200 | 12326190 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90600 | Waters | Waters - Production | Y
45 | 0504 | Electronic Weigh Balance | AND | HR200 | 12326279 | 06 Months | 2020-06-03 | 2020-12-03 | Micro Precision | Joel Mamalateo Deduyo | N | 90607 | Waters | Waters - Production | Y
46 | 0592 | Torque Wrench | Snap-on | QD2R1000 | 1009032663 | 06 Months | 2020-03-04 | 2020-09-04 | Micro Precision | Phani | N | NA | Waters | 5th Floor | Y
47 | 0594 | Dial Depth Gauge | Mitutoyo | 2904S / 7217S | LQY537 / 000943 | 06 Months | 2020-03-06 | 2020-09-06 | Micro Precision | Phani | N | NA | Waters | Waters - Production | Y
48 | 0595 | Dial Indicator | Mitutoyo | 2514S | JDY576 | 06 Months | 2020-03-06 | 2020-09-06 | Micro Precision | Phani | N | NA | Waters | Waters - Production | Y
49 | 0597 | Mass Flow Meter | AALBORG | GFM17 | 170609-1 | 12 Months | 2019-07-15 | 2020-07-15 | Caltek | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
50 | 0877 | Torque Wrench | Snap-on | QD1R200 | 0408302147 | 06 Months | 2020-03-04 | 2020-09-04 | Micro Precision | Gary Lai Yam Bee | N | NA | Waters | Waters - Production | Y
51 | 1109 | Dual Wavelength Detector | Waters | TUV Detector | K05UPT479M | 12 Months | 2020-01-31 | 2021-01-31 | Internal | Joel Mamalateo Deduyo | Y | 91897 | Waters | Waters - Production | Y
52 | 1394 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E726A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
53 | 1395 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E727A | 12 Months | 2019-07-10 | 2020-07-10 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
54 | 1396 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E728A | 12 Months | 2019-06-28 | 2020-06-28 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
55 | 1397 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E729A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
56 | 1398 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E730A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
57 | 1399 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E731A | 12 Months | 2020-06-04 | 2021-06-04 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
58 | 1400 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E732A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
59 | 1401 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E733A | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
60 | 1402 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E734A | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
61 | 1403 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E735A | 12 Months | 2019-07-10 | 2020-07-10 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
62 | 1404 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E736A | 12 Months | 2019-06-21 | 2020-06-21 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
63 | 1405 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E737A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
64 | 1428 | 2489 UV / Visible Detector | Waters | 186248900 | H1387E710A | 12 Months | 2019-07-11 | 2020-07-11 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
65 | 1429 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E759A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
66 | 1430 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E763A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
67 | 1431 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E765A | 12 Months | 2020-04-09 | 2021-04-09 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
68 | 1432 | 2489 UV / Visible Detector | Waters | 186248900 | D1387E766A | 12 Months | 2020-04-03 | 2021-04-03 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
69 | 1433 | 2489 UV / Visible Detector | Waters | 186248900 | C1387E135M | 12 Months | 2020-04-08 | 2021-04-08 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
70 | *** 1492 | Electrical Safety Analyzer | Chroma | 19032 | 19032G000182 | 12 Months | 2019-10-26 | 2020-10-26 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters | Waters - Production | Y
71 | 1515 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E607A | 12 Months | 2019-12-26 | 2020-12-26 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
72 | 1516 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E608A | 12 Months | 2019-12-27 | 2020-12-27 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
73 | 1519 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E609A | 12 Months | 2019-12-27 | 2020-12-27 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
74 | 1520 | 2489 UV / Visible Detector | WATERS | 186248900 | B1587E610A | 12 Months | 2019-12-26 | 2020-12-26 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
75 | 1577 | Macbeth Lighting | X-Rite | Judge II | C61093261217 | 12 Months | 2019-09-04 | 2020-09-04 | Xrite | Hayati Binte Isshak | N | NA | Waters | Changi South - IQA | Y
76 | 1781 | Column Heater | WATERS | WAT091727 | C13CHM795R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
77 | 1782 | Column Heater | WATERS | WAT091727 | D12CHM299R | 12 Months | 2019-07-17 | 2020-07-17 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
78 | 1783 | Column Heater | WATERS | WAT091727 | K14CHM398R | 12 Months | 2019-07-18 | 2020-07-18 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
79 | 1784 | Column Heater | WATERS | WAT091727 | L14CHM438R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
80 | 1787 | Column Heater | WATERS | WAT091727 | D15CHM641R | 12 Months | 2019-07-19 | 2020-07-19 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters | Waters - Production | Y
81 | 2035 | Electronic Weigh Balance | AND | HR200 | 12336741 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | NA | Waters (BSM/QSM ) | Waters - Production | Y
82 | 2092 | Electronic Weigh Balance | AND | HR200 | 12337042 | 06 Months | 2020-04-15 | 2020-10-15 | Micro Precision | Joel Mamalateo Deduyo | N | 92207 | Waters (Pump Series) | Waters - Production | Y
83 | *** 2094 | Load Box | Chroma | S14-03 | 14354695 | 12 Months | 2019-12-12 | 2020-12-12 | Micro Precision | Joel Mamalateo Deduyo | N | 86080 | Waters (Generic) | Waters - Production | Y
84 | *** 2095 | Load Box | Chroma | S14-03 | 14354681 | 12 Months | 2020-03-06 | 2021-03-06 | Micro Precision | Joel Mamalateo Deduyo | N | 86081 | Waters (Generic) | Waters - Production | Y
85 | *** 2096 | Load Box | Chroma | S14-03 | 14354691 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86079 | Waters (Generic) | Waters - Production | Y
86 | *** 2097 | Load Box | Chroma | S14-03 | 7322788 | 12 Months | 2020-05-02 | 2021-05-02 | Micro Precision | Joel Mamalateo Deduyo | N | 86085 | Waters (Generic) | Waters - Production | Y
87 | 2217 | Benchtop Measuring Machine | Quality Vision International | StarLite 150 | RSL1002609 | 12 Months | 2020-03-30 | 2021-03-30 | Micro Precision | Joel Mamalateo Deduyo | N | 95515 | Waters | Waters - Production | Y
88 | 2348 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E101A | 12 Months | 2020-03-20 | 2021-03-20 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
89 | 2349 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E103A | 12 Months | 2020-03-20 | 2021-03-20 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
90 | 2350 | 2489 UV / Visible Detector | Waters | 186248900 | C1887E106A | 12 Months | 2020-03-13 | 2021-03-13 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
91 | 2351 | 2489 UV / Visible Detector | Waters | 186248900 | D1887E275A | 12 Months | 2020-04-08 | 2021-04-08 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
92 | 2352 | Column Heater Module | Waters | WAT038040 | M17CHM834M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
93 | 2353 | Column Heater Module | Waters | WAT038040 | M17CHM835M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
94 | 2354 | Column Heater Module | Waters | WAT038040 | M17CHM839M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
95 | 2355 | Column Heater Module | Waters | WAT038040 | M17CHM840M | 12 Months | 2020-06-12 | 2021-06-12 | Internal | Joel Mamalateo Deduyo | Y | NA | Waters (eAlliance) | Waters - Production | Y
96 | 2769 | Electronic Weigh Balance | AND | HR200 | 12303631 | 06 Months | 2020-02-07 | 2020-08-07 | Micro Precision | Joel Mamalateo Deduyo | N | 82184 | Waters | Waters - Production | Y
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec
Fluke 87V Spec