## Summary
Summary | Amount (US$)
Calibration $ to Venture Box Build | 0
Calibration $ to Venture PCBA | 431.2
Adhoc cost - spare & misc | 637.234
Total | 1068.434

## Instrument
External Calibration for Equipment (Instrument)
Q2 2020 (Apr'20)
[11 empty] | SUM |  | 0
[11 empty] | 10% Support Cost |  | 0
[11 empty] | Subtotal |  | 0
S/N | Location | Name | Equipment ID | Model | Serial No | Manufacturer | Purpose | Source | CAL DATE | Due | Cycle | Invoice # | Cost USD | COST SGD | Remarks | PRV No | PO No
1 | [6 empty] | For Testing used
2 | [6 empty] | For Testing used
3 | [6 empty] | For Testing used
4 | [6 empty] | For Testing used
Note on J7: jenny.lee-cn: kwang
Note on M7: jenny.lee-cn: yinyin

## PCBA
External Calibration for Equipment (PCBA)
Q2 2020 (Apr'20)
[11 empty] | SUM |  | 392
[11 empty] | 10% Support Cost |  | 39.2
[11 empty] | Subtotal |  | 431.2
S/N | Location | Name | Equipment ID | Model | Serial No | Manufacturer | Purpose | Source | CAL DATE | Due | Cycle | Invoice # | Cost USD | COST SGD | Remarks | PRV No | PO No
1 | WATERS (PCBA) | Keithley 236 Source Measure unit | PWAT-16GC0027 | 236 | 0549819 (ID#95105) | Keithley | Testing Purpose | Keysight | 20/04/2020 | 20/04/2021 | 12 | 1148567 | 392 | 490 |  | PR203100633 | 4730028588

## Misc
Miscellaneous Materials
Q2 2020 (Apr'20)
[5 empty] | SUM | 142.94
[5 empty] | 10% Support Cost | 14.294
[5 empty] | Subtotal | 157.234
S/N | Part No. | Description | Quantity | Unit Price(S$) | Unit Price(U$) | Ext Cost(US$) | Remarks | Date
1 | 279001056 | PUMP VACUUM DEGASSER AF | 1 |  | 142.94 | 142.94 | To replace a faulty part at tester TE82987,approved by HuaZhen as on Tue 4/7/2020 3:50 PM | 2020-04-07 | 31525
2
3
4
5
6
7
8
9
10
11
12

## Others
Others
Q2 2020 (Apr'20)
|  |  | Subtotal Others |  | 480
|  |  | Convertion rate |  | 1.345
S/N | Date | Activity | Quantity | Cost SGD | Cost (US$) | Remarks
1 | 2020-04-23 | From Venture to Flex | 1 | 100 | 80 | Annual preventive maintenance. 1st pump send out , Serial number: C1525P993A
2 | 2020-04-29 | From Venture to Flex From Flex to Venture | 2 | 200 | 160 | 2nd pump (Serial number : C09225P516R) send out & collect back 1st pump
3 | 2020-05-05 | From Venture to Flex From Flex to Venture | 2 | 200 | 160 | 3rd pump (Serial number: C0925P662R) send out on & collect back 2nd pump
4 | 2020-05-12 | From Flex to Venture | 1 | 100 | 80 | Collect back 3rd pump