## Summary
Summary | Amount (US$)
Calibration $ to Venture Box Build | 807.84
Calibration $ to Venture PCBA | 0
Adhoc cost - spare & misc | 179.88
Total | 987.72

## Instrument
External Calibration for Equipment (Instrument)
Q1 2020 (Jan'20)
[11 empty] | SUM |  | 734.4
[11 empty] | 10% Support Cost |  | 73.44
[11 empty] | Subtotal |  | 807.84
S/N | Location | Name | Equipment ID | Model | Serial No | Manufacturer | Purpose | Source | CAL DATE | Due | Cycle | Invoice # | Cost USD | COST SGD | Remarks | PRV No | PO No
1 | WATERS (LC Model) | Digital Gram Balance - WP07 (Weighing Scale) | W1-16GC0014 | HR-200 | 12316088 (90966) | AND (HR-200) | For testing used | MING DENG METROLOGY SERVICES PTD LTD | 02/01/2020 | 02/07/2020 | 6 | INV-202001226 | 72 | 90 |  | PR193102828 | 4730027931
2 | WATERS (LC Model) | Digital Gram Balance - WP07 (Weighing Scale) | W1-16GC0068 | HR-200 | 12336767(94322) | AND (HR-200) | For testing used | MING DENG METROLOGY SERVICES PTD LTD | 02/01/2020 | 02/07/2020 | 6 | INV-202001226 | 72 | 90 |  | PR193102828 | 4730027931
3 | WATERS (LC Model) | Digital Process Indicators | W1-16GC0017 | DP81R-SER-DC2 | 09030136 | CHROMA | For testing used | SGS | 03/01/2020 | 03/01/2021 | 12 | 5104862 | 350.4 | 438 |  | PR193102710 | 4730027827
4 | WATERS (LC Model) | Electrical Safety Analyzer | W1-16GC0022 | Guardian 6000 | 5278621 (ID#91693) | QuadTech | For testing used | Micro Precision | 15/01/2020 | 15/01/2021 | 12 | SG-11013257 | 240 |  |  | PR203100138 | 4730028115
Note on J7: jenny.lee-cn: kwang
Note on M7: jenny.lee-cn: yinyin

## PCBA
External Calibration for Equipment (PCBA)
Q1 2020 (Jan'20)
[11 empty] | SUM |  | 0
[11 empty] | 10% Support Cost |  | 0
[11 empty] | Subtotal |  | 0
S/N | Location | Name | Equipment ID | Model | Serial No | Manufacturer | Purpose | Source | CAL DATE | Due | Cycle | Invoice # | Cost USD | COST SGD | Remarks | PRV No | PO No

## Misc
Miscellaneous Materials
Q1 2020 (Jan'20)
[5 empty] | SUM | 90.8
[5 empty] | 10% Support Cost | 9.08
[5 empty] | Subtotal | 99.88
S/N | Part No. | Description | Quantity | Unit Price(S$) | Unit Price(U$) | Ext Cost(US$) | Remarks | Date
1 | W1289005264/H-R | SAMPLE TRAY 2 DRAWER MAGNETIC | 2 |  | 45.4 | 90.8 | For RTZ TEST STATION PM replacement, approved by Hua Zhen Luo as on Monday, 6 January, 2020 5:30 PM | 2020-01-08 | 31402
2
3
4
5
6
7
8
9
10
11
12

## Others
Others
Q1 2020 (Jan'20)
|  |  | Subtotal Others |  | 80
|  |  | Convertion rate |  | 1.345
S/N | Date | Activity | Quantity | Cost SGD | Cost (US$) | Remarks
1 | 2020-01-10 | GES TO WPPL | 1 | 100 | 80 | 3 boxes of materials for Beacon material test rig . Send out on 10-Jan-2020 requested by Sidd & Edwin.
2
3
4