## Sheet1
VENTURE CALIBRATION MASTER LIST
S/N | Equipment ID | Equipment Description | Manufacturer | Model | Equipment Serial Number | Interval | Calibration Date | Due Date | Vendor | Equipment-Owner | Customized Equip. | Customer ID | Customer | LOCATION | Active
1 | PWAT-16GC0002 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01907 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
2 | PWAT-16GC0003 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01876 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
3 | PWAT-16GC0004 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01587 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
4 | PWAT-16GC0005 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A02210 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
5 | PWAT-16GC0006 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A01795 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
6 | PWAT-16GC0007 | DC Electronic Load module | HEWLETT PACKARD | 60502B | 3211A00920 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
7 | PWAT-16GC0008 | DC Power Supply | TDK-Lambda | GENH30-25 | 95166 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
8 | PWAT-16GC0009 | DC Power Supply | TDK-LAMBDA | GENH60-12.5 | 95170 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
9 | PWAT-16GC0010 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95165 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
10 | PWAT-16GC0011 | DC Power Supply | TDK-Lambda | GENH30-25 | 95167 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
11 | PWAT-16GC0012 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95164 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
12 | PWAT-16GC0013 | DC Power Supply | TDK-Lambda | GENH60-12.5 | 95171 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
13 | PWAT-16GC0014 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213251 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
14 | PWAT-16GC0015 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213252 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
15 | PWAT-16GC0016 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213090 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
16 | PWAT-16GC0017 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213209 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
17 | PWAT-16GC0018 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02477 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
18 | PWAT-16GC0019 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66103A | US34213216 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
19 | PWAT-16GC0020 | DC POWER SUPPLY MODULE | HEWLETT PACKARD | 66101A | 3444A02507 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
20 | PWAT-16GC0021 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C | C011477 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
21 | PWAT-16GC0022 | Electronic Load Plug-In Module / Control Mainframe with 4 DC Electronic Load 6A/60A/80V 300W | Chroma | 63103/6314 | 63145125/95148 (S/N : ID#95184, ID#95185, ID#95186, ID#95187) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
22 | PWAT-16GC0023 | Function/Arbitrary Waveform Generator | Agilent | 33220A | MY44044085/95154 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
23 | PWAT-16GC0030 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DEFE | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
24 | PWAT-16GC0031 | M Series Multifunction DAQ | National Instruments | PXI6229 | 145DF3A | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
25 | PWAT-16GC0033 | Multimeter | Agilent | 34411A | MY53002751/95155 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
26 | PWAT-16GC0034 | Oscillascope | Textronix | TDS460A | B060926 | 12 Months | 10/07/2019 | 10/07/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Out of service
27 | PWAT-16GC0035 | PCI 6025E | National Instruments | 6025E | C57A10 | 12 Months | 06/11/2019 | 06/11/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (UNIVERSAL TESTER) | Y
28 | PWAT-16GC0036 | POWER SMU | NATIONAL INSTRUMENTS | PXI4130 | 145025B | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
29 | PWAT-16GC0037 | Prog. Resistance Card | Geotest | GX1164-01 | 11640209 (95750) | 24 Months | 16/04/2019 | 16/04/2021 | Micro Precision | Ricky Celis Cortez | N | 95750 | Waters | WATERS (GTS TESTER) | Y
30 | PWAT-16GC0038 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | 12 Months | 10/10/2019 | 10/10/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
31 | PWAT-16GC0039 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | 12 Months | 30/04/2020 | 30/04/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
32 | PWAT-16GC0040 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | 12 Months | 26/03/2019 | 26/03/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Out of service
33 | PWAT-16GC0041 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | 12 Months | 10/10/2019 | 10/10/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
34 | PWAT-16GC0042 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | 12 Months | 30/07/2018 | 30/07/2019 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Out of service
35 | PWAT-16GC0043 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | 12 Months | 10/10/2019 | 10/10/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (RACAL TESTER) | Y
36 | PWAT-18GC0046 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | MY48003234 | 12 Months | 10/10/2019 | 10/10/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (JUNIOR GTS FOR QDA) | Y
37 | PWAT-18GC0047 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44015802 | 12 Months | 03/07/2020 | 03/07/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (JUNIOR GTS FOR QDA) | Y
38 | PWAT-18GC0048 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS3054C | C020604 | 12 Months | 10/10/2019 | 10/10/2020 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (JUNIOR GTS FOR QDA) | Y
39 | PWAT-18GC0049 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 97019 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
40 | PWAT-18GC0050 | DC POWER SUPPLY | TDK-Lambda | GENH30-25 | 97020 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
41 | PWAT-18GC0051 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 97015 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
42 | PWAT-18GC0052 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 97016 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
43 | PWAT-18GC0053 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 97017 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
44 | PWAT-18GC0054 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5 | 97018 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
45 | PWAT-18GC0055 | DC ELECTRONIC LOAD | CHROMA | 63103A | 97010 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
46 | PWAT-18GC0056 | DC ELECTRONIC LOAD | CHROMA | 63103A | 97011 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
47 | PWAT-18GC0057 | DC ELECTRONIC LOAD | CHROMA | 63103A | 97012 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
48 | PWAT-18GC0058 | DC ELECTRONIC LOAD | CHROMA | 63103A | 97013 | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
49 | PWAT-18GC0059 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A | MY46000178 (ID#97025) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97025 | Waters | WATERS (GTS TESTER) | Y
50 | PWAT-18GC0060 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | AGILENT | 33220A | MY44028120 (ID#97026) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97026 | Waters | WATERS (GTS TESTER) | Y
51 | PWAT-18GC0061 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS 3054C | B020696 (ID#97024) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97024 | Waters | WATERS (GTS TESTER) | Y
52 | PWAT-18GC0063 | Multifunction DAQ | National Instrument | NI PXI-6229 | 1CA64F1 (ID#97021) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97021 | Waters | WATERS (GTS TESTER) | Y
53 | PWAT-18GC0064 | Multifunction DAQ | National Instrument | NI PXI-6229 | 1CA64E1 (ID#97022) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97022 | Waters | WATERS (GTS TESTER) | Y
54 | PWAT-18GC0065 | Power SMU | National Instrument | NI PXI-4130 | 1CD658C (ID#97023) | 12 Months | 18/02/2020 | 18/02/2021 | Micro Precision | Ricky Celis Cortez | N | ID#97023 | Waters | WATERS (GTS TESTER) | Y
55 | PWAT-18GC0062 | Prog Resistor | Marvin Test Solution | GX1164 | 97014 | 24 Months | 05/03/2019 | 05/03/2021 | Micro Precision | Ricky Celis Cortez | N | NA | Waters | WATERS (GTS TESTER) | Y
56 | W1-16GC0016 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | E | N | NA | Waters | WATERS (LC Model) | Y
57 | W1-16GC0020 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | 12 Months | 03/07/2020 | 03/07/2021 | Micro Precision | Chua Chong Keong | N | ID#93467 | Waters | WATERS (LC Model) | Y
58 | W1-16GC0021 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | 12 Months | 06/11/2019 | 06/11/2020 | Micro Precision | Chua Chong Keong | N | ID#91356 | Waters | WATERS (LC Model) | Y
59 | W1-16GC0022 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | 12 Months | 15/01/2020 | 15/01/2021 | Micro Precision | Chua Chong Keong | N | ID#91693 | Waters | WATERS (LC Model) | Y
60 | W1-16GC0023 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | Chua Chong Keong | N | ID#91890 | Waters | WATERS (LC Model) | Y
61 | W1-17GC0122 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | 12 Months | 13/8/2019 | 13/8/2020 | Micro Precision | Alan Oh | N | NA | Waters | WATERS (MS(QDA) | Y
62 | W1-18GC0150 | Insulation Tester | Megger | MIT400 | 0703071132 | 12 Months | 06/11/2019 | 06/11/2020 | Micro Precision | Alan Oh | N | NA | Waters | WATERS (MS(QDA) | Y
63 | W1-19GC0152 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 44K-0204 | 12 Months | 06/11/2019 | 06/11/2020 | Micro Precision | Alan Oh | N | NA | Waters | WATERS (MS(QDA) | Y
64 | W1-16GC0088 | Load Box | CHROMA | S14-03 | 7322786 | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | Chua Chong Keong | N | NA | Waters | WATERS (LC Model) | Y
65 | W1-16GC0089 | Load Box | CHROMA | S14-03 | 14354687 | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | Chua Chong Keong | N | NA | Waters | WATERS (LC Model) | Y
66 | W1-16GC0090 | Load Box | CHROMA | S14-03 | 14354682 | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | Chua Chong Keong | N | NA | Waters | WATERS (LC Model) | Y
67 | W1-16GC0091 | Load Box | CHROMA | S14-03 | 14354698 | 12 Months | 03/03/2020 | 03/03/2021 | Micro Precision | Chua Chong Keong | N | NA | Waters | WATERS (LC Model) | Y
68 | W1-16GC0002 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12335004 (93371) | 6 Months | 17/04/2020 | 17/10/2020 | Micro Precision | Myae Soe Chan | N | 93371 | Waters | WATERS (LC Model) | Y
69 | W1-16GC0005 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333739 (93373) | 6 Months | 17/04/2020 | 17/10/2020 | Micro Precision | Myae Soe Chan | N | 93373 | Waters | WATERS (LC Model) | Y
70 | W1-16GC0008 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333783 (93372) | 6 Months | 17/04/2020 | 17/10/2020 | Micro Precision | Myae Soe Chan | N | 93372 | Waters | WATERS (LC Model) | Y
71 | W1-16GC0011 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12333730 (93370) | 6 Months | 17/04/2020 | 17/10/2020 | Micro Precision | Myae Soe Chan | N | 93370 | Waters | WATERS (LC Model) | Y
72 | W1-16GC0014 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12316088 (90966) | 6 Months | 02/07/2020 | 02/01/2021 | Micro Precision | Myae Soe Chan | N | 90966 | Waters | WATERS (LC Model) | Y
73 | W1-16GC0068 | Digital Gram Balance - WP07 (Weighing Scale) | AND (HR-200) | HR-200 | 12336767(94322) | 6 Months | 02/07/2020 | 02/01/2021 | Micro Precision | Myae Soe Chan | N | 94322 | Waters | WATERS (LC Model) | Y
74 | W1-16GC0017 | Digital Process Indicators | Omega | DP81R-SER-DC2 | TE83013-1 (09030136) | 12 Months | 03/01/2020 | 03/01/2021 | SGS | Ei Lwin Htay | N | TE83013-1 | Waters | WATERS (LC Model) | Y
75 | W1-16GC0018 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | 12 Months | 10/06/2020 | 10/06/2021 | Micro Precision | Ei Lwin Htay | N | TE83013-2 | Waters | WATERS (LC Model) | Y
76 | IQC-16GC0010 | Light Box | X-Rite | JUDGE II | C61093251217 | 12 Months | 04/09/2019 | 04/09/2020 | RVC International Pte Ltd | Suresh Thirumavalavan | N | NA | Waters | IQC (WATERS) | Y
77 | PWAT-16GC0024 | Keithley 236 Source Measure unit | Keithley | 236 | 0683301(ID#90744) | 12 Months | 17/03/2020 | 17/03/2021 | Keysight | Ricky Celis Cortez | N | ID#90744 | Waters | WATERS (RACAL TESTER) | Y
78 | PWAT-16GC0025 | Keithley 236 Source Measure unit | Keithley | 236 | 0648831 (ID#90316) | 12 Months | 07/08/2019 | 07/08/2020 | Keithley | Ricky Celis Cortez | N | ID#90316 | Waters | WATERS (RACAL TESTER) | Y
79 | PWAT-16GC0026 | Keithley 236 Source Measure unit | Keithley | 236 | 497638 | 12 Months | 17/03/2020 | 17/03/2021 | Keysight | Ricky Celis Cortez | N | NA | Waters | WATERS (UNIVERSAL TESTER) | Y
80 | PWAT-16GC0027 | Keithley 236 Source Measure unit | Keithley | 236 | 0549819 (ID#95105) | 12 Months | 20/04/2020 | 20/04/2021 | Keysight | Ricky Celis Cortez | N | ID#95105 | Waters | WATERS (PCBA) | Y
81 | PWAT-16GC0028 | Keithley 236 Source Measure unit | Keithley | 236 | 0796740 (ID#90275) | 12 Months | 08/06/2020 | 08/06/2021 | Keysight | Ricky Celis Cortez | N | ID#90275 | Waters | WATERS (PCBA) | Y
82 | PWAT-16GC0029 | Keithley 236 Source Measure unit | Keithley | 236 | 0648819 (ID#90317) | 12 Months | 06/05/2018 | 06/05/2019 | Keysight | Ricky Celis Cortez | N | ID#90317 | Waters | WATERS (UNIVERSAL TESTER) | Out of service
83 | W1-17GC0095 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | 12 Months | 19/02/2020 | 19/02/2021 | Leybold | Alan Oh | N | NA | Waters | WATERS (CLEAN ROOM) | Y
84 | W1-19GC0151 | Leak Detector (Inficon) | Inficon | TL7 | 90001370779 | 15 Months | 09/03/2020 | 09/03/2021 | Inficon | Alan Oh | N | NA | Waters | Waters (QDa/Beacon) | Y
| Reviwed by : Lee Kwang Quek |  | Date : 17-July-2020