## Others
| EQUIPMENT DESCRIPTION | MANUFACTURER / DISTRIBUTOR | MODEL | SN | EQUIPMENT LOCATION | INTERVAL
171 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, inc. | 4152A | US38010437 | Venture PCBA (LC) | 12
172 | VXI 6 1/2 Digit Multimeter | Racal-Dana Instruments, Inc. | 4152A | US38010248 | Venture PCBA (LC) | 12
173 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, inc. | 2461-CD | 03070017 | Venture PCBA (LC) | 12
174 | VXI Universal Counter 200 MHZ | Racal-Dana Instruments, Inc. | 2461-CD | 1210 | Venture PCBA (LC) | 12
175 | VXI Waveform Generator | Racal-Dana Instruments, Inc. | 3151A+ | 9809972 | Venture PCBA (LC) | 12
176 | VXI Waveform Generator | Racal-Dana Instruments, inc. | 3151A+ | 0101813 | Venture PCBA (LC) | 12
179 | DIGITAL PHOSPOR OSCILLOSCOPE | Tektronix | TDS3054C | C020604 | Venture (MS) | 12
181 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12335004 (93371) | Venture (LC) | 6
183 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333739 (93373) | Venture (LC) | 6
185 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333783 (93372) | Venture (LC) | 6
187 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12333730 (93370) | Venture (LC) | 6
189 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12316088 (90966) | Venture (LC) | 6
191 | Digital Gram Balance - WP07 (Weighing Scale) | AND | HR-200 | 12336767(94322) | Venture (LC) | 6
192 | Multimeter / Data Acquisition System | Keithley | Keithley 2700 | 1227711 | Venture (LC) | 12
193 | Digital Process Indicators | Chroma | DP81R-SER-DC2 | 09030136 | Venture (LC) | 12
194 | Digital Process Indicator C/W Probe | Omega | DP 80 | TE83013-2 (10060165) | Venture (LC) | 12
195 | Electrical Safety Analyzer | Chroma | 19032 | 19032G400264 (ID#93467) | Venture (LC) | 12
196 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 7312754 (ID#91356) | Venture (LC) | 12
197 | Electrical Safety Analyzer | QuadTech | Guardian 6000 | 5278621 (ID#91693) | Venture (LC) | 12
198 | Electrical Safety Analyzer | QuadTech | 6000 Plus | 11173729 (ID#91890) | Venture (LC) | 12
199 | Load Box | Chroma | S14-03 | 7322783 | Venture (LC) | 12
200 | Load Box | Chroma | S14-03 | 7322786 | Venture (LC) | 12
201 | Load Box | Chroma | S14-03 | 14354687 | Venture (LC) | 12
202 | Load Box | Chroma | S14-03 | 14354682 | Venture (LC) | 12
203 | Load Box | Chroma | S14-03 | 14354698 | Venture (LC) | 12
204 | Pat and Flash Tester | Seaward Electronic | CLARE HAL 104 | 34J-0747 | Venture (LC) | 12
205 | Insulation Tester | Megger | MIT400 | 0703071132 | Venture (MS) | 12
226 | Leak Detector | Leybold | PhoenixL 300i | 90001301209 | Venture (MS) | 15
137 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01907 | Venture PCBA (LC) | 12
138 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01876 | Venture PCBA (LC) | 12
139 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01587 | Venture PCBA (LC) | 12
140 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A02210 | Venture PCBA (LC) | 12
141 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A01795 | Venture PCBA (LC) | 12
142 | DC Electronic Load module | Hewlett Packard | 60502B | 3211A00920 | Venture PCBA (LC) | 12
149 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213251 | Venture PCBA (LC) | 12
150 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213252 | Venture PCBA (LC) | 12
151 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213090 | Venture PCBA (LC) | 12
152 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213209 | Venture PCBA (LC) | 12
153 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02477 | Venture PCBA (LC) | 12
154 | DC POWER SUPPLY MODULE | Hewlett Packard | 66103A | US34213216 | Venture PCBA (LC) | 12
155 | DC POWER SUPPLY MODULE | Hewlett Packard | 66101A | 3444A02507 | Venture PCBA (LC) | 12
168 | Oscillascope | Tektronix | TDS460A | B060926 | Venture PCBA (LC) | 12
169 | PCI 6025E | National Instruments | 6025E | C57A10 | Venture PCBA (LC) | 12
223 | DC Electronic Load mainframe | Hewlett Packard | 6050A | 3312A02661 | Venture PCBA (LC) | 12
224 | MPS MAINFRAME | Hewlett Packard | 66000A | US35221282 | Venture PCBA (LC) | 12
177 | 6 1/2 DIGITAL MULTIMETER | Agilent Technologies | 34411A | MY48003234 | Venture PCBA (MS) | 12
178 | 20 MHZ FUNCTION/ARBITRARY WAVEFORM GENERATOR | Agilent Technologies | 33220A | MY44015802 | Venture PCBA (MS) | 12

## GTS1
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL
1 | WATERS | PWAT-16GC0008 | DC Power Supply | TDK-Lambda | GENH30-25
(GTSTESTER)
2 | WATERS | PWAT-16GC0009 | DC Power Supply | TDK-Lambda | GENH60-12.5
(GTSTESTER)
3 | WATERS | PWAT-16GC0010 | DC Power Supply | TDK-Lambda | GENH60-12.5
(GTSTESTER)
4 | WATERS | PWAT-16GC0011 | DC Power Supply | TDK-Lambda | GENH30-25
(GTSTESTER)
5 | WATERS | PWAT-16GC0012 | DC Power Supply | TDK-Lambda | GENH60-12.5
(GTSTESTER)
6 | WATERS | PWAT-16GC0013 | DC Power Supply | TDK-Lambda | GENH60-12.5
(GTSTESTER)
7 | WATERS | PWAT-16GC0021 | Digital Phosphor Oscilloscope | Tektronix | TDS3054C
(GTSTESTER)
8 | WATERS | PWAT-16GC0022 | Electronic Load Plug-In Module / Control Mainframe | Chroma | 63103/6314
(GTSTESTER)
9 | WATERS | PWAT-16GC0023 | Function/Arbitrary Waveform Generator | Agilent | 33220A
(GTSTESTER)
10 | WATERS | PWAT-16GC0030 | M Series Multifunction DAQ | National Instruments | PXI6229
(GTSTESTER)
11 | WATERS | PWAT-16GC0031 | M Series Multifunction DAQ | National Instruments | PXI6229
(GTSTESTER)
12 | WATERS | PWAT-16GC0033 | Multimeter | Agilent | 34411A
(GTSTESTER)
13 | WATERS | PWAT-16GC0036 | POWER SMU | NATIONAL INSTRUMENTS | PXI4130
(GTSTESTER)
14 | WATERS | PWAT-16GC0037 | Prog. Resistance Card | Geotest | GX1164-01
(GTSTESTER)

## GTS2
NO | LOCATION | EQUIPMENT ID | EQUIPMENT NAME | MANUFACTURER | MODEL
1 | WATERS | PWAT-18GC0049 | DC POWER SUPPLY | TDK-Lambda | GENH30-25
(GTS TESTER)
2 | WATERS | PWAT-18GC0050 | DC POWER SUPPLY | TDK-Lambda | GENH30-25
(GTS TESTER)
3 | WATERS | PWAT-18GC0051 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5
(GTS TESTER)
4 | WATERS | PWAT-18GC0052 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5
(GTS TESTER)
5 | WATERS | PWAT-18GC0053 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5
(GTS TESTER)
6 | WATERS | PWAT-18GC0054 | DC POWER SUPPLY | TDK-Lambda | GENH60-12.5
(GTS TESTER)
7 | WATERS | PWAT-18GC0059 | 6 1/2 DIGITAL MULTIMETER | AGILENT | 34411A
(GTS TESTER)
8 | WATERS | PWAT-18GC0060 | 20 MHZ FUNCTION/ARBITRARY | AGILENT | 33220A
| (GTS TESTER) |  | WAVEFORM GENERATOR
9 | WATERS | PWAT-18GC0061 | DIGITAL PHOSPOR OSCILLOSCOPE | TEKTRONIX | TDS 3054C
(GTS TESTER)
10 | WATERS | PWAT-18GC0063 | Multifunction DAQ | National Instrument | NI PXI-6229
(GTS TESTER)
11 | WATERS | PWAT-18GC0064 | Multifunction DAQ | National Instrument | NI PXI-6229
(GTS TESTER)
12 | WATERS | PWAT-18GC0065 | Power SMU | National Instrument | NI PXI-4130
(GTS TESTER)
13 | WATERS | PWAT-18GC0055 | DC ELECTRONIC LOAD | CHROMA | 63103A
(GTS TESTER)
14 | WATERS | PWAT-16GC0037 | Prog. Resistance Card | Geotest | GX1164-01
(GTSTESTER)